SCHEDULE “B”

REPAIR & RENOVATION OF WATER WORK FOR CHANGE OF SOURCE & REHABILITATION OF EXISTING URBAN WATER SUPPLY SCHEME DIPLO DISTRICT THARPARKAR

ABSTRACT

Part-1	Pump House						Rs. 27,933/-

Part-2	Staff Quarter						Rs. 41,299/-

Part-3	Compound Wall 						Rs. 6,09,881/-

Part-4	Storage Tank 						Rs. 18,14,339/-

Part-5	Site Develop						Rs. 4,11,325/-

Total 		Rs. 29,04,777/=

| CONTRACTOR |  | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THARPARKAR @ MITHI |
| --- | --- | --- |

PART-1	PUMP HOUSE

| 1. | Providing & laying 1” thick topping cement concrete (1:2:4) i/c surface finishing and dividing into panels. (G.S.I. No: 16 P-41). |
| --- | --- |

2" thick

369.56 Sft		@ Rs. 2548/29		P% Sft			Rs. 9,417/=

(Rupees Two Thousand Five Hundred Forty Eight

and Paisas Twenty Nine)  only (Per Hundred Sft)

| 2. | Two Coats of Bitumen laid bat using 34 Lbs for % Sft over roof & blinded with sand stone at 1 Cft for 100 Sft (G.S.I.No.13 P-34). |
| --- | --- |

369.56 Sft		@ Rs. 1887/40 		P% Sft			Rs. 6,975/=

(Rupees One Thousand Eight Hundred Eighty Seven

and Paisas Forty)  only (Per Hundred Sft)

| 3. | Distempering two coats (G.S.I .No: 24 (b) P-53). |
| --- | --- |

901.0 Sft		@ Rs. 1043/90		P% Sft			Rs. 9,406/=

(Rupees One Thousand Forty Three and Paisas Ninety)

only (Per Hundred Sft)

| 4. | Painting old surface preparing surfaces and painting of doors and windows of any type i/c edges two coats.(G.S.I No. 4 (c) P-67). |
| --- | --- |

184.00 Sft		@ Rs. 1160/06 		P.Sft			Rs. 2,135/=

(Rupees One Thousand One Hundred Sixty

and Paisas Zero Six)  only (Per Sft)		Total	Rs. 27,933/=

PART-2	STAFF QUARTER

| 1. | Providing and laying 1” thick topping cement concrete (1:2:4) i/c surface finishing and dividing into panels. (G.S.I. No: 16 P-41). |
| --- | --- |

1 ½" thick

450.56 Sft		@ Rs. 2548/29		P% Sft			Rs. 11,482/=

(Rupees Two Thousand Five Hundred Forty Eight

and Paisas Twenty Nine)  only (Per Hundred Sft)

| 2. | Two Coats of Bitumen laid bat using 34 Lbs for % Sft over roof & blinded with sand stone at 1 Cft for 100 Sft (G.S.I.No.13 P-35). |
| --- | --- |

450.56 Sft		@ Rs. 1887/40 		P% Sft			Rs. 8,504/=

(Rupees One Thousand Eight Hundred Eighty Seven

and Paisas Forty)  only (Per Hundred Sft)

| 3. | Preparing thr surface and painting with weather coats i/c rubbering the surface with rubbering brushes / sand paper filling the voids with chalk / plaster or pairs and then paiting with weather coat of approved make(G.S.I.No.38 (a) P-56). |
| --- | --- |

506.0 Sft		@ Rs. 1328/25 		P% Sft			Rs. 6,721/=

(Rupees One Thousand Three Hundred Twenty Eight

and Paisas Twenty FIve) only (Per Hundred Sft)

| 4. | Painting Old Surface preparing surface & painting of door & windows any type (i/c edges) (2 Coats) (G.S.I. No. 4 (c)(i) P-68). |
| --- | --- |

124.0 Sft		@ Rs. 1160/06		P% Sft			Rs. 1,786/=

(Rupees One Thousand One Hundred Sixty

and Paisas Zero Six)  only (Per Sft)

| 3. | Distempering two coats (G.S.I .No: 24 (b) P-54). |
| --- | --- |

1260.0 Sft		@ Rs. 1043/90		P% Sft			Rs. 13,153/=

(Rupees One Thousand Forty Three and Paisas Ninety)

only (Per Hundred Sft)

Total	Rs. 41,299/=

PART-3	COMPOUND WALL

| 1. | Cement Plaster (1:4) 3/4" thick (G.S.I.NO 13 (a) P-52). |
| --- | --- |

3500.0 Sft		@ Rs. 3015/76		P% Sft			Rs. 1,05,552/=

(Rupees Three Thousand Fifteen and Seventy Six)

only (Per Hundred Sft)

| 2. | Distempering two coats (G.S.I .No: 24 (b) P-53). |
| --- | --- |

16000.0 Sft		@ Rs. 1043/90	P% Sft				Rs. 1,67,024/=

(Rupees One Thousand Forty Three and Paisas Ninety)

only (Per Hundred Sft)

| 3. | Painting Old Surface preparing surface & painting of door & windows any type (i/c edges) (2 Coats) (G.S.I. No. 4 (c)(i) P-68). |
| --- | --- |

144.0 Sft		@ Rs. 1160/06		P% Sft			Rs. 1,670/=

(Rupees One Thousand One Hundred Sixty

and Paisas Zero Six)  only (Per Sft)

| 4. | Providing and fixing angle iron vertical post for barbed wire fencing of size 2” x 2” x ¼ in embedded in R.C.C / mesonary pillars i/c making cuts / holders at 12” i/c fixing in pillars by chiseling and filling the with cement sand mortar saprining and finishing the surface. (G.S.I No. 8 P-95) |
| --- | --- |

1984.0 Rft		@ Rs. 169/18		P Rft			Rs. 3,35,635/-

(Rupees One Hundred Sixy Nine and Paisas

Eighteen) only (Per Rft)

Total	Rs. 6,09,881/=

PART-4	STORAGE TANK

| 1. | Dismantling brick masonry (G.S.I. No.13 P-10). |
| --- | --- |

3395.0 Cft		@ Rs. 1285/63		P % Cft		Rs. 43,647/=

(Rupees One Thousand Two Hundred Eighty Five

and Paisas Sixty Three)  only (Per Hundred Cft)

| 2. | Dismantling C.C plain Ratio (1:3:6) (G.H.S.I. No: 19 (b) P-10). |
| --- | --- |

2407.0 Cft		@ Rs. 1306/80		P % Cft		Rs. 31,455/=

(Rupees One Thousand Three Hundred Six  and

Paisas Eighty) only (Per Hundred Cft)

| 3. | Cement concrete plain including placing compacting, finishing and curing, complete (including screening and washing of stone aggregate without shuttering (G.S.I. No. 5 (h) P-18). |
| --- | --- |

3900.0 Cft		@ Rs. 12595/-		P% Cft		Rs. 4,91,205/-

(Rupees Twelve Thousand Five Hundred Ninety Five)

only (Per Hundred Cft)

| 4. | Brick lining (9” x 4 ½” x 3”) in (1:3) cement sand mortar (G.S.I. No. 9 P-75). |
| --- | --- |

- On Slopes

2442.0 Cft		@ Rs. 14204/44		P% Cft		Rs. 3,46,872/=

(Rupees Fourteen Thousand Two Hundred Four

and Paisas Forty Four) only (Per Hundred Cft)

- Path

444.0 Cft		@ Rs. 13765/81		P% Cft		Rs. 61,120/=

(Rupees Thirteen Thousand Seven Hundred Sixty Five

and Paisas Eighty One) only (Per Hundred Cft)

| 5. | Pucca brick work in foundation and plinth in cement sand mortar (1:6) (G.S.I. No. 4 P-21). |
| --- | --- |

509.0 Cft		@ Rs. 11948/36		P% Cft		Rs. 60,817/=

(Rupees Eleven Thousand Nine Hundred Forty Eight

and Paisas Thirty Six)  only (Per Hundred Cft)

| 6. | Cement concrete plain including placing, compacting, finishing and curing complete (Including screening and washing of stone aggregate without shuttering. (G.S.I. No. 5 P-16). |
| --- | --- |

(i) 	Ratio 1:2:4

3107.0 Cft		@ Rs. 14429/25		P% Cft		Rs. 4,48,317/=

(Rupees Fourteen Thousand Four Hundred Twenty Nine

and Paisas Twenty Five) only (Per Hundred Cft)

| 7. | Cement Plaster (1:4) upto 20’ height 1/2” thick (G.S.I.No. 11 (b) P-51) |
| --- | --- |

6558.0 Sft 		@ Rs. 2283/93		P% Sft			Rs. 1,49,780/=

(Rupees Two Thousand Two Hundred Eighty Three

and Paisas Ninety Three) only (Per Hundred Sft)

| 8. | Cement Pointing struck joints on wall (G.S.I. No. 19 (b) P-52). |
| --- | --- |

- Ratio (1:3)

6600.0 Sft		@ Rs. 1213/58		P% Sft			Rs. 80,096/=

(Rupees One Thousand Two Hundred Thirteen

and Paisas Fifty Eight) only (Per Hundred Sft)

| 9. | Earth work excavation undressed lead upto a single throw of Kassi Phawrah or shovel. (b) in ordinary soil. (G.S.I No 1/b P-1) |
| --- | --- |

74218.52 Cft		@ Rs. 1361/25		P‰ Cft		Rs. 1,01,030/=

(Rupees One Thousand Three Hundred Sixty One

and Paisas Twenty Five) only (Per Thousand Cft)

Total   Rs. 18,14,339/=

PART-5	SITE DEVELOPMENT

| 1. | Cement concrete plain including placing, compacting, finishing and curing complete (Including screening and washing of stone aggregate without shuttering. (G.S.I. No. 5 P-16). |
| --- | --- |

(i) 	Ratio 1:2:4

1278.50 Cft		@ Rs. 14429/25		P% Cft		Rs. 1,84,478/=

(Rupees Fourteen Thousand Four Hundred Twenty

Nine and Paisas Twenty Five) only (Per Hundred Cft)

(ii) 	Ratio 1:4:8

2009.50 Cft		@ Rs. 11288/75		P% Cft		Rs. 2,26,847/=

(Rupees Eleven Thousand Two Hundred Eighty Eight

and Paisas Seventy Five)  only (Per Hundred Cft)

Total	Rs. 4,11,325/=

CONDITIONS

- The rates should be inclusive of all the Taxes i/c. Sales Tax, Octroi. Royalties etc, if any.

- No separate carriage will be allowed to the contractor.

- The Testing of the works/Pumping Machinery/Pipe will be arranged by the contractor at his own cost, No separate payment will be made.

- No premium will be allowed on Non-Schedule items.

- Any error or omission in the specifications/items will be governed by the relevant specifications and schedule of rates.

- The decision of the Executive Engineer will be final and binding on all the parties in any dispute.

- The contractor will have to submit the certificate of manufacturer at the time of supply of Machinery.

| CONTRACTOR |  | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THARPARKAR @ MITHI |
| --- | --- | --- |