SCHEDULE “B”

PROVIDING, LAYING, JOINTING AND TESTING P.E 12" DIA FOR CHANGE OF SOURCE & REHABILITATION OF EXISTING URBAN WATER SUPPLY SCHEME DIPLO DISTRICT THARPARKAR

| 1. | Providing, laying, fixing in trenches including fitting, jointing and testing etc complete in all respect. The high density polyethylene P.E pipes (HDPE-100) for W/S conforming ISO 4427/DIN 8074/8075 B.S 3580 & PSI 3051 (P.H.E.S.I.No. F-1 P-28). |
| --- | --- |

PN-16, 355mm 12" Dia

5000.0 Rft		@ Rs. 3689/=		P.Rft				Rs. 1,84,45,000/=

(Rupees Three Thousand Six Hundred Eighty Nine)

Only (Per Rft)

| 2. | P.E Pipe special Providing stap joint for P.E Pipe (P.H.S of Mat: G-6 P-21). |
| --- | --- |

PN-16, 355mm 12" Dia

2 No:			@ Rs. 35425/=	Each				Rs. 70,850/=

(Rupees Thirty Five Thousand Four Hundred

Twenty Five) Only (Each)

| 3. | Providing and fixing M.S flange made of M.S plate having a thickness and total weight as mentioned against each item it includes the cost of making holes, facing welding, nut, bolts, rubber packing, white lead fitter cartage etc complete (P.H.S.I.No: 8 Part-D). |
| --- | --- |

12" dia

2 No:			@ Rs. 2952/=	Each				Rs. 5,904/=

(Rupees Two Thousand Nine Hundred Fifty Two)

Only (Each)

| 4. | Jointing C.I /M.S Flanged Pipes & special Flange inside trenches i/c applying rubber packing of required thickness nuts and bolts with washer etc. and other rules required for jointing and testing be same to be specified presser etc complete. (P.H.S.I. No: 1 P-40). |
| --- | --- |

12" dia

2 Joints		@ Rs. 2239/= 	P.Joint			Rs. 4,478/=

(Rupees Two Thousand Two Hundred Thirty Nine)

Only (Per Joint)

| 5. | Jungle clearance and removing within100 ft. (G.S.I No. 4 (a) P-95). |
| --- | --- |

(Light).

45000.0 Sft		@ Rs. 75/63		P‰ Sft			Rs. 3,403/=

(Rupees Seventy Five and Paisas Sixty Three)

Only (Per Thousand Sft)

| 6. | Earth work excavation in ashes, sand, soft soil or silt clearance undressed lead upto 50 ft (For Removing dunes). (G.S.I.No: 2 P-1). |
| --- | --- |

210000.0 Cft		@ Rs. 1663/75	P‰ Cft			Rs. 3,49,388/=

(Rupees One Thousand Six Hundred Sixty Three)

and Paisas Seventy Five) Only (Per Thousand Cft)

| 7. | Excavation for pipe line trenches and pits in sandy soil including trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade, cutting joint holes and disposal of surplus earth within a one chain as directed by Engineer Incharge. Providing fence guards, lights, flags, temporary crossings for non vehicular traffic where ever required lift upto 5 ft (1.52 m) and lead upto one chain (30.5 m). (G.S.I.No: 2 P-46). |
| --- | --- |

50000.0 Cft		@ Rs. 3750/=	P‰ Cft			Rs.1,87,500/=

(Rupees Three Thousand Seven Hundred Fifty)

Only (Per Thousand Cft)

| 8. | Refilling the excavated stuff in trenches 6" thick layer i/c watering ramming to full compaction etc complete. (P.H.S.I.No: 24 P-53). |
| --- | --- |

45000.0 Cft		@ Rs. 2760/=	P‰ Cft			Rs. 1,24,200/=

(Rupees Two Thousand Seven Hundred Sixty)

Only (Per Thousand Cft)				Total 	Rs. 1,91,90,723/=

- The rates should be inclusive of all the Taxes i/c. Sales Tax, Octroi. Royalties etc, if any.

- No separate carriage will be allowed to the contractor.

- The Testing of the works/Pumping Machinery/Pipe will be arranged by the contractor at his own cost, No separate payment will be made.

- No premium will be allowed on Non-Schedule items.

- Any error or omission in the specifications/items will be governed by the relevant specifications and schedule of rates.

- The decision of the Executive Engineer will be final and binding on all the parties in any dispute.

- The contractor will have to submit the certificate of manufacturer at the time of supply of Machinery.

| CONTRACTOR |  | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THARPARKAR @ MITHI |
| --- | --- | --- |