SCHEDULE “B”

INSTALLATION OF 10 NOS: TUBE WELLS, PUMP HOUSE, R.C.C RESERVOIR & PVC RISING MAIN IN 07 UNION COUNCILS OF PS-62 (PART-II) VILLAGE GOTHIO, MUHAMMAD ALI SHAH,  SAKRIO KUNBHAR PARO & MUBARAK RIND ALI AKBER RIND PARO DISTRICT THARPARKAR.

ABSTRACT OF COST

Part-A	Boring of Tube Well (04 Nos:)				Rs. 65,23,632/=

Part-B	Pump House (8' x 8') (04 Nos:)				Rs. 7,22,028/=

Part-C	R.C.C Reservoir (04 Nos:)				Rs. 45,95,563/=

Part-D	Rising Main 3" dia 					Rs. 6,11,418/=

Total 		Rs. 1,24,52,641/=

| CONTRACTOR |  | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THARPARKAR @ MITHI |
| --- | --- | --- |

PART-A	BORING OF TUBE WELL (GOTHIO & MUHAMMAD ALI SHAH 425' (02 NOS:)

| 1. | Mobilization tube well construction. |
| --- | --- |

1-Tripe		@ Rs. 31570/=		P.Trip			Rs. 31,570/=

(Rupees Thirty One Thousand Five Hundred

Seventy)  only (Per Trip)

| 2. | Drill for tube well at 16" inch minimum dia meter from ground level up to 100' depth. |
| --- | --- |

100 ft			@ Rs. 1997/12		P.ft			Rs. 1,99,712/=

(Rupees One Thousand Nine Hundred Seventy Nine

and Paisas Twelve) only (Per ft)

| 3. | Drill for tube well at 16" inch minimum dia meter from 100' depth maximum 200' ft depth. |
| --- | --- |

100 ft			@ Rs. 2302/53		P.ft			Rs. 2,30,253/=

(Rupees Two Thousand Three Hundred Two and

Paisas Fifty Three) only (Per ft)

| 4. | Drill hole to 16" dia 200' ft to 300' depth. |
| --- | --- |

100 ft			@ Rs. 2607/95		P.ft			Rs. 2,60,795/=

(Rupees Two Thousand Six Hundred Seven

and Paisas Ninety Five) only (Per ft)

| 5. | Drill hole 16" dia 300' ft to 400 ft. |
| --- | --- |

100 ft			@ Rs. 2995/67		P.ft			Rs. 2,99,567/=

(Rupees Two Thousand Nine Hundred Ninety Five

and Paisas Sixty Seven) only (Per ft)

| 6. | Drill hole 16" dia 400' ft to 500 ft. |
| --- | --- |

25 ft			@ Rs. 3383/40		P.ft			Rs. 84,585/=

(Rupees Three Thousand Three Hundred Eighty Three

and Paisas Forty) only (Per ft)

| 7. | Supplying and install 8" nominal dia under PVC class “D” pump housing casing (Blind Pipe). |
| --- | --- |

300 ft			@ Rs. 934/70		P.ft			Rs. 2,80,410/=

(Rupees Nine Hundred Thirty Four and Paisas

Seventy) only (Per ft)

| 8. | Supplying and install 8" nominal diameter PVC class “D” slatted. (Strainer Pipe) |
| --- | --- |

125 ft			@ Rs. 1005/79		P.ft			Rs. 1,25,724/=

(Rupees One Thousand Five and Paisas Seventy Nine)

only (Per ft)

| 9. | Supply and install 8" nominal dia meter plug 5'-0 ft long complete i/c casing and cap 7 concrete plug. |
| --- | --- |

01 No:			@ Rs. 6033/50		Each			Rs. 6,034/=

(Rupees Six Thousand Thirty Three and Paisas Fifty)

only (Each)

| 10. | Supply and install well head casing and security cap. |
| --- | --- |

01 No:			@ Rs. 4854/=		Each			Rs. 4,854/=

(Rupees Four Thousand Eight Hundred Fifty Four)

only (Per ft)

| 11. | Supply and place graded bajri (3/8" x 1/8") pack in well. |
| --- | --- |

425 ft			@ Rs. 232/=			P.ft			Rs. 98,600/=

(Rupees Two Hundred Thirty Two) only (Per ft)

| 12. | Develop and test well. |
| --- | --- |

01 No:			@ Rs. 107239/=		Each			Rs. 1,07,239/=

(Rupees One Lac Seven Thousand Two Hundred

Thirty Nine) only (Each)

| 13. | Dis-infection of well. |
| --- | --- |

01 No:			@ Rs. 500/=			Each			Rs. 500/=

(Rupees Five Hundred) only (Each)

| 14. | Construction concrete Class “B” around well head casing complete. |
| --- | --- |

01 No:			@ Rs. 3035/=		Each			Rs. 3,035/=

(Rupees Three Thousand Thirty Five) only (Each)

Cost of 01 No: Tube Well							Rs. 17,32,878/=

2 No:					@ Rs. 17,32,878/=			Rs. 34,65,756/=

PART-A	BORING OF TUBE WELL (SAKRIO & MUBARAK RIND 380' (02 NOS:)

| 1. | Mobilization tube well construction. |
| --- | --- |

1-Tripe		@ Rs. 31570/=		P.Trip			Rs. 31,570/=

(Rupees Thirty One Thousand Five Hundred

Seventy)  only (Per Trip)

| 2. | Drill for tube well at 16" inch minimum dia meter from ground level up to 100' depth. |
| --- | --- |

100 ft			@ Rs. 1997/12		P.ft			Rs. 1,99,712/=

(Rupees One Thousand Nine Hundred Seventy Nine

and Paisas Twelve) only (Per ft)

| 3. | Drill for tube well at 16" inch minimum dia meter from 100' depth maximum 200' ft depth. |
| --- | --- |

100 ft			@ Rs. 2302/53		P.ft			Rs. 2,30,253/=

(Rupees Two Thousand Three Hundred Two and

Paisas Fifty Three) only (Per ft)

| 4. | Drill hole to 16" dia 200' ft to 300' depth. |
| --- | --- |

100 ft			@ Rs. 2607/95		P.ft			Rs. 2,60,795/=

(Rupees Two Thousand Six Hundred Seven

and Paisas Ninety Five) only (Per ft)

| 5. | Drill hole 16" dia 300' ft to 400 ft. |
| --- | --- |

80 ft			@ Rs. 2913/36		P.ft			Rs. 2,33,069/=

(Rupees Two Thousand Nine Hundred Thirteen

and Paisas Thirty Six) only (Per ft)

| 6. | Supplying and install 8" nominal dia under PVC class “D” pump housing casing (Blind Pipe). |
| --- | --- |

260 ft			@ Rs. 934/70		P.ft			Rs. 2,43,022/=

(Rupees Nine Hundred Thirty Four and Paisas

Seventy) only (Per ft)

| 7. | Supplying and install 8" nominal diameter PVC class “D” slatted. (Strainer Pipe) |
| --- | --- |

120 ft			@ Rs. 1005/79		P.ft			Rs. 1,20,695/=

(Rupees One Thousand Five and Paisas Seventy Nine)

only (Per ft)

| 8. | Supply and install 8" nominal dia meter plug 5'-0 ft long complete i/c casing and cap 7 concrete plug. |
| --- | --- |

01 No:			@ Rs. 6033/50		Each			Rs. 6,034/=

(Rupees Six Thousand Thirty Three and Paisas Fifty)

only (Each)

| 9. | Supply and install well head casing and security cap. |
| --- | --- |

01 No:			@ Rs. 4854/=		Each			Rs. 4,854/=

(Rupees Four Thousand Eight Hundred Fifty Four)

only (Per ft)

| 10. | Supply and place graded bajri (3/8" x 1/8") pack in well. |
| --- | --- |

380 ft			@ Rs. 232/=			P.ft			Rs. 88,160/=

(Rupees Two Hundred Thirty Two) only (Per ft)

| 11. | Develop and test well. |
| --- | --- |

01 No:			@ Rs. 107239/=		Each			Rs. 1,07,239/=

(Rupees One Lac Seven Thousand Two Hundred

Thirty Nine) only (Each)

| 12. | Dis-infection of well. |
| --- | --- |

01 No:			@ Rs. 500/=			Each			Rs. 500/=

(Rupees Five Hundred) only (Each)

| 13. | Construction concrete Class “B” around well head casing complete. |
| --- | --- |

01 No:			@ Rs. 3035/=		Each			Rs. 3,035/=

(Rupees Three Thousand Thirty Five) only (Each)

Cost of 01 No: Tube Well							Rs. 15,28,938/=

2 No:					@ Rs. 15,28,938/=			Rs. 30,57,876/=

PART-B	PUMP HOUSE SIZE (8' X 8')

| 1. | Excavation in foundation of building bridges and other structure i/c dag belling dressing, refilling around structure with excavated earth watering and ramming lead up to one chain and lift up to 5 ft. (in sand ashes or loose soil). |
| --- | --- |

184.00 Cft		@ Rs. 2722/50		P‰ Cft		Rs. 501/=

(Rupees Two Thousand Seven Hundred Twenty Two

and Paisas Fifty)  only (Per Thousand Cft)

| 2. | Cement concrete plain including placing, compacting, finishing and curing complete (including screening and washing of stone aggregate without shuttering. |
| --- | --- |

65.00 Cft		@ Rs. 11288/75		P‰ Cft		Rs. 7,338/=

(Rupees Eleven Thousand Two Hundred Eighty Eight

and Paisas Seventy Five)  only (Per Thousand Cft)

| 3. | Pucca brick work in foundation and plinth in (1:6). |
| --- | --- |

118.0 Cft		@ Rs. 11948/36 		P% Cft		Rs. 14,099/=

(Rupees Eleven Thousand Nine Hundred Forty Eight

and Paisas Thirty Six)  only (Per Hundred Cft)

| 4. | Pucca brick work in ground floor in cement sand mortar (1:6). |
| --- | --- |

234.00 Cft		@ Rs. 12674/36		P% Cft		Rs. 29,658/=

(Rupees Twelve Thousand Six Hundred Seventy Four

and Paisas Thirty Six)  only (Per Hundred Cft)

| 5. | Reinforced cement concrete work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also i/c of forms moulds lifting shuttering curing rendering and finishing the exposed surfaces i/c screening and washing of shingle 1/8" to 1/4" gauge. |
| --- | --- |

80.00 Cft		@ Rs. 337/=			P.Cft			Rs. 26,960/=

(Rupees Three Hundred Thirty Seven) only (Per Cft)

| 6. | Fabrication of mild steel reinforcement for cement concrete i/c cutting bending lying in position making joints and fastening i/c cost of binding wire also i/c removal of rust from bars. |
| --- | --- |

3.21 Cwt		@ RS. 5001/70 		P.Cwt			Rs. 16,055/=

(Rupees Five Thousand One and Paisas Seventy)

only (Per Cwt)

| 7. | Filling, watering and ramming earth under floor with surplus earth from foundation lead upto one chain and lift upto 5 feet. |
| --- | --- |

87.00 Cft		@ Rs. 1512/50 		P‰ Cft		Rs. 132/=

(Rupees One Thousand Five Hundred Twelve and

Paisas Fifty)  only (Per Thousand Cft)

| 8. | Making and fixing steel grated door with 1/16" thick sheeting including iron frame 2"x 2" x 3/8" and ¾" square bars 4" center to center with locking arrangement. |
| --- | --- |

21.00 Sft		@ RS. 726/72 		P.Sft			Rs. 15,261/=

(Rupees Seven Hundred Twenty Six and

Paisas Seventy Two)  only (Per Sft)

| 9. | Fabrication of heavy steel work with angles, tees, flat iron, iron and sheet iron for making trusses, girders, tanks etc, including cutting riveting, handing assembling and fixing but eluding erection in position. |
| --- | --- |

2.03 Cwt		@ Rs. 4928/49 		P.Cwt			Rs. 10,005/=					(Rupees Four Thousand Nine Hundred Twenty Eight

and Paisas Forty Nine) only (Per Cwt)

| 10. | Supplying and fixing iron steel grill of 3/4" x 3/4" x 1/8" slice flat iron of approved design i/c paining 3 coats etc complete weight not to be less than 3.70 lbs per sq: ft of finished grill. |
| --- | --- |

24.00 Sft		@ Rs. 180/50 		P.Sft			Rs. 4,332/=

(Rupees One Hundred Eighty and Paisas Fifty)

only (Per Sft)

| 11. | Cement Plaster (1:6) upto 12’ height 1/2" thick. |
| --- | --- |

389.0 Sft		@ Rs. 2206/60   		P% Sft			Rs. 8,584/=

(Rupees Two Thousand Two Hundred Six and

Paisas Sixty) only (Per Hundred Sft)

| 12. | Cement Plaster (1:4) upto 12’ height 3/8" thick. |
| --- | --- |

389.00 Sft		@ Rs. 2197/52  		P% Sft			Rs. 8,548/=

(Rupees Two Thousand One Hundred Ninety Seven

and Paisas Fifty Two) only (Per Hundred Sft)

| 13. | Cement pointing (1:3) struck joint on wall. |
| --- | --- |

358.00 Sft		@ Rs. 1213/58  		P% Sft		 	Rs. 4,345/=

(Rupees One Thousand Two Hundred Thirteen and

Paisas Fifty Eight) only (Per Hundred Sft)

| 14. | Providing and laying 2" thick topping concrete ratio (1:2:4) surface finishing and dividing into panels 2" thick. |
| --- | --- |

190.00 Sft		@ Rs. 3275/50 		P%Sft			Rs. 6,223/=

(Rupees Three Thousand Two Hundred Seventy Five

and Paisas Fifty) only (Per Hundred Sft)

| 15. | P/F C.I. main hole covering frame i/c cost of material. |
| --- | --- |

1.75 Cwt	 	@ Rs. 6985/=		P.Cwt			Rs. 12,224/=

(Rupees Six Thousand Nine Hundred Eighty Five)

only (Per Cwt)

| 16. | Painting new surface preparing surfaces and painting of doors and windows of any type i/c edges two coats. |
| --- | --- |

42.00 Sft		@ Rs. 2116/41 		P% Sft			Rs. 889/=

(Rupees Two Thousand One Hundred Sixteen

and Paisas Forty One) only (Per Hundred Sft)

| 17. | White washing (a) one coat. |
| --- | --- |

389.00 Sft		@ Rs. 416/63		P% Sft			Rs. 1,621/=

(Rupees Four Hundred Sixteen and Paisas

Sixty Three)  only (Per Hundred Sft)

(b) Three Coats.

106.00 Sft		@ Rs. 829/95		P% Sft			Rs. 880/=

(Rupees Eight Hundred Twenty Nine and Paisas

Ninety Five)  only (Per Hundred Sft)

| 18. | Colour washing (2 coats). |
| --- | --- |

747.00 Sft		@ Rs. 859/90		P% Sft			Rs. 6,423/=

(Rupees Eight Hundred Fifty Nine and Paisas

Ninety)  only (Per Hundred Sft)

| 19. | S/F M/S. Girder size 8" x 4". |
| --- | --- |

1.527 Cwt		@ Rs. 3850/=		P.Cwt			Rs. 5,879/=

(Rupees Three Thousand Eight Hundred Fifty)

only (Per Cwt)

| 20. | Erection & fitting in position of iron trusses of water tanks etc |
| --- | --- |

2.03 Cwt		@ Rs. 271/04		P.Cwt			Rs. 550/=

(Rupees Two Hundred Seventy One and

Paisas  Zero Four) only (Per Cwt)

Cost of 01 No: Pump House						Total	Rs. 1,80,507/=

4 No:				@ Rs. 1,80,507/=				Rs. 7,22,028/=

PART – C	R.C.C U.G RESERVOIR (GOTHIO) (18 ft dia)

| 1. | Excavation for tanks & reservoirs in sandy Soil i/c trimming & dressing sides to true alignment / design correct / profiles & shape, leveling of bed of tanks to correct level & grade i/c laying of earth in 6” layers for construction of tanks & dressing & disposal of surplus excavated earth within one chain as directed by Engineer Incharge i/c providing fence guards lights flags wherever required lift upto 5 feet & lead upto one chain. |
| --- | --- |

0 – 5.0'

7257.0 Cft 		@ Rs. 3150/= 	P‰ Cft			Rs. 22,860/=

(Rupees Three Thousand One Hundred Fifty) only

(Per Thousand Cft)

5.1' – 8.0'

2885.0 Cft 		@ Rs. 3700/= 	P‰ Cft			Rs. 10,675/=

(Rupees Three Thousand Seven Hundred) only

(Per Thousand Cft)

8.1' – 11.0'

1981.0 Cft 		@ Rs. 4250/= 	P‰ Cft			Rs. 8,419/=

(Rupees Four Thousand Two Hundred Fifty) only

(Per Thousand Cft)

| 2. | Cement Concrete plain including placing compacting finishing and curing complete (including screening and washing of stone aggregate without shutting. |
| --- | --- |

Ratio (1:4:8)

265.00. Cft		@ Rs. 11288/75	P% Cft			Rs.29,915/=

(Rupees Eleven Thousand Two Hundred Eighty

Eight and Paisas Seventy Five) only  (Per Hundred Cft)

| 3. | Reinforced cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding, which will be paid separately. This rate also includes all kinds of forms moulds lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle) (a) RCC work in roof slab beams columns, rafts, lintels and other structural members laid in situ or precast laid in position complete in all respects Ratio (1:2:4) 90 lbs cement 2 Cft sand and 4 Cft shingle 1/8” to ¼” gauge. |
| --- | --- |

1323.0 Cft		@ Rs. 337/=		P.Cft				Rs. 4,45,581/=

(Rupees Three Hundred Thirty Seven) only

(Per Cft)

| 4. | Fabrication of Mild steel reinforcement for cement concrete including cutting bending laying in position, making joints & fastenings including cost of binding wire (also includes removal of rust from bars) (USING TAR BARS). |
| --- | --- |

59.06 Cwt		@ Rs. 5001/70	P.Cwt				Rs. 2,95,400/=

(Rupees Five Thousand One and Paisas Seventy)

only (Per Cwt)

| 5. | Cement Plaster (1:3) upto 12’ height ¾” thick (For Water Proofing). |
| --- | --- |

645.00  Sft		@ Rs. 2795/30	 P% Sft			Rs. 18,030/=

(Rupees Two Thousand Seven Hundred Ninety Five

and Paisas Thirty)  only (Per Hundred Sft)

| 6. | Supplying Dampo (For mixing with cement plaster for water proofing purposes) 3.50 Lbs per bag of cement. |
| --- | --- |

13.51 Kg		@ Rs. 125/=		P.Kg				Rs. 1,689/=

(Rupees One Hundred Twenty Five) only

(Per Kg)

| 7. | Providing and fixing C.I .Man Hole cover with frame i/c cost of material. |
| --- | --- |

1.00 Cwt		@ Rs. 6985/=	P.Cwt				Rs. 6,985/=

(Rupees Six Thousand Nine Hundred Eighty Five) only

(Per Cwt)

| 8. | Providing / Fixing C.I ventilator (Weight not less than 80 – Lbs/ Each) in tank roof of approved design with water light joint i/c painting etc complete. |
| --- | --- |

2 Nos:			@ Rs. 4870/=	Each				Rs. 9,740/=

(Rupees Four Thousand Eight Hundred Seventy) only

(Each)

| 9. | Providing construction joint in concrete work of 9” wide corrugated P/C water stopper (with bulb) i/c soldering cost of material and labour etc complete. |
| --- | --- |

122.0 Rft		@ Rs. 86/=		P.Rft				Rs. 10,492/=

(Rupees Eighty Six)  only  (Per Rft)

| 10. | Supplying C.I Tail Piece with one end flanged and other end spigot (for all size). |
| --- | --- |

0.131 Cwt		@ Rs. 6096/=	P.Cwt				Rs. 799/=

(Rupees Six Thousand Ninety Six)  only (P.Cwt)

| 11. N.S.I | Supplying and embedding C.I Foot steps of approved design weight not less than 15 Lbs. |
| --- | --- |

10 Nos:		@ Rs. 181/65	Each				Rs. 1,817/=

(Rupees One Hundred Eighty One and

Paisas Sixty Five)  only (Each)

| 12. | Providing and laying 1” thick topping cement concrete (1:2:4) including surface finishing and dividing into panels. |
| --- | --- |

2" thick

579.0 Sft		@ Rs. 3275/50	P% Sft				Rs. 18,965/=

(Rupees Three Thousand Two Hundred Seventy Five

and Paisas Fifty)  only (Per Hundred Sft)

| 13. | Providing, Laying, jointing and testing G.I Pipe of standard approved quality with thickness 6SWG test pressure 725 PSI. |
| --- | --- |

3" dia

12.0 Rft		@ Rs. 338/17	P.Rft				Rs. 4,058/=

(Rupees Three Hundred Thirty Eight and Paisas

Seventeen) only (Per Rft)

| 14. | Manufacturing, Supplying M.S flanges of different dia made out M.S Sheet of 3/8” thickness i/c cutting, drilling holes and welding of flanges with G.I/M. S Pipe etc complete. |
| --- | --- |

3" dia	4 Nos:		@ Rs. 945/=		Each				Rs. 3,780/=

(Rupees Nine Hundred Forty Five) only  (Each)

| 15. | C.I bend with flange and with hole including turning and facing of flanges for all size. |
| --- | --- |

3" dia

0.252 Cwt		@ Rs. 6096/=	P.Cwt				Rs. 3,200/=

(Rupees Six Thousand Ninety Six)  only (P.Cwt)

| 16. | Jointing C.I /M.S Flanged Pipes and special Flange inside trenches including I/C applying rubber packing of required thickness nuts and bolts with washer etc. and other rules required for jointing and testing be same to be specified presser etc complete. |
| --- | --- |

3" dia

6 Joint		@ Rs. 499/=		P.Joint			Rs.2,994/=

(Rupees Four Hundred Ninety Nine) only (P.Joint)

Total		Rs. 8,95,669/=

PART – C	R.C.C U.G RESERVOIR (MUHAMMAD ALI SHAH) (26 ft dia)

| 1. | Excavation for tanks and reservoirs in sandy Soil i/c trimming and dressing sides to true alignment / design correct / profiles and shape, leveling of bed of tanks to correct level & grade i/c laying of earth in 6” layers for construction of tanks and dressing and disposal of surplus excavated earth within one chain as directed by Engineer Incharge i/c providing fence guards lights flags wherever required lift upto 5 feet and lead upto one chain. |
| --- | --- |

0 – 5.0'

10209.0 Cft 		@ Rs. 3150/= 	P‰ Cft			Rs. 32,158/=

(Rupees Three Thousand One Hundred Fifty) only

(Per Thousand Cft)

5.1' – 8.0'

4354.0 Cft 		@ Rs. 3700/= 	P‰ Cft			Rs. 16,110/=

(Rupees Three Thousand Seven Hundred) only

(Per Thousand Cft)

8.1' – 11.0'

3224.0 Cft 		@ Rs. 4250/= 	P‰ Cft			Rs. 13,702/=

(Rupees Four Thousand Two Hundred Fifty) only

(Per Thousand Cft)

| 2. | Cement Concrete plain including placing compacting finishing and curing complete (including screening and washing of stone aggregate without shutting. |
| --- | --- |

Ratio (1:4:8)

454.00. Cft		@ Rs. 11288/75	P% Cft			Rs.51,251/=

(Rupees Eleven Thousand Two Hundred Eighty

Eight and Paisas Seventy Five) only  (Per Hundred Cft)

| 3. | Reinforced cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding, which will be paid separately. This rate also includes all kinds of forms moulds lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle) (a) RCC work in roof slab beams columns, rafts, lintels and other structural members laid in situ or precast laid in position complete in all respects Ratio (1:2:4) 90 lbs cement 2 Cft sand and 4 Cft shingle 1/8” to ¼” gauge. |
| --- | --- |

2077.0 Cft		@ Rs. 337/=		P.Cft				Rs. 6,99,949/=

(Rupees Three Hundred Thirty Seven) only

(Per Cft)

| 4. | Fabrication of Mild steel reinforcement for cement concrete including cutting bending laying in position, making joints & fastenings including cost of binding wire (also includes removal of rust from bars) (USING TAR BARS). |
| --- | --- |

92.72 Cwt		@ Rs. 5001/70	P.Cwt				Rs. 4,63,758/=

(Rupees Five Thousand One and Paisas Seventy)

only (Per Cwt)

| 5. | Cement Plaster (1:3) upto 12’ height ¾” thick (For Water Proofing). |
| --- | --- |

934.00  Sft		@ Rs. 2795/30	 P% Sft			Rs. 26,108/=

(Rupees Two Thousand Seven Hundred Ninety Five

and Paisas Thirty)  only (Per Hundred Sft)

| 6. | Supplying Dampo (For mixing with cement plaster for water proofing purposes) 3.50 Lbs per bag of cement. |
| --- | --- |

19.56 Kg		@ Rs. 125/=		P.Kg				Rs. 2,445/=

(Rupees One Hundred Twenty Five) only 	(Per Kg)

| 7. | Providing and fixing C.I .Man Hole cover with frame i/c cost of material. |
| --- | --- |

2.00 Cwt		@ Rs. 6985/=	P.Cwt				Rs. 13,970/=

(Rupees Six Thousand Nine Hundred Eighty Five) only

(Per Cwt)

| 8. | Providing / Fixing C.I ventilator (Weight not less than 80 – Lbs/ Each) in tank roof of approved design with water light joint i/c painting etc complete. |
| --- | --- |

2 Nos:			@ Rs. 4870/=	Each				Rs. 9,740/=

(Rupees Four Thousand Eight Hundred Seventy) only

(Each)

| 9. | Providing construction joint in concrete work of 9” wide corrugated P/C water stopper (with bulb) i/c soldering cost of material and labour etc complete. |
| --- | --- |

173.0 Rft		@ Rs. 86/=		P.Rft				Rs. 14,878/=

(Rupees Eighty Six)  only  (Per Rft)

| 10. | Supplying C.I Tail Piece with one end flanged and other end spigot (for all size). |
| --- | --- |

0.131 Cwt		@ Rs. 6096/=	P.Cwt				Rs. 799/=

(Rupees Six Thousand Ninety Six)  only (P.Cwt)

| 11. N.S.I | Supplying and embedding C.I Foot steps of approved design weight not less than 15 Lbs. |
| --- | --- |

10 Nos:		@ Rs. 181/65	Each				Rs. 1,817/=

(Rupees One Hundred Eighty One and

Paisas Sixty Five)  only (Each)

| 12. | Providing and laying 1” thick topping cement concrete (1:2:4) including surface finishing and dividing into panels. |
| --- | --- |

2" thick

1159.0 Sft		@ Rs. 3275/50	P% Sft				Rs. 37,963/=

(Rupees Three Thousand Two Hundred Seventy Five

and Paisas Fifty)  only (Per Hundred Sft)

| 13. | Providing, Laying, jointing and testing G.I Pipe of standard approved quality with thickness 6SWG test pressure 725 PSI. |
| --- | --- |

3" dia

12.0 Rft		@ Rs. 338/17	P.Rft				Rs. 4,058/=

(Rupees Three Hundred Thirty Eight and Paisas

Seventeen) only (Per Rft)

| 14. | Manufacturing, Supplying M.S flanges of different dia made out M.S Sheet of 3/8” thickness i/c cutting, drilling holes and welding of flanges with G.I/M. S Pipe etc complete. |
| --- | --- |

3" dia	4 Nos:		@ Rs. 945/=		Each				Rs. 3,780/=

(Rupees Nine Hundred Forty Five) only  (Each)

| 15. | C.I bend with flange and with hole including turning and facing of flanges for all size. |
| --- | --- |

3" dia

0.252 Cwt		@ Rs. 6096/=	P.Cwt				Rs. 3,200/=

(Rupees Six Thousand Ninety Six)  only (P.Cwt)

| 16. | Jointing C.I /M.S Flanged Pipes and special Flange inside trenches including I/C applying rubber packing of required thickness nuts and bolts with washer etc. and other rules required for jointing and testing be same to be specified presser etc complete. |
| --- | --- |

3" dia

6 Joint		@ Rs. 499/=		P.Joint			Rs.2,994/=

(Rupees Four Hundred Ninety Nine) only (P.Joint)

Total		Rs. 13,98,680/=

PART – C	R.C.C U.G RESERVOIR (SAKRIO) (22 ft dia)

| 1. | Excavation for tanks and reservoirs in sandy Soil i/c trimming and dressing sides to true alignment / design correct / profiles and shape, leveling of bed of tanks to correct level & grade i/c laying of earth in 6” layers for construction of tanks and dressing and disposal of surplus excavated earth within one chain as directed by Engineer Incharge i/c providing fence guards lights flags wherever required lift upto 5 feet and lead upto one chain. |
| --- | --- |

0 – 5.0'

8670.0 Cft 		@ Rs. 3150/= 	P‰ Cft			Rs. 27,311/=

(Rupees Three Thousand One Hundred Fifty) only

(Per Thousand Cft)

5.1' – 8.0'

3582.0 Cft 		@ Rs. 3700/= 	P‰ Cft			Rs. 13,253/=

(Rupees Three Thousand Seven Hundred) only

(Per Thousand Cft)

8.1' – 11.0'

2565.0 Cft 		@ Rs. 4250/= 	P‰ Cft			Rs. 10,901/=

(Rupees Four Thousand Two Hundred Fifty) only

(Per Thousand Cft)

| 2. | Cement Concrete plain including placing compacting finishing and curing complete (including screening and washing of stone aggregate without shutting. |
| --- | --- |

Ratio (1:4:8)

353.0 Cft		@ Rs. 11288/75	P% Cft			Rs.39,849/=

(Rupees Eleven Thousand Two Hundred Eighty

Eight and Paisas Seventy Five) only  (Per Hundred Cft)

| 3. | Reinforced cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding, which will be paid separately. This rate also includes all kinds of forms moulds lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle) (a) RCC work in roof slab beams columns, rafts, lintels and other structural members laid in situ or precast laid in position complete in all respects Ratio (1:2:4) 90 lbs cement 2 Cft sand and 4 Cft shingle 1/8” to ¼” gauge. |
| --- | --- |

1674.0 Cft		@ Rs. 337/=		P.Cft				Rs. 5,64,138/=

(Rupees Three Hundred Thirty Seven) only

(Per Cft)

| 4. | Fabrication of Mild steel reinforcement for cement concrete including cutting bending laying in position, making joints & fastenings including cost of binding wire (also includes removal of rust from bars) (USING TAR BARS). |
| --- | --- |

74.73Cwt		@ Rs. 5001/70	P.Cwt				Rs. 3,73,777/=

(Rupees Five Thousand One and Paisas Seventy)

only (Per Cwt)

| 5. | Cement Plaster (1:3) upto 12’ height ¾” thick (For Water Proofing). |
| --- | --- |

790.0  Sft		@ Rs. 2795/30	 P% Sft			Rs. 22,083/=

(Rupees Two Thousand Seven Hundred Ninety Five

and Paisas Thirty)  only (Per Hundred Sft)

| 6. | Supplying Dampo (For mixing with cement plaster for water proofing purposes) 3.50 Lbs per bag of cement. |
| --- | --- |

17.0 Kg		@ Rs. 125/=		P.Kg				Rs. 2,125/=

(Rupees One Hundred Twenty Five) only

(Per Kg)

| 7. | Providing and fixing C.I .Man Hole cover with frame i/c cost of material. |
| --- | --- |

2.0 Cwt		@ Rs. 6985/=	P.Cwt				Rs. 13,970/=

(Rupees Six Thousand Nine Hundred Eighty Five) only

(Per Cwt)

| 8. | Providing / Fixing C.I ventilator (Weight not less than 80 – Lbs/ Each) in tank roof of approved design with water light joint i/c painting etc complete. |
| --- | --- |

2 Nos:			@ Rs. 4870/=	Each				Rs. 9,740/=

(Rupees Four Thousand Eight Hundred Seventy) only

(Each)

| 9. | Providing construction joint in concrete work of 9” wide corrugated P/C water stopper (with bulb) i/c soldering cost of material and labour etc complete. |
| --- | --- |

147.0 Rft		@ Rs. 86/=		P.Rft				Rs. 12,642/=

(Rupees Eighty Six)  only  (Per Rft)

| 10. | Supplying C.I Tail Piece with one end flanged and other end spigot (for all size). |
| --- | --- |

0.131 Cwt		@ Rs. 6096/=	P.Cwt				Rs. 799/=

(Rupees Six Thousand Ninety Six)  only (P.Cwt)

| 11. N.S.I | Supplying and embedding C.I Foot steps of approved design weight not less than 15 Lbs. |
| --- | --- |

10 Nos:		@ Rs. 181/65	Each				Rs. 1,817/=

(Rupees One Hundred Eighty One and

Paisas Sixty Five)  only (Each)

| 12. | Providing and laying 1” thick topping cement concrete (1:2:4) including surface finishing and dividing into panels. |
| --- | --- |

2" thick

842.0 Sft		@ Rs. 3275/50	P% Sft				Rs. 27,580/=

(Rupees Three Thousand Two Hundred Seventy Five

and Paisas Fifty)  only (Per Hundred Sft)

| 13. | Providing, Laying, jointing and testing G.I Pipe of standard approved quality with thickness 6SWG test pressure 725 PSI. |
| --- | --- |

3" dia

12.0 Rft		@ Rs. 338/17	P.Rft				Rs. 4,058/=

(Rupees Three Hundred Thirty Eight and Paisas

Seventeen) only (Per Rft)

| 14. | Manufacturing, Supplying M.S flanges of different dia made out M.S Sheet of 3/8” thickness i/c cutting, drilling holes and welding of flanges with G.I/M. S Pipe etc complete. |
| --- | --- |

3" dia	4 Nos:		@ Rs. 945/=		Each				Rs. 3,780/=

(Rupees Nine Hundred Forty Five) only  (Each)

| 15. | C.I bend with flange and with hole including turning and facing of flanges for all size. |
| --- | --- |

3" dia

0.252 Cwt		@ Rs. 6096/=	P.Cwt				Rs. 1,536/=

(Rupees Six Thousand Ninety Six)  only (P.Cwt)

| 16. | Jointing C.I /M.S Flanged Pipes and special Flange inside trenches including I/C applying rubber packing of required thickness nuts and bolts with washer etc. and other rules required for jointing and testing be same to be specified presser etc complete. |
| --- | --- |

3" dia

6 Joint		@ Rs. 499/=		P.Joint			Rs.2,994/=

(Rupees Four Hundred Ninety Nine) only (P.Joint)

Total		Rs. 11,32,353/=

PART – C	R.C.C U.G RESERVOIR (MUBARAK RIND) (23 ft dia)

| 1. | Excavation for tanks and reservoirs in sandy Soil i/c trimming and dressing sides to true alignment / design correct / profiles and shape, leveling of bed of tanks to correct level & grade i/c laying of earth in 6” layers for construction of tanks and dressing and disposal of surplus excavated earth within one chain as directed by Engineer Incharge i/c providing fence guards lights flags wherever required lift upto 5 feet and lead upto one chain. |
| --- | --- |

0 – 5.0'

8670.0 Cft 		@ Rs. 3150/= 	P‰ Cft			Rs. 27,311/=

(Rupees Three Thousand One Hundred Fifty) only

(Per Thousand Cft)

5.1' – 8.0'

3582.0 Cft 		@ Rs. 3700/= 	P‰ Cft			Rs. 13,253/=

(Rupees Three Thousand Seven Hundred) only

(Per Thousand Cft)

8.1' – 11.0'

2565.0 Cft 		@ Rs. 4250/= 	P‰ Cft			Rs. 10,901/=

(Rupees Four Thousand Two Hundred Fifty) only

(Per Thousand Cft)

| 2. | Cement Concrete plain including placing compacting finishing and curing complete (including screening and washing of stone aggregate without shutting. |
| --- | --- |

Ratio (1:4:8)

353.0 Cft		@ Rs. 11288/75	P% Cft			Rs.39,849/=

(Rupees Eleven Thousand Two Hundred Eighty

Eight and Paisas Seventy Five) only  (Per Hundred Cft)

| 3. | Reinforced cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding, which will be paid separately. This rate also includes all kinds of forms moulds lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle) (a) RCC work in roof slab beams columns, rafts, lintels and other structural members laid in situ or precast laid in position complete in all respects Ratio (1:2:4) 90 lbs cement 2 Cft sand and 4 Cft shingle 1/8” to ¼” gauge. |
| --- | --- |

1732.0 Cft		@ Rs. 337/=		P.Cft				Rs. 5,83,684/=

(Rupees Three Hundred Thirty Seven) only

(Per Cft)

| 4. | Fabrication of Mild steel reinforcement for cement concrete including cutting bending laying in position, making joints & fastenings including cost of binding wire (also includes removal of rust from bars) (USING TAR BARS). |
| --- | --- |

77.32 Cwt		@ Rs. 5001/70	P.Cwt				Rs. 3,86,731/=

(Rupees Five Thousand One and Paisas Seventy)

only (Per Cwt)

| 5. | Cement Plaster (1:3) upto 12’ height ¾” thick (For Water Proofing). |
| --- | --- |

826.0  Sft		@ Rs. 2795/30	 P% Sft			Rs. 23,089/=

(Rupees Two Thousand Seven Hundred Ninety Five

and Paisas Thirty)  only (Per Hundred Sft)

| 6. | Supplying Dampo (For mixing with cement plaster for water proofing purposes) 3.50 Lbs per bag of cement. |
| --- | --- |

17.0 Kg		@ Rs. 125/=		P.Kg				Rs. 2,125/=

(Rupees One Hundred Twenty Five) only 	(Per Kg)

| 7. | Providing and fixing C.I .Man Hole cover with frame i/c cost of material. |
| --- | --- |

2.00 Cwt		@ Rs. 6985/=	P.Cwt				Rs. 13,970/=

(Rupees Six Thousand Nine Hundred Eighty Five) only

(Per Cwt)

| 8. | Providing / Fixing C.I ventilator (Weight not less than 80 – Lbs/ Each) in tank roof of approved design with water light joint i/c painting etc complete. |
| --- | --- |

2 Nos:			@ Rs. 4870/=	Each				Rs. 9,740/=

(Rupees Four Thousand Eight Hundred Seventy) only

(Each)

| 9. | Providing construction joint in concrete work of 9” wide corrugated P/C water stopper (with bulb) i/c soldering cost of material and labour etc complete. |
| --- | --- |

153.72 Rft		@ Rs. 86/=		P.Rft				Rs. 13,220/=

(Rupees Eighty Six)  only  (Per Rft)

| 10. | Supplying C.I Tail Piece with one end flanged and other end spigot (for all size). |
| --- | --- |

0.131 Cwt		@ Rs. 6096/=	P.Cwt				Rs. 799/=

(Rupees Six Thousand Ninety Six)  only (P.Cwt)

| 11. N.S.I | Supplying and embedding C.I Foot steps of approved design weight not less than 15 Lbs. |
| --- | --- |

10 Nos:		@ Rs. 181/65	Each				Rs. 1,817/=

(Rupees One Hundred Eighty One and

Paisas Sixty Five)  only (Each)

| 12. | Providing and laying 1” thick topping cement concrete (1:2:4) including surface finishing and dividing into panels. |
| --- | --- |

2" thick

916.0 Sft		@ Rs. 3275/50	P% Sft				Rs. 30,004/=

(Rupees Three Thousand Two Hundred Seventy Five

and Paisas Fifty)  only (Per Hundred Sft)

| 13. | Providing, Laying, jointing and testing G.I Pipe of standard approved quality with thickness 6SWG test pressure 725 PSI. |
| --- | --- |

3" dia

12.0 Rft		@ Rs. 338/17	P.Rft				Rs. 4,058/=

(Rupees Three Hundred Thirty Eight and Paisas

Seventeen) only (Per Rft)

| 14. | Manufacturing, Supplying M.S flanges of different dia made out M.S Sheet of 3/8” thickness i/c cutting, drilling holes and welding of flanges with G.I/M. S Pipe etc complete. |
| --- | --- |

3" dia	4 Nos:		@ Rs. 945/=		Each				Rs. 3,780/=

(Rupees Nine Hundred Forty Five) only  (Each)

| 15. | C.I bend with flange and with hole including turning and facing of flanges for all size. |
| --- | --- |

3" dia

0.252 Cwt		@ Rs. 6096/=	P.Cwt				Rs. 1,536/=

(Rupees Six Thousand Ninety Six)  only (P.Cwt)

| 16. | Jointing C.I /M.S Flanged Pipes and special Flange inside trenches including I/C applying rubber packing of required thickness nuts and bolts with washer etc. and other rules required for jointing and testing be same to be specified presser etc complete. |
| --- | --- |

3" dia

6 Joint		@ Rs. 499/=		P.Joint			Rs.2,994/=

(Rupees Four Hundred Ninety Nine) only (P.Joint)

Total		Rs. 11,68,861/=

PART-D 	U.PVC PIPE 6",4" & 3" DIA.

| 1. | Providing PVC pipe of class “B” equivalent make fixing in trench i/c cutting, fitting and jointing with “Z” Joint with one rubber ring i/c testing with water to head of 61 meter or 200 ft. (P.H.S.I. No. 1 P-22). |
| --- | --- |

3" Dia

4000.0 Rft		@ Rs. 90/=			P.Rft			Rs.3,60,000/=

(Rupees Ninety) only (Per Rft)

| 2. | C.I sluice valve heavy pattern test pressure 21 kg/sq:cm or 300 lbs/sq: inch. (P.H.S. of Mat: Item No. 2 P-9). |
| --- | --- |

3" Dia

4 Nos:			@ Rs. 4290/=		Each			Rs. 17,160/=

(Rupees Four Thousand Two Hundred Ninety) only (Each)

| 3. | PVC “Z” Joint fitting Cast iron special for A.C pressure pipe (Standard Weight A.C.I.L “B” Class) |
| --- | --- |

Short Piece/Tail Piece

3" dia

08 Nos:		@ Rs. 375/=    		Each			Rs. 3,000/=

(Rupees Three Hundred Seventy Five) only (Each)

| 4. | PVC Bend 3" dia |
| --- | --- |

3 Nos:			@ Rs. 731/=    		Each			Rs. 2,193/=

(Rupees Seven Hundred Thirty One) only (Each)

| 5. | Jointing C.I /M.S Flanged Pipes and special Flange inside trenches including i/c applying rubber packing of required thickness nuts and bolts with washer etc. and other rules required for jointing and testing be same to be specified presser etc. complete |
| --- | --- |

3" dia

8 Joints		@ Rs. 499/=  		P.Joint		Rs. 3,992/=

(Rupees Four Hundred Ninety Nine) only

(Per Joint)

| 6. | Making joints to PVC specials fitting including laying of specials and cost of solvent cement of required diameter and testing the joints with along with PVC pipe “B, “C” & “D” class to the specied pressure and making good o all leaky joints etc complete. |
| --- | --- |

3" dia

03 Joint		@ Rs. 59/=  			P.Joint		Rs. 177/=

(Rupees Fifty Nine) only (Per Joint)

| 7. | Excavation for pipe line trenches and pits in sandy soil including trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade, cutting joint holes and disposal of surplus earth within a one chain as directed by Engineer Incharge. Providing fence guards, lights, flags, temporary crossings for non vehicular traffic where ever required lift upto 5 ft (1.52 m) and lead upto one chain (30.5 m).. |
| --- | --- |

24000.0 Cft		@ Rs. 3750/=		P‰ Cft		Rs. 90,000/=

(Rupees Three Thousand Seven Hundred Fifty)

Only (Per Thousand Cft)

| 8. | Refilling the excavated stuff in trenches 6" thick layer i/c watering ramming to full compaction etc complete. (P.H.S.I.No.24 P-53). |
| --- | --- |

21600.0 Cft		@ Rs. 2760/=		P‰ Cft		Rs. 59,616/=

(Rupees Two Thousand Seven Hundred Sixty)

Only (Per Thousand Cft)

| 9. | Providing chamber 3' x 2' (915 x 615 mm) inside dimension 4 ½' (1372 mm) deep as per approved design for sluice valve 3" to 12" dia with 18" (457 mm) dia inside cost iron cover and frame (wt = 1 cwt 3 qr) fixed in RCC 1:2:4 (102 mm) thick (with 5 Lbs steel per cft) 9" (299 mm) thick brick masonry wall set in 1:6 cement mortar 6" (1152 mm) thick cement concrete 1:3:6 in foundation 1" (25 mm) thick cement concrete 1:2:4 flooring ½" (12.5 mm) thick cement plaster 1:3 to all inside wall surface and to top i/c providing and fixing M.S foot rest at every one foot beyond 2 ½ ft depth curing, excavation, back filling and disposal of surplus earth etc complete. |
| --- | --- |

04 Nos:		@ Rs. 18820/=		Each			Rs. 75,280/=

(Rupees Eighteen Thousand Eight Hundred Twenty)

Only (Each)

Total	Rs. 6,11,418/=

CONDITIONS

- The rates should be inclusive of all the Taxes i/c. Sales Tax, Octroi. Royalties etc, if any.

- No separate carriage will be allowed to the contractor.

- The Testing of the works/Pipe will be arranged by the contractor at his own cost, No separate payment will be made.

- No premium will be allowed on Non-Schedule items.

- Any error or omission in the specifications/items will be governed by the relevant specifications and schedule of rates.

- The decision of the Executive Engineer will be final and binding on all the parties in any dispute.

| CONTRACTOR |  | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THARPARKAR @ MITHI |
| --- | --- | --- |