SCHEDULE “B”

PROVIDING, LAYING, JOINTING AND TESTING BLACK STEEL PIPE 8" DIA FOR PIPE LINE

WATER SUPPLY SCHEME LUNIO-DANO DANDHAL-NAGARPARKAR DISTRICT THARPARKAR

| 1. | Providing MS Black Steel Pipe 8" dia made out of MS Sheet confirming to API 5L Grade X-42 ERW & externally asphalt coated with fiber glass 5mm thick & internally C.C lining 8mm thick (AWWA specification) including laying, jointing with Hilical welding in trenches i/c cost of bends of any degree and testing with water specified pressure for different dia of pipes as below (Straight). |
| --- | --- |

8" Dia 4.80 mm thick

21320.0 Rft		@ Rs. 1554/87	P.Rft				Rs. 3,31,49,828/=

(Rupees One Thousand Five Hundred Fifty Four

and Paisas Eighty Seven) only (Per Rft)

| 2. | Supplying C.I sluice valve heavy pattern (Test pressure 21 kg sq.cm or 300 kgs). |
| --- | --- |

3" Dia

10 Nos:		@ Rs. 4290/=	Each				Rs. 42,900/=

(Rupees Four Thousand Two Hundred Ninety)

only (Each)

| 3. | Air valve double acting (local) 3" x 1". |
| --- | --- |

3" dia

6 Nos:			@ Rs. 4000/=	Each				Rs. 24,000/=

(Rupees Four Thousand) only (Each)

| 4. | Manufacturing, supplying M.S flange made out of M.S sheet 3/8" thickness i/c cutting, drilling holes and welding of flange with M.S pipe etc complete. |
| --- | --- |

3" dia

18 No:			@ Rs. 500/89	Each				Rs. 9,016/=

(Rupees Five Hundred and Paisas Eighty Nine)

only (Each)

| 5. | Providing, Laying, Jointing and Testing G.I Pipe of standard approved quality with thickness 5.0 mm (G-6) with test pressure (725 PSI). |
| --- | --- |

3" dia

2000.0 Rft		@ Rs. 338/17	P.Rft				Rs. 6,76,340/=

(Rupees Three Hundred Thirty Eight and Paisas

Seventeen)  only (Per Rft)

4" dia

4500.0 Rft		@ Rs. 	480/12	P.Rft				Rs. 21,60,540/=

(Rupees Four Hundred Eighty and Paisas

Twelve)  only (Per Rft)

| 6. | C.I bend with flange and with hole including turning and facing of flanges for all. |
| --- | --- |

3" dia

1.05 Cwt		@ Rs. 6096/=	P.Cwt				Rs. 6,401/=

(Rupees Six Thousand Ninety Six) only (Per Cwt)

| 7. | Jungle clearance and removing within100 ft. |
| --- | --- |

(Light).

319800.0 Sft		@ Rs. 75/63		P‰ Sft			Rs. 24,186/=

(Rupees Seventy Five and Paisas Sixty Three)  only

(Per Thousand Sft)

| 8. | Excavation for pipe line trenches and pits in sandy soil including trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade, cutting joint holes and disposal of surplus earth within a one chain as directed by Engineer Incharge. Providing fence guards, lights, flags, temporary crossings for non vehicular traffic where ever required lift upto 5 ft (1.52 m) and lead upto one chain (30.5 m). |
| --- | --- |

218887.50 Cft	@ Rs. 	3900/=	P‰ Cft			Rs. 8,53,661/=

(Rupees Three Thousand Nine Hundred) only

(Per Thousand Cft)

| 9. | Jointing C.I /M.S Flanged Pipes and special Flange inside trenches including I/C applying rubber packing of required thickness nuts and bolts with washer etc. and other rules required for jointing and testing be same to be specified presser etc complete. |
| --- | --- |

3" dia

26.0 Joints		@ Rs. 499/= 		P.Joint			Rs. 12,974/=

(Rupees Four Hundred Ninety Nine) only

(P.Joint)

| 10. | Refilling the excavated stuff in trenches 6" thick layer i/c watering ramming to full compaction etc complete. |
| --- | --- |

196998.75 Cft	@ Rs. 2760/=	P‰ Cft			Rs. 5,43,717/=

(Rupees Two Thousand Seven Hundred Sixty)

Only (Per Thousand Cft)

| 11. | Construction of Air Valve Stand Post. |
| --- | --- |

6 Nos. 		@ Rs. 25550/= 	Each 				Rs. 1,53,300/=

(Rupees Twenty Five Thousand Five Hundred

Fifty) Only (Each)

Total 		Rs. 3,76,56,863/=

CONDITIONS

- The rates should be inclusive of all the Taxes i/c. Sales Tax, Octroi. Royalties etc, if any.

- No separate carriage will be allowed to the contractor.

- The Testing of the works/pipe will be arranged by the contractor at his own cost, No separate payment will be made.

- No premium will be allowed on Non-Schedule items.

- Any error or omission in the specifications/items will be governed by the relevant specifications and schedule of rates.

- The decision of the Executive Engineer/Superintending Engineer will be final and binding on all the parties in any dispute.

- The contractor will have to submit the certificate of manufacturer at the time of supply of pipe.

| CONTRACTOR |  | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THARPARKAR @ MITHI |
| --- | --- | --- |