## Sheet1
SCHEDULE B
| Name of work:- | Rehabilitation of Elementary /Secondary Schools of Taluka Nawabshah & Daur District Shaheed Benazirabad 2013-14 Progr: at (i) GBPS Fakir Muhammad Khoso (ii) GBPS Haji Ramzan Magsi (Electrical work)
S.No | Description |  | Quantity |  |  | Rate | Unit | Amount
PART "A"SCHEDULE ITEMS
1 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20 mm
(3/4") channel patti on surface as required (SINO: 129/P-15)
|  |  | = | 42 | Point | 910 | P.Point | 38220
2 | Wiring for Plug point with 3/.029 PVC insulated wire
20mm(3/4") channel patti on surface require(SINO: 130/P-15)
|  |  | = | 8 | Point | 742 | P.points | 5936
2 | Providing and laying (Main or Sub-Main) PVC insulated with single
core copper conductar 250/440volts size 2-7/.029.
(SINO: 45/P.No: 06)
|  |  | = | 80 | Meter | 118 | P.Meter | 9440
3 | Providing and laying (Main or Sub-Main) PVC insulated with sigle core
coper copper conductor 250/440 volts size (2-7/0.44) 10mm2
(SINO: 47/P.No: 06)
|  |  | = | 300 | Meter | 213 | P.Meter | 63900
4 | Providing and fixing one way SP 5 amp switch flush type
(SINO: 219/P-33)
|  |  | = | 42 | Nos | 54 | P.Nos | 2268
5 | Providing and fixing two pin SP 5 amp plug and socket.
(SINO: 222/P-33)
|  |  | = | 8 | Nos | 80 | P.Nos | 640
9 | Providing and fixing Brass pendant lamp holder.
(SINO: 229/P-33)
|  |  | = | 30 | Nos | 74 | P.No | 2220
5 | Providin and fixing Baklite ceiling Rose with two terminals
(SINO: 228,P-33)
|  |  | = | 12 | Nos | 72 | P.No | 864
7 | Providing and fixing cercuit breacker 6,10,15,20,30,40,50 & 63 amps
DP (TB-55) on prepared board as required. (SINO: 203, /Page No: 31)
|  |  | = | 8 | Nos | 916 | P.No | 7328
8 | Providing and fixing cercuit breaker 6,10,15,20,30,40,50 & 63 amp SP (TB)
on prepared board as required (SINO: 204-P-31)
|  |  | = | 2 | Nos | 2456 | P.No | 4912
16 | Providin and fixing Brass ceiling fan 56" (good quality)
(SINO: 234,Page No: 34)
|  |  | = | 12 | Nos | 3185 | P.No | 38220
[7 empty] | Total Rs: | 173948
PART (B) Non -Schedule Items)
1 | Providing and fixing Energy Saver light fancy type Superior quality
including Electric connectionon wall ceiling etc complete (R.A)
|  |  | = | 32 | Nos |  | P.No | 0
2 | Errection of A.C Ceiling fans including wiring of down rod with i/1,13,
3/.029 PVC wire in fixing on regulator blade canopy etc as required (R.A)
|  |  | = | 12 | Nos |  | P.No | 0
3 | Providing and fixing Midl steel bar fan clamps 15.8 mm (5/8") dia suitable
for RCC roof (R.A)
|  |  | = | 12 | Nos |  | P.No | 0
4 | Providin and fixing Fan Regulator (R.A)
|  |  | = | 12 | Nos |  | P.No

## Sheet3
SUMMARY OF COST
| Name of work | Rehabilitation of Elementary /Secondary Schools of Taluka Nawabshah & Daur District Shaheed Benazirabad 2013-14 Progr: at (i) GBPS Fakir Muhammad Khoso (ii) GBPS Haji Ramzan Magsi (Electrical work)
1 | Cost of Schedule Item |  | Rs: | 173948
|  | Total Part | Rs: | 173948
2 | Cost of Non Schedule Item |  | Rs: | #REF!
|  | Total | Rs: | #REF!
|  | Say | Rs: | 193800
| Sub-Engineer |  | Assistant Engineer Electrical Education Works Shaheed Benazirabad Region

## Sheet5
FINANCIAL REVIEW
| Name of worki:- | Rehabilitation of Elementary /Secondary Schools of Taluka Nawabshah & Daur District Shaheed Benazirabad 2013-14 Progr: at (i) GBPS Fakir Muhammad Khoso (ii) GBPS Haji Ramzan Magsi (Electrical work)
S.No | Comonent | As per PC-I | Amount of Carried out Estimate | Amount of Technical Sanction
1 | GBPS Fakir Muhammad Khoso |  | 104320
2 | GBPS Haji Ramzan Magsi |  | 72540 | 193800
| Total | 0 | 176860 | 193800
Excess/Saving on PC-I 176,860.00 ( - ) 193,800.00 = 16940.00 Excess
| i-e | 16940.00x100 = | 9.57% Excess which is within 15% Permissible limit.
176860
| Sub-Engineer |  | Assistant Engineer Electrical Education Works Shaheed Benazirabad Region

## Sheet6
FACE SHEET
| DIVISION | EXECUTIVE ENGINEER
EDUCATION WORK DIVISION
SHAHEED BENAZIRABAD
| SUB-DIVISION | ASSISTANT ENGINEER
ELECTRICAL EDUCATION WORKS
SHAHEED BENAZIRABAD REGION
| FUND HEAD | DISTRICT
| SERVICE HEAD | Rehabilitation of Elementary /Secondary Schools of Taluka Nawabshah & Daur District Shaheed Benazirabad 2013-14 Progr: at (i) GBPS Fakir Muhammad Khoso (ii) GBPS Haji Ramzan Magsi (Electrical work)
THE ESTIMATE HAS BEEN FRAMED IN THE OFFICE OF THE
EXECUTIVE ENGINEER EDUCATION WORKS DIVISION S.B.A THE PROBABLE
EXPENDITURE INCURRED ON THE ABOVE NAMED WORK WILL BE CHARGEABLE
AGAINST THE HEAD OF ACCOUNTS AS ABOVE
Amount of RS: 193,800/=
| Sub-Engineer | Assistant Enginne
Electrical Education Works
Shaheed Benazirabad Region