## GEOTECH - BOQ
SINDH FORST DEPARTMENT GEOTECHNICAL INVESTIGATIONS CONSTRUCTION OF CATEGORY-I, II, II (ALT.), V BUNGALOWS AND FOREST HOUSE - 1 AT KARACHI BILL OF QUANTITIES
Sr. | Description |  |  |  | Unit |  | Qty. | Rate |  | Amount
No. | [7 empty] | (Rs.) |  | (Rs.)
A. | FIELD INVESTIGATIONS
A1 | Mobilization and demobilization of straight rotary rig equipment and all other tools, plant, equipment, plateforms etc at site including shifting from one investigation point to another. The drilling equipment shall be adequate in quantity to meet the time schedule. |  |  |  | L.S. |  | Job
A2 | Drilling of boreholes in overburden soils/rock below NSL by straight rotary method and the backfilling of boreholes with Bentonite - Cement - Sand mix or other suitable material to their original position. The drilling shall be carried out upto:
| a. 0-10 m depth below NSL |  |  |  | L.M. |  | 160
| b. 10-15 m depth below NSL |  |  |  | L.M. |  | 30
A3 | Performance of Standard Penetration Tests (SPTs) as per ASTM D1586-84 (1992/2011) in boreholes along with collection of SPT samples at 1 m interval in general, or as necessary, including their labeling, packing, storage & transportation to an approved testing laboratory. |  |  |  | No. |  | 190
A4 | Collection of rock samples by continuous coring in boreholes and undisturbed soil samples from boreholes through Denison/ Pitcher/Shelby samplers, as per ASTM D 1587 including their waxing, labeling, packing, storage & transportation of rock/soil samples to an approved testing laboratory. |  |  |  | No. |  | 38
A5 | Collection of water samples (if encountered) from boreholes including their labeling, packing, storage & transportation to an approved testing laboratory. |  |  |  | No. |  | 1
A6 | Submission of geotechnical investigation report (5 copies) including recommendations for foundation design and construction and material investigation report (05) copies. |  |  |  | No. |  | Job
| Sub-Total A |  |  |  | Rs.
Establishment of coordinates and ground elevations of all the boreholes its are included in the scop of work. The coordinates should be provided with reference to a prominent local bench mark.
Preferred method of boring is straight rotary method. Percussion method will be allowed only if gravelly strata in encountered, after the approval of Engineer.
All undisturbed samples shall be packed, transporated as per ASTM D 4220. The area and clearance ratios should also be as per ASTM D 1587 standard.
Sr. No. |  | Description | Unit | Qty. |  | Rate |  |  | Amount
B. |  | LABORATORY TESTING FOR SOIL INVESTIGATIONS |  |  |  | (Rs.) |  |  | (Rs.)
B1 |  | Sieve analysis | No. | 57
B2 |  | Liquid and plastic limits | No. | 38
B3 |  | Bulk density & dry density | No. | 35
B4 |  | Consolidation | No. | 20
B5 |  | Unconfined compression test on soil and rock samples | No. | 25
B6 |  | Chemical test on soil samples (TDS, pH, SQA, Chloride content, organic matter content) | No. | 4
B7 |  | Complete chemical analysis of water samples i/c TDS, Cl, SO4 & pH | No. | 1
B8 |  | Modifued AASHTO compaction | No. | 2
Sub- Total B Rs.
Total (A+B)= | [5 empty] | Rs.