## Sch-B (1-i)
Construction of Office Complex at Taluka Shujabad District Mirpurkas.
Schedule-"B".
Sr. No: | Items of Work. | Qty: |  | Rate. | Unit. | Amount.
Part (A) Main Building.
1 | Excavation in foundation of Building Bridges and other structure i/c dagbelling dressing, refilling around structure with excavated earth watering and remming lead upto 5 ft: (b) In ordinary soil. (S.I.No:18(b) P-04) | 37125 | -Cft: | 3176.25 | %-0Cft: | 117918
2 | Earth for slush or Daldal including dewatering. (S.I.No:16, P-04) | 37125 | -Cft: | 2420 | %-0Cft: | 89843
3 | Bailing or pumping out sub soil water during excavation concreting, cost in situ concrete or masonary work in foundation etc. (P.H.E.S.I.No:18, P-75) | 111375 | -Cft: | 543 | %0-Cft: | 60477
4 | Cement concrete brick or stone ballast 1-1/2” thick to 2” gauze ratio 1:4:8. (S.I.No:04(b) P-15) | 6708 | -Cft: | 9416.28 | %-Cft: | 631644
5 (i) | Reinforced cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms moulds: lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle) (a) R.C. work in roof slab, beams columns rafts, lintels and other structural members laid in situ or precast laid in position complete in all respects. (i) Ratio 1:2:4 90 Lbs: cement 2-Cft: sand 4-Cft: shingle 1/8” to 1/4” guaze. (S.I.No:06, P-17) | 13054 | -Cft: | 337 | P-Cft: | 4399198
(ii) | Reinforced cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms moulds: lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle) (a) R.C. work in roof slab, beams columns rafts, lintels and other structural members laid in situ or precast laid in position complete in all respects. (i) Ratio 1:2:4 90 Lbs: cement 2-Cft: sand 4-Cft: shingle 1/8” to 1/4” guaze. (Add Extra for Ground Floor) (337.00 (S.I.No:06, P-17) (S.I.No:06, P-17) | 18396 | -Cft: | 337 | P-Cft: | 6199452
(iii) | Reinforced cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms moulds: lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle) (a) R.C. work in roof slab, beams columns rafts, lintels and other structural members laid in situ or precast laid in position complete in all respects. (i) Ratio 1:2:4 90 Lbs: cement 2-Cft: sand 4-Cft: shingle 1/8” to 1/4” guaze. (Add Extra for First Floor) (337.00 + 12.10 = 349.10) (S.I.No:06, P-17) | 5614 | -Cft: | 349.1 | P-Cft: | 1959847
(iv) | Reinforced cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms moulds: lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle) (a) R.C. work in roof slab, beams columns rafts, lintels and other structural members laid in situ or precast laid in position complete in all respects. (i) Ratio 1:2:4 90 Lbs: cement 2-Cft: sand 4-Cft: shingle 1/8” to 1/4” guaze. (Add Extra for Second Floor) (337.00 + 12.10 + 12.10 = 361.20) (S.I.No:06, P-17) | 5614 | -Cft: | 361.2 | P-Cft: | 2027777
6 | Fabrication of mild steel reinforcement for cement concrete including cutting, bending, laying in position, making joints and fastenings including cost of binding wire (b) Using Tor bars. (S.I.No:08(b) P-17) | 1613.25 | -Cwt: | 5001.7 | P.Cwt: | 8068993
7 | Extra labour for lifting of steel above first floor for every additional floor. (S.I.No:29, P-19) | 300.91 | -Cwt: | 151.25 | P.Cwt: | 45513
8 | Cement concrete plain including placing compacting, finishing and curing, complete i/c screening and washing stone aggregate without shuttering. (h) Ratio 1:3:6. (S.I.No:05(h), P-16) | 3641 | -Cft: | 12595 | %-Cft: | 458584
9 | Erection and removal of centering for R.C.C. or plain cement concrete works of deodar wood (2nd: class) (b) for partial wood. (ii) Vertical. (S.I.No:19(b-ii) P-18) | 2513 | -Sft: | 3127.41 | %-Sft: | 78592
10 | Pacca brick work in foundation and plinth in (I-e) cement sand mortor 1:6 (S.I.No:04(I-e), P-20) | 326 | -Cft: | 11948.36 | %-Cft: | 38952
11 | Filling, watering and ramming earth in floors with surplus earth from foundation lead upto one chain and lift upto 5 ft: (S.I.No:21, P-04) | 12375 | -Cft: | 1512.5 | %0-Cft: | 18717
12 | Supplying and filling sand under floor and plugging in walls. (S.I.No:29, P-26) | 16266 | -Cft: | 1141.25 | %-Cft: | 185636
13 | P/F G.I. frames / chowkits of size 7" x 2" or 4-1/2" x 3" for doors using 20 gauge G.I. sheet i/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c all carriage, tools and plants used in making and fixing. (S.I.No:29, P-93) | 1281 | -Rft: | 228.9 | P.Rft: | 293221
14 | P/F G.I. frames / chowkits of size 7" x 2" or 4-1/2" x 3" for windows using 20 gauge G.I. sheet i/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c all carriage, tools and plants used in making and fixing. (S.I.No:28, P-93) | 31 | -Rft: | 240.5 | P.Rft: | 7456
15 | First class deodar wood wrought, joinery work in doors and windows etc, fixed in position i/c chowkits hold fasts hinges, iron towers bolts, chocks cleats, handles and cords with hooks, etc. Deodar panelled or panelled and glazed or fully glazed (b) 1-3/4” thick. (only Shutter) (S.I.No:07(b) P-58) | 347 | -Sft: | 902.93 | P.Sft: | 313317
16 | P/F in position doors, windows and ventilators of first class deodar wood frames and 1-3/4" thick commercial ply, veneer shutters of first class deodar skeleton (Hollow) and commercial ply wood (3 ply) on both side i/c hold fasts, hinges iron tower bolts, handles & cleats with cord & one mortice locks and hooks. (S.I.No:09, P-58) (only Shutters) (Full Rate 1227.36 - 370.83 = 856.53) | 763 | -Sft: | 856.53 | P.Sft: | 653532
17 | P/F with sunk iron screws wooden Architrave approved design / shape having width not less than 2-1/2" inches as directed by Engineer Incharge. (S.I.No:09, P-58) | 797 | -Rft: | 49.97 | P.Rft: | 39826
18 (i) | Pacca brick work in Ground floor in (I-e) cement sand mortor 1:6. (S.I.No:05(I-e) P-21) | 4585 | -Cft: | 12674.36 | %-Cft: | 581119
(ii) | Pacca brick work in First floor in (I-e) cement sand mortor 1:6. (S.I.No:05(I-e) P-21) | 4585 | -Cft: | 13112.99 | %-Cft: | 601231
(iii) | Pacca brick work in Second floor in (I-e) cement sand mortor 1:6. (S.I.No:05(I-e) P-21) | 4585 | -Cft: | 13687.74 | %-Cft: | 627583
19 (i) | Cement plaster 1:6 upto 20" height (b) 1/2" thick. (S.I.No:13(b) P-52) | 20190 | -Sft: | 2206.6 | %-Sft: | 445513
(ii) | Cement plaster 1:6 upto 20" height (b) 1/2" thick. (Extra Rate for First Floor) (S.I.No:13(b) P-52) | 19173 | -Sft: | 2346.6 | %-Sft: | 449914
(iii) | Cement plaster 1:6 upto 20" height (b) 1/2" thick. (Extra Rate for Second Floor) (S.I.No:13(b) P-52) | 19173 | -Sft: | 2486.6 | %-Sft: | 476756
20 (i) | Cement plaster 1:4 upto 20" height (a) 3/8" thick. (S.I.No:11(a) P-52) | 19173 | -Sft: | 2197.52 | %-Sft: | 421331
(ii) | Cement plaster 1:4 upto 20" height (a) 3/8" thick. (Extra Rate for First Floor) (S.I.No:11(a) P-52) | 19173 | -Sft: | 2337.52 | %-Sft: | 448173
(iii) | Cement plaster 1:4 upto 20" height (a) 3/8" thick. (Extra Rate for Second Floor) (S.I.No:11(a) P-52) | 19173 | -Sft: | 2477.52 | %-Sft: | 475015
21 | Rough cost / stucco cement plaster 3/4" thick in proportion of 1:1-1/2" 1-1/2" in cement hill sand and bajri in patterns. (S.I.No:32, P-55) | 1017 | -Sft: | 2306.1 | %-Sft: | 23453
22 | Laying white marble flooring fine dressed on the surface without winding set in lime mortar 1:2 i/c rubbing in polishing of joint. (a) 3/4" thick flooring. (S.I.No:28(a) P-43) | 10846 | -Sft: | 567.48 | P.Sft: | 6154888
23 | P/F 3/8" thick marble tiles of approved quality & colour and shade size 8" x 4" x 6" x 4" in dado skirting & facing removal / tucking of existing plaster surface etc. Over 1/2" thick base of cement mortar 1:3 setting of tiles in slurry of white cement over mortar base i/c filling the joints and washing the tiles with white cement slurry, current finishing, cleaning and polishing etc complete. (i) For new works. (S.I.No:68(i) P-49) | 1187 | -Sft: | 186.04 | P.Sft: | 220829
24 | S/F in position iron / steel grill of 3/4” x 1/4” size flat iron of approved design i/c painting 3-coat etc complete. (weight not to be less than 3.7 Lbs / Sq: Foot of finished grill) (S.I.No:26, P-93) | 1469 | -Sft: | 180.5 | P.Sft: | 265155
25 (i) | Providing and laying topping cement concrete 1:2:4 including surface finishing and dividing into panels. (d) 3” thick topping. (S.I.No:16(d), P-42) | 500 | -Sft: | 4411.82 | %-Sft: | 22059
(ii) | 2” thick topping. | 5729 | -Sft: | 3729.26 | %-Sft: | 213649
26 | Two coats of bitumen laid hot using 34-Lbs: for %-Sft: over roof and blinded with sand at one Cft: per %-Sft: (S.I.No:13, P-35) | 5729 | -Sft: | 1887.4 | %-Sft: | 108129
27 | P/F iron collapsible gate with channel framing of section 3/4" x 5/16" at 4" c/c i/c revitted with 3/4" x 1/8" flat iron patti placed diagonally and provided with top & bottom T-section 1" x 1" x 1/8" along with rollers also i/c locking arrangement and fixing in floor / ceiling or wall etc. completed. (S.I.No:32, P-94) | 128 | -Sft: | 387.04 | P-Sft: | 49541
28 | Making and fixing grating in opening including fixing at site with flat iron 2” x 3/8” and 3/4” Sq: bars at 4" centre to centre. (S.I.No:25, P-92) | 495 | -Sft: | 293.15 | P.Sft: | 145109
29 | Hard wood railing of any shape and design i/c bands and corners fixed in position i/c polishing complete as directed. (a) Shisham wood. (S.I.No.30(a) P-62) | 165 | -Rft: | 375.78 | P.Rft: | 62004
30 | Laying floor of approved white glazed tiles 1/4” thick in white cement 1:2 over 3/4” thick cement mortar 1:2 complete. (S.I.No:24, P-43) | 811 | -Sft: | 27678.86 | %-Sft: | 224476
31 | White glazed tiles 1/4” thick dado jointed in white cement and laid over 1:2 cement sand mortar 3/4” thick including finishing. (S.I.No:37, P-45) | 1810 | -Sft: | 28253.61 | %-Sft: | 511390
32 | Supplying and fixing in position aluminum channel framming for hinged door or alcop made with 5 mm thick tinted glass glazing (Belgium) and alpha (Japan) locks i/c handles and stoppers etc. (b) Deluxe model (Bronze) (S.I.No:83(b) P-108) | 68 | -Sft: | 1507.66 | P.Sft: | 102521
33 | Supplying and fixing in position aluminum channels framing for sliding windows and ventilators of Alcop made with 5 mm thick linted glass glazing (Belgium) and Aluminum fly screen i/c handles, stoppers & locking arrangement etc complete. (b) Deluxe model (Bronze) (S.I.No:84(b), P-108) | 481 | -Sft: | 1647.69 | P.Sft: | 792539
34 | Providing & fixing approved quality mortice lock. (S.I.No.21, P-60) | 8 | -Nos: | 1786.13 | Each. | 14289
35 | Jungle clearance and removing within 100-feet. (a) Light. (S.I.No:04(a) P-95) | 60000 | -Sft: | 75.63 | %-Sft: | 45378
36 | Primary coat of chalk under distemper. (S.I.No:23, P-54) | 6228 | -Sft: | 442.75 | %-Sft: | 27574
37 | Distempering on walls 03-coats. (S.I.No:24(c) P-54) | 6228 | -Sft: | 1079.65 | %-Sft: | 67241
38 | Preparing the surface and painting with matt finish i/c rubbing the surface with Bathy (silicon carbide rubbing brick) filling the voids with zink / chalk / plaster of paris mixture, applying first coat premix making the surface smooth and then painting 3 coats with matt finish of approved make etc complete. (new surface) (03-coat) (S.I.No:36(c), P-55) | 18343 | -Sft: | 3444.38 | %-Sft: | 631803
39 | Painting new surface. (c) Preparing surface and painting doors and windows any type 03-coats. (S.I.No:05(c-iii) P-70) | 2133 | -Sft: | 2116.41 | %-Sft: | 45143
40 | Preparing the surface and applying rock wall / shield (Natural wall texture) coating to provide durable crust to wall, thickness b/w 2 mm to 32 mm (1/8") with acrylic co-polymer emulsion, selected marble chips, adhesive and bactericdes, water resistance and fire and termite resistance (Upto 20'-0 height). (S.I.No:43, P-56) | 1304 | -Sft: | 4504.5 | %-Sft: | 58739
|  | T o t a l :- |  |  |  | 40001039
N O T E :-
1) | Only hill sand will be used.
2) | Premium on non schedule item will not be allowed.
3) | Cartage of any item either supplied y the Department if the contractor will be not allowed.
4) | Water arrangement will be made by the contractor at his own risk and cost.
5) | Income tax at 7.50% will be deducted from each bill of the contractor as per out standing orders.
6) | The Material used in the work or finished project can be got tested from any approved lab: as the direction by Engineer In charge or his representative and all the expenses in this connection with such testing shall be borne by the contractor executively.
Contractor
Executive Engineer Buildings Division Mirpurkhas

## Sch-B (1-ii)
Construction of Office Complex at Taluka Shujabad District Mirpurkhas. (i) Construction of Mosque.
Schedule-"B"
Sr. No: | Items of Work. | Qty: |  | Rate. | Unit. | Amount.
Part (A) Main Building.
1 | Excavation in foundation of Building Bridges and other structure i/c dagbelling dressing, refilling around structure with excavated earth watering and remming lead upto 5 ft: (b) In ordinary soil. (S.I.No:18(b) P-04) | 1592 | -Cft: | 3176.25 | %0-Cft: | 5057
2 | Cement concrete brick or stone ballast 1-1/2” thick to 2” gauze ratio 1:5:10. (S.I.No:04(c) P-15) | 838 | -Cft: | 8694.95 | %-Cft: | 72864
3 | Pacca brick work in foundation and plinth in (I-e) cement sand mortor 1:6 (S.I.No:04(I-e), P-20) | 1354 | -Cft: | 11948.36 | %-Cft: | 161781
4 | R.C.C work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms moulds: lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle) (a) R.C. work in roof slab, beams columns rafts, lintels and other structural members laid in situ or precast laid in position complete in all respects. (i) Ratio 1:2:4 90 Lbs: cement 2-Cft: sand 4-Cft: shingle 1/8” to 1/4” guaze. (S.I.No:06, P-17) | 995 | -Cft: | 337 | P-Cft: | 335315
5 | Fabrication of mild steel reinforcement for cement concrete including cutting bending laying in position making joints and festeining including cost of binding wire (also includes removal rust from bars) (a) Tor bars.(S.I.No:08(b) P-16)
(a) | Tar Bar | 60 | -Cwt: | 5001.7 | P.Cwt: | 300102
(b) | Mild Steel | 40 | -Cwt: | 4820.2 | P.Cwt: | 192808
6 | Filling, watering and ramming earth in floors with surplus earth from foundation lead upto one chain and lift upto 5 ft: (S.I.No:21, P-04) | 1061 | -Cft: | 1512.5 | %0-Cft: | 1605
7 | Filling, watering & ramming earth under floor with new earth (excavated from out side) lead upto one chain and lift upto 5 ft: (S.I.No:22, P-04) | 2561 | -Cft: | 3630 | %0-Cft: | 9296
8 | Extra lead for 06-miles. (S.I.No:01, P-01) (Schedule Carriage) | 1061 | -Cft: | 771.96 | %-Cft: | 8190
9 | Pacca brick work in Ground floor in (I-e) cement sand mortor 1:6. (S.I.No:05(I-e) P-21) | 1423 | -Cft: | 12674.36 | %-Cft: | 180356
10 | Cement plaster 1:6 upto 20" height (b) 1/2" thick. (S.I.No:13(b) P-52) | 5527 | -Sft: | 2206.6 | %-Sft: | 121959
11 | Cement plaster 1:4 upto 20" height (a) 3/8" thick. (S.I.No:11(a) P-52) | 5527 | -Sft: | 2197.52 | %-Sft: | 121457
12 | First class deodar wood wrought, joinery work in doors and windows etc, fixed in position i/c chowkits hold fasts hinges, iron towers bolts, chocks cleats, handles and cords with hooks, etc. Deodar panelled or panelled and glazed or fully glazed (b) 1-3/4” thick. (S.I.No:07(b) P-58) | 94 | -Sft: | 1273.76 | P.Sft: | 119733
13 | Supplying and fixing in position aluminum channel framming for hinged door or alcop made with 5 mm thick tinted glass glazing (Belgium) and alpha (Japan) locks i/c handles and stoppers etc. (b) Deluxe model (Bronze)(S.I.No:83(b) P-108) | 85 | -Sft: | 1507.66 | P.Sft: | 128151
14 | Supplying and fixing in position aluminum channels framing for sliding windows and ventilators of Alcop made with 5 mm thick linted glass glazing (Belgium) and Aluminum fly screen i/c handles, stoppers & locking arrangement etc complete. (b) Deluxe model (Bronze) (S.I.No:84(b), P-108) | 220 | -Sft: | 1647.69 | P.Sft: | 362492
15 | Cement concrete plain including placing compacting, finishing and curing, complete i/c screening and washing stone aggregate without shuttering. (f) Ratio 1:2:4. (S.I.No:05(f), P-16) | 190 | -Cft: | 14429.25 | %-Cft: | 27416
16 | Laying floors of approved coloured glazed tiles 1/4" thick laid in white cement and pigment on a bed of 3/4" thick cement mortar 1:2. (S.I.No:25, P-43) | 790 | -Sft: | 27747.06 | %-Sft: | 219202
17 | Glazed tile dado 1/4” thick laid in cement pigment over 1:2 cement sand mortar 3/4” thick including finishing. (S.I.No:38, P-45) | 816 | -Sft: | 28299.3 | %-Sft: | 230922
18 | P/L tiles glazed 6” x 6” x 1/4” on floor or wall facing in required coloured and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 gray cement mortor 3/4” thick i/c washing and filling of joints with slurry of white cement and pigment in desired shape with finishing, cleaning and cost of wax polish etc. complete i/c cutting tiles to proper profile. (SI.No:60, P-47) | 115 | -Sft: | 30509.77 | %-Sft: | 35086
19 | Laying white marble flooring fine dressed on the surface without winding set in lime mortar 1:2 i/c rubbing in polishing of joint. (a) 3/4" thick flooring. (S.I.No:28(a) P-43) | 150 | -Sft: | 567.48 | P.Sft: | 85122
20 | Khapriel of cement concrete 12” x 8” x 1” of approved design / shape laid flat in 1:2 grey cement mortar over a bed of 3/4” thick grey cement mortor 1:2. (S.I.No:39, P-38) | 23 | -Sft: | 8977.9 | %-Sft: | 2065
21 | P/F iron steel grill using solid square bars of size 1/2” x 1/2" placed at 4” c/c and frame of flat iron patti of 3/4” x 3/4” i/c circle shape at 1-0 apart equivalent fitted with screws are pins i/c painting 3-coats with Ist: coat of red oxide paint etc. (S.I.No:30, P-94) | 110 | -Sft: | 194.16 | P.Sft: | 21358
22 | First class deodar wood wrought joinery work in wire guaze door and windows with 22 S.W.G. Galvanized wire guaze 144 mesh per square inch iron fittings complete. (a) 1-3/4" thick deodar wood framing i/c wire gauze with ordinary hinges. (S.I.No:14(a), P-59) | 51 | -Sft: | 454.19 | P.Sft: | 23164
23 | Applying chemical polishing on existing mosaic / marble flooring / dado i/c cleaning grinding with carborandum stone / sand paper and applying chemical polish as per requirment. (S.I.No:70, P-55) | 150 | -Sft: | 36.6 | P.Sft: | 5490
24 | P/F plaster of paris ceiling border of 8" - 10" with of specified design & thickness i/c fixing besides ceiling with nails / screws with jetties. (S.I.No:44, P-39) | 212 | -Rft: | 104.22 | P.Rft: | 22095
25 | Providing and Fixing plaster of paris center pieces of 2'-0 dia i/c fixing in ceiling with nails / screws.(S.I.No:45 P-38) | 10 | -Nos: | 346.5 | Each. | 3465
26 | French polishing complete (a) new work. (S.I.No:07(a) P-77) | 188 | -Sft: | 3841.75 | %-Sft: | 7222
27 | Providing and laying topping cement concrete 1:2:4 including surface finishing and dividing into panels. (b) 1-1/2” thick topping. (S.I.No:16(a), P-42) | 1392 | -Sft: | 2548.29 | %-Sft: | 35472
28 | Two coats of bitumen laid hot using 34-Lbs: for %-Sft: over roof and blinded with sand at one Cft: per %-Sft: (S.I.No:13, P-35) | 212 | -Sft: | 1887.4 | %-Sft: | 4001
29 | Painting new surface. (c) Preparing surface and painting doors and windows any type 03-coats. (S.I.No:05(c-iii) P-70) | 34 | -Sft: | 2116.41 | %-Sft: | 720
30 | Primary coat of chalk under distemper. (S.I.No:23, P-54) | 790 | -Sft: | 442.75 | %-Sft: | 3498
31 | Distempering on walls 03-coats. (S.I.No:24(c) P-54) | 790 | -Sft: | 1079.65 | %-Sft: | 8529
32 | Preparing the surface and painting with matt finish i/c rubbing the surface with Bathy (silicon carbide rubbing brick) filling the voids with zink / chalk / plaster of paris mixture, applying first coat. (new surface) (03-coat)(S.I.No:36(c), P-55) | 1136 | -Sft: | 3444.38 | %-Sft: | 39128
33 | Preparing the surface and painting with weather coat i/c rubbing the surface with rubbing brick / sand paper, filling the voids with chalk / plaster of paris and then painting with waether coat 03-coats. (new surface) (S.I.No:38(c), P-56) | 3181 | -Sft: | 2567.95 | %-Sft: | 81686
34 | Painting new surface. (b) Preparing surface and painting sashes, fan light glazed or guazed doors any type 02-coats. (S.I.No:05(b) P-69) | 51 | -Sft: | 896.39 | %-Sft: | 457
35 | Pacca brick work other than building i/c skirting of joints upto 20’ height in (I-e) cement sand mortar ratio 1:6. (S.No:07(I-e) P-22) | 577 | -Cft: | 12346.65 | %-Cft: | 71240
36 | Providing and fixing deodar wooden wardrobe i/c boxing with back shelves, shutters drawers and brass fitting such as handles locking arrangement hanger rod shoe rod and mirror measuring 2' x 1’ complete as per approved design. (SI.No:24, P-61) | 24 | -Sft: | 2364.63 | P.Sft: | 56751
|  | T o t a l :- |  |  |  | 3105255
N O T E :-
1) | Only hill sand will be used.
2) | Premium on non schedule item will not be allowed.
3) | Cartage of any item either supplied y the Department if the contractor will be not allowed.
4) | Water arrangement will be made by the contractor at his own risk and cost.
5) | Income tax at 7.50% will be deducted from each bill of the contractor as per out standing orders.
6) | The Material used in the work or finished project can be got tested from any approved lab: as the direction by Engineer In charge or his representative and all the expenses in this connection with such testing shall be borne by the contractor executively.
Contractor
Executive Engineer Buildings Division Mirpurkhas

## Sch-B (1-iii)
Construction of Office Complex at Taluka Shujabad District Mirpurkhas. (i) Construction of All-Round Compound Wall And Garrage (6-Nos).
Schedule-"B"
Sr. No: | Items of Work. |  | Qty: |  | Rate. | Unit. | Amount.
Part (A) Garrage (06-Nos).
1 | Excavation in foundation of Building Bridges and other structure i/c dagbelling dressing, refilling around structure with excavated earth watering and remming lead upto 5 ft: (b) In ordinary soil. (S.I.No:18(b) P-04) |  | 2040 | -Cft: | 3176.25 | %0-Cft: | 6480
2 | Cement concrete brick or stone ballast 1-1/2” thick to 2” gauze ratio 1:5:10. (S.I.No:04(c) P-15) |  | 1234 | -Cft: | 8694.95 | %-Cft: | 107296
3 | Pacca brick work in foundation and plinth in (I-e) cement sand mortor 1:6 (S.I.No:04(I-e), P-20) |  | 1645 | -Cft: | 11948.36 | %-Cft: | 196551
4 | R.C.C work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms moulds: lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle) (a) R.C. work in roof slab, beams columns rafts, lintels and other structural members laid in situ or precast laid in position complete in all respects. (i) Ratio 1:2:4 90 Lbs: cement 2-Cft: sand 4-Cft: shingle 1/8” to 1/4” guaze. (S.I.No:06, P-17) |  | 1258 | -Cft: | 337 | P-Cft: | 423946
5 | Fabrication of mild steel reinforcement for cement concrete including cutting bending laying in position making joints and festeining including cost of binding wire (also includes removal rust from bars) (a) Tor bars.(S.I.No:08(b) P-16)
(a) | Tar Bar |  | 113 | -Cwt: | 5001.7 | P.Cwt: | 565192
(b) | Mild Steel |  | 75 | -Cwt: | 4820.2 | P.Cwt: | 361515
6 | Filling, watering and ramming earth in floors with surplus earth from foundation lead upto one chain and lift upto 5 ft: (S.I.No:21, P-04) |  | 1360 | -Cft: | 1512.5 | %0-Cft: | 2057
7 | Filling, watering & ramming earth under floor with new earth (excavated from out side) lead upto one chain and lift upto 5 ft: (S.I.No:22, P-04) |  | 3848 | -Cft: | 3630 | %0-Cft: | 13968
8 | Extra lead for 06-miles. (S.I.No:01, P-01) (Schedule Carriage) |  | 1360 | -Cft: | 771.96 | %-Cft: | 10499
9 | Pacca brick work in Ground floor in (I-e) cement sand mortor 1:6. (S.I.No:05(I-e) P-21) |  | 1970 | -Cft: | 12674.36 | %-Cft: | 249685
10 | Cement plaster 1:6 upto 20" height (b) 1/2" thick. (S.I.No:13(b) P-52) |  | 4892 | -Sft: | 2206.6 | %-Sft: | 107947
11 | Cement plaster 1:4 upto 20" height (a) 3/8" thick. (S.I.No:11(a) P-52) |  | 4892 | -Sft: | 2197.52 | %-Sft: | 107503
12 | Cement concrete plain including placing compacting, finishing and curing, complete i/c screening and washing stone aggregate without shuttering. (f) Ratio 1:2:4. (S.I.No:05(f), P-16) |  | 310 | -Cft: | 14429.25 | %-Cft: | 44731
13 | Colour cement tiles 8"x8"x3/4" of approved shade and pattern laid flat in 1:2 cement mortar over a bed 3/4" thick gret cement mortar of 1:2.(S.I.No:58, P-46) |  | 1826 | -Sft: | 10964.99 | %-Sft: | 200221
14 | Providing and laying topping cement concrete 1:2:4 including surface finishing and dividing into panels. (b) 1-1/2” thick topping. (S.I.No:16(a), P-42) |  | 1966 | -Sft: | 2548.29 | %-Sft: | 50099
15 | Two coats of bitumen laid hot using 34-Lbs: for %-Sft: over roof and blinded with sand at one Cft: per %-Sft: (S.I.No:13, P-35) |  | 1826 | -Sft: | 1887.4 | %-Sft: | 34464
16 | Primary coat of chalk under distemper. (S.I.No:23, P-54) |  | 6718 | -Sft: | 442.75 | %-Sft: | 29744
17 | Distempering on walls 03-coats. (S.I.No:24(c) P-54) |  | 6718 | -Sft: | 1079.65 | %-Sft: | 72531
18 | P/F G.I. sheet rolling shutter using 2 gauge G.I. sheet for shutter, side iron channel of 12 gauge for rolling on 2" dia C.I. pipe i/c bracket of 20 gauge, springs of requisite size and rolling pulley, necessary hold fasts, nuts bolts, welding, greasing, all carraige, T&P required, for making and fixing in masonry bor. (S.I.No:33, P-94) |  | 792 | -Sft: | 264.96 | P-Sft: | 209848
19 | First class deodar wood wrought, joinery work in doors and windows etc, fixed in position i/c chowkits hold fasts hinges, iron towers bolts, chocks cleats, handles and cords with hooks, etc. Deodar panelled or panelled and glazed or fully glazed (b) 1-3/4” thick. (S.I.No:07(b) P-58) |  | 18 | -Sft: | 1273.76 | P.Sft: | 22928
20 | P/F iron steel grill using solid square bars of size 1/2” x 1/2" placed at 4” c/c and frame of flat iron patti of 3/4” x 3/4” i/c circle shape at 1-0 apart equivalent fitted with screws are pins i/c painting 3-coats with Ist: coat of red oxide paint etc. (S.I.No:30, P-94) |  | 18 | -Sft: | 194.16 | P.Sft: | 3495
21 | Painting new surface. (c) Preparing surface and painting doors and windows any type 03-coats. (S.I.No:05(c-iii) P-70) |  | 36 | -Sft: | 2116.41 | %-Sft: | 762
22 | Painting old surface. (d) Painting guard bars, gates iron bars gratings, railings i/c standard braces (etc) and similar open work any type 03-coats. (S.I.No:04(d) P-69) |  | 1584 | -Sft: | 976.58 | %-Sft: | 15469
|  |  | T o t a l :- |  |  |  | 2836931
Part (B) Al Round Compound Wall.
1 | Execvation and foundation of building bridges and other structure i/c dagbelling dressing and refilling around the structure with excavated earth watering and remming lead upto one chain and lift upto 5’ft(b) In ordinary soil. (S.I.No: 18(b) P-4) |  | 8056 | -Cft: | 3176.25 | %0-Cft: | 25588
2 | Cement concrete brick or stone ballast 1-1/2” thick to 2” gauze ratio 1:5:10. (S.I.No:04(c) P-15) |  | 2188 | -Cft: | 8694.95 | %-Cft: | 190246
3 | Pacca brick work in foundation and plinth in cement sand mortor 1:6 (S.I.NO;4 P-24) |  | 2535 | -Cft: | 11948.36 | %-Cft: | 302891
4 | R.C.C work including all labour and material except the cost of steel reinforcement for bending and binding which will be paid separately. this rate also includes all kinds of forms mould lifting shuttering curing and washing of shingle(A) R.C work including roofslab, beams colums ,rafts lintels and other structure member laid (SI.No: 6, P-15) |  | 2748 | -Cft: | 337 | P-Cft: | 926076
5 | Fabrication of mild steel reinforcement for cement concrete including cutting bending laying in position making joints and festeining including cost of binding wire (also includes removal rust from bars) (a) Tor bars. (S.I.No:08(b) P-16)
(a) | Tar Bar |  | 109.92 | -Cwt: | 5001.7 | P.Cwt: | 549787
(b) | Mild Steel |  | 54.96 | -Cwt: | 4820.2 | P.Cwt: | 264918
6 | Pacca brick work other than building i/c skirting of joints upto 20’ height in (I-e) cement sand mortar ratio 1:6. (S.No:07(I-e) P-22) |  | 4500 | -Cft: | 12346.65 | %-Cft: | 555599
7 | Cement plaster 1:6 upto 20" height (b) 1/2" thick. (S.I.No:13(b) P-52) |  | 19500 | -Sft: | 2206.6 | %-Sft: | 430287
8 | Cement plaster 1:4 upto 20" height (a) 3/8" thick. (S.I.No:11(a) P-52) |  | 19500 | -Sft: | 2197.52 | %-Sft: | 428516
9 | Cement concrete plain including placing compacting, finishing and curing, complete i/c screening and washing stone aggregate without shuttering. (f) Ratio 1:2:4. (S.I.No:05(f), P-16) |  | 185 | -Cft: | 14429.25 | %-Cft: | 26694
10 | Making and fixing steel grated doors with 1/16" thick sheeting i/c angle iron frame 2" x 2" 3/8" and 3/4" square bars 4" centre to centre with locking arrangement. (S.I.No:24, P-92) |  | 180 | -Sft: | 726.72 | P.Sft: | 130810
11 | P/L tiles glazed 6” x 6” x 1/4” on floor or wall facing in required coloured and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 gray cement mortor 3/4” thick (SI.No:60, P-47) |  | 1020 | -Sft: | 30509.77 | %-Sft: | 311200
12 | Coloured cement tiles (Pattern 8"x8"x3/4" of approved shade and pattern laid flat in 1:2 grey cement mortor over a bed of 3/4 thick grey mortor 1:2. (S.I.No:58, P-46) |  | 560 | -Cft: | 10962.34 | %-Cft: | 61389
13 | Primary coat of chalk under distemper. (S.I.No:23, P-58) |  | 19500 | -Sft: | 442.75 | %-Sft: | 86336
14 | Distempering on walls 03-coats. (S.I.No:24(c) P-54) |  | 19500 | -Sft: | 1079.65 | %-Sft: | 210532
15 | Painting new surface. (b) Preparing surface and painting sashes, fan light glazed or guazed doors and type (i/c edges) any type 03-coats. (S.I.No:05(b) P-69) |  | 360 | -Sft: | 1270.83 | %-Sft: | 4575
|  | 311200 | T o t a l :- |  |  |  | 4505444
N O T E :-
1) | Only hill sand will be used.
2) | Premium on non schedule item will not be allowed.
3) | Cartage of any item either supplied y the Department if the contractor will be not allowed.
4) | Water arrangement will be made by the contractor at his own risk and cost.
5) | Income tax at 7.50% will be deducted from each bill of the contractor as per out standing orders.
6) | The Material used in the work or finished project can be got tested from any approved lab: as the direction by Engineer In charge or his representative and all the expenses in this connection with such testing shall be borne by the contractor executively.
Contractor
Executive Engineer Buildings Division Mirpurkhas

## Sch-B (1-iv)
Construction of Office Complex at Taluka Shujabad District Mirpurkhas. (Providing E.I Work of Main Building)
Schedule "B".
Sr. No: | Items of Work. | Qty: |  | Rate. | Unit. | Amount. | Amount.
Part (A) Electric Schedule Items.
1 | Wiring for light or fan point with (3/.029) PVC insulated wire in 20 mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No:124, P-15) | 400 | -Nos: | 1130 | P.Point. | 452000 | 452000
2 | Wiring for plug point with (3/.029) PVC insulated wire in 20 mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No:126, P-15) | 80 | -Nos: | 985 | P.Point. | 78800 | 78800
3 | Wiring for call bell point with 3/.029 PVC insulated wire in 20 mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No.128, P-15) | 6 | -Nos: | 1764 | P.Point. | 10584 | 10584
4 | Providing & laying (Main or Sub Main) PVC insulated with size 2-7/.029 copper conductor in 3/4" dia PVC conduit recessed in wall or column as required. (S.I.No:10, P-02) | 1500 | -Met: | 222 | P.Met: | 333000 | 333000
5 | P/L (Main or Sub Main) PVC insulated with size 2-7/.044 (6 mm 2) copper conductor in 3/4" dia PVC conduit recessed in the wall or column as requried. (S.I.No.12, P-02) | 700 | -Met: | 341 | P.Met: | 238700 | 238700
6 | P/L (Main or Sub Main) PVC insulated with size 2-7/.064 (16 mm 2) copper conductor in 3/4" dia PVC conduit recessed in the wall or column as requried. (S.I.No.14, P-02) | 300 | -Met: | 641 | P.Met: | 192300 | 192300
7 | P/L (Main or Sub Main) PVC insulated & PVC sheeted with 4 core copper conductor 600/1000 volts size 70 mm 2. (S.I.No.106, P-12) | 105 | -Rft: | 4722 | P.Rft: | 495810 | 495810
8 | Providnig & fixing DP i/c change over switch 500 volts 600 amp on a prepared board. (S.I.No.202, P-30) | 1 | -No: | 69014 | P.No: | 69014 | 69014
9 | P/F circuit breaker 6, 10, 15, 20, 30, 40, 50 & 63 amp SP (TB-5S) on prepared board as required. (S.I.No.203, P-31) | 40 | -Nos: | 916 | P.No: | 36640 | 36640
10 | P/F circuit breaker 6, 10, 15, 20, 30, 40, 50 & 63 amp DP (TB-5S) on prepared board as required. (S.I.No.204, P-31) | 10 | -No: | 2456 | P.No: | 24560 | 24560
11 | P/F circuit breaker 15, 20 30, 40, 50, 60, 75 & 100 amp TP (XS-100NS) on prepared board as required. (S.I.No.207, P-31) | 10 | -Nos: | 9261 | P.No: | 92610 | 92610
12 | P/F circuit breaker 400 amp T.P. setting 250-400 amp (XS-400CJ) on prepared board as required. (S.I.No.210, P-31) | 2 | -No: | 39401 | P.No: | 78802 | 78802
13 | Providing & fixing bakelite ceiling rose with two terminals. (S.I.No.228, P-33) | 80 | -Nos: | 72 | Each. | 5760 | 5760
14 | Providnig & fixing brass button holder. (S.I.No.232, P-33) | 320 | -Nos: | 70 | P.No: | 22400 | 22400
15 | P/F Amp: meter size 96/96 mm Direct 15A, 30A, 50A, 60A & 100A as required & as per instruction of Engineer Incharge. (S.I.No.284, P-41) | 8 | -Nos: | 1054 | P.No: | 8432 | 8432
16 | P/F Volt meter size 96/96 mm 500 volt as required & as per instruction of Engineer Incharge. (S.I.No.285, P-41) | 8 | -Nos: | 999 | P.No: | 7992 | 7992
17 | P/F of street light watts (HPMV) having LP54 classification with watt lamp, choke, capister & Internal wiring complete in all respect at the height upto 31 ft as per site requirement and installation of EI make of the above light in as follow. EI.(S.I.No.159 P-25) | 10 | -No: | 6365 | Each. | 63650 | 63650
|  | T o t a l :- |  |  |  | 2211054 | 2211054
Part (B) Electric Non - Schedule Items.
1 | P/F Energy Saver 24 volt superior quality i/c fixing on existing holder etc complete. | 300 | -Nos: |  | Each. | 0
2 | Erection of Ceiling fan i/c wiring of down rod with 1/1.13 mm (3/.029) PVC wire fixing of regulators blade canopy etc as required. | 80 | -No: |  | Each. | 0
3 | P/F mild steel bar fan clamp 15.8 mm (5/8") dia suitable for R.C.C. roof. | 80 | -No: |  | Each. | 0
4 | S/F A.C. ceiling fan 56" sewp ceiling fan complete with rod falde canopy etc required Pak, Milat Fan | 80 | -Nos: |  | Each. | 0
5 | S/F mix metallic sheet 2.4.6.8 hole i/c frame and PVC board clip switch etc as required. | 70 | -Nos: |  | Each. | 0
6 | Excavation for earthing set with copper plat 1x1 & copper conductor 8 S.W.G. in G.I. pipe 1/2 dia jointed with plate i/c koala, salt & refilling the same. | 2 | -No: |  | Each. | 0
7 | P/F bus bar four pole 200 to 250 amps with copper 4 strips insulator brass mut & bolt complete with energization. | 1 | -No: |  | Each. | 0
8 | S/F fancy capsol light with plastic body complete with holder etc as required. | 20 | -Nos: |  | Each. | 0
9 | P/F main pannel board double shutter to accommodate heavy duty circuit breaker, bus bars i/c painting with enemelled paint, for other similar jobs on surface. | 20 | Sft |  | P-Sft | 0
10 | P/F A.C. or D.C. Electric bell 200 / 250 volts. | 8 | -Nos: |  | Each. | 0
11 | S/F exhaust fan plastic body 12" complete with connection Pak, G.F.C. Royal as per required. | 10 | -Nos: |  | Each. | 0
12 | P/F SNF (HPIT) fuxture (Philips) type complete, with sun lamp bolts ingnitor chowk dapacitor futher more 99% pure aluminum used for reflector & tempered glass with heat resistant gas kit ensuring 400 watt lights required (Philips or German made Parts) | 2 | -No: |  | Each. | 0
13 | P/F Universal 15 amps fixed on a board and nesessary connection as required. | 20 | -No: |  | Each. | 0
14 | S/F mix metallic switch socket & bell push etc as required. | 479 | -Nos: |  | Each. | 0
15 | P/F fancy down light with necessary connection etc complete as required. | 10 | -Nos: |  | Each. | 0
16 | P/F flash type light flash type dimmer imported quality. | 80 | -Nos: |  | Each. | 0
|  | G. T o t a l :- |  |  |  | 0
N O T E :-
1) | Premium on non schedule items will no be allowed.
2) | Carriage of any items either supplied by the contractors of Department will not be allowed.
3) | Income tax at 7.50 % will be deducted from each bill of the contractor as per out standing orders.
Contractor |  |  | Executive Engineer Buildings Division Mirpurkhas

## Sch-B (1-v)
Construction of Office Complex at Taluka Shujabad District Mirpurkhas. (Providing E.I work of Mosque)
Schedule "B".
Sr. No: | Items of Work. | Qty: |  | Rate. | Unit. | Amount. | Amount.
Part (A) Electric Schedule Items.
1 | Wiring for light or fan point with (3/.029) PVC insulated wire in 20 mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No:124, P-15) | 30 | -Nos: | 1130 | P.Point. | 33900 | 33900
2 | Wiring for plug point with (3/.029) PVC insulated wire in 20 mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No:126, P-15) | 5 | -Nos: | 985 | P.Point. | 4925 | 4925
3 | Providing & laying (Main or Sub Main) PVC insulated with size 2-7/.029 copper conductor in 3/4" dia PVC conduit recessed in wall or column as required. (S.I.No:10, P-02) | 61 | -Met: | 222 | P.Met: | 13542 | 13542
4 | P/L (Main or Sub Main) PVC insulated with size 2-7/.044 (6 mm 2) copper conductor in 3/4" dia PVC conduit recessed in the wall or column as requried. (S.I.No.12, P-02) | 45 | -Met: | 341 | P.Met: | 15345 | 15345
5 | P/F circuit breaker 6, 10, 15, 20, 30, 40, 50 & 63 amp SP (TB-5S) on prepared board as required. (S.I.No.203, P-31) | 5 | -Nos: | 916 | P.No: | 4580 | 4580
6 | P/F circuit breaker 6, 10, 15, 20, 30, 40, 50 & 63 amp DP (TB-5S) on prepared board as required. (S.I.No.204, P-31) | 1 | -No: | 2456 | P.No: | 2456 | 2456
7 | Providing & fixing bakelite ceiling rose with two terminals. (S.I.No.228, P-33) | 6 | -Nos: | 72 | Each. | 432 | 432
8 | Providnig & fixing brass button holder. (S.I.No.232, P-33) | 25 | -Nos: | 70 | P.No: | 1750 | 1750
9 | P/F Amp: meter size 96/96 mm Direct 15A, 30A, 50A, 60A & 100A as required & as per instruction of Engineer Incharge. (S.I.No.284, P-41) | 1 | -Nos: | 1054 | P.No: | 1054 | 1054
10 | P/F Volt meter size 96/96 mm 500 volt as required & as per instruction of Engineer Incharge. (S.I.No.285, P-41) | 1 | -Nos: | 999 | P.No: | 999 | 999
11 | P/F of street light watts (HPMV) having LP54 classification with watt lamp, choke, capister & Internal wiring complete in all respect at the height upto 31 ft as per site requirement and installation of EI make of the above light in as follow. EI.(S.I.No.159 P-25) | 1 | -No: | 6365 | Each. | 6365 | 6365
|  | T o t a l :- |  |  |  | 85348 | 85348
Part (B) Electric Non - Schedule Items.
1 | P/F Energy Saver 24 volt superior quality i/c fixing on existing holder etc complete. | 20 | -Nos: |  | Each. | 0
2 | Erection of Ceiling fan i/c wiring of down rod with 1/1.13 mm (3/.029) PVC wire fixing of regulators blade canopy etc as required. | 5 | -No: |  | Each. | 0
3 | P/F mild steel bar fan clamp 15.8 mm (5/8") dia suitable for R.C.C. roof. | 5 | -No: |  | Each. | 0
4 | S/F A.C. ceiling fan 56" sewp ceiling fan complete with rod falde canopy etc required Pak, Milat Fan | 5 | -Nos: |  | Each. | 0
5 | S/F mix metallic sheet 2.4.6.8 hole i/c frame and PVC board clip switch etc as required. | 5 | -Nos: |  | Each. | 0
6 | S/F fancy capsol light with plastic body complete with holder etc as required. | 3 | -Nos: |  | Each. | 0
7 | P/F Main Panal Board Double Shutter Accordable Heavy duty Circuit bracket Bas bar i/c painting with Embaled painting for other simple has on surface. | 1 | -Nos: |  | Each. | 0
8 | P/F Universal 15 amps fixed on a board and nesessary connection as required. | 3 | -No: |  | Each. | 0
9 | S/F mix metallic switch socket & bell push etc as required. | 35 | -Nos: |  | Each. | 0
10 | P/F flash type light flash type dimmer imported quality. | 5 | -Nos: |  | Each. | 0
|  | G. T o t a l :- |  |  |  | 0
N O T E :-
1) | Premium on non schedule items will no be allowed.
2) | Carriage of any items either supplied by the contractors of Department will not be allowed.
3) | Income tax at 7.50 % will be deducted from each bill of the contractor as per out standing orders.
Contractor |  |  | Executive Engineer Buildings Division Mirpurkhas

## Sch-B (1-vi)
Construction of Office Complex at Taluka Shujabad District Mirpurkhas. (Providing E.I work of Garrage. (06-Nos)
Schedule "B".
Sr. No: | Items of Work. | Qty: |  | Rate. | Unit. | Amount. | Amount.
Part (A) Electric Schedule Items.
1 | Wiring for light or fan point with (3/.029) PVC insulated wire in 20 mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No:124, P-15) | 50 | -Nos: | 1130 | P.Point. | 56500 | 56500
2 | Wiring for plug point with (3/.029) PVC insulated wire in 20 mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No:126, P-15) | 6 | -Nos: | 985 | P.Point. | 5910 | 5910
3 | Providing & laying (Main or Sub Main) PVC insulated with size 2-7/.029 copper conductor in 3/4" dia PVC conduit recessed in wall or column as required. (S.I.No:10, P-02) | 92 | -Met: | 222 | P.Met: | 20424 | 20424
4 | P/L (Main or Sub Main) PVC insulated with size 2-7/.044 (6 mm 2) copper conductor in 3/4" dia PVC conduit recessed in the wall or column as requried. (S.I.No.12, P-02) | 112 | -Met: | 341 | P.Met: | 38192 | 38192
5 | P/F circuit breaker 6, 10, 15, 20, 30, 40, 50 & 63 amp SP (TB-5S) on prepared board as required. (S.I.No.203, P-31) | 6 | -Nos: | 916 | P.No: | 5496 | 5496
6 | P/F circuit breaker 6, 10, 15, 20, 30, 40, 50 & 63 amp DP (TB-5S) on prepared board as required. (S.I.No.204, P-31) | 6 | -No: | 2456 | P.No: | 14736 | 14736
7 | Providing & fixing bakelite ceiling rose with two terminals. (S.I.No.228, P-33) | 12 | -Nos: | 72 | Each. | 864 | 864
8 | Providnig & fixing brass button holder. (S.I.No.232, P-33) | 35 | -Nos: | 70 | P.No: | 2450 | 2450
9 | P/F Volt meter size 96/96 mm 500 volt as required & as per instruction of Engineer Incharge. (S.I.No.285, P-41) | 6 | -Nos: | 999 | P.No: | 5994 | 5994
10 | P/F of street light watts (HPMV) having LP54 classification with watt lamp, choke, capister & Internal wiring complete in all respect at the height upto 31 ft as per site requirement and installation of EI make of the above light in as follow. EI.(S.I.No.159 P-25) | 2 | -No: | 6365 | Each. | 12730 | 12730
|  | T o t a l :- |  |  |  | 163296 | 163296
Part (B) Electric Non - Schedule Items.
1 | P/F Energy Saver 24 volt superior quality i/c fixing on existing holder etc complete. | 32 | -Nos: |  | Each. | 0
2 | Erection of Ceiling fan i/c wiring of down rod with 1/1.13 mm (3/.029) PVC wire fixing of regulators blade canopy etc as required. | 6 | -No: |  | Each. | 0
3 | P/F mild steel bar fan clamp 15.8 mm (5/8") dia suitable for R.C.C. roof. | 4 | -No: |  | Each. | 0
4 | S/F A.C. ceiling fan 56" sewp ceiling fan complete with rod falde canopy etc required Pak, Milat Fan | 6 | -Nos: |  | Each. | 0
5 | S/F mix metallic sheet 2.4.6.8 hole i/c frame and PVC board clip switch etc as required. | 6 | -Nos: |  | Each. | 0
6 | S/F fancy capsol light with plastic body complete with holder etc as required. | 6 | -Nos: |  | Each. | 0
7 | P/F Main Panal Board Double Shutter Accordable Heavy duty Circuit bracket Bas bar i/c painting with Embaled painting for other simple has on surface. | 6 | -Nos: |  | Each. | 0
8 | P/F Universal 15 amps fixed on a board and nesessary connection as required. | 6 | -No: |  | Each. | 0
9 | S/F mix metallic switch socket & bell push etc as required. | 55 | -Nos: |  | Each. | 0
10 | P/F flash type light flash type dimmer imported quality. | 6 | -Nos: |  | Each. | 0
|  | G. T o t a l :- |  |  |  | 0
N O T E :-
1) | Premium on non schedule items will no be allowed.
2) | Carriage of any items either supplied by the contractors of Department will not be allowed.
3) | Income tax at 7.50 % will be deducted from each bill of the contractor as per out standing orders.
Contractor |  |  | Executive Engineer Buildings Division Mirpurkhas

## Sch.B (2-i)
Renovation/Rehabilitation of General Administration Department Mirpurkhas. (Office Block) (i).(Deputy Commissioner Office Mirpurkhas Old Collectorate Building Mirpurkhas).
Schedule-"B"
Sr. No: | Items of Work. | Qty: |  | Rate. | Unit. | Amount. | Amount.
Part (A) Main Building.
1 | Dismantling Pacca brick work in lime or cement mortar. (S.I.No:13, P-10) | 5494 | -Cft: | 1285.63 | %-Cft: | 70632.5122 | 70633
2 | Dismantling cement concrete plain 1:2:4. (S.I.No:19(c) P-10) | 2672 | -Cft: | 3327.5 | %-Cft: | 88910.8 | 88911
3 | Removing mud plaster from wall. (S.I.No:52, P14) | 10688 | -Sft: | 60.5 | %-Sft: | 6466.24 | 6466
4 | Dismantling Ist: class tiles roofing. (S.I.No:22(a) P-11) | 11274 | -Cft: | 453.75 | %-Cft: | 51155.775 | 51156
5 | Erection rolled steel beams or old rails in roofs etc, erection & fixing in position.(S.I.No:06 P-90) | 549 | -Cwt: | 186.34 | P.Cwt: | 102300.66 | 102301
6 | S/F R.S.J Channale Section.(S.I.No:141 P-72) | 358 | -Cwt: | 3575 | P.Cwt: | 1279850 | 1279850
7 | S/F Girder in Quality.(S.I.No:140 P-72) | 119 | -Cwt: | 3850 | P.Cwt: | 458150 | 458150
8 | S/F Angle Iron T-Iron, Iron Strips Grating CI Mould items and Rolls.(S.I.No:144 P-72) | 11 | -Cwt: | 3575 | P.Cwt: | 39325 | 39325
9 | First class tile roofing consisting of 4" earth and 1" mud plaster with gobri leeping over 1/2" thick cement plaster 1:6 with 34 Lbs: of hot bitumen coating sand blinded provided over 2 layers of tiles 12" x 6" x 1-1/4" laid in 1:6 cement mortar with 1/2" thick sand wiched layer of 1:6 cement mortar i/c 1:2 cement pointing under side of tiles complete i/c curing etc. (S.I.No:01, P-33) | 11634 | -Sft: | 11443.1 | %-Sft: | 1331290.254 | 1331290
10 | Dismantling cement concrete reinforced separating reinforcement from concrete cleaning and straightening the same. (S.I.Nlo:20, P-10) | 146 | -Cft: | 5445 | %-Cft: | 7949.7 | 7950
11 | Borrowpit excavation undressed lead upto 100-ft: (a) Ordinary Soil. (S.I.No:03(a) P-01) | 9810 | -Cft: | 2117.5 | %0-Cft: | 20772.675 | 20773
12 | Extra lead for 06-miles. (S.I.No:01, P-01) (Schedule Carriage) | 9810 | -Cft: | 771.96 | %-Cft: | 75729.276 | 75729
13 | Removing door with chowkats. (S.I.No:33(a) P-12) | 4 | -Nos: | 142.18 | Each. | 568.72 | 569
14 | Removing window and sky light with chowkats. (S.I.No:33(b) P-12) | 4 | -Nos: | 102.85 | Each. | 411.4 | 411
15 | First class deodar wood wrought, joinery work in doors and windows etc, fixed in position i/c chowkits hold fasts hinges, iron towers bolts, chocks cleats, handles and cords with hooks, etc. Deodar panelled or panelled and glazed or fully glazed (b) 1-3/4” thick. (S.I.No:07(b) P-58) | 154 | -Sft: | 1273.76 | P.Sft: | 196159.04 | 196159
(a) | Only Shutter | 49 | -Sft: | 902.93 | P.Sft: | 44243.57 | 44244
16 | Making & Fixing Frames for Door Windows and C.Windows.(b). Deodar Wood.(S.I.No:25(b) P-60) | 68 | -Sft: | 370.83 | P.Sft: | 25216.44 | 25216
17 | Plain wood work sawn wrought planed and fixing in position include cost of nails screw etc. (a).Deodar Wood. (S.I.No:25(b) P-60) | 3 | -Cft: | 6122.16 | P-Cft: | 18366.48 | 18366
18 | Glazing with pens (24”oz to 26”oz) using putty and deodar wooden Ist: class fillets. (S.I.No:46, P-64) | 320 | -Sft: | 163.9 | P.Sft: | 52448 | 52448
19 | Brushing and scraping blistres of old paint from wood-work.(S.I.No:2, P-67) | 3874 | -Sft: | 151.25 | %-Sft: | 5859.425 | 5859
20 | Removing cement or lime plaster. (S.I.No:53, P-13) | 38760 | -Sft: | 121 | %-Sft: | 46899.6 | 46900
21 | Pacca brick work in Ground floor in (I-e) cement sand mortor 1:6. (S.I.No:05(I-e) P-21) | 5860 | -Cft: | 12674.36 | %-Cft: | 742717.496 | 742717
22 | Raking and washing joints of brick masonry. (old work). (S.I.No:22, P-53) | 38760 | -Sft: | 151.25 | %-Sft: | 58624.5 | 58625
23 | Applying floating coat of cement 1/32” thick. (S.I.No:14, P-53) | 38760 | -Sft: | 660 | %-Sft: | 255816 | 255816
24 | Cement plaster 1:6 upto 20" height (b) 1/2" thick. (S.I.No:13(b) P-52) | 43855 | -Sft: | 2206.6 | %-Sft: | 967704.43 | 967704
25 | Cement plaster 1:4 upto 20" height (a) 3/8" thick. (S.I.No:11(a) P-52) | 43855 | -Sft: | 2197.52 | %-Sft: | 963722.396 | 963722
26 | Providing and laying topping cement concrete 1:2:4 including surface finishing and dividing into panels. (S.I.No:16(a), P-42)
(a) | 1-1/2” thick topping. | 500 | -Sft: | 2548.29 | %-Sft: | 12741.45 | 12741
(b) | 2” thick topping. | 7423 | -Sft: | 3275.5 | %-Sft: | 243140.365 | 243140
(c.) | 3” thick topping. | 3420 | -Sft: | 4411.82 | %-Sft: | 150884.244 | 150884
27 | French polishing complete (a) new work. (S.I.No:07(a) P-77) | 3874 | -Sft: | 3841.75 | %-Sft: | 148829.395 | 148829
28 | Glazed tile dado 1/4” thick laid in cement pigment over 1:2 cement sand mortar 3/4” thick including finishing. (S.I.No:38, P-45) | 982 | -Sft: | 28299.3 | %-Sft: | 277899.126 | 277899
29 | Laying floor of approved white glazed tiles 1/4” thick in white cement 1:2 over 3/4” thick cement mortar 1:2 complete. (S.I.No:24, P-43) | 5603 | -Sft: | 27678.86 | %-Sft: | 1550846.5258 | 1550847
30 | P/F bitumen flet paper of 60 lbs over roof i/c cleaning of roof with wire brush an removing dust applying bitumen coat at the rate of 34 lbs per% sft.The cost also i/c necessary fire material kerosene oil, wood etc. (S.I.No:41, P-37) | 11634 | -Sft: | 54.7 | P.Sft: | 636379.8 | 636380
31 | Primary coat of chalk under distemper. (S.I.No:23, P-54) | 53665 | -Sft: | 442.75 | %-Sft: | 237601.7875 | 237602
32 | Preparing the surface and painting with matt finish i/c rubbing the surface with Bathy (silicon carbide rubbing brick) filling the voids with zink / chalk / plaster of paris mixture, applying first coat premix making the surface smooth and then painting 3 coats with matt finish of approved make etc complete. (new surface) (2nd & subsequent coat) (S.I.No:36(b), P-55) | 24355 | -Sft: | 2717 | %-Sft: | 661725.35 | 661725
33 | Distempering on walls 03-coats. (S.I.No:24(c) P-54) | 14245 | -Sft: | 1079.65 | %-Sft: | 153796.1425 | 153796
34 | Painting old surface. (c) Painting doors and windows any type 02-coats. (S.I.No:04(c-ii) P-68) | 472 | -Sft: | 1160.06 | %-Sft: | 5475.4832 | 5475
35 | First class deodar wood wrought joinery work in wire guaze door and windows with 22 S.W.G. Galvanized wire guaze 144 mesh per square inch iron fittings complete.(S.I.No:14(a), P-59)
(a) | Galvanized wire gauze fixed to chowkats 3/4” deodar wood strips and screws. | 1841 | -Sft: | 190.72 | P.Sft: | 351115.52 | 351116
(b) | Galvanized wire guaze fixed with 1/2” strips on separate 2” x 2” deodar wood frame. | 96 | -Sft: | 575.61 | P.Sft: | 55258.56 | 55259
(c.) | 1-1/2” thick deodar wood framing i/c wire guaze with ordinary hinges. | 56 | -Sft: | 562.98 | P.Sft: | 31526.88 | 31527
36 | Painting old surface. (b) Painting sashes, fan lights, glazed or guazed, doors and windows any type 03-coats. (S.I.No:04(b) P-68) | 2431 | -Sft: | 976.58 | %-Sft: | 23740.6598 | 23741
37 | Painting old surface. (d) Painting guard bars, gates iron bars gratings, railings i/c standard braces (etc) and similar open work any type 02-coats. (S.I.No:04(d) P-69) | 4311 | -Sft: | 674.6 | %-Sft: | 29082.006 | 29082
38 | Khuras on roof 2'x2'x6'.(S.I.No:18, P-35) | 15 | -Nos: | 358.68 | Each. | 5380.2 | 5380
39 | Bottom, khuras of brick masory in cement mortar (1:6) 4' x 2' x 4-1/2" over 3" cement concrete (1:4:8). (S.I.No:19, P-35) | 10 | -Nos: | 649.83 | Each. | 6498.3 | 6498
40 | Cement concrete plain including placing compacting, finishing and curing, complete i/c screening and washing stone aggregate without shuttering. (f) Ratio 1:2:4. (S.I.No:05(f), P-16) | 958 | -Cft: | 14429.25 | %-Cft: | 138232.215 | 138232
41 | Colour cement tiles 8"x8"x3/4" of approved dark shade laid flat in 1:2 cement mortar over 3/4" thick bedding mortar of 1:2. (S.I.No:15, P-40) | 720 | -Sft: | 10962.34 | %-Sft: | 78928.848 | 78929
42 | R.C.C work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms moulds: lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle) (a) R.C. work in roof slab, beams columns rafts, lintels and other structural members laid in situ or precast laid in position complete in all respects. (i) Ratio 1:2:4 90 Lbs: cement 2-Cft: sand 4-Cft: shingle 1/8” to 1/4” guaze. (S.I.No:06, P-17) | 1233 | -Cft: | 337 | P-Cft: | 415521 | 415521
43 | Fabrication of mild steel reinforcement for cement concrete including cutting bending laying in position making joints and festeining including cost of binding wire (also includes removal rust from bars) (a) Tor bars.(S.I.No:08(b) P-16)
(a) | Tar Bar | 49.32 | -Cwt: | 5001.7 | P.Cwt: | 246683.844 | 246684
(b) | Mild Steel | 24.66 | -Cwt: | 4820.2 | P.Cwt: | 118866.132 | 118866
44 | P/F iron steel grill using solid square bars of size 1/2” x 1/2" placed at 4” c/c and frame of flat iron patti of 3/4” x 3/4” i/c circle shape at 1-0 apart equivalent fitted with screws are pins i/c painting 3-coats with Ist: coat of red oxide paint etc. (S.I.No:30, P-94) | 183 | -Sft: | 194.16 | P.Sft: | 35531.28 | 35531
45 | Supplying and fixing false ceiling of plaster of paris, in panels i/c making frame, work of Deodar wood i/c painting with Soligia paint. (S.I.No:52, P-64) | 772 | -Sft: | 25293.42 | %-Sft: | 195265.2024 | 195265
46 | P/F plaster of paris ceiling border of 8" - 10" with of specified design & thickness i/c fixing besides ceiling with nails / screws with jetties. (S.I.No:44, P-39) | 148 | -Rft: | 104.22 | P.Rft: | 15424.56 | 15425
47 | P/L tiles glazed 6” x 6” x 1/4” on floor or wall facing in required coloured and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 gray cement mortor 3/4” thick i/c washing and filling of joints with slurry of white cement and pigment in desired shape with finishing, cleaning and cost of wax polish etc. complete i/c cutting tiles to proper profile. (SI.No:60, P-47) | 1993 | -Sft: | 30509.77 | %-Sft: | 608059.7161 | 608060
48 | Lime neru plaster 1:2 (Lime and Surkhi) (S.I.No:06 (a). 3/4" thick. P-50) | 11634 | -Sft: | 1597.75 | %-Sft: | 185882.235 | 185882
49 | Khapriel of cement concrete 12” x 8” x 1” of approved design / shape laid flat in 1:2 grey cement mortar over a bed of 3/4” thick grey cement mortor 1:2.(S.I.No:39, P-37) | 56 | -Sft: | 8977.9 | %-Sft: | 5027.624 | 5028
50 | Khassi parnalas in cement and sand mortor (1:2) 12" outside width finished smooth with a floating coat of neat cement.(S.I.No:17, P-35) | 40 | -Rft: | 70.34 | P.Rft: | 2813.6 | 2814
51 | Cast iron rain water down pipe fixed in place excluding heads and shoes but includeing and shoes but including painting and clamps etc. (a). 4" dia cast iron down pipe.(S.I.No:22, P-35) | 125 | -Rft: | 423.13 | P.Rft: | 52891.25 | 52891
52 | Shoes bends or offset for cast iron rain water down pipe including fixing and painting. (S.I.No:24, P-36) | 25 | -Nos: | 542.03 | Each. | 13550.75 | 13551
53 | P/L single per layer of polythene sheet 0.13 mm thick for water proffing as per specification and instruction of Engineer incharge. (S.I.No:38, P-37) | 11634 | -Sft: | 10.7 | P.Sft: | 124483.8 | 124484
54 | P/F brass spring hinges to wire gauzed door. (S.I.No:18, P-57) | 10 | -Nos: | 801.35 | Each. | 8013.5 | 8014
55 | P/F sliding bolt to doo. (S.I.No:19, P-57)
(i) | Iron sliding bolt 10" Long. | 10 | -Nos: | 203.9 | Each. | 2039 | 2039
(ii) | Iron sliding boly 12" long. | 10 | -Nos: | 222.23 | Each. | 2222.3 | 2222
56 | Making and Fixing cleates for doors and windows including hings and screws.(S.I.No:29, P-61) | 20 | -Nos: | 184.23 | Each. | 3684.6 | 3685
57 | S/F window printed blinds (Horizental / Vertical) with plain design and of approved colour i/c fixing in windows with necessary accessories. (S.I.No:71, P-66) | 210 | -Sft: | 91.11 | P.Sft: | 19133.1 | 19133
58 | Preparing the surface and painting with weather coat i/c rubbing the surface with rubbing brick / sand paper, filling the voids with chalk / plaster of paris and then painting with waether coat of approved make 03-coats. (new surface) (S.I.No:38(c), P-56) | 12881 | -Sft: | 2567.95 | %-Sft: | 330777.6395 | 330778
59 | Excavation in foundation of Building Bridges and other structure i/c dagbelling dressing, refilling around structure with excavated earth watering and remming lead upto 5 ft: (b) In ordinary soil. (S.I.No:18(b) P-04) | 156 | -Cft: | 3176.25 | %0-Cft: | 495.495 | 495
60 | Cement concrete brick or stone ballast 1-1/2” thick to 2” gauze ratio 1:5:10. (S.I.No:04(c) P-15) | 55 | -Cft: | 8694.95 | %-Cft: | 4782.2225 | 4782
61 | Pacca brick work in foundation and plinth in (I-e) cement sand mortor 1:6 (S.I.No:04(I-e), P-20) | 113 | -Cft: | 11948.36 | %-Cft: | 13501.6468 | 13502
|  | T o t a l :- |  |  |  | 14115023.7443 | 14115024
Part (B) Internal Water Supply & S / F.
1 | P/F orisa type white or colour glazed earthen ware w.c. pan with cost of low level plastic flush tank of 3-gallons capacity of approved quality i/c making requisite number of holes in walls, plinth & floor and making good in cement concrete 1:2:4. (a) W.C. pan orisa type 23" with plastic tank of low level down 3-gallons C.I. trap & C.I. thumble (Superior quality) (i) With 4” dia C.I. trap. (S.I.No:03(a-i) P-02) | 3 | -Nos: | 5836.6 | Each. | 17509.8 | 17510
2 | P/F 24“ x 18’’ lavatory basin in white glazed earthen ware complete with & i/c the cost of W.I or C.I. antilever brackets 6” inches, built into wall, painted while in two coat after a primary coat of red lead paint a pair of 1/2" dia chrome plate pillar traps 1-1/2" dia rubber plug & chrome plated brass chain 1-1/4" dia malloable or cp brass traps malloable iron of brass union & making requisite number of holes in wall plinth & floor for pipe connection and making good in cement concrete 1:2:4. (S.I.No:8 P-3) | 3 | -Nos: | 4253.7 | Each. | 12761.1 | 12761
3 | Providing and fixing 4” x 4” dia C.I. branch of the Required degree with access doors, rubber washer 3/8”Thick and bolts & nuts & extra painting to match the Colour of building. (S.I.No:4, P/8) | 5 | -Nos: | 224.6 | Each. | 1123 | 1123
4 | Providing and fixing 4” x 4” x 4” dia C.I. branch of the required degree with access doors, rubber washer 1/8” thick and bolts and nuts and extra painting to match the colour of the building. (S.I.No:05, P-09) | 5 | -Nos: | 270.6 | Each. | 1353 | 1353
5 | Providing and fixing 4”x 4” dia C.I. branch of the Required degree including extra painting to match the Colour of building. (S.I.No:6, P/8) | 5 | -Nos: | 201.5 | Each. | 1007.5 | 1008
6 | P/F 3” dia C.I. terminal guard i/c extra painting to match the colour of building. (S.I.No:11, P-10) | 3 | -Nos: | 342.7 | Each. | 1028.1 | 1028
7 | P/F M.S. clamps of the approved design to 4" dia C.I. Pipe sockets i/c the cost of cutting and making good to wall or M,S. bolts & nuts, 4” into wall i/c pipe distance pieces extra painting to match the colour of the building. (S.I.No:02, P-09) | 11 | -Nos: | 72.16 | Each. | 793.76 | 794
8 | P/F 6” x 2” or 6” x 3” C.I. floor trap of the approved selt cleaning design with a C.I. screwed down gratting with or without a vent arm complete with & i/c making requisite number of holes in walls, plinth & floor for pipe connections & making good in cement concrete 1:2:4. (S.I.No:20, P-06) | 5 | -Nos: | 2042.43 | Each. | 10212.15 | 10212
9 | P/F 6” x 4” C.C gully trap with 4” out let complete with 4” thick 1:2:4 C.C. for bed and ½” thick cement plaster (1:3) to the karb. C.I. Grating 6” x 6” and C.I. cover and frame 12” x 12” (inside) etc complete. (a) C.C. gully trap 6" x 6" x 4". (i) With C.I. cover & frame. (S.I.No:01(a-i) P-24) | 3 | -Nos: | 1193.17 | Each. | 3579.51 | 3580
10 | S/F long bib cock of superior quality with crystal head 1/2” dia. (S.I.No:13(b) P-19) | 5 | -Nos: | 1384.24 | Each. | 6921.2 | 6921
11 | S/F canceled stop cock of superior quaility with crystal head ½” dia. (S.I.No:13 (b) P-15) | 7 | -Nos: | 509.74 | Each. | 3568.18 | 3568
12 | P/F in position nyloon connections complete with 1/2” dia, brass stop cock with pair of bras nuts & lining joints to nyloon connection. (S.I.No:23, P-06 ) | 7 | -Nos: | 447.15 | Each. | 3130.05 | 3130
13 | P/F 24"x 18” beveled edge mirror of Belgium glass complete with 1/8” thick hard board and c.p screw fixed to wooden plate. (a) Standard Pattern. (S.I.No:03(a) P-07) | 3 | -Nos: | 1711.6 | Each. | 5134.8 | 5135
14 | Supplying & fixing Towel rail 24” long (b) 3/4” dia round or square. (Superior quality) (S.I.No:01(III-b) P-07) | 3 | -Nos: | 1082.95 | Each. | 3248.85 | 3249
15 | Providing & fixing handle valve (China). (S.I.No:05(i), P-17)
(i) | 1/2" dia. | 3 | -Nos: | 200.42 | Each. | 601.26 | 601
(ii) | 1-1/4” dia. | 3 | -Nos: | 475.42 | Each. | 1426.26 | 1426
(iii) | 1” dia. | 3 | -Nos: | 365.42 | Each. | 1096.26 | 1096
16 | Supplying & fixing jet shower with rod of superior quality single C.P. head 1/2” dia. (S.I.No:15, P-19) | 3 | -Nos: | 1142.24 | Each. | 3426.72 | 3427
17 | Add extra for labour for providing & fixing of earthen ware pedestal white or coloured glazed. (Foreign or Equivalent) (S.I.No:09, P-03) | 3 | -Nos: | 938.47 | Each. | 2815.41 | 2815
18 | Providing G.I. Pipe, specials and clamps etc, i/c fixing cutting & fitting complete with and i/c the cost of breaking through walls and roof, making good etc. painting two coats after cleaning the pipe etc. with white zink paint with pigment to match the colour of the building and testing with water to a pressure head of 200-ft: and handling. (S.I.No:01, P-12)
(i) | 1/2” dia G.I. Pipe. | 200 | -Rft: | 73.21 | P.Rft: | 14642 | 14642
(ii) | 3/4” dia G.I. Pipe. | 300 | -Rft: | 95.79 | P.Rft: | 28737 | 28737
(iii) | 1” dia G.I.Pipe. | 100 | -Rft: | 128.55 | P.Rft: | 12855 | 12855
19 | Providing Asbestos pipe with collars (Dadex or equivalent ) i/c digging the trenches to required depth and fixing to position and jointing with rubber rings i/c testing to water pressure head of 200ft: (b) 4” dia asbestos pipe. (S.I.No: 3(b) P-21) | 100 | -Rft: | 141.11 | P.Rft: | 14111 | 14111
20 | S/F swan type pillar cock of superior quality single C.P. head 1/2" dia. (S.I.No:16(a) P-19) | 3 | -Nos: | 795.3 | Each. | 2385.9 | 2386
21 | Supplying & fixing C.P. Muslim shower with crystal head etc. complete. (S.I.No:21(b) P-16) | 2 | -Nos: | 3432 | Each. | 6864 | 6864
22 | P/F Europen white glazed earthen ware wash w.c pan complete with and i/c the cost of white / black plastic seat (Best Quality) and lid with c.p brass hinees and buffer 3 gallons white cp brass heiness and buffer 3 gollon white glazed earthen bend 3/4" dia and making requiste number of holes in walls plinth and floor for pipe connection and making good in cement concrete 1:2:4. | 2 | -Nos: | 11477.4 | Each. | 22954.8 | 22955
|  | T o t a l :- |  |  |  | 183286.61 | 183287
Part (C) Non - Schedule Items.
1 | Boaring 2” dia. | 60 | -Rft: |  | P.Rft: | 0
2 | Supplying & fixing Jalli Filter 1" dia 10ft long. | 1 | -No: |  | Each. | 0
3 | Supplying & fixing Check Valve. | 1 | -No: |  | Each. | 0
4 | Supplying & fixing Nyloon pressure pipe 1" dia. | 50 | -Nos: |  | Each. | 0
5 | Supplying & fixing Eletric Mortor 1/2 H.p with pump of approved quality. | 1 | -No: |  | Each. | 0
|  | T o t a l :- |  |  |  | 0
G E N E R A L A B S T R A C T.
1) | Part (A) Main Building. |  |  | RS:- |  | 14115023.7443 | 14115024
2) | Part (B) Internal Water Supply & S / F. |  |  | RS:- |  | 183286.61 | 183287
3) | Part (C) Non - Schedule Items. |  |  | RS:- |  | 0
|  |  |  | G. TOTAL :- |  | 14298310.3543
N O T E :-
1) | Only hill sand will be used.
2) | Premium on non schedule item will not be allowed.
3) | Cartage of any item either supplied y the Department if the contractor will be not allowed.
4) | Water arrangement will be made by the contractor at his own risk and cost.
5) | Income tax at 7.50% will be deducted from each bill of the contractor as per out standing orders.
6) | The Material used in the work or finished project can be got tested from any approved lab: as the direction by Engineer In charge or his representative and all the expenses in this connection with such testing shall be borne by the contractor executively without any reimbursement claim again his account.
Contractor
Executive Engineer Buildings Division Mirpurkhas

## Sch.B (3-i)
Construction of Dialysis Centre in Civil Hospital Mirpurkhas. ( Main Building including Internal and External W/S & S/F and Drainage)
Schedule "B".
Sr. No: | Items of Work. | Qty: |  | Rate. | Unit. | Amount. | Amount.
Part (A) Main Building.
1 | Execvation and foundation of building bridges and other structure i/c dagbelling dressing and refilling around the structure with excavated earth watering and remming lead upto one chain and lift upto 5’ft(b) In ordinary soil. (S.I.No: 18(b) P-4) | 6081 | -Cft: | 3176.25 | %-0Cft: | 19314.7762 | 19315
2 | Cement concrete brick or stone ballast 1-1/2” thick to 2” guze ratio 1:5:10. (S.I.No: 4(b) P-14) | 2983 | -Cft: | 8694.95 | %-Cft: | 259370.3585 | 259370
3 | Pacca brick work in foundation and plinth in cement sand mortor 1:6 (S.I.NO;4 P-24) | 4799 | -Cft: | 11948.36 | %-Cft: | 573401.7964 | 573402
4 | R.C.C work including all labour and material except the cost of steel reinforcement for bending and binding which will be paid separately. this rate also includes all kinds of forms mould lifting shuttering curing and washing of shingle(A) R.C work including roofslab, beams colums ,rafts lintels and other structure member laid in situ or precast and lead in position in all respect ratio 1:2:4 90 lbs: cementy 2-cft: sand 4-cft: shingle 1/8” to ¼” inch guaze. (SI.No: 6, P-15) | 4574 | -Cft: | 337 | P-Cft: | 1541438 | 1541438
5 | Fabrication of mild steel reinforcement for cement concrete including cutting bending laying in position making joints and festeining including cost of binding wire (also includes removal rust from bars) (a) Tor bars. (S.I.No:08(b) P-16)
(a) | Tar Bar | 191.86 | -Cwt: | 5001.7 | P.Cwt: | 959626.162 | 959626
(b) | Mild Steel | 88.72 | -Cwt: | 4828.2 | P.Cwt: | 428357.904 | 428358
6 | Filling watering & remaining earth in floor with surplus earth from foundation lead upto one chain and lift upto 5’ft: (S.I.No:21, P-04) | 4054 | -Cft: | 1512.5 | %0-Cft: | 6131.675 | 6132
7 | Filling watering & remming earth under floor with new earth excavated from out side lead upto one chain and lift upto 5’ft: (S.I.No:22 P-04) | 5166 | -Cft: | 3630 | %0-Cft: | 18752.58 | 18753
8 | Supplying and filling sand under floor and plugging in walls. (S.I.No:29, P-25) | 5166 | -Sft: | 1141.25 | %-Sft: | 58956.975 | 58957
9 | Extra lead for 6-miles. (S.I.No:01, P-01) (Schedule Carriage) | 5166 | -Cft: | 771.96 | %-Cft: | 39879.4536 | 39879
10 | Pacca brick work in ground floor in cement sand mortor 1:6. (S.I.No:05, P-25) | 7237 | -Cft: | 12674.35 | %-Cft: | 917242.7095 | 917243
11 | First class deodar wood wrought joinery work in door and windows etc fixed in position hinges iron towers bolts cleats handles and cords with hooks paneled or paneled glazed or fully glazed (b) 13/4”thick deodar steps and screws. (S.I.No:07(b) P-65) | 1743 | -Sft: | 1273.76 | P.Sft: | 2220163.68 | 2220164
12 | Cement plaster 1:6 upto 20" height (b) 1/2" thick. (S.I.No:13(b) P-58) | 20795 | -Sft: | 2206.6 | %-Sft: | 458862.47 | 458862
13 | Cement plaster 3/8”thick upto 20”heigh ratio 1:4. (S.I.No:11(a) P-58) | 20795 | -Sft: | 2197.52 | %-Sft: | 456974.284 | 456974
14 | Providing and laying topping cement concrete 1:2:4 including surface finishing and dividing into panels. (S.I.No:16 (b) & 18, P-42)
(a) | 1-1/2” thick topping. | 6489 | -Sft: | 2548.29 | %-Sft: | 165358.5381 | 165359
(b) | 2” thick topping. | 100 | -Sft: | 3275.5 | %-Sft: | 3275.5 | 3276
(c) | 3” thick topping. | 36 | -Sft: | 4411.82 | %-Sft: | 1588.2552 | 1588
15 | Two coat of bitumen laid hot using 34 lbs: %-Sft: over roof and blinded with sand at one Cft: per %Sft: (S.I.No:13, P-41) | 6489 | -Sft: | 1887.4 | %-Sft: | 122473.386 | 122473
16 | Cement concrete plain including placing compacting and curing and washing stone aggregate without shuttering ration 1:2:4. (S.I.No:05, P-17) | 268 | -Cft: | 14429.25 | %-Cft: | 38670.39 | 38670
17 | Laying floor of approved coloured glazed tiles 1/4" thick laid in situ cement and pigment on a bed or ¾" thick cement mortor ratio 1:2. (S.I.No:25, P-49) | 3345 | -Sft: | 27747.06 | %-Sft: | 928139.157 | 928139
18 | Glazed tiles dado ¼” thick laid in cement pigment over 1:2 cement sand mortor ¾”thick cement concrete 1:2 (S.I.No:38, P-50) | 1067 | -Sft: | 28299.3 | %-Sft: | 301953.531 | 301954
19 | First class deodar wood wrought joinery work in wire guaze door and windows with 22 guaze.S,W,G galvanized wire guaze mesh 144 inch per square inch iron fitting complete. (a) 1-3/4" thick deodar wood framing i/c wire gauze with ordinary hinges. (S.I.No:14, P-67)
(a) | Galvanized wire gauze fixed to chowkats ¾” thick deodar wood strips and screws. | 831 | -Sft: | 190.72 | P.Sft: | 158488.32 | 158488
(b) | Galvanized wire gauze fixed to chowkats ¾” thick deodar wood strips and screws. | 311 | -Sft: | 575.61 | P.Sft: | 179014.71 | 179015
(c) | Galvanized wire gauze fixed to chowkats ¾” thick deodar wood strips and screws. | 25 | -Sft: | 562.98 | P.Sft: | 14074.5 | 14075
20 | P/F steel grill using solid square bars of size ½” placed at 4”i/c and frame of flat iron Patti of ¾” x 3/4” i/c circle shape at 1-0 apart equivalent fitted with screws are paint i/c painting 3-coats Ist: coat of red oxide paint etc. (S.I.No:30, P-98) | 1142 | -Sft: | 194.16 | P.Sft: | 221730.72 | 221731
21 | Primary coat of chalk under distemper. (S.I.No:23, P-58) | 15314 | -Sft: | 442.75 | %-Sft: | 67802.735 | 67803
22 | Distempering on wall 3-coat. (S.I.No:24 (c), P-53) | 12171 | -Sft: | 1079.65 | %-Sft: | 131404.2015 | 131404
23 | Painting with emulsion paint 3-coats. (S.I.No:05(d) P-76) | 11969 | -Sft: | 1762.75 | %-Sft: | 210983.5475 | 210984
24 | Painting New Surface. Preparing surface and painting door and windows any type (i/c edge) 3-coats.(S.I.No:05(d) P-76) | 3486 | -Sft: | 2116.41 | %-Sft: | 73778.0526 | 73778
25 | Preparing surface and painting sashes fan light glazed or guazed door any windows any type (i/c edge) 3-coats. (S.I.No:05(c) P-76) | 1503 | -Sft: | 1270.83 | %-Sft: | 19100.5749 | 19101
26 | P/L tiles glazed 6” x 6” x 1/4” on floor or wall facing in required coloured and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 gray cement mortor 3/4” thick i/c washing and filling of joints with slurry of white cement and pigment in desired shape with finishing, cleaning and cost of wax polish etc. complete i/c cutting tiles to proper profile. (SI.No:60, P-47) | 250 | -Sft: | 30509.77 | %-Sft: | 76274.425 | 76274
27 | Supplying and fixing false ceiling of plaster of paris, in panels i/c making frame, work of Deodar wood i/c painting with Soligia paint. (S.I.No:52, P-64) | 168 | -Sft: | 25293.42 | %-Sft: | 42492.9456 | 42493
28 | P/F plaster of paris ceiling border of 8" - 10" with of specified design & thickness i/c fixing besides ceiling with nails / screws with jetties. (S.I.No:44, P-39) | 1020 | -Rft: | 104.22 | P.Rft: | 106304.4 | 106304
29 | Providng and fixing sunk iron screw wooden architrave approved design shape having with not less than 2-1/2" inches as directed by side Engineer incharge (S.I.No:60, P-65 ) | 306 | -Rft: | 1.36 | P.Rft: | 416.16 | 416
30 | Laying white marble flooring fine dressed on the surface without winding set in lime mortar 1:2 i/c rubbing in polishing of joint. (a) 3/4" thick flooring. (S.I.No:28(a) P-43) | 750 | -Sft: | 567.48 | P.Sft: | 425610 | 425610
31 | P/F G.I. sheet rolling shutter using 2 gauge G.I. sheet for shutter, side iron channel of 12 gauge for rolling on 2" dia C.I. pipe i/c bracket of 20 gauge, springs of requisite size and rolling pulley, necessary hold fasts, nuts bolts, welding, greasing, all carraige, T&P required, for making and fixing in masonry bor. (S.I.No:33, P-94) | 105 | -Sft: | 264.96 | P-Sft: | 27820.8 | 27821
32 | Khapriel of cement concrete 12” x 8” x 1” of approved design / shape laid flat in 1:2 grey cement mortar over a bed of 3/4” thick grey cement mortor 1:2. (S.I.No:39, P-38) | 565 | -Sft: | 8977.9 | %-Sft: | 50725.135 | 50725
|  | T o t a l :- |  |  |  | 11325952.8087 | 11325954
PART (B) Internal W/S and S/F Items.
01 | P/F orisa type white or colour glazed earthen ware w.c. pan with cost of low level plastic flush tank of 3-gallons capacity of approved quality i/c making requisite number of holes in walls, plinth & floor and making good in cement concrete 1:2:4. (a) W.C. pan orisa type 23" with plastic tank of low level down 3-gallons C.I. trap & C.I. thumble (Superior quality) (ii) With 4” dia earthen ware trap and plastic thumble. (S.I.No:03(a-ii) P-02) | 3 | -Nos: | 6166.6 | Each. | 18499.8 | 18500
02 | P/F European white glazed earthern ware wash down w.c. pan complete with and i/c the cost of white / black plastic seat (beat quality) and lid with c.p. brass hinges & buffers. 3 gallons white glazed earthern ware low level flushing cistern with siphon fitting 1-1/2" dia white porcelain enamalled flush bend 3/4" dia and making requisite number of holes in walls, plinth & floor for pipe connections and making good in cement concrete 1:2:4. (standard pattern) (S.I.No:5 P-2) | 1 | -No: | 11477.4 | Each. | 11477.4 | 11477
03 | P/F 22 “x16’’ lavatory basin in white glazed earthen Ware complete with including the cost of W.I or C.I.dia lever brackets with 6” inch built into soil painted White into coat after a primary coat of red lead paint A pair of ½” dia chrome plated pillar trap 1-1/2”rubber Plug and chrome brass waste of approved paint 1-1/4”Dia malleable iron c.i brass traps number hole in walls Plinth and floor for pipe connection and making in c.c. 1:2:4 (SI. No:12 P-4) | 7 | -No: | 4694.8 | Each. | 32863.6 | 32864
04 | P/F 24“ x 18’’ lavatory basin in white glazed earthen ware complete with & i/c the cost of W.I or C.I. antilever brackets 6” inches, built into wall, painted while in two coat after a primary coat of red lead paint a pair of 1/2" dia chrome plate pillar traps 1-1/2" dia rubber plug & chrome plated brass chain 1-1/4" dia malloable or cp brass traps malloable iron of brass union & making requisite number of holes in wall plinth & floor for pipe connection and making good in cement concrete 1:2:4. (S.I.No:10 P-3) | 1 | -No: | 4928 | Each. | 4928 | 4928
05 | Add extra for labour for providing & fixing of earthen ware pedestal white or coloured glazed. (Foreign or Equivalent) (S.I.No:11, P-03) | 7 | -No: | 2533.47 | Each. | 17734.29 | 17734
06 | P/F in position nyloon connections complete with 1/2” dia, brass stop cock with pair of bras nuts & lining joints to nyloon connection. (S.I.No:23, P-06 ) | 11 | -No: | 447.15 | Each. | 4918.65 | 4919
07 | Providing & fixing handle valve (China). (S.I.No:05, P-17)
(i) | 1/2” dia | 6 | -No: | 200.42 | Each. | 1202.52 | 1203
(ii) | 3/4” dia | 4 | -No: | 271.92 | Each. | 1087.68 | 1088
(iii) | 1” dia | 2 | -No: | 365.42 | Each. | 730.84 | 731
08 | S/F long bib-cock of crystal head with 1/2" dia. (S.I.No:13(b) P-19) | 8 | -No: | 1384.24 | Each. | 11073.92 | 11074
09 | S/F cancealed tee stop cock of superior quality with C.P. head ½” dia. (S.I.No:12(a) P-18) | 11 | -No: | 843.92 | Each. | 9283.12 | 9283
10 | S/F cancealed tee stop cock of superior quality with crystal head ½” dia. (S.I.No:12(b) P-18) | 4 | -No: | 889.46 | Each. | 3557.84 | 3558
11 | S/F swan type pillar cock of superior quality with crystal head 1/2" dia. (S.I.No:16(b) P-19) | 7 | -No: | 877.8 | Each. | 6144.6 | 6145
12 | Supplying & fixing jet shower with rod of superior quality single C.P. head 1/2” dia. (S.I.No:15, P-19) | 4 | -No: | 1142.24 | Each. | 4568.96 | 4569
13 | S/F Bath room accessories set (7-pieces) i/c towel rod, brush holder, soap tray, shelf of approved design i/c cost of screws, nuts etc, complete. (Master brand) (S.I.No:23, P-19) | 5 | -No: | 10322.4 | Each. | 51612 | 51612
14 | S/F sink mixture cock of superior quality with c.p head etc complete. (S.I.No:17, P-19) | 3 | -No: | 2745.6 | Each. | 8236.8 | 8237
15 | P/F steel sinks stainless local make complete with cost iron or wrought iron brackets 6 inches built in wall, 1-1/2” C.P. rubber plug chrome plated brass chain, 1-1/2” C.P. brass waste, with 1-1/2" P.V.C. waste pipe & making requisite number of holes in wall & plinth & floor for pipe connection & making good in C.C. 1:2:4. (a) Steel sink stainless sized 40” x 20” local make. (Standard Pattern) (S.I.No:19 (b) P-06) | 2 | -No: | 5162.3 | Each. | 10324.6 | 10325
16 | Providing G.I. Pipe, specials and clamps etc, i/c fixing cutting & fitting complete with and i/c the cost of breaking through walls and roof, making good etc. painting two coats after cleaning the pipe etc. with white zink paint with pigment to match the colour of the building and testing with water to a pressure head of 200-ft: and handling. (S.I.No:01, P-12)
(i) | 1/2” dia G.I. Pipe. | 200 | -Rft: | 73.21 | P.Rft: | 14642 | 14642
(ii) | 3/4” dia G.I. Pipe. | 400 | -Rft: | 95.79 | P.Rft: | 38316 | 38316
(iii) | 1” dia G.I. Pipe. | 100 | -Rft: | 128.55 | P.Rft: | 12855 | 12855
17 | Add extra labour for concealed G.I. Pipe & fittings i/c making recess in the wall for Pipe & making good in cement mortar etc complete. (S.I.No:02, P-12)
(i) | 1/2” dia G.I. Pipe. | 200 | -Rft: | 7.82 | P.Rft: | 1564 | 1564
(ii) | 3/4” dia G.I. Pipe. | 50 | -Rft: | 8.45 | P.Rft: | 422.5 | 422
(iii) | 1” dia G.I. Pipe. | 50 | -Rft: | 9.96 | P.Rft: | 498 | 498
18 | Supplying and fixing C.P Muslim Shower with double Bib cock & ring Pipe etc complete. (S.I.No:19 (a), P-19) | 1 | -No: | 3432 | Each. | 3432 | 3432
19 | P/F 6” x 4” C.C gully trap with 4” out let complete with 4” thick 1:2:4 C.C. for bed and ½” thick cement plaster (1:3) to the karb. C.I. Grating 6” x 6” and C.I. cover and frame 12” x 12” (inside) etc complete. (a) C.C. gully trap 6" x 6" x 4". (i) With C.I. cover & frame. (S.I.No:01(a-i) P-24) | 7 | -No: | 1193.17 | Each. | 8352.19 | 8352
20 | Providing, laying UPVC pipe of Class "D" fixing in trench i/c cutting, fitting and jointing with solvent cement i/c tesing with water to a head of 61 meter or 200 ft: (a) 80 mm (3”dia). (P.H.E.S.I.No:06, P-24)
|  | T o t a l :- |  |  |  | 278326.31 | 278326
Part (C) External Water Supply & Drainage.
01 | Excavation for pipe line in trenches and pits in all kinds of soils of murum i/c trimming and dressing sides to true alignment and shapes leveling of beds of trenches to correct level and grade, cutting joint holes and disposal of surplus earth within a | 2400 | -Cft: | 4650 | %0-Cft: | 11160 | 11160
02 | Constructing manhole or inspection chamber for the required diameter of circular sewer and 3’-6” (1067 mm) depth with walls of B.B. in cement sand mortar 1:3 cement plastered 1:3, 1/2” thick, inside of walls and 1” (25 mm) thick over benching and channel | 28 | -No: | 2524.25 | Each. | 70679 | 70679
03 | Construction manhole or inspection chamber for the required diameter of circular sewer and 3’- 6” (1067 mm) depth with walls of B.B in cement motar 1:3 cement plastered 1:3, 1/2” thick inside of walls and 1” (25 mm) thick over benching and channel i/c fi | 1 | -No: | 14748 | Each. | 14748 | 14748
04 | Construction manhole for the required dia of circular sewer and 7’- 6” depth with walls of B.B in cement motor 1:3 cement plastered 1:3, ½” thick inside of walls and I”(25mm) thick over benching and channel I / c fixing C.I Manhole cover with frame of c | 2 | -No: | 11312 | Each. | 22624 | 22624
05 | R.C.C work including all labour and material except the cost of steel reinforcement for bending and binding which will be paid separately. this rate also includes all kinds of forms mould lifting shuttering curing and washing of shingle(A) R.C work including roofslab, beams colums ,rafts lintels and other structure member laid in situ or precast and lead in position in all respect ratio 1:2:4 90 lbs: cementy 2-cft: sand 4-cft: shingle 1/8” to ¼” inch guaze. (SI.No: 6, P-15)
(a) | Precast reiforced cement concrete in colums beams lintels stair cases, shelves etc. (i). Ratio. 1:2:4. | 98 | -Cft: | 309.78 | P.Cft: | 30358.44 | 30358
06 | Fibrication of mild steel reinforcement for the cement Concrete i/c cutting and bending laying in position making joints and festeining I / c cost of binding wire also includes removal of rust from bars. . (S.I No:7(a)(b) P/ 11)
(a) | Tor Bars. | 1.96 | -Cwt: | 5001.7 | P.Cwt: | 9803.332 | 9803
(b) | Mild Steel. | 1.96 | -Cwt: | 4820.2 | P.Cwt: | 9447.592 | 9448
07 | Providing & fixing handle valve (China). (S.I.No:05(i), P-17)
(a) | 1/2" dia. | 5 | -No: | 200.42 | Each. | 1002.1 | 1002
(b) | 1-1/4” dia. | 4 | -No: | 475.42 | Each. | 1901.68 | 1902
(c.) | 1” dia. | 2 | -No: | 146.95 | Each. | 293.9 | 294
(d) | 1-1/2” dia. | 1 | -No: | 640.42 | Each. | 640.42 | 640
(e) | 2” dia. | 1 | -No: | 1382.92 | Each. | 1382.92 | 1383
08 | Providing G.I. Pipe, specials and clamps etc, i/c fixing cutting & fitting complete with and i/c the cost of breaking through walls and roof, making good etc. painting two coats after cleaning the pipe etc. with white zink paint with pigment to match the
(a) | 1/2” dia G.I. Pipe. | 50 | -Rft: | 73.21 | P.Rft: | 3660.5 | 3660
(b) | 3/4” dia G.I. Pipe. | 400 | -Rft: | 46.5 | P.Rft: | 18600 | 18600
(c.) | 1” dia G.I.Pipe. | 100 | -Rft: | 95.79 | P.Rft: | 9579 | 9579
(d) | 1-1/2” dia G.I. Pipe. | 20 | -Rft: | 188.97 | P.Rft: | 3779.4 | 3779
(e) | 4” dia G.I. Pipe. | 20 | -Rft: | 896.17 | P.Rft: | 17923.4 | 17923
09 | Providing, laying UPVC pipe of Class "D" fixing in trench i/c cutting, fitting and jointing with solvent cement i/c tesing with water to a head of 61 meter or 200 ft: (P.H.E.S.I.No:04(a), P-21)
(a) | 100 mm (3"dia). | 50 | -Rft: | 136 | P.Rft: | 6800 | 6800
(b) | 100 mm (4"dia). | 100 | -Rft: | 226 | P.Rft: | 22600 | 22600
(c) | 150 mm (6" dia) | 550 | -Rft: | 483 | P.Rft: | 265650 | 265650
(d) | 200 mm (8" dia). | 50 | -Rft: | 737 | P.Rft: | 36850 | 36850
10 | S/F fiber glass tank of approved quality and design and wall thickness as specified i/c cost of nuts, bolts and fixing in plateform of cement concrete 1:3:6 and making connections for in-let & outlet and over flow pipes etc complete. (a) 350 gallons wall | 2 | -No: | 30773.42 | Each. | 61546.84 | 61547
|  | T o t a l :- |  |  |  | 621030.524 | 621029
PART (D) Non-Schedule Items.
01 | P/F UPVC soil and vent pipe of AGM or pak Arab make schedule sdr-41(B) without fitting which will be pad seprately.This includes fixing on walls with clamps or Jubilee clamps etc complete.
(a) | 4" dia UPVC Pipe | 20 | -No: |  | Each.
(b) | 3" dia.UPVC Pipe | 10 | -No: |  | Each.
02 | P/F UPVC fitting of schedule 40(e) ASTM/d-1785 standrad ( AGM or Pak Arab make) with the cost of breaking through walls and roof i/c jointing with PVC salvent /JTG solution and fixing at any height / floor using long lodder (UPVC FITTING (4" DIA)
(a) | 4" dia Plug tea | 4 | -No: |  | Each.
(b) | 4" diaY- tea | 4 | -No: |  | Each.
(c) | 4" dia Plain bend tea | 14 | -No: |  | Each.
(d) | 4" dia Terminal Guard. | 4 | -No: |  | Each.
(e) | 4" dia Floor trap. | 5 | -No: |  | Each.
(f) | 4" dia Jubli Clamps. | 20 | -No: |  | Each.
03 | P/F UPVS soil and vent pipe of Agm or Pak Arab make schedule SDR-41(B) without fitting which will be paid separately. This includes fixing on walls with clamps or Jubilee clips upto height of in vertical or horizental etc complete.
(a) | 3" dia UPVS | 3 | -No: |  | Each.
04 | P/F UPVC fitting of schedule 40(e) ASTM/d-1785 standrad ( AGM or Pak Arab make) with the cost of breaking through walls and roof i/c jointing with PVC salvent /JTG solution and fixing at any height / floor using long lodder (UPVC FITTING (3" DIA)
(a) | 4" dia Plug tea | 7 | -No: |  | Each.
(b) | 3" diaY- tea | 7 | -No: |  | Each.
(c) | 3" dia Plain bend tea | 14 | -No: |  | Each.
(d) | 3" dia Terminal Guard. | 7 | -No: |  | Each.
(e) | 3" dia Floor trap. | 7 | -No: |  | Each.
(f) | 3" dia Jubli Clamps. | 15 | -No: |  | Each.
05 | Providing UPVC Floor Trap Jali or top title size 6"x6" of approved coloured and design as directed by the Engineer incharge.
(a) | Floor trap. | 11 | -No: |  | Each.
06 | Providing and fixing water pump 1/2 H.P single phase 220-vots. | 1 | -No: |  | Each.
|  |  |  | T o t a l :- |  | 0
G E N E R A L A B S T R A C T.
1) | Part (A) Main Building. |  |  | RS:- |  | 11325952.8087 | 11325953
2) | PART (B) Internal W/S and S/F Items. |  |  | RS:- |  | 278326.31 | 278326
3) | Part (C) External Water Supply & Drainage. |  |  | RS:- |  | 621030.524 | 621031
| PART (D) Non-Schedule Items. |  |  | RS:- |  | 0
|  |  |  | G. TOTAL :- |  | 12225309.6427
N O T E :-
1) | Premium on non schedule item will not be allowed.
2) | Cartage of any item either supplied y the Department if the contractor will be not allowed.
3) | Water arrangement will be made by the contractor at his own risk and cost.
4) | Income tax at 7.50% will be deducted from each bill of the contractor as per out standing orders.
5) | The Material used in the work or finished project can be got tested from any approved lab: as the direction by Engineer In charge or his representative and all the expenses in this connection with such testing shall be borne by the contractor executively without any reimbursement claim again his account.
Contractor
Executive Engineer Buildings Division Mirpurkhas

## Sch.B (3-ii)
Construction of Dialysis Centre in Civil Hospital Mirpurkhas. (Providing E.I Work)
Schedule "B".
Sr. No: | Items of Work. | Qty: |  | Rate. | Unit. | Amount. | Amount.
Part (A) Electric Schedule Items.
1 | Wiring for light or fan point with (3/.029) PVC insulated wire in 20 mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No:124, P-15) | 100 | -Nos: | 1130 | P.Point. | 113000 | 113000
2 | Wiring for plug point with (3/.029) PVC insulated wire in 20 mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No:126, P-15) | 30 | -Nos: | 985 | P.Point. | 29550 | 29550
3 | Wiring for call bell point with 3/.029 PVC insulated wire in 20 mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No.128, P-15) | 2 | -Nos: | 1764 | P.Point. | 3528 | 3528
4 | Providing & laying (Main or Sub Main) PVC insulated with size 2-7/.029 copper conductor in 3/4" dia PVC conduit recessed in wall or column as required. (S.I.No:10, P-02) | 450 | -Met: | 222 | P.Met: | 99900 | 99900
5 | P/L (Main or Sub Main) PVC insulated with size 2-7/.044 (6 mm 2) copper conductor in 3/4" dia PVC conduit recessed in the wall or column as requried. (S.I.No.12, P-02) | 150 | -Met: | 341 | P.Met: | 51150 | 51150
6 | P/L (Main or Sub Main) PVC insulated with size 2-7/.064 (16 mm 2) copper conductor in 3/4" dia PVC conduit recessed in the wall or column as requried. (S.I.No.14, P-02) | 80 | -Met: | 641 | P.Met: | 51280 | 51280
7 | P/L (Main or Sub Main) PVC insulated & PVC sheeted with 4 core copper conductor 600/1000 volts size 70 mm 2. (S.I.No.106, P-12) | 20 | -Rft: | 4722 | P.Rft: | 94440 | 94440
8 | Providnig & fixing DP i/c change over switch 500 volts 600 amp on a prepared board. (S.I.No.202, P-30) | 1 | -No: | 69014 | P.No: | 69014 | 69014
9 | P/F circuit breaker 6, 10, 15, 20, 30, 40, 50 & 63 amp SP (TB-5S) on prepared board as required. (S.I.No.203, P-31) | 15 | -Nos: | 916 | P.No: | 13740 | 13740
10 | P/F circuit breaker 6, 10, 15, 20, 30, 40, 50 & 63 amp DP (TB-5S) on prepared board as required. (S.I.No.204, P-31) | 1 | -No: | 2456 | P.No: | 2456 | 2456
11 | P/F circuit breaker 15, 20 30, 40, 50, 60, 75 & 100 amp TP (XS-100NS) on prepared board as required. (S.I.No.207, P-31) | 2 | -Nos: | 9261 | P.No: | 18522 | 18522
12 | Providing & fixing bakelite ceiling rose with two terminals. (S.I.No.228, P-33) | 20 | -Nos: | 72 | Each. | 1440 | 1440
13 | Providnig & fixing brass button holder. (S.I.No.232, P-33) | 80 | -Nos: | 70 | P.No: | 5600 | 5600
14 | P/F Amp: meter size 96/96 mm Direct 15A, 30A, 50A, 60A & 100A as required & as per instruction of Engineer Incharge. (S.I.No.284, P-41) | 2 | -Nos: | 1054 | P.No: | 2108 | 2108
15 | P/F Volt meter size 96/96 mm 500 volt as required & as per instruction of Engineer Incharge. (S.I.No.285, P-41) | 2 | -Nos: | 999 | P.No: | 1998 | 1998
16 | P/F of street light watts (HPMV) having LP54 classification with watt lamp, choke, capister & Internal wiring complete in all respect at the height upto 31 ft as per site requirement and installation of EI make of the above light in as follow. EI.(S.I.No.159 P-25) | 6 | -No: | 6365 | Each. | 38190 | 38190
|  | T o t a l :- |  |  |  | 595916 | 595916
Part (B) Electric Non - Schedule Items.
1 | P/F Energy Saver 24 volt superior quality i/c fixing on existing holder etc complete. | 80 | -Nos: |  | Each. | 0 | 0
2 | Erection of Ceiling fan i/c wiring of down rod with 1/1.13 mm (3/.029) PVC wire fixing of regulators blade canopy etc as required. | 10 | -No: |  | Each. | 0 | 0
3 | P/F mild steel bar fan clamp 15.8 mm (5/8") dia suitable for R.C.C. roof. | 10 | -No: |  | Each. | 0 | 0
4 | S/F A.C. ceiling fan 56" sewp ceiling fan complete with rod falde canopy etc required Pak, Milat Fan | 10 | -Nos: |  | Each. | 0 | 0
5 | S/F mix metallic sheet 2.4.6.8 hole i/c frame and PVC board clip switch etc as required. | 20 | -Nos: |  | Each. | 0 | 0
6 | Excavation for earthing set with copper plat 1x1 & copper conductor 8 S.W.G. in G.I. pipe 1/2 dia jointed with plate i/c koala, salt & refilling the same. | 1 | -No: |  | Each. | 0 | 0
7 | S/F fancy capsol light with plastic body complete with holder etc as required. | 10 | -Nos: |  | Each. | 0 | 0
8 | P/F main pannel board double shutter to accommodate heavy duty circuit breaker, bus bars i/c painting with enemelled paint, for other similar jobs on surface. | 6 | Sft |  | P-Sft | 0 | 0
9 | P/F A.C. or D.C. Electric bell 200 / 250 volts. | 2 | -Nos: |  | Each. | 0 | 0
10 | S/F exhaust fan plastic body 12" complete with connection Pak, G.F.C. Royal as per required. | 5 | -Nos: |  | Each. | 0 | 0
11 | P/F Universal 15 amps fixed on a board and nesessary connection as required. | 10 | -No: |  | Each. | 0 | 0
12 | S/F mix metallic switch socket & bell push etc as required. | 120 | -Nos: |  | Each. | 0 | 0
13 | P/F flash type light flash type dimmer imported quality. | 10 | -Nos: |  | Each. | 0 | 0
14 | S/F A.C fancy wall breaket fan i/c egulator etc complete. | 4 | -No: |  | Each. | 0 | 0
|  | G. T o t a l :- |  |  |  | 0
G E N E R A L A B S T R A C T.
1) | Part (A) Electric Schedule Items. |  |  | RS:- |  | 595916 | 595916
2) | Part (B) Electric Non - Schedule Items. |  |  | RS:- |  | 0
|  |  |  | G. TOTAL :- |  | 595916
N O T E :-
1) | Premium on non schedule items will no be allowed.
2) | Carriage of any items either supplied by the contractors of Department will not be allowed.
3) | Income tax at 7.50 % will be deducted from each bill of the contractor as per out standing orders.
Contractor |  |  | Executive Engineer Buildings Division Mirpurkhas

## Sch.B (4-i)
Up-Gradation R.H.C to the Level of T.H.Q Hospital Mirwah District Mirpurkhas. (i) Providing E.I Work of Main Building) (E.I. Work)
Schedule "B".
Sr. No: | Items of Work. |  | Qty: |  | Rate. | Unit. | Amount. | Amount.
Part (A) Electric Schedule Items.
1 | Wiring for light or fan point with (3/.029) PVC insulated wire in 20 mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No:124, P-15) |  | 250 | -Nos: | 1130 | P.Point. | 282500 | 282500
2 | Wiring for plug point with (3/.029) PVC insulated wire in 20 mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No:126, P-15) |  | 49 | -Nos: | 985 | P.Point. | 48265 | 48265
3 | Wiring for call bell point with 3/.029 PVC insulated wire in 20 mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No.128, P-15) |  | 4 | -Nos: | 1764 | P.Point. | 7056 | 7056
4 | Providing & laying (Main or Sub Main) PVC insulated with size 2-7/.029 copper conductor in 3/4" dia PVC conduit recessed in wall or column as required. (S.I.No:10, P-02) |  | 1000 | -Met: | 222 | P.Met: | 222000 | 222000
5 | P/L (Main or Sub Main) PVC insulated with size 2-7/.044 (6 mm 2) copper conductor in 3/4" dia PVC conduit recessed in the wall or column as requried. (S.I.No.12, P-02) |  | 500 | -Met: | 341 | P.Met: | 170500 | 170500
6 | P/L (Main or Sub Main) PVC insulated with size 2-7/.064 (16 mm 2) copper conductor in 3/4" dia PVC conduit recessed in the wall or column as requried. (S.I.No.14, P-02) |  | 250 | -Met: | 641 | P.Met: | 160250 | 160250
7 | P/L (Main or Sub Main) PVC insulated & PVC sheeted with 4 core copper conductor 600/1000 volts size 70 mm 2. (S.I.No.106, P-12) |  | 110 | -Rft: | 4722 | P.Rft: | 519420 | 519420
8 | Providnig & fixing DP i/c change over switch 500 volts 600 amp on a prepared board. (S.I.No.202, P-30) |  | 1 | -No: | 69014 | P.No: | 69014 | 69014
9 | P/F circuit breaker 6, 10, 15, 20, 30, 40, 50 & 63 amp SP (TB-5S) on prepared board as required. (S.I.No.203, P-31) |  | 40 | -Nos: | 916 | P.No: | 36640 | 36640
10 | P/F circuit breaker 6, 10, 15, 20, 30, 40, 50 & 63 amp DP (TB-5S) on prepared board as required. (S.I.No.204, P-31) |  | 10 | -No: | 2456 | P.No: | 24560 | 24560
11 | P/F circuit breaker 15, 20 30, 40, 50, 60, 75 & 100 amp TP (XS-100NS) on prepared board as required. (S.I.No.207, P-31) |  | 8 | -Nos: | 9261 | P.No: | 74088 | 74088
12 | P/F circuit breaker 400 amp T.P. setting 250-400 amp (XS-400CJ) on prepared board as required. (S.I.No.210, P-31) |  | 2 | -No: | 39401 | P.No: | 78802 | 78802
13 | Providing & fixing bakelite ceiling rose with two terminals. (S.I.No.228, P-33) |  | 45 | -Nos: | 72 | Each. | 3240 | 3240
14 | Providnig & fixing brass button holder. (S.I.No.232, P-33) |  | 174 | -Nos: | 70 | P.No: | 12180 | 12180
15 | P/F Amp: meter size 96/96 mm Direct 15A, 30A, 50A, 60A & 100A as required & as per instruction of Engineer Incharge. (S.I.No.284, P-41) |  | 8 | -Nos: | 1054 | P.No: | 8432 | 8432
16 | P/F Volt meter size 96/96 mm 500 volt as required & as per instruction of Engineer Incharge. (S.I.No.285, P-41) |  | 8 | -Nos: | 999 | P.No: | 7992 | 7992
17 | P/F of street light watts (HPMV) having LP54 classification with watt lamp, choke, capister & Internal wiring complete in all respect at the height upto 31 ft as per site requirement and installation of EI make of the above light in as follow. EI.(S.I.No |  | 6 | -No: | 6365 | Each. | 38190 | 38190
|  |  | T o t a l :- |  |  |  | 1763129 | 1763129
Part (B) Electric Non - Schedule Items.
1 | P/F Energy Saver 24 volt superior quality i/c fixing on existing holder etc complete. |  | 174 | -Nos: |  | Each. | 0
3 | Erection of Ceiling fan i/c wiring of down rod with 1/1.13 mm (3/.029) PVC wire fixing of regulators blade canopy etc as required. |  | 45 | -No: |  | Each. | 0
4 | P/F mild steel bar fan clamp 15.8 mm (5/8") dia suitable for R.C.C. roof. |  | 45 | -No: |  | Each. | 0
5 | S/F A.C. ceiling fan 56" sewp ceiling fan complete with rod falde canopy etc required Pak, Milat Fan |  | 45 | -Nos: |  | Each. | 0
6 | S/F mix metallic sheet 2.4.6.8 hole i/c frame and PVC board clip switch etc as required. |  | 60 | -Nos: |  | Each. | 0
7 | Excavation for earthing set with copper plat 1x1 & copper conductor 8 S.W.G. in G.I. pipe 1/2 dia jointed with plate i/c koala, salt & refilling the same. |  | 2 | -No: |  | Each. | 0
8 | P/F bus bar four pole 200 to 250 amps with copper 4 strips insulator brass mut & bolt complete with energization. |  | 1 | -No: |  | Each. | 0
9 | S/F fancy capsol light with plastic body complete with holder etc as required. |  | 20 | -Nos: |  | Each. | 0
10 | P/F main pannel board double shutter to accommodate heavy duty circuit breaker, bus bars i/c painting with enemelled paint, for other similar jobs on surface. |  | 20 | Sft |  | P-Sft | 0
11 | P/F A.C. or D.C. Electric bell 200 / 250 volts. |  | 4 | -Nos: |  | Each. | 0
12 | S/F exhaust fan plastic body 12" complete with connection Pak, G.F.C. Royal as per required. |  | 5 | -Nos: |  | Each. | 0
13 | P/F SNF (HPIT) fuxture (Philips) type complete, with sun lamp bolts ingnitor chowk dapacitor futher more 99% pure aluminum used for reflector & tempered glass with heat resistant gas kit ensuring 400 watt lights required (Philips or German made Parts) |  | 2 | -No: |  | Each. | 0
14 | P/F Universal 15 amps fixed on a board and nesessary connection as required. |  | 20 | -No: |  | Each. | 0
15 | S/F mix metallic switch socket & bell push etc as required. |  | 300 | -Nos: |  | Each. | 0
16 | P/F flash type light flash type dimmer imported quality. |  | 45 | -Nos: |  | Each. | 0
|  |  | G. T o t a l :- |  |  |  | 0
N O T E :-
1) | Premium on non schedule items will no be allowed.
2) | Carriage of any items either supplied by the contractors of Department will not be allowed.
3) | Income tax at 7.50 % will be deducted from each bill of the contractor as per out standing orders.
Contractor |  | Assistant Engineer Electrical Sub-Division Mirpurkhas |  | Executive Engineer Buildings Division Mirpurkhas