NAME OF WORK:-REPAIR / RENOVATION OF SHAHEED BENAZIR BHUTTO ELITE POLICE TRAINING CENTER RAZZAKABAD MALIR KARACHI.

(OVER HEAD WATER TANK 03 Nos: &MT SHADE).

SCHEDULE B-FORM

| S.NO. | DESCRIPTION | QTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |
|  | Excavation in foundation of building bridges and other structures including debeling refilling around structure with excavated earth watering and ramming lead upto 5 cft. | 198 cft |  | p.cft |  |
|  | Cement concrete brick or stone ballast ½” to 2” guage (underground). | 130 cft |  | p.cft |  |
|  | Supplying of new earth filing and dewatering | 456 cft |  | p.cft |  |
|  | Fabrication of mils steel reinforcement for cement concrete including cutting, bending, laying in position making joints and fastening including cost of binding wire also including removal of rust form bars. | 40 cwt |  | p.cwt |  |
|  | Reinforced cement concrete work including all material except the cost of steel reinforcement and it slab out for bending and binding which will be paid separately. This rate also includes all kinds of ram moulds all lifting shuttering curing rendering and finishing the exposed surface including screening and washing of single R.C work in roof slab beams columns rafts lintels and other structural mummer lid in situprecuts laid in position completed in all respects Ratio (1:2:4) 90 lbs cement 2 cft and 4 cft shingle 1/8 to ¼ gage. | 2706 cft |  | p.cft |  |
|  | P/L 1:3:6 cement concrete solid block masonry set 1:6 cement sand mortar in plinth and foundation including ranking out joints and curing etc. complete. | 310 cft |  | p.cft |  |
|  | Cement plaster 1:6 upto 20” height ½ thick curing and labour charges. | 2960 sft |  | p.sft |  |
|  | Making & fixing steel gated door with 16” thick sheeting including angle iron frame 2 x 2 3/8 and 2/4 square bars 4” center to center with locking arrangement. | 23 sft |  | p.sft |  |
|  | Supplying and fixing lower iron windows enclosing Engel iron frame | 48 sft |  | p.sft |  |
|  | Supplying and fixing MT fiver shade including Engel iron frame MS pipe 3” dia electric welding flouring of cement concrete ratio 1.5.10 CC toping 3” thick | 1577 sft |  | p.sft |  |
|  | Providing and lying 3” thick topping cement concrete (1:2:4) including surface finishing and dividing into panels including dismantling cc topping. | 910 sft |  | p.sft |  |
|  | Providing and fixing MS water tank cover size 2x2 approve quality | 06 Nos |  | each |  |
|  | Scraping the old distemper preparing the surface and supplying two coats of distemper of specified make and colour as directed by Engineer Incharge. | 2560 sft |  | p.sft |  |
|  | Grand Total |  |  |  |  |

Sd/-

(Capt. (R) Haider Raza), PSP

Commandant

SBB, EPTC Razzakabad Karachi