## Schedule B G.F
NAME OF WORK => |  | STRENTHENING & IMPROVEMENT OF JINNAH POST GRADUATE MEDICAL CENTER (JPMC) KARACHI. ELECTRIC WORK G.F & F.F FOR COLLEGE OF MEDICAL TECHNOLOGY JPMC KARACHI.
SCHEDULE " B "
(M.Building) Electrical work =>G.F
S.No | Description of items |  | Quantity |  | Rate |  |  | Unit | Amount
A | (ELECTRIC WORKS)
(i) | Ground Floor (S.I)
1 | Wiring for light or fan point with 3/.029 PVC
insulated wire in 20mm(3/4") PVC conduit
| on surface as required. (S.I.No.123/P-15) |  | 446 | Point | 797 | / | 0 | P.Point | 355462 | /-
2 | Wiring for plug point with 3/.029 PVC
insulated wire in 20mm(3/4") PVC conduit
| on surface as required. (S.I.No.125/P-15) |  | 55 | Point | 669 | / | 0 | P.Point | 36795 | /-
3 | Providing & laying (MAIN or SUB MAIN)
PVC insulated with size 2-7/.029 copper
conductor in 3/4" dia PVC conduit on surface.
| (S.I.No.A-3/P-1) |  | 13380 | Mtr | 171 | / | 0 | P.Mtr | 2287980 | /-
4 | Providing & laying (MAIN or SUB MAIN)
PVC insulated with size 2-7/.044 (6mm2)
copper conductor in 1" dia PVC conduit on
| surface. (S.I.No.A-5/P-1) |  | 450 | Mtr | 305 | / | 0 | P.Mtr | 137250 | /-
5 | Providing & fixing circuit breaker 6, 10, 15,
20, 30, 40, 50, 60, & 63amp SP (TB-5S) on
| prepard board as required.(S.I.No.203/P-31) |  | 80 | Nos | 916 | / | 0 | Each | 73280 | /-
6 | Providing & fixing circuit breaker 6, 10, 15,
20, 30, 40, 50, 60, & 63amp DP (TB-5S) on
| prepard board as required.(S.I.No.204/P-31) |  | 20 | Nos | 2456 | / | 0 | Each | 49120 | /-
7 | Providing & fixing circuit breaker 15, 20, 30,
40, 50, & 60amp TP (XE-100CS[CB] ) on
| prepard board as required.(S.I.No.206/P-31) |  | 10 | Nos | 5521 | / | 0 | Each | 55210 | /-
8 | Providing & fixing circuit breaker 15, 20, 30,
40, 50, 60, 75 & 100amp TP (XS-100NS) on
| prepard board as required.(S.I.No.207/P-31) |  | 5 | Nos | 9261 | / | 0 | Each | 46305 | /-
9 | Providing & fixing voltmeter size 96/96mm
500volt as required & as per instruction of EI.
| (S.I.No.B285/P-41) |  | 2 | Nos | 999 | / | 0 | Each | 1998 | /-
10 | AMPERE METER. Providing & fixing ammeters
size 96/96mm Direct 15A, 30A, 50A, 60A &
100A as required & as per instruction of EI.
| (S.I.No.B284/P-41) |  | 2 | Nos | 1054 | / | 0 | Each | 2108 | /-
11 | Wiring for call bell point with 3/.029 PVC
insulated wire in 20mm(3/4") Channel Patti
| on surface as required. (S.I.No.B131/P-15) |  | 11 | Point | 1590 | / | 0 | P.Point | 17490 | /-
[8 empty] | M.Build, G.F) Total | 3062998 | /-
Above Or Below
Total
NON SCHEDULE ITEM
1 | S/F of fancy switch / soket imorted make
with double sheets fixing with existing concealed
board on approved quality design by the E.E.
| Incharge etc. complete. |  | 295 | Nos |  |  |  | Each
2 | S/F of 2 pin plug soket imported make with
double sheets fixing with design by the
| Engineer Incharge. |  | 87 | Nos |  |  |  | Each
3 | S/F of 3 pin top fancy plug socket imorted
make with double sheets fixing with design
| by the Engineer Incharge. |  | 170 | Nos |  |  |  | Each
4 | S/F of 3 pin 15 Amp fancy switch soket imported
make with double sheets design by the E.E.
| Incharge etc. complete. |  | 9 | Nos |  |  |  | Each
5 | Supplying and fixing ceiling fan 56" heavy
pattern Royal make or equivalent quality
i/c. fixing of existing position with electric
connection and cartage etc. as directed by
| Engineer Incharge. |  | 109 | Nos |  |  |  | Each
6 | Supplying and fixing wall bracket fan 18" sweep
best quality of pak fan wahid or Royal fan as
approved including Hanging rod canopy etc.
with necessary electric wiring and connection
| etc. complete. |  | 3 | Nos |  |  |  | Each
7 | P/F 2-40 watts tube light complete with 40
watts 4' long rod cock, starter and putty with
Philips components including necessary
electric connection and fixing on wall or
| ceiling etc. complete. |  | 154 | Nos |  |  |  | Each
8 | P/F 1-40 watts tube light complete with 40
watts 4' long rod cock, starter and putty with
Philips components including necessary
electric connection and fixing on wall or
| ceiling etc. complete. |  | 159 | Nos |  |  |  | Each
9 | Providing and fixing Energy Saver Superior
quality including fixing on existing holder etc.
| complete. |  | 78 | Nos |  |  |  | Each
10 | S/F Fancy type wall bracket light with glass
and fancy frame work as approved design and
shape i/c. reassembling and necessary electric
| wiring and connection etc. complete. |  | 12 | Nos |  |  |  | Each
11 | Providing & fixing Pilot Lamp approved quality
| etc. complete. |  | 6 | Nos |  |  |  | Each
12 | M/F distribution box heavy iron sheet with
locking arrangement & painting 3 coats to
accommodate circuit bracker & wire mains
| etc. complete. |  | 8 | Sft |  |  |  | P.Sft
13 | Providing and fixing of fine quality exhaust
fan royal make or equal quality 6" metal body
etc. including making frame and necessary
| electric wiring and connection etc. complete. |  | 9 | Nos |  |  |  | Each
14 | S/F Fancy type fine quality imported make
garden light as approved quality & design i/c.
necessary electric wiring and connection etc.
| complete. |  | 12 | Nos |  |  |  | Each
NSI) Total
(ii) | First Floor (S.I)
1 | Wiring for light or fan point with 3/.029 PVC
insulated wire in 20mm(3/4") PVC conduit
| on surface as required. (S.I.No.123/P-15) |  | 434 | Point | 797 | / | 0 | P.Point | 345898 | /-
2 | Wiring for plug point with 3/.029 PVC
insulated wire in 20mm(3/4") PVC conduit
| on surface as required. (S.I.No.125/P-15) |  | 55 | Point | 669 | / | 0 | P.Point | 36795 | /-
3 | Providing & laying (MAIN or SUB MAIN)
PVC insulated with size 2-7/.029 copper
conductor in 3/4" dia PVC conduit on surface.
| (S.I.No.A-3/P-1) |  | 13380 | Mtr | 171 | / | 0 | P.Mtr | 2287980 | /-
4 | Providing & laying (MAIN or SUB MAIN)
PVC insulated with size 2-7/.044 (6mm2)
copper conductor in 1" dia PVC conduit on
| surface. (S.I.No.A-5/P-1) |  | 450 | Mtr | 305 | / | 0 | P.Mtr | 137250 | /-
5 | Providing & fixing circuit breaker 6, 10, 15,
20, 30, 40, 50, 60, & 63amp SP (TB-5S) on
| prepard board as required.(S.I.No.203/P-31) |  | 80 | Nos | 916 | / | 0 | Each | 73280 | /-
6 | Providing & fixing circuit breaker 6, 10, 15,
20, 30, 40, 50, 60, & 63amp DP (TB-5S) on
| prepard board as required.(S.I.No.204/P-31) |  | 20 | Nos | 2456 | / | 0 | Each | 49120 | /-
7 | Providing & fixing circuit breaker 15, 20, 30,
40, 50, & 60amp TP (XE-100CS[CB] ) on
| prepard board as required.(S.I.No.206/P-31) |  | 10 | Nos | 5521 | / | 0 | Each | 55210 | /-
8 | Providing & fixing circuit breaker 15, 20, 30,
40, 50, 60, 75 & 100amp TP (XS-100NS) on
| prepard board as required.(S.I.No.207/P-31) |  | 5 | Nos | 9261 | / | 0 | Each | 46305 | /-
9 | Providing & fixing voltmeter size 96/96mm
500volt as required & as per instruction of EI.
| (S.I.No.B285/P-41) |  | 2 | Nos | 999 | / | 0 | Each | 1998 | /-
10 | AMPERE METER. Providing & fixing ammeters
size 96/96mm Direct 15A, 30A, 50A, 60A &
100A as required & as per instruction of EI.
| (S.I.No.B284/P-41) |  | 2 | Nos | 1054 | / | 0 | Each | 2108 | /-
11 | Wiring for call bell point with 3/.029 PVC
insulated wire in 20mm(3/4") Channel Patti
| on surface as required. (S.I.No.B131/P-15) |  | 11 | Point | 1590 | / | 0 | P.Point | 17490 | /-
[8 empty] | M.Build, G.F) Total | 3053434 | /-
Above / Below
| NON SCHEDULE ITEM | [6 empty] | Total
1 | S/F of fancy switch / soket imorted make
with double sheets fixing with existing concealed
board on approved quality design by the E.E.
| Incharge etc. complete. |  | 295 | Nos |  |  |  | Each
2 | S/F of 2 pin plug soket imported make with
double sheets fixing with design by the
| Engineer Incharge. |  | 87 | Nos |  |  |  | Each
3 | S/F of 3 pin top fancy plug socket imorted
make with double sheets fixing with design
| by the Engineer Incharge. |  | 170 | Nos |  |  |  | Each
4 | S/F of 3 pin 15 Amp fancy switch soket imported
make with double sheets design by the E.E.
| Incharge etc. complete. |  | 9 | Nos |  |  |  | Each
5 | Supplying and fixing ceiling fan 56" heavy
pattern Royal make or equivalent quality
i/c. fixing of existing position with electric
connection and cartage etc. as directed by
| Engineer Incharge. |  | 109 | Nos |  |  |  | Each
6 | Supplying and fixing wall bracket fan 18" sweep
best quality of pak fan wahid or Royal fan as
approved including Hanging rod canopy etc.
with necessary electric wiring and connection
| etc. complete. |  | 3 | Nos |  |  |  | Each
7 | P/F 2-40 watts tube light complete with 40
watts 4' long rod cock, starter and putty with
Philips components including necessary
electric connection and fixing on wall or
| ceiling etc. complete. |  | 154 | Nos |  |  |  | Each
8 | P/F 1-40 watts tube light complete with 40
watts 4' long rod cock, starter and putty with
Philips components including necessary
electric connection and fixing on wall or
| ceiling etc. complete. |  | 159 | Nos |  |  |  | Each
9 | Providing and fixing Energy Saver Superior
quality including fixing on existing holder etc.
| complete. |  | 78 | Nos |  |  |  | Each
10 | S/F Fancy type wall bracket light with glass
and fancy frame work as approved design and
shape i/c. reassembling and necessary electric
| wiring and connection etc. complete. |  | 12 | Nos |  |  |  | Each
11 | Providing & fixing Pilot Lamp approved quality
| etc. complete. |  | 6 | Nos |  |  |  | Each
12 | M/F distribution box heavy iron sheet with
locking arrangement & painting 3 coats to
accommodate circuit bracker & wire mains
| etc. complete. |  | 8 | Sft |  |  |  | P.Sft
13 | Providing and fixing of fine quality exhaust
fan royal make or equal quality 6" metal body
etc. including making frame and necessary
| electric wiring and connection etc. complete. |  | 9 | Nos |  |  |  | Each
NSI) Total
SUMMARY OF COST
| Part i | G.Floor Electric Work Schedule Item |  |  |  |  | Rs.
|  | Non Schedule Item |  |  |  |  | Rs.
| Part ii | First Floor Electric Work Schedule Item |  |  |  |  | Rs.
|  | Non Schedule Item |  |  |  |  | Rs.
|  |  | Total |  |  |  | Rs.
TERMS & CONDITIONS:
1 | Any typographical errors in the schedule"B" are subject to correction with the reference to the schdule of rates General Item
Water Supply and sanitary item 2012 in force from 12-07-2012 as approved by the standing rates committee sindh Karachi.
2 | 100 % well graded crushed bajri shall be used in item of R.C.C 1:2:4.
3 | Water shall be arranged by the contractor at site of work without any extra payment.
4 | No Premium shall be paid on non-schedule Item
5 | No Cartage or any items of material either supplied by the Department or arranged by the contractor shall be paid
6 | C.C Shall be Machine made.
7 | All R.C.C/C.C cast in situ shall be mechanically viberated.
8 | Contractor has to bring samples of the material and handed to the Engineer Incharge free of cost.
9 | All Building debries & Surplus stuff not req: for use and construction shall be removed from the site the suitable disposal off by
10 | the contractor for which no extra cartages shall be paid.
11 | The Work Will be carried out as per PWD Specification.
CONTRACTOR
|  |  | ASSISTANT ENGINEER |  |  |  |  | EXECUTIVE ENGINEER
|  |  | Prov Building Sub-Division -VI |  | Provincial Building Division No.II
|  | Karachi. |  |  |  |  | Karachi.

## F.S
Name of Scheme. | STRENTHENING & IMPROVEMENT OF JINNAH POST GRADUATE MEDICAL CENTER (JPMC) KARACHI. COLLEGE OF MEDICAL TECHNOLOGY JPMC KARACHI. (ELECTRIC WORK)
Estimate Cost. | Rs. | 8.742 | Million
The Detail Working Estimate has been prepared in the Office of Executive Engineer Provincial Building Division-II Works & Services Department Government of Sindh Karachi.
WORKS & SERVICES DEPARTMENT
GOVERNMENT OF SINDH
DETAIL WORKING ESTIMATE

## G.Abs
NAME OF WORK => |  |  | STRENTHENING & IMPROVEMENT OF JINNAH POST GRADUATE MEDICAL CENTER (JPMC) KARACHI. COLLEGE OF MEDICAL TECHNOLOGY JPMC KARACHI. (ELECTRIC WORK)
GENERAL ABSTRACT
MAIN BUILDING (ELECTRIC WORK)
| (a) Ground Floor |  |  |  |  | 4398673 | /-
| (b) First Floor |  |  |  |  | 4343509 | /-
[6 empty] | 8742182 | /-
#REF!
[5 empty] | Say Rs. | 8742000 | /- | 50000000
[8 empty] | #REF! | #REF!
[5 empty] | Rs. In Million | 8.742 | (M)
|  | ASSISTANT ENGINEER |  | EXECUTIVE ENGINEER
|  | Provincial Buildings Sub-Division- |  | Provincial Buildings Division-II
|  | Karachi. |  | Karachi.

## SOC
NAME OF WORK => |  |  | STRENTHENING & IMPROVEMENT OF JINNAH POST GRADUATE MEDICAL CENTER (JPMC) KARACHI. COLLEGE OF MEDICAL TECHNOLOGY JPMC KARACHI. (ELECTRIC WORK)
SUMMARY OF COST
Part (a) Electric Works
(i) Ground Floor
|  | (a-i-a) Schedule Item | [5 empty] | 3062998 | /-
|  | (a-i-b) Non Schedule Item | [5 empty] | 1335675 | /-
[7 empty] | a-i) Total Rs. | 4398673 | /-
(ii) First Floor
|  | (a-ii-a) Schedule Item | [5 empty] | 3053434 | /-
|  | (a-ii-b) Non Schedule Item | [5 empty] | 1290075 | /-
[7 empty] | a-ii) Total Rs. | 4343509 | /-
|  |  |  | Total Part "A" (ia + iia) |  |  | A) Total Rs. | 8742182 | /-
[7 empty] | Say Rs. | 8742000 | /-
[7 empty] | Rs. In Million | 8.742 | (M)
|  | ASSISTANT ENGINEER |  |  |  | EXECUTIVE ENGINEER
|  | Provincial Buildings Sub-Division- |  |  |  | Provincial Buildings Division-II
|  | Karachi. |  |  |  | Karachi.
Name of Work |  | Strenthening & Improvement of Jinnah Post Graduate Medical Center (JPMC) Karachi.College of Medical Technology JPMC Karachi. (Electric Works).
A. | Electric Works
(a) | Ground Floor
(i) | Schedule Item |  |  |  | 3062998
(ii) | Non Schedule Item |  |  |  | 1335675
4398673
(b) | First Floor
(i) | Schedule Item |  |  |  | 3053434
(ii) | Non Schedule Item |  |  |  | 1290075
4343509
|  |  | Total 'A'=(a+b) |  | 8742182
Name of Work |  | Strenthening & Improvement of Jinnah Post Graduate Medical Center (JPMC) Karachi.Repair and Renovation of Federal Government Officers Block (Electric Works).
A. | Electric Works
(a) | Ground Floor
(i) | Schedule Item |  |  |  | 1772219
(ii) | Non Schedule Item |  |  |  | 773413
2545632
(b) | First Floor
(i) | Schedule Item |  |  |  | 1775216
(ii) | Non Schedule Item |  |  |  | 773413
2548629
|  |  | Total 'A'=(a+b) |  | 5094261
SUMMARY OF COST

## Abs (G.F)
NAME OF WORK => |  | STRENTHENING & IMPROVEMENT OF JINNAH POST GRADUATE MEDICAL CENTER (JPMC) KARACHI. COLLEGE OF MEDICAL TECHNOLOGY JPMC KARACHI. (ELECTRIC WORK)
ABSTRUCT SHEET
(M.Building) Electrical work =>G.F
S.No | Description of items |  | Quantity |  | Rate |  |  | Unit | Amount
A | (ELECTRIC WORKS)
(i) | Ground Floor (S.I)
1 | Wiring for light or fan point with 3/.029 PVC
insulated wire in 20mm(3/4") PVC conduit
| on surface as required. (S.I.No.123/P-15) |  | 446 | Point | 797 | / | 0 | P.Point | 355462 | /-
2 | Wiring for plug point with 3/.029 PVC
insulated wire in 20mm(3/4") PVC conduit
| on surface as required. (S.I.No.125/P-15) |  | 55 | Point | 669 | / | 0 | P.Point | 36795 | /-
3 | Providing & laying (MAIN or SUB MAIN)
PVC insulated with size 2-7/.029 copper
conductor in 3/4" dia PVC conduit on surface.
| (S.I.No.A-3/P-1) |  | 13380 | Mtr | 171 | / | 0 | P.Mtr | 2287980 | /-
4 | Providing & laying (MAIN or SUB MAIN)
PVC insulated with size 2-7/.044 (6mm2)
copper conductor in 1" dia PVC conduit on
| surface. (S.I.No.A-5/P-1) |  | 450 | Mtr | 305 | / | 0 | P.Mtr | 137250 | /-
5 | Providing & fixing circuit breaker 6, 10, 15,
20, 30, 40, 50, 60, & 63amp SP (TB-5S) on
| prepard board as required.(S.I.No.203/P-31) |  | 80 | Nos | 916 | / | 0 | Each | 73280 | /-
6 | Providing & fixing circuit breaker 6, 10, 15,
20, 30, 40, 50, 60, & 63amp DP (TB-5S) on
| prepard board as required.(S.I.No.204/P-31) |  | 20 | Nos | 2456 | / | 0 | Each | 49120 | /-
7 | Providing & fixing circuit breaker 15, 20, 30,
40, 50, & 60amp TP (XE-100CS[CB] ) on
| prepard board as required.(S.I.No.206/P-31) |  | 10 | Nos | 5521 | / | 0 | Each | 55210 | /-
8 | Providing & fixing circuit breaker 15, 20, 30,
40, 50, 60, 75 & 100amp TP (XS-100NS) on
| prepard board as required.(S.I.No.207/P-31) |  | 5 | Nos | 9261 | / | 0 | Each | 46305 | /-
9 | Providing & fixing voltmeter size 96/96mm
500volt as required & as per instruction of EI.
| (S.I.No.B285/P-41) |  | 2 | Nos | 999 | / | 0 | Each | 1998 | /-
10 | AMPERE METER. Providing & fixing ammeters
size 96/96mm Direct 15A, 30A, 50A, 60A &
100A as required & as per instruction of EI.
| (S.I.No.B284/P-41) |  | 2 | Nos | 1054 | / | 0 | Each | 2108 | /-
11 | Wiring for call bell point with 3/.029 PVC
insulated wire in 20mm(3/4") Channel Patti
| on surface as required. (S.I.No.B131/P-15) |  | 11 | Point | 1590 | / | 0 | P.Point | 17490 | /-
[8 empty] | M.Build, G.F) Total | 3062998 | /-
NON SCHEDULE ITEM
1 | S/F of fancy switch / soket imorted make
with double sheets fixing with existing concealed
board on approved quality design by the E.E.
| Incharge etc. complete. |  | 295 | Nos | 340 | / | 0 | Each | 100300 | /-
2 | S/F of 2 pin plug soket imported make with
double sheets fixing with design by the
| Engineer Incharge. |  | 87 | Nos | 225 | / | 0 | Each | 19575 | /-
3 | S/F of 3 pin top fancy plug socket imorted
make with double sheets fixing with design
| by the Engineer Incharge. |  | 170 | Nos | 350 | / | 0 | Each | 59500 | /-
4 | S/F of 3 pin 15 Amp fancy switch soket imported
make with double sheets design by the E.E.
| Incharge etc. complete. |  | 9 | Nos | 450 | / | 0 | Each | 4050 | /-
5 | Supplying and fixing ceiling fan 56" heavy
pattern Royal make or equivalent quality
i/c. fixing of existing position with electric
connection and cartage etc. as directed by
| Engineer Incharge. |  | 109 | Nos | 3600 | / | 0 | Each | 392400 | /-
6 | Supplying and fixing wall bracket fan 18" sweep
best quality of pak fan wahid or Royal fan as
approved including Hanging rod canopy etc.
with necessary electric wiring and connection
| etc. complete. |  | 3 | Nos | 3200 | / | 0 | Each | 9600 | /-
7 | P/F 2-40 watts tube light complete with 40
watts 4' long rod cock, starter and putty with
Philips components including necessary
electric connection and fixing on wall or
| ceiling etc. complete. |  | 154 | Nos | 2600 | / | 0 | Each | 400400 | /-
8 | P/F 1-40 watts tube light complete with 40
watts 4' long rod cock, starter and putty with
Philips components including necessary
electric connection and fixing on wall or
| ceiling etc. complete. |  | 159 | Nos | 1000 | / | 0 | Each | 159000 | /-
9 | Providing and fixing Energy Saver Superior
quality including fixing on existing holder etc.
| complete. |  | 78 | Nos | 825 | / | 0 | Each | 64350 | /-
10 | S/F Fancy type wall bracket light with glass
and fancy frame work as approved design and
shape i/c. reassembling and necessary electric
| wiring and connection etc. complete. |  | 12 | Nos | 1850 | / | 0 | Each | 22200 | /-
11 | Providing & fixing Pilot Lamp approved quality
| etc. complete. |  | 6 | Nos | 300 | / | 0 | Each | 1800 | /-
12 | M/F distribution box heavy iron sheet with
locking arrangement & painting 3 coats to
accommodate circuit bracker & wire mains
| etc. complete. |  | 8 | Sft | 3962 | / | 50 | P.Sft | 31700 | /-
13 | Providing and fixing of fine quality exhaust
fan royal make or equal quality 6" metal body
etc. including making frame and necessary
| electric wiring and connection etc. complete. |  | 9 | Nos | 2800 | / | 0 | Each | 25200 | /-
14 | S/F Fancy type fine quality imported make
garden light as approved quality & design i/c.
necessary electric wiring and connection etc.
| complete. |  | 12 | Nos | 3800 | / | 0 | Each | 45600 | /-
[8 empty] | NSI) Total | 1335675 | /-
| (SUB. ENGINEER) | [5 empty] | ASSISTANT ENGINEER
Provincial Buildings Sub-Division-
Karachi.

## Mes(G.F)
NAME OF WORK => |  | STRENTHENING & IMPROVEMENT OF JINNAH POST GRADUATE MEDICAL CENTER (JPMC) KARACHI. COLLEGE OF MEDICAL TECHNOLOGY JPMC KARACHI. (ELECTRIC WORK)
MEASUREMENT SHEET
(M.Building) Electrical work =>G.F
S.No | Description of items |  |  | NO . L . B . H / D |  | Quantity
A | (ELECTRIC WORKS)
(i) | Ground Floor (S.I)
1 | Wiring for light or fan point with 3/.029 PVC
insulated wire in 20mm(3/4") PVC conduit
on surface as required. (S.I.No.123/P-15)
| Tube light Double |  | 1x154 |  |  | 154 | Point
| Tube light Single |  | 1x159 |  |  | 159 | Point
| Ceiling Fan |  | 1x109 |  |  | 109 | Point
| Exhaust Fan |  | 1x9 |  |  | 9 | Point
| Wall Bracket Fan |  | 1x3 |  |  | 3 | Point
| Garden Light |  | 1x12 |  |  | 12 | Point
[5 empty] | 1) Total | 446 | Point
2 | Wiring for plug point with 3/.029 PVC
insulated wire in 20mm(3/4") PVC conduit
on surface as required. (S.I.No.125/P-15)
| Rooms |  | 1x55 |  |  | 55 | Point
[5 empty] | 2) Total | 55 | Point
3 | Providing & laying (MAIN or SUB MAIN)
PVC insulated with size 2-7/.029 copper
conductor in 3/4" dia PVC conduit on surface.
(S.I.No.A-3/P-1)
| Rooms |  | 1x446x30.00 |  |  | 13380 | Mtr. | 13380
[5 empty] | 3) Total | 13380 | Mtr.
4 | Providing & laying (MAIN or SUB MAIN)
PVC insulated with size 2-7/.044 (6mm2)
copper conductor in 1" dia PVC conduit on
surface. (S.I.No.A-5/P-1)
|  |  | 1x9x50.00 |  |  | 450 | Mtr. | 450
[5 empty] | 4) Total | 450 | Mtr.
5 | Providing & fixing circuit breaker 6, 10, 15,
20, 30, 40, 50, 60, & 63amp SP (TB-5S) on
prepard board as required.(S.I.No.203/P-31)
|  |  | 1x80 |  |  | 80 | Nos
[5 empty] | 5) Total | 80 | Nos
6 | Providing & fixing circuit breaker 6, 10, 15,
20, 30, 40, 50, 60, & 63amp DP (TB-5S) on
prepard board as required.(S.I.No.204/P-31)
|  |  | 1x20 |  |  | 20 | Nos
[5 empty] | 6) Total | 20 | Nos
7 | Providing & fixing circuit breaker 15, 20, 30,
40, 50, & 60amp TP (XE-100CS[CB] ) on
prepard board as required.(S.I.No.206/P-31)
|  |  | 1x10 |  |  | 10 | Nos
[5 empty] | 7) Total | 10 | Nos
8 | Providing & fixing circuit breaker 15, 20, 30,
40, 50, 60, 75 & 100amp TP (XS-100NS) on
prepard board as required.(S.I.No.207/P-31)
|  |  | 1x5 |  |  | 5 | Nos
[5 empty] | 8) Total | 5 | Nos
9 | Providing & fixing voltmeter size 96/96mm
500volt as required & as per instruction of EI.
(S.I.No.B285/P-41)
|  |  | 1x2 |  |  | 2 | Nos
[5 empty] | 9) Total | 2 | Nos
10 | AMPERE METER. Providing & fixing ammeters
size 96/96mm Direct 15A, 30A, 50A, 60A &
100A as required & as per instruction of EI.
(S.I.No.B284/P-41)
|  |  | 1x2 |  |  | 2 | Nos
[5 empty] | 10) Total | 2 | Nos
11 | Wiring for call bell point with 3/.029 PVC
insulated wire in 20mm(3/4") Channel Patti
on surface as required. (S.I.No.B131/P-15)
|  |  | 1x11 |  |  | 11 | Point
[5 empty] | 11) Total | 11 | Point
NON SCHEDULE ITEM
1 | S/F of fancy switch / soket imorted make
with double sheets fixing with existing concealed
board on approved quality design by the E.E.
Incharge etc. complete.
|  |  | 1x295 |  |  | 295 | Nos
[5 empty] | 1) Total | 295 | Nos
2 | S/F of 2 pin plug soket imported make with
double sheets fixing with design by the
Engineer Incharge.
|  |  | 1x87 |  |  | 87 | Nos
[5 empty] | 2) Total | 87 | Nos
3 | S/F of 3 pin top fancy plug socket imorted
make with double sheets fixing with design
by the Engineer Incharge.
|  |  | 1x170 |  |  | 170 | Nos
[5 empty] | 3) Total | 170 | Nos
4 | S/F of 3 pin 15 Amp fancy switch soket imported
make with double sheets design by the E.E.
Incharge etc. complete.
|  |  | 1x9 |  |  | 9 | Nos
[5 empty] | 4) Total | 9 | Nos
5 | Supplying and fixing ceiling fan 56" heavy
pattern Royal make or equivalent quality
i/c. fixing of existing position with electric
connection and cartage etc. as directed by
Engineer Incharge.
|  |  | 1x109 |  |  | 109 | Nos
[5 empty] | 5) Total | 109 | Nos
6 | Supplying and fixing wall bracket fan 18" sweep
best quality of pak fan wahid or Royal fan as
approved including Hanging rod canopy etc.
with necessary electric wiring and connection
etc. complete.
|  |  | 1x3 |  |  | 3 | Nos
[5 empty] | 6) Total | 3 | Nos
7 | P/F 2-40 watts tube light complete with 40
watts 4' long rod cock, starter and putty with
Philips components including necessary
electric connection and fixing on wall or
ceiling etc. complete.
|  |  | 1x154 |  |  | 154 | Nos
[5 empty] | 7) Total | 154 | Nos
8 | P/F 1-40 watts tube light complete with 40
watts 4' long rod cock, starter and putty with
Philips components including necessary
electric connection and fixing on wall or
ceiling etc. complete.
|  |  | 1x159 |  |  | 159 | Nos
[5 empty] | 8) Total | 159 | Nos
9 | Providing and fixing Energy Saver Superior
quality including fixing on existing holder etc.
complete.
|  |  | 1x78 |  |  | 78 | Nos
[5 empty] | 9) Total | 78 | Nos
10 | S/F Fancy type wall bracket light with glass
and fancy frame work as approved design and
shape i/c. reassembling and necessary electric
wiring and connection etc. complete.
|  |  | 1x12 |  |  | 12 | Nos
[5 empty] | 10) Total | 12 | Nos
11 | Providing & fixing Pilot Lamp approved quality
etc. complete.
|  |  | 1x6 |  |  | 6 | Nos
[5 empty] | 11) Total | 6 | Nos
12 | M/F distribution box heavy iron sheet with
locking arrangement & painting 3 coats to
accommodate circuit bracker & wire mains
etc. complete.
|  |  | 2x2.00x2.00 |  |  | 8 | Sft
[5 empty] | 12) Total | 8 | Sft
13 | Providing and fixing of fine quality exhaust
fan royal make or equal quality 6" metal body
etc. including making frame and necessary
electric wiring and connection etc. complete.
|  |  | 1x9 |  |  | 9 | Nos
[5 empty] | 13) Total | 9 | Nos
14 | S/F Fancy type fine quality imported make
garden light as approved quality & design i/c.
necessary electric wiring and connection etc.
complete.
|  |  | 1x12 |  |  | 12 | Nos
[5 empty] | 14) Total | 12 | Nos
| (SUB. ENGINEER) |  |  |  | ASSISTANT ENGINEER
Provincial Buildings Sub-Division-
Karachi.

## Abs (F.F)
NAME OF WORK => |  | STRENTHENING & IMPROVEMENT OF JINNAH POST GRADUATE MEDICAL CENTER (JPMC) KARACHI. COLLEGE OF MEDICAL TECHNOLOGY JPMC KARACHI. (ELECTRIC WORK)
ABSTRUCT SHEET
(M.Building) Electrical work =>F.F
S.No | Description of items |  | Quantity |  | Rate |  |  | Unit | Amount
A | (ELECTRIC WORKS)
(i) | First Floor (S.I)
1 | Wiring for light or fan point with 3/.029 PVC
insulated wire in 20mm(3/4") PVC conduit
| on surface as required. (S.I.No.123/P-15) |  | 434 | Point | 797 | / | 0 | P.Point | 345898 | /-
2 | Wiring for plug point with 3/.029 PVC
insulated wire in 20mm(3/4") PVC conduit
| on surface as required. (S.I.No.125/P-15) |  | 55 | Point | 669 | / | 0 | P.Point | 36795 | /-
3 | Providing & laying (MAIN or SUB MAIN)
PVC insulated with size 2-7/.029 copper
conductor in 3/4" dia PVC conduit on surface.
| (S.I.No.A-3/P-1) |  | 13380 | Mtr | 171 | / | 0 | P.Mtr | 2287980 | /-
4 | Providing & laying (MAIN or SUB MAIN)
PVC insulated with size 2-7/.044 (6mm2)
copper conductor in 1" dia PVC conduit on
| surface. (S.I.No.A-5/P-1) |  | 450 | Mtr | 305 | / | 0 | P.Mtr | 137250 | /-
5 | Providing & fixing circuit breaker 6, 10, 15,
20, 30, 40, 50, 60, & 63amp SP (TB-5S) on
| prepard board as required.(S.I.No.203/P-31) |  | 80 | Nos | 916 | / | 0 | Each | 73280 | /-
6 | Providing & fixing circuit breaker 6, 10, 15,
20, 30, 40, 50, 60, & 63amp DP (TB-5S) on
| prepard board as required.(S.I.No.204/P-31) |  | 20 | Nos | 2456 | / | 0 | Each | 49120 | /-
7 | Providing & fixing circuit breaker 15, 20, 30,
40, 50, & 60amp TP (XE-100CS[CB] ) on
| prepard board as required.(S.I.No.206/P-31) |  | 10 | Nos | 5521 | / | 0 | Each | 55210 | /-
8 | Providing & fixing circuit breaker 15, 20, 30,
40, 50, 60, 75 & 100amp TP (XS-100NS) on
| prepard board as required.(S.I.No.207/P-31) |  | 5 | Nos | 9261 | / | 0 | Each | 46305 | /-
9 | Providing & fixing voltmeter size 96/96mm
500volt as required & as per instruction of EI.
| (S.I.No.B285/P-41) |  | 2 | Nos | 999 | / | 0 | Each | 1998 | /-
10 | AMPERE METER. Providing & fixing ammeters
size 96/96mm Direct 15A, 30A, 50A, 60A &
100A as required & as per instruction of EI.
| (S.I.No.B284/P-41) |  | 2 | Nos | 1054 | / | 0 | Each | 2108 | /-
11 | Wiring for call bell point with 3/.029 PVC
insulated wire in 20mm(3/4") Channel Patti
| on surface as required. (S.I.No.B131/P-15) |  | 11 | Point | 1590 | / | 0 | P.Point | 17490 | /-
[8 empty] | M.Build, G.F) Total | 3053434 | /-
NON SCHEDULE ITEM
1 | S/F of fancy switch / soket imorted make
with double sheets fixing with existing concealed
board on approved quality design by the E.E.
| Incharge etc. complete. |  | 295 | Nos | 340 | / | 0 | Each | 100300 | /-
2 | S/F of 2 pin plug soket imported make with
double sheets fixing with design by the
| Engineer Incharge. |  | 87 | Nos | 225 | / | 0 | Each | 19575 | /-
3 | S/F of 3 pin top fancy plug socket imorted
make with double sheets fixing with design
| by the Engineer Incharge. |  | 170 | Nos | 350 | / | 0 | Each | 59500 | /-
4 | S/F of 3 pin 15 Amp fancy switch soket imported
make with double sheets design by the E.E.
| Incharge etc. complete. |  | 9 | Nos | 450 | / | 0 | Each | 4050 | /-
5 | Supplying and fixing ceiling fan 56" heavy
pattern Royal make or equivalent quality
i/c. fixing of existing position with electric
connection and cartage etc. as directed by
| Engineer Incharge. |  | 109 | Nos | 3600 | / | 0 | Each | 392400 | /-
6 | Supplying and fixing wall bracket fan 18" sweep
best quality of pak fan wahid or Royal fan as
approved including Hanging rod canopy etc.
with necessary electric wiring and connection
| etc. complete. |  | 3 | Nos | 3200 | / | 0 | Each | 9600 | /-
7 | P/F 2-40 watts tube light complete with 40
watts 4' long rod cock, starter and putty with
Philips components including necessary
electric connection and fixing on wall or
| ceiling etc. complete. |  | 154 | Nos | 2600 | / | 0 | Each | 400400 | /-
8 | P/F 1-40 watts tube light complete with 40
watts 4' long rod cock, starter and putty with
Philips components including necessary
electric connection and fixing on wall or
| ceiling etc. complete. |  | 159 | Nos | 1000 | / | 0 | Each | 159000 | /-
9 | Providing and fixing Energy Saver Superior
quality including fixing on existing holder etc.
| complete. |  | 78 | Nos | 825 | / | 0 | Each | 64350 | /-
10 | S/F Fancy type wall bracket light with glass
and fancy frame work as approved design and
shape i/c. reassembling and necessary electric
| wiring and connection etc. complete. |  | 12 | Nos | 1850 | / | 0 | Each | 22200 | /-
11 | Providing & fixing Pilot Lamp approved quality
| etc. complete. |  | 6 | Nos | 300 | / | 0 | Each | 1800 | /-
12 | M/F distribution box heavy iron sheet with
locking arrangement & painting 3 coats to
accommodate circuit bracker & wire mains
| etc. complete. |  | 8 | Sft | 3962 | / | 50 | P.Sft | 31700 | /-
13 | Providing and fixing of fine quality exhaust
fan royal make or equal quality 6" metal body
etc. including making frame and necessary
| electric wiring and connection etc. complete. |  | 9 | Nos | 2800 | / | 0 | Each | 25200 | /-
[8 empty] | NSI) Total | 1290075 | /-
| (SUB. ENGINEER) | [5 empty] | ASSISTANT ENGINEER
Provincial Buildings Sub-Division-
Karachi.

## Mes(F.F)
NAME OF WORK => |  | STRENTHENING & IMPROVEMENT OF JINNAH POST GRADUATE MEDICAL CENTER (JPMC) KARACHI. COLLEGE OF MEDICAL TECHNOLOGY JPMC KARACHI. (ELECTRIC WORK)
MEASUREMENT SHEET
(M.Building) Electrical work =>F.F
S.No | Description of items |  |  | NO . L . B . H / D |  | Quantity
A | (ELECTRIC WORKS)
(i) | Ground Floor (S.I)
1 | Wiring for light or fan point with 3/.029 PVC
insulated wire in 20mm(3/4") PVC conduit
on surface as required. (S.I.No.123/P-15)
| Tube light Double |  | 1x154 |  |  | 154 | Point
| Tube light Single |  | 1x159 |  |  | 159 | Point
| Ceiling Fan |  | 1x109 |  |  | 109 | Point
| Exhaust Fan |  | 1x9 |  |  | 9 | Point
| Wall Bracket Fan |  | 1x3 |  |  | 3 | Point
[5 empty] | 1) Total | 434 | Point
2 | Wiring for plug point with 3/.029 PVC
insulated wire in 20mm(3/4") PVC conduit
on surface as required. (S.I.No.125/P-15)
| Rooms |  | 1x55 |  |  | 55 | Point
[5 empty] | 2) Total | 55 | Point
3 | Providing & laying (MAIN or SUB MAIN)
PVC insulated with size 2-7/.029 copper
conductor in 3/4" dia PVC conduit on surface.
(S.I.No.A-3/P-1)
| Rooms |  | 1x446x30.00 |  |  | 13380 | Mtr. | 13380
[5 empty] | 3) Total | 13380 | Mtr.
4 | Providing & laying (MAIN or SUB MAIN)
PVC insulated with size 2-7/.044 (6mm2)
copper conductor in 1" dia PVC conduit on
surface. (S.I.No.A-5/P-1)
|  |  | 1x9x50.00 |  |  | 450 | Mtr. | 450
[5 empty] | 4) Total | 450 | Mtr.
5 | Providing & fixing circuit breaker 6, 10, 15,
20, 30, 40, 50, 60, & 63amp SP (TB-5S) on
prepard board as required.(S.I.No.203/P-31)
|  |  | 1x80 |  |  | 80 | Nos
[5 empty] | 5) Total | 80 | Nos
6 | Providing & fixing circuit breaker 6, 10, 15,
20, 30, 40, 50, 60, & 63amp DP (TB-5S) on
prepard board as required.(S.I.No.204/P-31)
|  |  | 1x20 |  |  | 20 | Nos
[5 empty] | 6) Total | 20 | Nos
7 | Providing & fixing circuit breaker 15, 20, 30,
40, 50, & 60amp TP (XE-100CS[CB] ) on
prepard board as required.(S.I.No.206/P-31)
|  |  | 1x10 |  |  | 10 | Nos
[5 empty] | 7) Total | 10 | Nos
8 | Providing & fixing circuit breaker 15, 20, 30,
40, 50, 60, 75 & 100amp TP (XS-100NS) on
prepard board as required.(S.I.No.207/P-31)
|  |  | 1x5 |  |  | 5 | Nos
[5 empty] | 8) Total | 5 | Nos
9 | Providing & fixing voltmeter size 96/96mm
500volt as required & as per instruction of EI.
(S.I.No.B285/P-41)
|  |  | 1x2 |  |  | 2 | Nos
[5 empty] | 9) Total | 2 | Nos
10 | AMPERE METER. Providing & fixing ammeters
size 96/96mm Direct 15A, 30A, 50A, 60A &
100A as required & as per instruction of EI.
(S.I.No.B284/P-41)
|  |  | 1x2 |  |  | 2 | Nos
[5 empty] | 10) Total | 2 | Nos
11 | Wiring for call bell point with 3/.029 PVC
insulated wire in 20mm(3/4") Channel Patti
on surface as required. (S.I.No.B131/P-15)
|  |  | 1x11 |  |  | 11 | Point
[5 empty] | 11) Total | 11 | Point
NON SCHEDULE ITEM
1 | S/F of fancy switch / soket imorted make
with double sheets fixing with existing concealed
board on approved quality design by the E.E.
Incharge etc. complete.
|  |  | 1x295 |  |  | 295 | Nos
[5 empty] | 1) Total | 295 | Nos
2 | S/F of 2 pin plug soket imported make with
double sheets fixing with design by the
Engineer Incharge.
|  |  | 1x87 |  |  | 87 | Nos
[5 empty] | 2) Total | 87 | Nos
3 | S/F of 3 pin top fancy plug socket imorted
make with double sheets fixing with design
by the Engineer Incharge.
|  |  | 1x170 |  |  | 170 | Nos
[5 empty] | 3) Total | 170 | Nos
4 | S/F of 3 pin 15 Amp fancy switch soket imported
make with double sheets design by the E.E.
Incharge etc. complete.
|  |  | 1x9 |  |  | 9 | Nos
[5 empty] | 4) Total | 9 | Nos
5 | Supplying and fixing ceiling fan 56" heavy
pattern Royal make or equivalent quality
i/c. fixing of existing position with electric
connection and cartage etc. as directed by
Engineer Incharge.
|  |  | 1x109 |  |  | 109 | Nos
[5 empty] | 5) Total | 109 | Nos
6 | Supplying and fixing wall bracket fan 18" sweep
best quality of pak fan wahid or Royal fan as
approved including Hanging rod canopy etc.
with necessary electric wiring and connection
etc. complete.
|  |  | 1x3 |  |  | 3 | Nos
[5 empty] | 6) Total | 3 | Nos
7 | P/F 2-40 watts tube light complete with 40
watts 4' long rod cock, starter and putty with
Philips components including necessary
electric connection and fixing on wall or
ceiling etc. complete.
|  |  | 1x154 |  |  | 154 | Nos
[5 empty] | 7) Total | 154 | Nos
8 | P/F 1-40 watts tube light complete with 40
watts 4' long rod cock, starter and putty with
Philips components including necessary
electric connection and fixing on wall or
ceiling etc. complete.
|  |  | 1x159 |  |  | 159 | Nos
[5 empty] | 8) Total | 159 | Nos
9 | Providing and fixing Energy Saver Superior
quality including fixing on existing holder etc.
complete.
|  |  | 1x78 |  |  | 78 | Nos
[5 empty] | 9) Total | 78 | Nos
10 | S/F Fancy type wall bracket light with glass
and fancy frame work as approved design and
shape i/c. reassembling and necessary electric
wiring and connection etc. complete.
|  |  | 1x12 |  |  | 12 | Nos
[5 empty] | 10) Total | 12 | Nos
11 | Providing & fixing Pilot Lamp approved quality
etc. complete.
|  |  | 1x6 |  |  | 6 | Nos
[5 empty] | 11) Total | 6 | Nos
12 | M/F distribution box heavy iron sheet with
locking arrangement & painting 3 coats to
accommodate circuit bracker & wire mains
etc. complete.
|  |  | 2x2.00x2.00 |  |  | 8 | Sft
[5 empty] | 12) Total | 8 | Sft
13 | Providing and fixing of fine quality exhaust
fan royal make or equal quality 6" metal body
etc. including making frame and necessary
electric wiring and connection etc. complete.
|  |  | 1x9 |  |  | 9 | Nos
[5 empty] | 13) Total | 9 | Nos
| (SUB. ENGINEER) |  |  |  | ASSISTANT ENGINEER
Provincial Buildings Sub-Division-
Karachi.