SECTION 8020

LIST OF RECOMMENDED MANUFACTURERS AND BRANDS OF MATERIALS/EQUIPMENT

This list of recommended manufacturers or brands of different materials or equipments is provided in order to establish a standard level of performance. The contractor is bound to provide and fix the materials or equipments of superior quality approved by the Engineer only from the list unless otherwise specified in relevant equipment specification clauses, drawings and BoQ. However, the material provided from the List of Recommended Manufacturers and Brands or mentioned in other relevant equipment specification clauses or drawings or BoQ shall meet all the requirements of the relevant specification(s) comes under specification section 8001 of the tender documents. The contractor shall procure from recommended manufacturers or brands mentioned this Section 8020 here under or in relevant equipment specifications or drawings or BoQ of different material or equipments, from their authorized dealers or agents. The contractor shall provide the letter of authorization from the principal, for dealer’s letter of dealership from the authorized dealer(s) and delivery challan(s) for ensuring the quality of purchased equipment. The nomenclature to mentioned manufacturers or brands name hereunder is as, manufacturer or brand name or both is mentioned first and then afterwards in bracket country of origin of manufacturer is mentioned.

| SR. NO. | MATERIALS | MANUFACTURER/BRANDS OF MATERIALS/EQUIPMENT |
| --- | --- | --- |
|  | CABLES & ACCESSORIES |  |
| - 1. | LV Wiring Cables (300 / 500 Volts) | Pakistan Cables, Pioneer Cables, Fast Cables, Allied Cables, Indus Cables, AGE, H. M. Cables |
|  | LV Power Cables (600 / 1000 Volts) | Pakistan Cables, Pioneer Cables, Fast Cables, Allied Cables, Indus Cables, AGE, H. M. Cables |
|  | High Voltage Cables(15 kV) | Pakistan Cables, Pioneer Cables, H. M. Cables, AGE |
|  | MV Termination/Straight Jointing kit (Hot/Cold Termination) | Raychem (Germany), 3M (USA), Elastimold (Egypt), DSG-CANUSA (GmbH) |
|  | CAT Cables | 3M, Indus Cables, Draka Cables, Clipsal, Norden Communication, Pony, Leviton |
|  | Fire Resistant Cables | Prismian, Cavicel, Context Plus, Indus Cables, |
| 7. | Glands, Lugs, Ferrules, Connectors | Cembre (Italy), Hellermanntyton (UK) |
| 8. | Cable Tagging/Labelling System | Cembre (Italy), Hellermanntyton (UK) |
|  | PVC AND STEEL CONDUIT |  |
| 9. | PVC Conduit & Accessories/ Halogen free PVC conduit for special applications | Beta, Popular, Tesco, Galco, Jeddah Polymer, Dadex, Decoduct, Euro Gulf, Pak Arab, Civic, Adamjee (Durabuilt) |
| 10. | Steel Conduit & Accessories | Hilal Industries, IIL, Jamal, Poineer, Dietzel-Univolt (Austria) |
|  | ELECTRICAL COMPONENTS |  |
| 11. | LV Circuit Breakers (MCB, MCCB, ELCB, ACB) | Merlin Gerin (MG) (France), Siemens (Germany), ABB (France), Terasaki (Japan), LS (Korea), Legrand (France), Silk Engineering |
| 12. | LV Magnetic Contactor, Starters & Thermal Overload Relay | ABB (France), Siemens (Germany), Schneider Electric, National/Panasonic (Japan), LS (Korea), Legrand (France), Silk Engineering |
| 13. | Power Capacitor | National / Panasonic (Japan), Ducati (Italy), Entes (Turkey), Nokian (Finland), Janitza (Germany), Schneider Electric |
| 14. | LV Capacitor | Amber Capacitor (Pakistan), Entes (Turkey), Nokian (Finland), INCR (Italy), Schneider Electric, Gruppo Energia (Italy) |
| 15. | PF Controller | Nokian (Finland), ABB (Finland), Siemens (Germany), Schneider Electric, Entes (Turkey), Ducati (Italy) |
| 16. | Series Reactor | National / Panasonic (Japan), Nokian (Finland), Schneider Electric |
| 17. | Timer | National / Panasonic (Japan) , Entes (Turkey), ABB (Germany), GE (EU) |
| 18. | Push buttons and indication lights | Maruyasu (Japan), GE (EU), Schneider Electric |
| 19. | Current Transformer/Voltage Transformer | Circutor (Italy), Revalco (Italy), Entes (Turkey), Complee |
| 20. | Measuring Instrument | Revalco (Italy), Circutor (Italy), Entes (Turkey), Lumel (Poland), Complee |
| 21. | Programmable Logic Controllers | Siemens, ABB, LG, Schneider Electric |
| 22. | VSS/ASS | Breter (Italy), Kraus & Naimer (NZ), MERZ (Germany), Chint (China), Schneider Electric |
| 23. | HRC Fuses | Siba (Germany), ETI, KP |
|  | TRANSFORMER |  |
| 24. | Pad Mounted Transformers (11/0.415 kV) | Siemens, Climax, PEL, Transfopower |
|  | ELECTRIC PANELS |  |
| 25. | LV Panel | Hussian & Co, Baber Brothers, Schneider, Siemens, NBI, JEI Switchgear, Libra, Electrech, South Asian Electric Concern, Bilal S/G Engg., Engineers & Engineering, HRA Switchgear, Premier Engineering, Karimi Electromech Systems |
| 26. | 11 kV Panels | Siemens, Schneider (formerly Areva), South Asian Electric Concern, PEL, Bilal S/G Engg. |
| 27. | Busbar Trunking System | Schneider, Siemens, Davis (Malaysia), EAE, Henikwon (Malaysia) |
|  | LIGHTING FIXTURE & COMPONENTS |  |
| 28. | Surface/recessed office luminaries | Philips, Thorn, Britlite Engineering, Pierlite, Unilux, Sunlight, Osaka, Future Technologies, Electroline |
| 29. | Battens | Philips, Thorn, Britlite Engineering, Pierlite, Unilux, Sunlight, Osaka, Future Technologies, Electroline |
| 30. | Downlights | Philips, Thorn, Britlite Engineering, Pierlite, EAE, Unilux, Sunlight, Osaka, Future Technologies, Electroline |
| 31. | Exit Emergency Light Fixture | Philips, Lverlux, Menvier, Pierlite (Australia), Unilux, Sunlight, Osaka, Future Technologies, Electroline |
| 32. | Lamps | Philips, Osram, Pierlite (Australia), GY LED, Osaka, Future Technologies, Electroline |
| 33. | Control gear | Philips, Osram, Pierlite (Australia), GY LED, Osaka, Future Technologies, Electroline |
| 34. | Connectors/holders | Source as approved by the "Engineer" |
|  | SWITCHES & SOCKETS |  |
| 35. | Switches | MK, Clipsal, ABB (Germany), Legrand (France), Hager (France), Orange, Chint, Switchkid |
| 36. | Sockets | MK, Clipsal, ABB (Germany), Legrand (France), Hager (France), Orange, Chint, Switchkid |
| 37. | Dimmer / Fan Speed Controller | MK Clipsal, ABB (Germany), Legrand (France), Hager (France), Orange, Chint, Switchkid |
| 38. | Connection Unit | MK, Clipsal, ABB (Germany) |
| 39. | Voice/TV/Data Outlets | MK, Clipsal, ABB (Germany), Legrand (France), Hager (France) |
| 40. | Back Boxes | MK, Dietzel-Univolt (Austria), Clipsal (Australia), |
| 41. | High Current Switches | MK, Clipsal, ABB (Germany), Legrand (France), Hager (France) |
|  | DIESEL GENERATOR SET |  |
| 42. | Couplers | Siemens, Caterpillar, SDMO, FG -Wilson, Doosan, Mitsubishi, VPL, Gesan (The brand should consists of components as mentioned in List of approved manufacturers) |
| 43. | Engine | Cummins, John Deere, Perkins, MTU, Mitsubishi, Doosan |
| 44. | Alternator | Stamford, Caterpillar, Mitsubishi, Leroy Somer, Doosan |
| 45. | Generator Module | Datakom (Turkey), Deepsea Electronics (UK) |
| 46. | ATS/AMF, Generator Panels | Refer to heading Electrical Panels in the List of Approved Manufacturer’s. |
|  | ELECTRONICS/COMPUTER EQUIPMENT |  |
| 47. | UPS | APC (USA), MG (France), ELIT (Italy), ABB (Switzerland), Alberex, GTEC(Italy) |
| 48. | Fire Alarm System | Simplex (USA), Gent-Honeywell (USA/UK/EU), Edwards (USA), GST (UK), Cooper Menvier (UK), Notifier, Inim Electronics Italy, C-Tec U. K. |
| 49. | Public Address System | TOA (Japan), Bosch (EU), Optimus (Spain), Honeywell |
| 50. | Burglar Alarm System | DSC (Canada), Texicom (UK), Bosch (Germany |
| 51. | CCTV System | Pelco (USA), Bosch (EU), Sony (Japan), Optimus (Spain), Hyundai (Korea), Watchnet (Canada) |
| 52. | CATV | WISI (Germany), Scientific Atlanta (USA), Pony, Leviton (USA) |
| 53. | Lightning Protection & Earthing System | Aplicaciones Tecnologicas (Spain), Furse (UK), Duval – Messien (France), Thermo Weld (USA) |
| 54. | PABX | LG-Ericsson, Panasonic |
| 55. | Access Control System | Cavdax Gallaghev (Newzealand) |
|  | COMPUTER NETWORK SYSTEM/COMPONENTS |  |
| 56. | Structured Cabling | 3M (USA), Panduit (USA), Clipsil-Schneider (France), Pony, Leviton (USA) |
| 57. | Ethernet Switches | CISCO (USA) |
| 58. | Cable Trunking & Accessories | Dietzel-Univolt (Austria), MITA-Schneider (France), Davis (Malaysia), NAXSO (Italy), Karimi Electromech Systems, EAE (Turkey) |
|  | MISC MATERIALS |  |
| 59. | Bricks, Sand, Crushed Stone Aggregate, Cement | Source as approved by the "Engineer" |
| 60. | Steel Reinforcement | AFCa, Mughal, Amrelli, Fazal, Razzaq, Prime, Metropolitan, Nawab, Pak Steel, PECA, Nazir, Punjab, Hyderi, Ittehad, RK Steel, Ashraf Industries (The Contractor must provide a certification from the concerned Steel Mill that the steel reinforcement has been manufactured from Pakistan Steel Mill billet, and should conform to the specification and to the satisfaction of the Engineer). |
| 61. | Anti-Termite | Termidor, Biflex, Dursban |
| 62. | Construction Chemicals | Vandex, FEB, SIKA, Fosroc |
| 63. | Cable Tray with accessories | Ashraf Industries, Ezzi Engineering, Electroline, JEI, Elechtrech, HRA Switchgear, Karimi Electromech Systems, Libra Engineering |
| 64. | Tubular Poles | Jamal Pipes, PECO, Excel Engineering, Lion Industries |