SHEDULE-B

NAME OF WORK: -	SCHEDULE “B” FOR THE WORK OF REHABLITATION OF PRIMARY SCHOOLS BUILDING TALUKA DAHLI DISTRICT THARPARKAR (04-UNITS) UNDER COMMUNITY DEVELOPMENT PROGRAMME 2015-16 FOR SUSTAINABLE DEVELOPMENT GOALS (PS-63) @   GBPS KUBRI MAIN U/C LAPLO TALUKA DAHLI.

| S.# | NAME OF ITEMS | QTY: | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |

- Dismantling brick work in mud mortar (S.I.No: 12-P-10)

=1262.00Cft            @529.38	                % Cft	        Rs.6681/=

(Rupees Five Hundred Twenty Nine and Thirty Eight Paisa Only).

- Dismantling 2nd class tile roofing. (S.I.No: 22-P-11)

=1038.00Sft            @378.13	                % Sft	        Rs.3925/=

(Rupees Three Hundred Seventy Eight Rupees and Thirteen Paisa Only).

- Dismantling rolled steel beams, iron rails etc. (S.I.No: 42-P-13)

=34.23Cwt            @126.04	                P.Cwt	        Rs.4314/=

(Rupees One Hundred Twenty Six Rupees and Four Paisa Only).

4.	Excavation in foundation of building and other structure i/c degbelling dressing refilling around structure excavated earth watering remaining lad up to one chain and lift up to sft.

(S.I.No:18-b-P-4)

=175.00 Cft            @3176.25	     %0Cft	        Rs.556/=

(Rupees Three Thousend One Hundred Seventy Six Rupees and Twenty Five Paisa Only).

- Cement concrete birck or stone ballast 1 ½” to 2” guage ratio 1:5:10. (S.I.No:4-c-b-P-15).

=85.00 Cft            @8694.95	                 %Cft	        Rs.7391/=

(Rupees Eight Thousend Six Hundred Ninty Five Rupees and Ninty Five Paisa Only).

- Pacca brick work in foundation and plinth in cement sand mortor (1:6) ratio.(S.I.No:4-e-b-P-21).

=417.00 Cft            @11948.36	      %Cft	        Rs.49825/=

(Rupees Eleven Thousend Nine Hundred Fourty Eight Rupees and Thirty Six Paisa Only).

- R.C.C work i/c all labour and material and material except the cost of steel reinforcement and its labour which will be separately.  This rate also i/c all kinds of forms mould lifting shuttering curring rendering and finishing the exposed surface i/c dressing and washing of shingle (a) R.C work in roof slab beams columns rafts lintel and other structure member laid in situ or pre-cost laid in position complete in all respect. (S.I.No:6-a-P 17 ).

=200.00 Cft            @337.00	                   P.Cft	        Rs.67400/=

(Rupees Three Hundred Thirty Seven Rupees Only).

- Fabrication of mild steel reinforcement of cement concrete cutting bending lying in position making joints and feastings including cost of binding wire also  removal of rust from bars. (S.I.No:8-b-P 17 ).

=8.04 Cwt            @5001.70	                   P.Cwt	        Rs.40214/=

(Rupees Five Thousand One Rupees and Seventy Paisa Only).

=0.89 Cwt            @4820.20	                   P.Cwt	        Rs.4290/=

- Pacca brick work other in mud mortor in building in ground floor. (S.I.No: 1-b-P-20).

=865.00 Cft            @9954.31	       %Cft	        Rs.86105/=

(Rupees Nine Thousand Nine Hundred Fifty Four Rupees and Thirty One Paisa Only).

- Pacca brick work other than building including striking or joints upto 20ft Height in cement sand mortar 1:6. (S.I.No: 7-I-e-P-25)

=32.00 Cft            @12346.65	       %Cft	        Rs.3951/=

(Rupees Twelve Thousand Three Hundred Forty Six Rupees and Sixty Five Paisa Only).

- Pacca brick work other than building upto 20’ft height. (S.I.No: 3-i-P-20).

=301.00 Cft            @10017.33	       %Cft	        Rs.30152/=

(Rupees Ten Thousand Seventeen Rupees and Thirty Three Paisa Only).

- Supplying Grider. (sh of material Vol-III Part-III S.I.No.140,P-12)

=5.04 Cwt            @3850.00	                    P.Cwt	        Rs.19404/=

(Rupees Three Thousand Eight Hundred Fifty Rupess Only).

- Supplying T-Iron. (sh of material Vol-III Part-III S.I.No.144,P-12)

=15.57 Cwt            @3575.00	         P.Cwt	        Rs.55663/=

(Rupees Three Thousand Five Hundred Seventy Five Rupees Only).

- Errection of rolled steel beams or old rails in roof etc, errection and fixing in position. (S.I.No: 6- P-91)

=41.69 Cwt            @186.34	                      P.Cwt	        Rs.7769/=

(Rupees One Hundred Eighty Six Rupees and Thirty Four Paisa Only).

- First class tile roofing consisting of 4” earth and 1” mud plaster with Gobri leaping over ½” thick cement plaster 1:6 with 34 lbs of hot bitumen coating and sand blinded provided over 2 layers of tiles 12”x6”x1 ¼” laid in 1:6 cement mortar with ½” thick sand witched layer 1:6  cement mortar including 1:2 cement pointing underside of tiles complete including curing etc. (S.I.No: 1- P-33)

=1054.00Sft            @11443.10	           %Sft	        Rs.120610/=

(Rupees Eleven Thousand Four Hundred Forty Three Rupees and Ten Paisa Only).

- Providing and Fixing iron steel grill doors with 1½” x 1½” x ¼” with approved design and looking arrangement embedded in Masonry as per instruction of Engineer/Incharge. (S.I.No: 31- P-94)

=199.00 Sft            @231.60	                      %Sft	        Rs.46088/=

(Rupees Two Hundred Thirty One Rupees and Sixty Paisa Only).

- Supplying Fixing in position iron/steel grill of ¾” into ¼” size flate iron of approval design i/c painting 3 coats etc complete (Weight not to less than 3.7 lbs/Sq . foot of finishad grill. (S.I.No: 26- P-93)

=134.00 Sft            @180.50	                      %Sft	        Rs.24187/=

(Rupees One Hundred Eighty Rupees and Fifty Paisa Only).

- Making and Fixing steel greated door with 1/16” thick sheeting i/c angle iron frame 2”x2” 3/8”3/4” square bars 4” Center of center with locking arrangement. (S.I.No: 24- P-92)

=48.00Sft            @726.72	                      %Sft	        Rs.34883/=

(Rupees Seven Hundred Twenty Six Rupees and Seventy Two Paisa Only).

- Cement plaster 1:6” upto 20 ft height ½ thick. (S.I.No: 13-b- P-52)

=6092.00Sft            @2206.00	           %Sft	        Rs.134426/=

(Rupees Two Thousand Two Hundred Six Rupees Only).

- Cement plasters 3/8” thick upto 20ft height ratio 1:4. (S.I.No: 11-A- P-52)

=6092.00Sft            @2197.52	           %Sft	        Rs.133873/=

(Rupees Two Thousand One Hundred Ninety Seven Rupees and Fifty Two Paisa Only).

- Cement pointing flush on floor ratio 1:2. (S.I.No: 18- P-53)

=1503.00Sft            @939.57	                       %Sft	        Rs.14122/=

(Rupees Nine Hundred Thirty Nine Rupees and Fifty Seven Paisa Only).

- Laying floor of approved with glazed tile ¼” : thick in white cement 1:2 over ¾” thick cement morter 1:2 complete. (S.I.No: 24- P-43)

=127.00Sft            @27678.86	            %Sft	        Rs.35152/=

(Rupees Twenty Seven Thousand Six Hundred Seventy Eight Rupees and Eighty Six Paisa Only).

- Tile size (12”x6”x2”) laid in 1:6 cement mortar over a bed of ¾” thick cement mortar 1:6. (S.I.No: 11- P-41)

=219.00Sft            @3056.35	                         %Sft	        Rs.6693/=

(Rupees Three Thousand Fifty Six Rupees and Thirty Five Paisa Only).

- Making notice board made with cement sand. (S.I.No: 18- P-59)

=32.00P.Sft            @58.11	                          P.Sft	        Rs.1860/=

(Rupees Fifty Eight Rupees and Eleven Paisa Only).

- Khassi Parnalas in cement and sand mortar (1:2) 12” outside width finished smooth with a floating coat of neat cement. (S.I.No: 17- P-36)

=36.00Rft               @70.34	                          R. ft	        Rs.2532/=

(Rupees Seventy Rupees and Thirty Four Paisa Only).

- White wash three coats. (S.I.No: 26-c- P-54)

=916.00Sft               @829.95	                          %Sft	        Rs.7602/=

(Rupees Eight Hundred Twenty Nine Rupees and Ninety Five Paisa Only).

- Colour wash two coats i/c one coat of white wash. (S.I.No: 25-b+26-a- P-54)

=5765.00Sft               @1276.53	               %Sft	        Rs.73592/=

(Rupees One Thousand Two Hundred Seventy Six Rupees and Fifty Three Paisa Only).

- Colour wash two coats. (S.I.No: 25-b- P-54)

=7216.00Sft               @859.90	               %Sft	        Rs.62050/=

(Rupees Eight Hundred Fifty Nine Rupees and Ninety Paisa Only).

- Painting new surface guard bars gates iron bars greating railing i/c standard braces etc and similar open work. (S.I.No: 5-d- P-70)

=311.00Sft               @1270.83	               %Sft	        Rs.3952/=

(Rupees One Thousand Two Hundred Seventy Rupees and Eighty Three Paisa Only).

- Painting old surface guard bars gates iron bars greating railing i/c standard braces etc and similar open work. (S.I.No: 4-d- P-69)

=474.00Sft               @674.60	                           %Sft	        Rs.3198/=

(Rupees Six Hundred Seventy Four Rupees and Sixty Paisa Only).

_________________________

Total: Rs.  1092460/=

_________% Above / Below on the Rate of CSR Add: / Ded:__________%           RS:_______________

__________________

TOTAL RS:__________________

Total (A)=(A+B) in works & figures_______________________________________________________

____________________________________________________________________________________

CONTRACTOR