#### OFFICE OF THE SUPERINTENDENT ENGINEER

(DMC WEST KARACHI)

Tender Reference No. 01 (9)/2015-16/DMC (WEST)

VOLUME-II: BILL OF QUANTITIES

(SINGLE STAGE ONE ENVELOPE METHOD)

(alongwith Eligibility & Minimum Qualification Criteria & Method of Procurement)

Re-Construction/improvement of C.C. Street & R.C.C. pipe drain in

Sector 9/A to 9/D & 8/A to 12/C1, Qaim Khani in UC-02 & 03 including

construction of culvert at Gulshan-e-Ghazi Road PS-90

DMC(West) Baldia Zone.

| Estimated Construction Cost: | Rs. 8.4 Million |
| --- | --- |
| Bid Security: - | Rs. 02% O/R |
| Tender Cost: - | Rs. 3,000/- |

NOTE:

1.	This Document contains 07 Pages excluding this page

2.	The Standard Terms & Condition of Bidding Documents (Volume-I) for Community Development Program for Sustainable Development Goals for 2015-2016 is available on SPPRA Website

SUPERINTENDING ENGINEER

# DMC West Zone

| Issue to M/s. _____________________________ | P.O. No. ________________________________ |
| --- | --- |
| _____________________________ | Dated: __________________________________ |
| _____________________________ | Bank: ___________________________________ |

Signature & Stamp of Issuing Authority

DISTRICT MUNICIPAL CORPORATION 	(WEST),

KARACHI

SUBJECT:	RE-CONSTRUCTION/IMPROVEMENT OF C.C. STREET & R.C.C. PIPE DRAIN IN SECTOR

9/A TO 9-D & 8/A TO 12/C1 QAIM KHANI IN UC-02 & 03 INCLUDING CONSTRUCTION OF

CULVERT AT GULSHAN-E-GHAZI ROAD PS-90 DMC(WEST), BALDIA ZONE.

Tender Reference No. 1(9) / 2015-16

SCHEDULE RATE BASED ON (2012)

| S.No: |  | DESCRIPTION OF WORK | QUANTITY | RATE | Rate in Word | PER | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | PART (A) SEWERAGE LINE |  |  |  |  |  |  |
| 1. |  | Excavation for pipe line in trenches, and pits in all kind of soil Murum i/c trimming dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade, cutting joint holes and disposal of surplus earth within a 1 chain as directed by the engineer incharge. Providing fence guards, lights, flags and temporary crossings for non vehicular traffic where ever required lift upto 5 ft and lead upto one chain. | 39150 | 4650.00 | Four Thousand, Six Hundred and Fifty | 1000 Cft | 1,82,048.00 |
| 2. |  | Excavation for pipe line in trenches, and pits in hard rock by harming and chiseling i/c trimming and dressing sides to true alignment and shape leveling beds of trenches to correct level and grade, cutting joint holes and disposal of surplus earth within a 1 chain as directed by the engineer incharge. Providing fence guards, lights, flags and temporary crossings for non vehicular traffic where ever required lift upto 5 ft and lead upto one chain. | 9450 | 24150.00 | Twenty Four Thousand, One Hundred and Fifty | 1000 Cft | 2,28,218.00 |
| 3. |  | P/L R.C.C pipes with (ruber ring joint and fitting in trench i/c cutting, fitting and jointing with rubber ring i/c testing with water to specified pressure. 09” dia 12” dia 15“ dia | 500 2700 300 | 206.00 367.00 436.00 | Two Hundred and Six Three Hundred and Sixty Seven Four Hundred and Thirty Six | P/Rft P/Rft P/Rft | 1,03,000.00 9,90,900.00 1,30,800.00 |
| 4. |  | Constructing man hole of 4” dia manhole inside complete with 21” dia CC 1:2:4 precast C.I frame 12 KG i/c the cost of M.S bars reinforcement and two handles 5” clear depth C.C 1:2:4 cast in SITU walls with 505 screened graded bajri of 9” thick i/c banding and channel i/c insight walls surface complete i/c cutting asphalt roads excavation in all kind of soil back filling and disposal of surplus stuff (KWSB) approved rate . | 144 | 9307.86 | Nine Thousand, Three Hundred, Seven Point Eight Six | Each | 13,40,332.00 |
| 5. |  | Extra depth behind 5”ft or less than 5 deducted at the same rate (KWSB) approved rate. | (-)72 | 1609.15 | One Thousand, Six Hundred, Nine Point One Five | P/Rft | (-) 1,15,859.00 |

SIGNATURE & STAMP CONTRACTOR

| 6 |  | Refilling the excavated stuff in trenches 6” thick layer i/c watering ramming to full compaction etc complete | 43740 | 2760.00 | Two Thousand, Seven Hundred and Sixty | 1000 Cft | 1,20,722.00 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 7. |  | M/S R C C manhole cover cost 1:2:4 concrete ratio 3” depth at i/c reinforced with 3/8” dia for steel bars 4” CC welded to 1/8” thick 2.5 inches depth MS plat i/c cutting curing stacking and transportation within 10 miles | 02 | 913.63 | Nine Hundred, Thirteen Point Six Three | Each | 1,827.00 |  |  |  |
| 8. |  | M/S RCC ring slab of 21” dia inside 36” cut side 7.5” width and 6” thick i/c dia for steel bars two concrete ring with 3/8” dia 8 no. cross liked bars welded and 2 sunk type hook cost in a 1:1 ½ “3 concrete with embedded 15 KG C.I from in precast position i/c transportation etc. | 02 | 1906.60 | One Thousand, Nine Hundred, Six Point Six Zero | Each | 3,813.00 |  |  |  |
| 9. |  | Shifting of site and fixing of 36” dia ring slab in perfect position on damaged manhole i/c cutting of damaged portion of manholes in proper shape and laying of cement mortar of 2” thickness and disposal of debris. | 02 | 563.09 | Five Hundred, Sixty Three Point Zero Nine | Each | 1,126.00 |  |  |  |
|  | PART (B) C.C. Flooring |  |  |  |  |  |  |  |  | PART (B) C.C. Flooring |
| 1 |  | Dismantling cement block masonry | 3000 | 1134.38 | One Thousand, One Hundred, Thirty Four Point Three Eight | %Cft | 34,031.00 |  |  |  |
| 2 |  | Dismantling cement concrete plain 1:4:8 | 4350 | 1663.75 | One Thousand, Six Hundred, Sixty Three Point Seven Five | %Cft | 72,373.00 |  |  |  |
| 3 |  | Earth work excavation undressed lead upto a single through of kassi phawrah or shovel, (b) In ordinary soil. | 8700 | 1361.25 | One Thousand, Three Hundred, Sixty One Point Two Five | %Cft | 11,843.00 |  |  |  |
| 4 |  | Filling, watering and ramming earth under floor with new earth (excavated from outside) lead upto one chain and lift upto 5ft. | 2534 | 3630 | Three Thousand, Six Hundred and Thirty | 1000 Cft | 9,198.00 |  |  |  |
| 5 |  | Cement concrete brick or stone blast 1 ½” to 2” gauge (b)Ratio 1:4:8 | 13050 | 9416.28 | Nine Thousand, Four Hundred, Sixteen Point Two Eight | %Cft | 12,28,825.00 |  |  |  |
| 6 |  | P/L 3” thick topping cement concrete (1:2:4) i/c surface finishing and dividing into panel. | 26100 | 4411.82 | Four Thousand, Four Hundred, Eleven Point Eight Two | %Sft | 11,51,485.00 |  |  |  |
| 7 |  | P/F CI manhole frame i/c cost of 1kg material etc complete. | 200 | 140 | One Hundred and Forty | P/Kg | 28,000.00 |  |  |  |
| 8 |  | Cartage of 100 Cft / 5 tons of all material likes one aggregate, spawl, coal, lime, surkhi etc. B.G. rate fastenings points & crossing bridges girders, pipes, sheets raits, M.S bars etc. or 1000 Nos. brinks, 10’ x 5’ x 3’ or 1000 mounds of fuel wood by trucks or any other means owned by the contractors (Lead upto 5 miles etc). | 23444 | 595.80 | Five Hundred, Ninety Five Point Eight Zero | 1000 Cft | 1,39,679.00 |  |  |  |
|  | PART (C) R.C.C. Culvert |  |  |  |  |  |  |  |  |  |
| 1 |  | Dismalting Cement concrete reinforced Separating rein for cement from concrete cleaning and straigtning the same. | 584 | 5445 | Five Thousand, Four Hundred and Forty Five | %Cft | 31,799.00 |  |  |  |
| 2 |  | Dismalting cement concrete plain 1:2:4 | 1040 | 3327.50 | Three Thousand, Three Hundred, Twenty Seven Point Five Zero | %Cft | 34,606.00 |  |  |  |

SIGNATURE & STAMP CONTRACTOR

| 3 |  | Earth work excavation in ashes Sandi soft soil or silk clearance undressed lead upto 50Ft. | 3300 | 1663.75 | One Thousand, Six Hundred, Sixty Three Point Seven Five | %0Cft | 5,490.00 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 4 |  | (Excavation of pipe line in trenches pipe all kind of soil) murum i/c trimming dressing leveling beds trenches correct level and graded cutting jointing holes disposal of surplus earth with in 1 chain as directed by the engineering incharge. | 1755 | 4650 | Four Thousand. Six Hundred and Fifty | 1000 Cft | 8,161.00 |
| 5 |  | Stone Pitching for tep layer only (1:3 to 1:5) thick (b) in bed. | 910 | 1996 | One Thousand, Nine Hundred and Ninety Six | %Cft | 18,164.00 |
| 6 |  | P/L cement concrete brick or stone ballast 1 ½” to 2” gauge 1:4:8 | 520 | 9416.28 | Nine Thousand, Four Hundred, Sixteen Point Two Eight | %Cft | 48,965.00 |
| 7 |  | RCC work in root slab beans columns raft lintels and other structured member laid in situ or precast laid in position complete in all respects. Ratio (1:2:4) go lbs cement 2 Cft Sand 2 Cft Shigle 1/8” to ¼” gauge. | 2892 | 337 | Three Hundred and Thirty Seven | P/Cft | 9,74,604.00 |
| 8 |  | Fabrication of mold steel reinforced cement concrete i/c cutting binding laying in position making joint and fastening i/c cast of bending wire also i/c removal rust from bars. | 129.10 | 4820.20 | Four Thousand, Eight Hundred, Twenty Point Two Zero | P/Cwt | 6,22,288.00 |
| 9 |  | Carriage of 100 Cft tons at all kind material like cole brikes i/c loading unloading 10 Miles. | 6679 | 595.80 | Five Hundred, Ninety Five Point Eight Zero | %Cft | 39,793.00 |
| 10 |  | Hiring of Private Labour per day | 200 | 1150 | One Thousand, One Hundred and Fifty | P/Labor | 2,30,000.00 |
| 11 |  | Hiring of Machinery Dumper P/Hour | 144 | 2400 | Two Thousand, Four Hundred | P/Hour | 3,45,600.00 |
| 12 |  | Hiring of Machinery Excavation Per Hour | 60 | 3500 | Three Thousand, Five Hundred | P/Hour | 2,10,000.00 |
|  | Total Amount of Schedule Items (Part A + Part B + Part C) Rs: |  |  |  |  |  | 82,31,831.00 |
|  | Add 2% contingencies Rs: |  |  |  |  |  | 1,64,637.00 |
|  | Total Estimated Cost Rs: |  |  |  |  |  | 83,96,468.00 |
|  | Say |  |  |  |  |  | 8.4 Million |

SIGNATURE & STAMP CONTRACTOR

QUOTED BID (SUMMARY)

Estimated Cost: Rs:   8.4 Million

I/ We hereby quoted as follows:

|  |  | In Figures | In Words |
| --- | --- | --- | --- |
| 1 | (Item Based on S/R) @ Above / Below of the S/R. | Rs:_____________ |  |
| GRAND TOTAL |  | Rs:_____________ |  |

(In Figure)	(In Word)

The total amount is Rs:	 (Rupees:

for complete job for all schedule of rate, approved rate & offer rates.

(which ever is included in the BOQ)

I / We have attached a Bid Security amounting to Rs:_____________ (equivalent to 2% of bid amount)                                              as per NIT in shape of Pay Order bearing

Time Limit:__________ Days	Penalty Per Day Rs: __________ (10% of Sanctioned Cost)

Validity: 90 + 30 Days as per SPP Rules 2010

NOTE:

- Tender must be quoted in figure & in word both otherwise liable to be cancelled.

- All over writing & correction, if any must be initialed & stamped by the bidder.

- I / We read the Standard Bidding Documents (Volume-I) for Community Development Program for Sustainable Development Goals for 2015-2016 available in SPPRA Website and agreed to abide all of them and also provide all these documents with our signatures as and when directed.

| For Office use of DMC(West) Verified BOQ by: 1._______________________________ Signature with Stamp 2._______________________________ Executive Engineer (Concerned) Signature with Stamp |  | Signature of the Contractor with Stamp Address:__________________________________ __________________________________________ |
| --- | --- | --- |

Annexure “C” of Volume-I

Minimum Qualification / Eligibility Criteria

(for PRIORITY PROGRAMME)

The evidence / documents for the following minimum qualification / eligibility will be checked during process of tender evaluation & if anyone is missing then the tender will be summarily rejected at the moment by the Procurement Committee.

PART-A:

Minimum Qualification Criteria

- Bid Security, as mentioned in the NIT & Bidding Documents, is furnished.

- All rates quoted including the total amount of the bid shall be in figures  words (both).

- All corrections / overwriting shall be clearly re-written with initials & duly stamped by the bidder.

- The bid shall be properly signed, named & stamped by the authorized person of the firm and authorization letter for signatory shall be enclosed with the tender by the authorized person, if other than the signatory of the firm.

PART-B: Eligibility Criteria

- Valid PEC in relevant category & relevant field of specialization                         as mentioned in the NIT.

- NTN Certificate.

- Valid Professional Tax.

Annexure “D” of Volume-I

METHOD OF PROCUREMENT USED

Single Stage – One Envelope Procedure (Rule 46 (1) of SPP Rule 2010)

46(1) 	Single Stage – One Envelope Procedure

(a).	Notice Inviting Tenders and bidding documents of this method shall contain the following eligibility criteria:-

- relevant experience;

- turn-over of at least last three years;

- registration with Income Tax, Sales Tax and Pakistan Engineering Council (where applicable);

- any other factor deemed to be relevant by the procuring agency subject to provision of Rule 44.

(b).	Each bid shall comprise one single envelope containing the financial proposal and required information mentioned at clause (a) above.

(c).	All bids received shall be opened and evaluated in the manner prescribed in the Notice Inviting Tenders or bidding document.