#### OFFICE OF THE SUPERINTENDENT ENGINEER

(DMC WEST KARACHI)

Tender Reference No. 01 (13)/2015-16/DMC (WEST)

VOLUME-II: BILL OF QUANTITIES

(SINGLE STAGE ONE ENVELOPE METHOD)

(alongwith Eligibility & Minimum Qualification Criteria & Method of Procurement)

Construction of R.C.C. Water Tank at Mauripur and Moach Goth

in Keamari Zone, DMC(West).

| Estimated Construction Cost: | Rs. 4.939 Million |
| --- | --- |
| Bid Security: - | Rs. 02% Offer Rate |
| Tender Cost: - | Rs. 3,000/- |

NOTE:

1.	This Document contains 05 Pages excluding this page

2.	The Standard Terms & Condition of Bidding Documents (Volume-I) for Community Development Program for Sustainable Development Goals for 2015-2016 is available on SPPRA Website

SUPERINTENDING ENGINEER

# DMC West Zone

| Issue to M/s. _____________________________ | P.O. No. ________________________________ |
| --- | --- |
| _____________________________ | Dated: __________________________________ |
| _____________________________ | Bank: ___________________________________ |

Signature & Stamp of Issuing Authority

DISTRICT MUNICIPAL CORPORATION 	(WEST),

KARACHI

SUBJECT:	CONSTRUCTION OF R.C.C. WATER TANK AT MAURIPUR AND MOACH GOTH

IN KEAMARI ZONE, DMC(WEST).

Tender Reference No. 1(13) / 2015-16

SCHEDULE RATE BASED ON (2012)

| S.No: |  | DESCRIPTION OF WORK | QUANTITY | RATE | Rate in Word | PER | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1. |  | Excavation in foundation of Building Bridges and other structures including degbelling dressing, refilling around structure with excavated earth watering and ramming lead upto 5 feet (b). In ordinary soil. | 8,736 Cft | 3176.25 | Three Thousand, One Hundred, Seventy Six Point Two Five | 1000 Cft | 27,748.00 |
| 2. |  | Cement concrete brick or stone ballast 1½” to 2” gauge (1:4:8). | 4,774 Cft | 9416.28 | Nine Thousand, Four Hundred, Sixteen Point Two Eight | %Cft | 4,49,533.00 |
| 3. |  | RCC work in roof slab, beams columns rafts lintels and other structural members laid in situ or precast laid in position complete in all respects (ratio 1:2:4). | 7,336 Cft | 337.00 | Three Hundred and Thirty Seven | P/Cft | 24,72,232.00 |
| 4. |  | Fabrication of mild steel reinforcement for cement concrete including cutting, bending, laying in position making joints and fastenings including cost of binding wire (also includes removal of rust from bars) using tor bars. | 229.25 Cwt | 5001.70 | Five Thousand, One Point Seven Zero | P/Cwt | 11,46,640.00 |
| 5. |  | Providing and laying 2” thick topping and concrete (1:2:4) i/c surface finishing and dividing into panels. | 3,040 Sft | 3275.50 | Three Thousand, Two Hundred, Seventy Five Point Five Zero | %Sft | 99,575.00 |
| 6. |  | Cement concrete plaster 1:3 etc. | 17,584 Sft | 2344.59 | Two Thousand, Three Hundred, Forty Four Point Five Nine | %Sft | 4,12,273.00 |
| 7. |  | C.I. Manhole Cover etc. | 210 Kgs | 140.00 | One Hundred and Forty | P/Kg | 29,400.00 |
| 8. |  | Providing G.I. special & clamps etc including fixing into breaking thrush wall and roof making etc painting to two coat after cleaning the pipe with white Zink Paint pigment to etc. | 168 Rft | 95.79 | Ninety Five Point Seven Nine | P/Rft | 16,093.00 |
| 9. |  | P/F handle valve China. | 84 Nos | 271.95 | Two Hundred, Seventy One Point Nine Five | Each | 22,844.00 |
| 10. |  | Colour washing 1st coat over white surface 02 coat. | 17,584 Sft | 1303.17 | One Thousand, Three Hundred, Three Point One Seven | %Sft | 2,29,149.00 |
| 11. |  | Making connection with the existing G.I. pipe upto 2” Dia including cutting pipe etc. | 84 Nos | 402.16 | Four Hundred, Two Point One Six | Each | 33,781.00 |
|  | Total Estimated Cost Rs: |  |  |  |  |  | 49,39,268.00 |

SIGNATURE & STAMP CONTRACTOR

QUOTED BID (SUMMARY)

Estimated Cost: Rs:   4.939 Million

I/ We hereby quoted as follows:

|  |  | In Figures | In Words |
| --- | --- | --- | --- |
| 1 | (Item Based on S/R) @ Above / Below of the S/R. | Rs:_____________ |  |
| GRAND TOTAL |  | Rs:_____________ |  |

(In Figure)	(In Word)

The total amount is Rs:	 (Rupees:

for complete job for all schedule of rate, approved rate & offer rates.

(which ever is included in the BOQ)

I / We have attached a Bid Security amounting to Rs:_____________ (equivalent to 2% of bid amount)                                              as per NIT in shape of Pay Order bearing

Time Limit:__________ Days	Penalty Per Day Rs: __________ (10% of Sanctioned Cost)

Validity: 90 + 30 Days as per SPP Rules 2010

NOTE:

- Tender must be quoted in figure & in word both otherwise liable to be cancelled.

- All over writing & correction, if any must be initialed & stamped by the bidder.

- I / We read the Standard Bidding Documents (Volume-I) for Community Development Program for Sustainable Development Goals for 2015-2016 available in SPPRA Website and agreed to abide all of them and also provide all these documents with our signatures as and when directed.

| For Office use of DMC(West) Verified BOQ by: 1._______________________________ Signature with Stamp 2._______________________________ Executive Engineer (Concerned) Signature with Stamp |  | Signature of the Contractor with Stamp Address:__________________________________ __________________________________________ |
| --- | --- | --- |

Annexure “C” of Volume-I

Minimum Qualification / Eligibility Criteria

(for PRIORITY PROGRAMME)

The evidence / documents for the following minimum qualification / eligibility will be checked during process of tender evaluation & if anyone is missing then the tender will be summarily rejected at the moment by the Procurement Committee.

PART-A:

Minimum Qualification Criteria

- Bid Security, as mentioned in the NIT & Bidding Documents, is furnished.

- All rates quoted including the total amount of the bid shall be in figures  words (both).

- All corrections / overwriting shall be clearly re-written with initials & duly stamped by the bidder.

- The bid shall be properly signed, named & stamped by the authorized person of the firm and authorization letter for signatory shall be enclosed with the tender by the authorized person, if other than the signatory of the firm.

PART-B: Eligibility Criteria

- Valid PEC in relevant category & relevant field of specialization                         as mentioned in the NIT.

- NTN Certificate.

- Valid Professional Tax.

Annexure “D” of Volume-I

METHOD OF PROCUREMENT USED

Single Stage – One Envelope Procedure (Rule 46 (1) of SPP Rule 2010)

46(1) 	Single Stage – One Envelope Procedure

(a).	Notice Inviting Tenders and bidding documents of this method shall contain the following eligibility criteria:-

- relevant experience;

- turn-over of at least last three years;

- registration with Income Tax, Sales Tax and Pakistan Engineering Council (where applicable);

- any other factor deemed to be relevant by the procuring agency subject to provision of Rule 44.

(b).	Each bid shall comprise one single envelope containing the financial proposal and required information mentioned at clause (a) above.

(c).	All bids received shall be opened and evaluated in the manner prescribed in the Notice Inviting Tenders or bidding document.