#### OFFICE OF THE SUPERINTENDENT ENGINEER

(DMC WEST KARACHI)

Tender Reference No. 01 (14)/2015-16/DMC (WEST)

VOLUME-II: BILL OF QUANTITIES

(SINGLE STAGE ONE ENVELOPE METHOD)

(alongwith Eligibility & Minimum Qualification Criteria & Method of Procurement)

Re-Construction/improvement of C.C.  Street & R.C.C. Sewerage Line

Sector 5/G, A/3, D/3 in UC-05, PS-91, DMC(West) Baldia Zone.

| Estimated Construction Cost: | Rs. 10.00 Million |
| --- | --- |
| Bid Security: - | Rs. 02% Offer Rate |
| Tender Cost: - | Rs. 3,000/- |

NOTE:

1.	This Document contains 07 Pages excluding this page

2.	The Standard Terms & Condition of Bidding Documents (Volume-I) for Community Development Program for Sustainable Development Goals for 2015-2016 is available on SPPRA Website

SUPERINTENDING ENGINEER

# DMC West Zone

| Issue to M/s. _____________________________ | P.O. No. ________________________________ |
| --- | --- |
| _____________________________ | Dated: __________________________________ |
| _____________________________ | Bank: ___________________________________ |

Signature & Stamp of Issuing Authority

DISTRICT MUNICIPAL CORPORATION 	(WEST),

KARACHI

SUBJECT:	RE-CONSTRUCTION/IMPROVEMENT OF C.C. STREET & R.C.C. SEWERAGE LINE

SECTOR 5/G, A/3, D/3 IN UC-05 PS-91 DMC(WEST) BALDIA ZONE.

Tender Reference No. 1(14) / 2015-16

SCHEDULE RATE BASED ON (2012)

| S.No: |  | DESCRIPTION OF WORK | QUANTITY | RATE | Rate in Word | PER | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | PART (A) SEWERAGE LINE |  |  |  |  |  |  |
| 1. |  | Excavation for pipe line in trenches, and pits in all kind of soil Murum i/c trimming dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade, cutting joint holes and disposal of surplus earth within a 1 chain as directed by the engineer incharge. Providing fence guards, lights, flags and temporary crossings for non vehicular traffic where ever required lift upto 5 ft and lead upto one chain. | 39150 | 4650.00 | Four Thousand, Six Hundred and Fifty | 1000 Cft | 1,82,048.00 |
| 2. |  | Excavation for pipe line in trenches, and pits in hard rock by harming and chiseling i/c trimming and dressing sides to true alignment and shape leveling beds of trenches to correct level and grade, cutting joint holes and disposal of surplus earth within a 1 chain as directed by the engineer incharge. Providing fence guards, lights, flags and temporary crossings for non vehicular traffic where ever required lift upto 5 ft and lead upto one chain. | 9450 | 24150.00 | Twenty Four Thousand, One Hundred and Fifty | 1000 Cft | 2,28,218.00 |
| 3. |  | P/L R.C.C pipes with (ruber ring joint and fitting in trench i/c cutting, fitting and jointing with rubber ring i/c testing with water to specified pressure. 09” dia 12” dia 15“ dia | 500 2700 300 | 206.00 367.00 436.00 | Two Hundred and Six Three Hundred and Sixty Seven Four Hundred and Thirty Six | P/Rft P/Rft P/Rft | 1,03,000.00 9,90,900.00 1,30,800.00 |
| 4. |  | Constructing man hole of 4” dia manhole inside complete with 21” dia CC 1:2:4 precast C.I frame 12 KG i/c the cost of M.S bars reinforcement and two handles 5” clear depth C.C 1:2:4 cast in SITU walls with 505 screened graded bajri of 9” thick i/c banding and channel i/c insight walls surface complete i/c cutting asphalt roads excavation in all kind of soil back filling and disposal of surplus stuff (KWSB) approved rate . | 145 | 9307.86 | Nine Thousand, Three Hundred, Seven Point Eight Six | Each | 13,49,640.00 |
| 5. |  | Extra depth behind 5”ft or less than 5 deducted at the same rate (KWSB) approved rate. | (-)72.5 | 1609.15 | One Thousand, Six Hundred, Nine Point One Five | P/Rft | (-) 1,16,663.00 |
| 6 |  | Refilling the excavated stuff in trenches 6” thick layer i/c watering ramming to full compaction etc complete | 43740 | 2760.00 | Two Thousand, Seven Hundred and Sixty | 1000 Cft | 1,20,722.00 |
| 7. |  | M/S R C C manhole cover cost 1:2:4 concrete ratio 3” depth at i/c reinforced with 3/8” dia for steel bars 4” CC welded to 1/8” thick 2.5 inches depth MS plat i/c cutting curing stacking and transportation within 10 miles | 05 | 913.63 | Nine Hundred, Thirteen Point Six Three | Each | 4,568.00 |

SIGNATURE & STAMP CONTRACTOR

| 8. |  | M/S RCC ring slab of 21” dia inside 36” cut side 7.5” width and 6” thick i/c dia for steel bars two concrete ring with 3/8” dia 8 no. cross liked bars welded and 2 sunk type hook cost in a 1:1 ½ “3 concrete with embedded 15 KG C.I from in precast position i/c transportation etc. | 05 | 1906.60 | One Thousand, Nine Hundred, Six Point Six Zero | Each | 9,533.00 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 9. |  | Shifting of site and fixing of 36” dia ring slab in perfect position on damaged manhole i/c cutting of damaged portion of manholes in proper shape and laying of cement mortar of 2” thickness and disposal of debris. | 05 | 563.09 | Five Hundred, Sixty Three Point Zero Nine | Each | 2,815.00 |  |  |  |
|  | PART (B) C.C. Flooring |  |  |  |  |  |  |  |  | PART (B) C.C. Flooring |
| 1 |  | Dismantling cement block masonry | 3000 | 1134.38 | One Thousand, One Hundred, Thirty Four Point Three Eight | %Cft | 34,031.00 |  |  |  |
| 2 |  | Dismantling cement concrete plain 1:4:8 | 15225 | 1663.75 | One Thousand, Six Hundred, Sixty Three Point Seven Five | %Cft | 2,53,306.00 |  |  |  |
| 3 |  | Earth work excavation undressed lead upto a single through of kassi phawrah or shovel, (b) In ordinary soil. | 13050 | 1361.25 | One Thousand, Three Hundred, Sixty One Point Two Five | %Cft | 17,764.00 |  |  |  |
| 4 |  | Filling, watering and ramming earth under floor with new earth (excavated from outside) lead upto one chain and lift upto 5ft. | 6344 | 3630 | Three Thousand, Six Hundred and Thirty | 1000 Cft | 23,029.00 |  |  |  |
| 5 |  | Cement concrete brick or stone blast 1 ½” to 2” gauge (b)Ratio 1:4:8 | 28275 | 9416.28 | Nine Thousand, Four Hundred, Sixteen Point Two Eight | %Cft | 26,62,453.00 |  |  |  |
| 6 |  | P/L 3” thick topping cement concrete (1:2:4) i/c surface finishing and dividing into panel. | 56550 | 4411.82 | Four Thousand, Four Hundred, Eleven Point Eight Two | %Sft | 24,94,884.00 |  |  |  |
| 7 |  | P/F CI manhole frame i/c cost of 1kg material etc complete. | 700 | 140 | One Hundred and Forty | P/Kg | 98,000.00 |  |  |  |
| 8 |  | Cartage of 100 Cft / 5 tons of all material likes one aggregate, spawl, coal, lime, surkhi etc. B.G. rate fastenings points & crossing bridges girders, pipes, sheets raits, M.S bars etc. or 1000 Nos. brinks, 10’ x 5’ x 3’ or 1000 mounds of fuel wood by trucks or any other means owned by the contractors (Lead upto 5 miles etc). | 42479 | 595.80 | Five Hundred, Ninety Five Point Eight Zero | 1000 Cft | 2,53,090.00 |  |  |  |
|  | PART (C) Water Supply |  |  |  |  |  |  |  |  | PART (C) R.C.C. Culvert |
| 1 |  | Dismantling and road matailing complete etc. | 3300 | 605.00 | Six Hundred and Five | %Sft | 19,965.00 |  |  |  |
| 2 |  | Excavation for pipe line in trenches and pits in all kind of soils 0-5 feet. | 16500 | 4650.00 | Four Thousand, Six Hundred and Fifty | 1000 Cft | 76,725.00 |  |  |  |
| 3 |  | Excavation in Hard Rock 5-8 feet. | 2250 | 10770.00 | Ten Thousand, Seven Hundred and Seventy | 1000 Cft | 24,233.00 |  |  |  |
| 4 |  | P/L P.E. pipe fixing in trenches etc complete. 4” Dia 12” Dia | 1200 100 | 268.00 1998.00 | Two Hundred and Sixty Eight One Thousand, Nine Hundred Ninety Eigh | P/Rft P/Rft | 3,21,600.00 1,99,800.00 |  |  |  |
| 5 |  | P/L Sluice Valve heavy pattern etc complete. 12” Dia 08” Dia 06” Dia 04” Dia | 01 01 01 04 | 78000.00 17940.00 9360.00 5460.00 | Seventy Eight Thousand Seventeen Thousand, Nine Hundred Forty Nine Thousand, Three Hundred Sixty Five Thousand, Four Hundred Sixty | Each Each Each Each | 78,000.00 17,940.00 9,360.00 21,840.00 |  |  |  |
| 6 |  | P/F Sluice Valves etc complete. 12” Dia 08” Dia 06” Dia 04” Dia | 01 01 01 04 | 3821.00 2790.00 1886.00 1532.00 | Three Thousand, Eight Hundred Twenty One Two Thousand, Seven Hundred Ninety One Thousand, Eight Hundred Eighty Six One Thousand, Five Hundred, Thirty Two | Each Each Each Each | 3,821.00 2,790.00 1,886.00 6,128.00 |  |  |  |
| 7 |  | Full Hire Charges. | 15 | 1500.00 | One Thousand, Five Hundred | P/Day | 22,500.00 |  |  |  |
| 8 |  | P/L M.S. Tee etc complete. 12 x 12 Dia 08 x 08 Dia | 01 01 | 19037.00 2510.00 | Nineteen Thousand, Thirty Seven Two Thousand, Five Hundred Ten | Each Each | 19,037.00 2,510.00 |  |  |  |

SIGNATURE & STAMP CONTRACTOR

| 9 |  | P/L M.S. Dholki etc complete. 12” Dia 08” Dia 06” Dia 01” Dia | 01 01 01 06 | 2997.00 2199.00 1422.00 1098.00 | Two Thousand, Nine Hundred Ninety Seven Two Thousand, One Hundred Ninety Nine One Thousand, Four Hundred Twenty Two One Thousand, Ninety Eight | Each Each Each Each | 2,997.00 2,199.00 1,422.00 6,588.00 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 10 |  | P/L M.S. Neck etc complete. 08” Dia 06” Dia 04” Dia | 01 01 02 | 2804.00 1984.00 1229.00 | Two Thousand Eight Hundred, Four One Thousand, Nine Hundred, Eighty Four One Thousand, Two Hundred, Twenty Nine | Each Each Each | 2,804.00 1,984.00 2,458.00 |
| 11 |  | Refilling excavated staff. | 19800 | 2760.00 | Two Thousand, Seven Hundred and Sixty | 1000 Cft | 54,648.00 |
| 12 |  | R.C.C. Chamber. | 02 | 28357.00 | Twenty Eight Thousand, Three Hundred and Fifty Seven | Each | 56,714.00 |
|  | Total Amount of Schedule Items (Part A + Part B + Part C) Rs: |  |  |  |  |  | 98,02,087.00 |
|  | Add 2% contingencies Rs: |  |  |  |  |  | 1,96,042.00 |
|  | Total Estimated Cost Rs: |  |  |  |  |  | 99,98,129.00 |
|  | Say |  |  |  |  |  | 10.00 Million |

SIGNATURE & STAMP CONTRACTOR

QUOTED BID (SUMMARY)

Estimated Cost: Rs:   10.00 Million

I/ We hereby quoted as follows:

|  |  | In Figures | In Words |
| --- | --- | --- | --- |
| 1 | (Item Based on S/R) @ Above / Below of the S/R. | Rs:_____________ |  |
| GRAND TOTAL |  | Rs:_____________ |  |

(In Figure)	(In Word)

The total amount is Rs:	 (Rupees:

for complete job for all schedule of rate, approved rate & offer rates.

(which ever is included in the BOQ)

I / We have attached a Bid Security amounting to Rs:_____________ (equivalent to 2% of bid amount)                                              as per NIT in shape of Pay Order bearing

Time Limit:__________ Days	Penalty Per Day Rs: __________ (10% of Sanctioned Cost)

Validity: 90 + 30 Days as per SPP Rules 2010

NOTE:

- Tender must be quoted in figure & in word both otherwise liable to be cancelled.

- All over writing & correction, if any must be initialed & stamped by the bidder.

- I / We read the Standard Bidding Documents (Volume-I) for Community Development Program for Sustainable Development Goals for 2015-2016 available in SPPRA Website and agreed to abide all of them and also provide all these documents with our signatures as and when directed.

| For Office use of DMC(West) Verified BOQ by: 1._______________________________ Signature with Stamp 2._______________________________ Executive Engineer (Concerned) Signature with Stamp |  | Signature of the Contractor with Stamp Address:__________________________________ __________________________________________ |
| --- | --- | --- |

Annexure “C” of Volume-I

Minimum Qualification / Eligibility Criteria

(for PRIORITY PROGRAMME)

The evidence / documents for the following minimum qualification / eligibility will be checked during process of tender evaluation & if anyone is missing then the tender will be summarily rejected at the moment by the Procurement Committee.

PART-A:

Minimum Qualification Criteria

- Bid Security, as mentioned in the NIT & Bidding Documents, is furnished.

- All rates quoted including the total amount of the bid shall be in figures  words (both).

- All corrections / overwriting shall be clearly re-written with initials & duly stamped by the bidder.

- The bid shall be properly signed, named & stamped by the authorized person of the firm and authorization letter for signatory shall be enclosed with the tender by the authorized person, if other than the signatory of the firm.

PART-B: Eligibility Criteria

- Valid PEC in relevant category & relevant field of specialization                         as mentioned in the NIT.

- NTN Certificate.

- Valid Professional Tax.

Annexure “D” of Volume-I

METHOD OF PROCUREMENT USED

Single Stage – One Envelope Procedure (Rule 46 (1) of SPP Rule 2010)

46(1) 	Single Stage – One Envelope Procedure

(a).	Notice Inviting Tenders and bidding documents of this method shall contain the following eligibility criteria:-

- relevant experience;

- turn-over of at least last three years;

- registration with Income Tax, Sales Tax and Pakistan Engineering Council (where applicable);

- any other factor deemed to be relevant by the procuring agency subject to provision of Rule 44.

(b).	Each bid shall comprise one single envelope containing the financial proposal and required information mentioned at clause (a) above.

(c).	All bids received shall be opened and evaluated in the manner prescribed in the Notice Inviting Tenders or bidding document.