#### OFFICE OF THE SUPERINTENDENT ENGINEER

(DMC WEST KARACHI)

Tender Reference No. 01 (2)/2015-16/DMC (WEST)

VOLUME-II: BILL OF QUANTITIES

(SINGLE STAGE ONE ENVELOPE METHOD)

(alongwith Eligibility & Minimum Qualification Criteria & Method of Procurement)

Providing/laying Water Supply line at Jungle Shah to Kamella Chowk

in Keamari Zone, DMC(West).

| Estimated Construction Cost: | Rs. 9.903 Million |
| --- | --- |
| Bid Security: - | Rs. 02% O/R |
| Tender Cost: - | Rs. 3,000/- |

NOTE:

1.	This Document contains 06 Pages excluding this page

2.	The Standard Terms & Condition of Bidding Documents (Volume-I) for Community Development Program for Sustainable Development Goals for 2015-2016 is available on SPPRA Website

SUPERINTENDING ENGINEER

# DMC West Zone

| Issue to M/s. _____________________________ | P.O. No. ________________________________ |
| --- | --- |
| _____________________________ | Dated: __________________________________ |
| _____________________________ | Bank: ___________________________________ |

Signature & Stamp of Issuing Authority

DISTRICT MUNICIPAL CORPORATION 	(WEST),

KARACHI

SUBJECT:	PROVIDING/LAYING WATER SUPPLY LINE AT JUNGLE SHAH TO

KAMELLA CHOWK KEAMARI ZONE, DMC(WEST).

Tender Reference No. 1(2) / 2015-16

SCHEDULE RATE BASED ON (2012)

| S.No: | DESCRIPTION OF WORK | QUANTITY | RATE | Rate in Word | PER | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | Dismantling and removing road stone metalling | 1,500 Cft | 605.00 | Six Hundred and Five | %Cft | 9,075.00 |
| 2. | Excavation for pipe line in trenches and pits in all kind of soil of murum i/c trimming and dressing side to true alignment and shape traveling of beds of trenches to correct level and grade cutting joint holes and disposal of surplus earth within a one chain as directed by Engineer Incharge. Providing fence guard light flags and temporary crossing for non vehicular traffic wherever required left upto 05’ and lead upto 01 chain. | 84,000 Cft | 4650.00 | Four Thousand, Six Hundred and Fifty | ‰Cft | 3,90,600.00 |
| 3. | Providing, laying & fixing in trenches i/c fitting, jointing and testing etc complete in all respect the high density polyethylene PE pipes (HDPE-100) for W/S confirming ISO 4427/DIN8074/8075 BS 3580 & PSI 3051. (315mm) | 3,000 Rft | 1635.00 | One Thousand, Six Hundred and Thirty Five | P/Rft | 49,05,000.00 |
| 4. | Sluice Valve Commercial pattern test pressure 10.5 Kg/Sq or 150 Lb/Sq Inch (12” Ø) | 04 Nos | 30000.00 | Thirty Thousand | Each | 1,20,000.00 |
| 5. | Cement concrete plain including placing compaction finishing and curing complete including screening and washing at stone aggregate without ratio 1:2:4. | 12,000 Cft | 14429.25 | Fourteen Thousand, Four Hundred, Twenty Nine Point Two Five | %Cft | 17,31,510.00 |
| 6. | Constructing Manhole or Inspection Chamber for the required diameter of circular sewer and 3’ - 6” depth with walls of B.B in cement sand mortar 1:3 cement plastered 1:3 ½” thick inside of walls and 1” thick over leveling and channel i/c fixing C.I. manhole covers with frame of clear opening 1½” x 1½” of 1.75 Cwt etc. | 06 Nos | 14748.00 | Fourteen Thousand, Seven Hundred and Forty Eight | Each | 88,488.00 |
| 7. | Refilling the excavated stuff in trenches 6” thick layer i/c watering ramming to full compaction etc complete. | 75,600 Cft | 2760.00 | Two Thousand, Seven Hundred and Sixty | 1000 Cft | 2,08,656.00 |
| 8. | Manufacturing and supplying R.C.C. manhole covers casting c.c. 1:2:4 ratio 3 inch deep at center bar, reinforced with 3/8” dia tour steel 2.50” deep M.S. plate other curing, stacking and transportation within 10 miles. …………....…21”Dia …..…………….... | 800 Nos | 913.63 | Nine Hundred, Thirteen Point Six Three | Each | 7,30,904.00 |

SIGNATURE & STAMP CONTRACTOR

| 9. |  | Manufacturing and supplying of R.C.C. ring slab of 21” inside 36” outside 7.5” width and 6” thick i/c 3/8” for steel bars two concentric ring with 3/8” 08 Nos. cross linked bars welded and two sunk type hooks casted etc. | 700 Nos | 1906.60 | One Thousand, Nine Hundred, Six Point Six Zero | Each | 13,34,620.00 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 10. |  | Shifting and fixing R.C.C. pre-cast ring slab in c.c. 1:2:4. | 700 Nos | 563.09 | Five Hundred, Sixty Three Point Zero Nine | Each | 3,94,163.00 |
|  | Total Estimated Cost Rs: |  |  |  |  |  | 99,03,941.00 |

SIGNATURE & STAMP CONTRACTOR

QUOTED BID (SUMMARY)

Estimated Cost: Rs:   9.903 Million

I/ We hereby quoted as follows:

|  |  | In Figures | In Words |
| --- | --- | --- | --- |
| 1 | (Item Based on S/R) @ Above / Below of the S/R. | Rs:_____________ |  |
| GRAND TOTAL |  | Rs:_____________ |  |

(In Figure)	(In Word)

The total amount is Rs:	 (Rupees:

for complete job for all schedule of rate, approved rate & offer rates.

(which ever is included in the BOQ)

I / We have attached a Bid Security amounting to Rs:_____________ (equivalent to 2% of bid amount)                                              as per NIT in shape of Pay Order bearing

Time Limit:__________ Days	Penalty Per Day Rs: __________ (10% of Sanctioned Cost)

Validity: 90 + 30 Days as per SPP Rules 2010

NOTE:

- Tender must be quoted in figure & in word both otherwise liable to be cancelled.

- All over writing & correction, if any must be initialed & stamped by the bidder.

- I / We read the Standard Bidding Documents (Volume-I) for Community Development Program for Sustainable Development Goals for 2015-2016 available in SPPRA Website and agreed to abide all of them and also provide all these documents with our signatures as and when directed.

| For Office use of DMC(West) Verified BOQ by: 1._______________________________ Signature with Stamp 2._______________________________ Executive Engineer (Concerned) Signature with Stamp |  | Signature of the Contractor with Stamp Address:__________________________________ __________________________________________ |
| --- | --- | --- |

Annexure “C” of Volume-I

Minimum Qualification / Eligibility Criteria

(for PRIORITY PROGRAMME)

The evidence / documents for the following minimum qualification / eligibility will be checked during process of tender evaluation & if anyone is missing then the tender will be summarily rejected at the moment by the Procurement Committee.

PART-A:

Minimum Qualification Criteria

- Bid Security, as mentioned in the NIT & Bidding Documents, is furnished.

- All rates quoted including the total amount of the bid shall be in figures  words (both).

- All corrections / overwriting shall be clearly re-written with initials & duly stamped by the bidder.

- The bid shall be properly signed, named & stamped by the authorized person of the firm and authorization letter for signatory shall be enclosed with the tender by the authorized person, if other than the signatory of the firm.

PART-B: Eligibility Criteria

- Valid PEC in relevant category & relevant field of specialization                         as mentioned in the NIT.

- NTN Certificate.

- Valid Professional Tax.

Annexure “D” of Volume-I

METHOD OF PROCUREMENT USED

Single Stage – One Envelope Procedure (Rule 46 (1) of SPP Rule 2010)

46(1) 	Single Stage – One Envelope Procedure

(a).	Notice Inviting Tenders and bidding documents of this method shall contain the following eligibility criteria:-

- relevant experience;

- turn-over of at least last three years;

- registration with Income Tax, Sales Tax and Pakistan Engineering Council (where applicable);

- any other factor deemed to be relevant by the procuring agency subject to provision of Rule 44.

(b).	Each bid shall comprise one single envelope containing the financial proposal and required information mentioned at clause (a) above.

(c).	All bids received shall be opened and evaluated in the manner prescribed in the Notice Inviting Tenders or bidding document.