#### OFFICE OF THE SUPERINTENDENT ENGINEER

(DMC WEST KARACHI)

Tender Reference No. 01 (4)/2015-16/DMC (WEST)

VOLUME-II: BILL OF QUANTITIES

(SINGLE STAGE ONE ENVELOPE METHOD)

(alongwith Eligibility & Minimum Qualification Criteria & Method of Procurement)

Rehabilitation of Nallah in Baba Island UC.No:41,

Keamari Zone, DMC(West).

| Estimated Construction Cost: | Rs. 2.887 Million |
| --- | --- |
| Bid Security: - | Rs. 02% O/R |
| Tender Cost: - | Rs. 3,000/- |

NOTE:

1.	This Document contains 05 Pages excluding this page

2.	The Standard Terms & Condition of Bidding Documents (Volume-I) for Community Development Program for Sustainable Development Goals for 2015-2016 is available on SPPRA Website

SUPERINTENDING ENGINEER

# DMC West Zone

| Issue to M/s. _____________________________ | P.O. No. ________________________________ |
| --- | --- |
| _____________________________ | Dated: __________________________________ |
| _____________________________ | Bank: ___________________________________ |

Signature & Stamp of Issuing Authority

DISTRICT MUNICIPAL CORPORATION 	(WEST),

KARACHI

SUBJECT:	REHABILITATION OF NALLAH IN BABA ISLAND UC.No:41,

KEAMARI ZONE, DMC(WEST).

Tender Reference No. 1(4) / 2015-16

SCHEDULE RATE BASED ON (2012)

| S.No: |  | DESCRIPTION OF WORK | QUANTITY | RATE | Rate in Word | PER | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1. |  | Dismantling cement concrete R.C.C. (1:2:4) disposal lead upto 10 miles etc. | 1,500 Cft | 5445.00 | Five Thousand, Four Hundred and Forty Five | %Cft | 81,675.00 |
| 2. |  | Excavation for wet silt clearance etc complete. | 26,250 Cft | 5242.50 | Five Thousand, Two Hundred, Forty Two Point Five Zero | 1000 Cft | 1,37,616.00 |
| 3. |  | RCC work in roof slab, beams, column, raft little and other structure complete in all respect 1:2:4 etc. | 1500 Cft | 309.78 | Three Hundred, Nine Point Seven Eight | P/Cft | 4,64,670.00 |
| 4. |  | Fabrication of mild steel reinforcement for cement concrete i/c cutting, bending, layer in position making joints and fastening i/c cost of binding wire etc complete. | 46.875 Cwt | 5001.70 | Five Thousand, One Point Seven Zero | P/Cwt | 2,34,455.00 |
| 5. |  | Cartage of 100 Cft / 05 Tons of all materials like stone aggregate, sprawl, coal, lime, surkhi etc B.G. rail fastening point and crossing bridge girders, pipes sheet rails M.S. bar etc or 1000 number bricks 10’ x 5’ x 3’ or 1000 manuds of fuel wood by trucks or any other means owned by the contractors (lead upto 15 miles etc). | 22,500 Cft | 1065.04 | One Thousand, Sixty Five Point Zero Four | %Cft | 2,39,634.00 |
| 6. |  | Dismantling cement concrete plain 1:2:4. | 5,400 Cft | 3327.50 | Three Thousand, Three Hundred, Twenty Seven Point Five Zero | %Cft | 1,79,685.00 |
| 7. |  | Cement concrete brick or stone ballast 1½” to 2” gauge (1:4:8). | 1,013 Cft | 9416.28 | Nine Thousand, Four Hundred, Sixteen Point Two Eight | %Cft | 95,387.00 |
| 8. |  | Cement concrete plain including placing compaction finishing and curing complete including screening and washing at stone aggregate without ratio 1:2:4. | 5,400 Cft | 14429.25 | Fourteen Thousand, Four Hundred, Twenty Nine Point Two Five | %Cft | 7,79,180.00 |
| 9. |  | Erection and removal of centering for R.C.C. or plain cement concrete works of Deodar Wood (2nd class). | 21,600 Sft | 3127.41 | Three Thousand, One Hundred, Twenty Seven Point Four One | %Sft | 6,75,521.00 |
|  | Total Estimated Cost Rs: |  |  |  |  |  | 28,87,823.00 |

SIGNATURE & STAMP CONTRACTOR

QUOTED BID (SUMMARY)

Estimated Cost: Rs:   2.887 Million

I/ We hereby quoted as follows:

|  |  | In Figures | In Words |
| --- | --- | --- | --- |
| 1 | (Item Based on S/R) @ Above / Below of the S/R. | Rs:_____________ |  |
| GRAND TOTAL |  | Rs:_____________ |  |

(In Figure)	(In Word)

The total amount is Rs:	 (Rupees:

for complete job for all schedule of rate, approved rate & offer rates.

(which ever is included in the BOQ)

I / We have attached a Bid Security amounting to Rs:_____________ (equivalent to 2% of bid amount)                                              as per NIT in shape of Pay Order bearing

Time Limit:__________ Days	Penalty Per Day Rs: __________ (10% of Sanctioned Cost)

Validity: 90 + 30 Days as per SPP Rules 2010

NOTE:

- Tender must be quoted in figure & in word both otherwise liable to be cancelled.

- All over writing & correction, if any must be initialed & stamped by the bidder.

- I / We read the Standard Bidding Documents (Volume-I) for Community Development Program for Sustainable Development Goals for 2015-2016 available in SPPRA Website and agreed to abide all of them and also provide all these documents with our signatures as and when directed.

| For Office use of DMC(West) Verified BOQ by: 1._______________________________ Signature with Stamp 2._______________________________ Executive Engineer (Concerned) Signature with Stamp |  | Signature of the Contractor with Stamp Address:__________________________________ __________________________________________ |
| --- | --- | --- |

Annexure “C” of Volume-I

Minimum Qualification / Eligibility Criteria

(for PRIORITY PROGRAMME)

The evidence / documents for the following minimum qualification / eligibility will be checked during process of tender evaluation & if anyone is missing then the tender will be summarily rejected at the moment by the Procurement Committee.

PART-A:

Minimum Qualification Criteria

- Bid Security, as mentioned in the NIT & Bidding Documents, is furnished.

- All rates quoted including the total amount of the bid shall be in figures  words (both).

- All corrections / overwriting shall be clearly re-written with initials & duly stamped by the bidder.

- The bid shall be properly signed, named & stamped by the authorized person of the firm and authorization letter for signatory shall be enclosed with the tender by the authorized person, if other than the signatory of the firm.

PART-B: Eligibility Criteria

- Valid PEC in relevant category & relevant field of specialization                         as mentioned in the NIT.

- NTN Certificate.

- Valid Professional Tax.

Annexure “D” of Volume-I

METHOD OF PROCUREMENT USED

Single Stage – One Envelope Procedure (Rule 46 (1) of SPP Rule 2010)

46(1) 	Single Stage – One Envelope Procedure

(a).	Notice Inviting Tenders and bidding documents of this method shall contain the following eligibility criteria:-

- relevant experience;

- turn-over of at least last three years;

- registration with Income Tax, Sales Tax and Pakistan Engineering Council (where applicable);

- any other factor deemed to be relevant by the procuring agency subject to provision of Rule 44.

(b).	Each bid shall comprise one single envelope containing the financial proposal and required information mentioned at clause (a) above.

(c).	All bids received shall be opened and evaluated in the manner prescribed in the Notice Inviting Tenders or bidding document.