#### OFFICE OF THE SUPERINTENDENT ENGINEER

(DMC WEST KARACHI)

Tender Reference No. 01 (11)/2015-16/DMC (WEST)

VOLUME-II: BILL OF QUANTITIES

(SINGLE STAGE ONE ENVELOPE METHOD)

(alongwith Eligibility & Minimum Qualification Criteria & Method of Procurement)

Replacement of Worn out / Unserviceable 12” Dia R.C.C. Sewer line

at Church Street Grex Mauripur, Keamari Zone, DMC(West).

| Estimated Construction Cost: | Rs. 1.006 Million |
| --- | --- |
| Bid Security: - | Rs. 02% Offer Rate |
| Tender Cost: - | Rs. 2,000/- |

NOTE:

1.	This Document contains 05 Pages excluding this page

2.	The Standard Terms & Condition of Bidding Documents (Volume-I) for Community Development Program for Sustainable Development Goals for 2015-2016 is available on SPPRA Website

SUPERINTENDING ENGINEER

# DMC West Zone

| Issue to M/s. _____________________________ | P.O. No. ________________________________ |
| --- | --- |
| _____________________________ | Dated: __________________________________ |
| _____________________________ | Bank: ___________________________________ |

Signature & Stamp of Issuing Authority

DISTRICT MUNICIPAL CORPORATION 	(WEST),

KARACHI

SUBJECT:	REPLACEMENT OF WORN OUT / UNSERVICEABLE 12” DIA R.C.C. SEWER LINE

AT CHURCH STREET GREX MAURIPUR KEAMARI ZONE, DMC(WEST).

Tender Reference No. 1(11) / 2015-16

SCHEDULE RATE BASED ON (2012)

| S.No: | DESCRIPTION OF WORK | QUANTITY | RATE | Rate in Word | PER | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | Dismantling and removal road metaling. | 4500 Cft | 605.00 | Six Hundred and Five | %Cft | 27,225.00 |
| 2. | Excavation for pipe line in trenches and pits in all kind of soil of murum i/c trimming and dressing side to true alignment and shape traveling of beds of trenches to correct level and grade cutting joint holes and disposal of surplus earth within a one chain as directed by Engineer Incharge. Providing fence guard light flags and temporary crossing for non vehicular traffic wherever required left upto 05’ (1.52m)and lead upto 01 chain (30.5m). 0’ – 5’ | 22,500 Cft | 4650.00 | Four Thousand, Six Hundred and Fifty | 1000 Cft | 1,04,625.00 |
| 3. | Add for additional lift at every 3’. 5’ – 8’ | 11700 Cft | 5200.00 | Five Thousand, Two Hundred | 1000 Cft | 60,840.00 |
| 4. | Providing/laying R.C.C. pipe with (rubber ring) joint and fitting in trench i/c cutting fitting and jointing with rubber ring i/c testing with water to specified pressure . 12” Dia. | 1500 Rft | 367.00 | Three Hundred and Sixty Seven | P/Rft | 5,50,500.00 |
| 5. | Full hire charges of the pumping set per day i/c of wages of driver and assistant fuel or electric energy plate forms required for placing pumps etc at lower pumping out water found at various depth from trenches i/c the cost of erecting and dismantling after completion of the job. Hire charges of pumping set upto 10HP pumping out water from 15 feet deep trench. | 15 Days | 1500.00 | One Thousand, Five Hundred | P/Day | 22,500.00 |
| 6. | Providing manhole 4’ (inside) and 5’ clear depth with C.I. frame (15 Kg) cast in situ 1:2:4 in 9” thick wall 1:4:8 c/c in 6 feet Dia and 6 Inch in foundation 1:2:4 c.c. in benching ½” thick cement plastering with 1:3 mortar on all inside wall surface of channel & benching i/c making required Nos. of main and branch channels ¾” dia bars M.S. foot ret @ 12” c/c including cost of excavation in all kind of soil backfilling and disposal of excavated stuff etc complete as per design specification and instruction of the Engineer Incharge. | 09 Nos | 14529.29 | Fourteen Thousand, Five Hundred, Twenty Nine Point Two Nine | Each | 1,30,764.00 |
| 7. | Extra depth beyond 5 feet for depth lesser than 5 feet deducted at same rate i/c C.I. footres of depth. | ( + ) 8 Rft | 2538.60 | Two Thousand, Five Hundred, Thirty Eight Point Six Zero | P/Rft | 20,309.00 |
| 8. | Making connection with the existing Manholes i/c the cost of cutting holes in walls making them good in cement concrete 1:2:4 and making the required channel etc complete. | 05 Nos | 180.00 | One Hundred, Eighty | Each | 900.00 |
| 9. | Refilling the excavated stuff in trenches 6” thick layer i/c watering ramming to full compaction etc complete. (as per quantity same item No: 1 & 2). | 32358.98 Cft | 2760.00 | Two Thousand, Seven Hundred and Sixty | 1000 Cft | 89,311.00 |
|  | Total Estimated Cost Rs: |  |  |  |  | 10,06,974.00 |

SIGNATURE & STAMP CONTRACTOR

QUOTED BID (SUMMARY)

Estimated Cost: Rs:   1.006 Million

I/ We hereby quoted as follows:

|  |  | In Figures | In Words |
| --- | --- | --- | --- |
| 1 | (Item Based on S/R) @ Above / Below of the S/R. | Rs:_____________ |  |
| GRAND TOTAL |  | Rs:_____________ |  |

(In Figure)	(In Word)

The total amount is Rs:	 (Rupees:

for complete job for all schedule of rate, approved rate & offer rates.

(which ever is included in the BOQ)

I / We have attached a Bid Security amounting to Rs:_____________ (equivalent to 2% of bid amount)                                              as per NIT in shape of Pay Order bearing

Time Limit:__________ Days	Penalty Per Day Rs: __________ (10% of Sanctioned Cost)

Validity: 90 + 30 Days as per SPP Rules 2010

NOTE:

- Tender must be quoted in figure & in word both otherwise liable to be cancelled.

- All over writing & correction, if any must be initialed & stamped by the bidder.

- I / We read the Standard Bidding Documents (Volume-I) for Community Development Program for Sustainable Development Goals for 2015-2016 available in SPPRA Website and agreed to abide all of them and also provide all these documents with our signatures as and when directed.

| For Office use of DMC(West) Verified BOQ by: 1._______________________________ Signature with Stamp 2._______________________________ Executive Engineer (Concerned) Signature with Stamp |  | Signature of the Contractor with Stamp Address:__________________________________ __________________________________________ |
| --- | --- | --- |

Annexure “C” of Volume-I

Minimum Qualification / Eligibility Criteria

(for PRIORITY PROGRAMME)

The evidence / documents for the following minimum qualification / eligibility will be checked during process of tender evaluation & if anyone is missing then the tender will be summarily rejected at the moment by the Procurement Committee.

PART-A:

Minimum Qualification Criteria

- Bid Security, as mentioned in the NIT & Bidding Documents, is furnished.

- All rates quoted including the total amount of the bid shall be in figures  words (both).

- All corrections / overwriting shall be clearly re-written with initials & duly stamped by the bidder.

- The bid shall be properly signed, named & stamped by the authorized person of the firm and authorization letter for signatory shall be enclosed with the tender by the authorized person, if other than the signatory of the firm.

PART-B: Eligibility Criteria

- Valid PEC in relevant category & relevant field of specialization                         as mentioned in the NIT.

- NTN Certificate.

- Valid Professional Tax.

Annexure “D” of Volume-I

METHOD OF PROCUREMENT USED

Single Stage – One Envelope Procedure (Rule 46 (1) of SPP Rule 2010)

46(1) 	Single Stage – One Envelope Procedure

(a).	Notice Inviting Tenders and bidding documents of this method shall contain the following eligibility criteria:-

- relevant experience;

- turn-over of at least last three years;

- registration with Income Tax, Sales Tax and Pakistan Engineering Council (where applicable);

- any other factor deemed to be relevant by the procuring agency subject to provision of Rule 44.

(b).	Each bid shall comprise one single envelope containing the financial proposal and required information mentioned at clause (a) above.

(c).	All bids received shall be opened and evaluated in the manner prescribed in the Notice Inviting Tenders or bidding document.