SCHEDULE – A TO BID

SCHEDULE OF PRICES

| CAUTION BOARD |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Name of Work:- |  | Construction of link road from Hyderabad Mirpurkhas road to village Mir Munwar Talpur mile 0/0-0/5+330’ (1.10 KM) |  |  |  |
| Item No. | Description |  | Quantity | Unit Rates (Rs) | Total amount (Rs) |
| 1 | M.S Sheet black plate 1/8” thick materials |  | 0.18 Cwt | 700.0per Cwt | 126.00 |
| 2 | M.S T-IRON 4:x2-1/2” |  | 0.95 Cwt | 900.0per Cwt. | 855.00 |
| 3 | ELECTRODES WELDINGS:- Welding electrodes for plates with Tee and Angle Iron including carriage upto site of work. |  | 01 Job | 450.0per Job | 450.0 |
| 4 | PAINTING & LETTERING:- Painting & Lettering Sign boards |  | 01 No. | 322. Each. | 322.00 |
| 5 | Excavation in foundation of building bridges and other structure i/c dag belling dressing refilling around structure with excavated stuff watering ramming lead upto 100” and lift upto 5 feet (in ordinary soil). |  | 5 Cft | 3176.28per %0 Sft. | 16.00 |
| 6 | Cement concrete plain including placing, compacting, finishing and curing, complete (including screening and washing of stone aggregate without shuttering ( Ratio 1:2:4) |  | 7 Cft | 14429.25Per% Cft | 1010.00 |
|  | TOTAL |  |  |  | 2779.00 |

| NOTE: |  |  |  | Item/ Quantities/ Rates and amount are estimated provisional and will be corrected |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  | in accordance to the detail working estimate sanctioned by competent authority. |  |

EXECUTIVE ENGINEER

HIGHWAYS DIVISION

TANDO ALLAHYAR

SCHEDULE – A TO BID

SCHEDULE OF PRICES

| (Scheme Board) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Name of Work:- |  | Construction of link road from Hyderabad Mirpurkhas road to village Mir Munwar Talpur mile 0/0-0/5+330’ (1.10 KM) |  |  |  |
| Item No. | Description |  | Quantity | Unit Rates (Rs) | Total amount (Rs) |
| 1 | Excavation in foundation of building bridges and other structure i/c dag belling dressing refilling around structure with excavated stuff watering ramming lead upto 100” and lift upto 5 feet (in ordinary soil). |  | 12 Cft | 3176.28per %0 cft | 38.00 |
| 2 | Cement Plaster 1:4:8 upto 20.0’ height 1/2 “ thick. |  | 6 Cft | 9416.28per %0 Sft. | 565.00 |
| 3 | Pucca brick work ratio 1:4 work in foundation and plinth in cement sand mortar Ratio 1:4. |  | 28.5 Cft | 12501.41per %0 Cft | 3563.0 |
| 4 | Cement Plaster 1:3 upto 20.0’ height 1/2 “ thick. |  | 64.65 Sft | 2344.53per %0 Sft. | 1518.00 |
| 5 | Providing and lying Hala or pattern tiles glazed 6” X 6” X 1.4” on floor or wall facing in required color and pattern of stile specification jointed in white cement and pigment over a base of 1:2 grey cement mortar 3/4" thick including washing and filling of joints with slurry of Wight cement. |  | 21 Cft | 47651.56 per % Cft | 10007.00 |
| 6 | Providing and furring marble (Scheme Name) including polishing pumping writhing lying in position including fing on wall etc complete |  | 6 Cft | 1300.0.0per %0 Sft. | 7800.00 |
|  | TOTAL |  |  |  | 23491.00 |

| NOTE: |  |  |  | Item/ Quantities/ Rates and amount are estimated provisional and will be corrected |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  | in accordance to the detail working estimate sanctioned by competent authority. |  |

EXECUTIVE ENGINEER

HIGHWAYS DIVISION

TANDO ALLAHYAR

SCHEDULE – A TO BID

SCHEDULE OF PRICES

| SCHEME BOARD |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Name of Work:- |  | Construction of link road from Hyderabad Mirpurkhas road to village Mir Munwar Talpur mile 0/0-0/5+330’ (1.10 KM) |  |  |  |
| Item No. | Description |  | Quantity | Unit Rates (Rs) | Total amount (Rs) |
| 1 | M.S Sheet black plate 1/8” thick materials |  | 0.36 Cwt | 2000per Cwt | 720.00 |
| 2 | M.S T-IRON 4:x2-1/2” |  | 1.29 Cwt | 2300per Cwt. | 2967.00 |
| 3 | ELECTRODES WELDINGS:- Welding electrodes for plates with Tee and Angle Iron including carriage upto site of work. |  | 01 Job | 450.0per Job | 450.0 |
| 4 | PAINTING 03 COATS COMPOSITE: Painting 03 Coats composite |  | 22 Sft | 473.18per % Sft. | 104.00 |
| 5 | WRITING LETTERS:- Writing letters, figures per inch height. |  | 320 Nos. | 9.79 per No. | 3133.00 |
| 6 | Excavation in foundation of building bridges and other structure i/c dag belling dressing refilling around structure with excavated stuff watering ramming lead upto 100” and lift upto 5 feet (in ordinary soil). |  | 9 Cft | 3176.28per %0 Sft. | 29.00 |
| 7 | Cement concrete plain including placing, compacting, finishing and curing, complete (including screening and washing of stone aggregate without shuttering ( Ratio 1:2:4) |  | 5 Cft | 14429.25Per% Cft | 721.00 |
|  | TOTAL |  |  |  | 8124.00 |

| NOTE: |  |  |  | Item/ Quantities/ Rates and amount are estimated provisional and will be corrected |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  | in accordance to the detail working estimate sanctioned by competent authority. |  |

EXECUTIVE ENGINEER

HIGHWAYS DIVISION

TANDO ALLAHYAR