BILL OF QUANTITES

(A) DESCRIPTION AND RATE OF ITEMS BASED ON COMPOSITE SCHEDULE OF RATES

Name of Scheme:-      CONSTRUCTION OF PRIMARY SCHOOL BUILDING AT GBPS: GUL HASSAN THEBA TALUKA KOTDIJI DISTRICT KHAIRPUR      (UNDER COMUNITY DEVELOPMENT PROGRAMME)

| S.NO | NAME OF ITEMS |  |  | QTY | RATE | UNIT | AMOUNT |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Excavation in foundation of building bridges and other str:with excavated earth lead unto one chain and lift upto 5 feet" ft in ordinary soil. (S.I.N-18-b/P-5) |  |  |  |  |  |  |  |
|  |  |  | 2896.0 |  | 3176/25 | %ocft | 9198/0 |  |
| 2 | Cement concrete brick or stone ballast 1 ½” to 2" guage ratio 1:5:10 (S.I.N:4c /P-14) |  |  |  |  |  |  |  |
|  |  |  | 1486.0 |  | 8694/95 | %cft | 129207/0 |  |
| 3 | Pacca brick work in foundation and plinth in cement sand mortar ratio 1:6 (S.I.No: 4e P-20) |  |  |  |  |  |  |  |
|  |  |  | 2736/0 |  | 11948/36 | %cft | 326907/0 |  |
| 4 | Filling watering & ramming earth from foundation lead upto one chain lift upto 5 feet (S.I.N 21/P-4) |  |  |  |  |  |  |  |
|  |  |  | 1048.0 |  | 1512/50 | %ocft | 1585/0 |  |
| 5 | Filling watering & ramming earth under floor with new earth Excavated from o/side) lead upto one chain lift upto 5 feet (S.I.N 22/P-4) |  |  |  |  |  |  |  |
|  | C/R Bed | 2x15.62x14.0x2.25 | 984.0 |  |  |  |  |  |
|  | Ver: bed | 1x33.75x6.0x2.25 | 456.0 |  |  |  |  |  |
|  | Lav: = | 2x3.62x3.62x1.75 | 46.00 |  |  |  |  |  |
|  | P.P | 1x200.0x2.25x1.0 | 450.0 |  |  |  |  |  |
|  | Path | 1x100.0x9.62x1.0 | 962.0 |  |  |  |  |  |
|  |  |  | 2898.0 |  | 3630/0 | %ocft | 10520/0 |  |
| 6 | RCC work in roof slab columns rafts lintel and other structure member laid in situ or recast laid in position complete in all respect ratio 1:2:4 .( S.I.No:6-A/P-16) |  |  |  |  |  |  |  |
|  |  |  | 540.0 |  | 337/0 | P.cft | 181980/0 |  |
| 7 | Fabraction of tor steel reinforcement for cement concrete i/c cutting, bending, and laying in position i/c the cost of binding wire also removal of rust from bars.(S.I.N:7-ii/P-19) |  |  |  |  |  |  |  |
|  |  |  | 23.893 |  | 5001/70 | P.cwt | 119506/0 |  |
| 8 | Pacca brick work in G/Floor i/c stricking of joints cement sand mortar ratio1:6.(S.I.N: 5e/P-20) |  |  |  |  |  |  |  |
|  |  |  | 1382.0 |  | 12674/36 | %cft | 175160/0 |  |
| 9 | S/Fixing G.I frame chowkata steel door frame size 7”x2” or 4 ½”x3” type i/c fixing in position using 20 guage sheet welding fixing (S.I.N.29-P/92) |  |  |  |  |  |  |  |
|  |  |  | 68.0 |  | 228/90 | P.rft | 15565/0 |  |
| 10 | S/Fixing G.I frame chowkata steel Window frame size 7”x2” or 4 ½”x3” type i/c fixing in position using 20 guage sheet welding fixing (S.I.N.28-P/92) |  |  |  |  |  |  |  |
|  |  |  | 186.0 |  | 240/50 | P.rft | 44733/0 |  |
| S.NO | NAME OF ITEMS |  | QTY |  | RATE | UNIT | AMOUNT |  |
| 11 | S/F steel grill 3/4" x1/4" flate of iron approved design i/c 3 coats painting (wt:not less than 3-7) (S.I.N: 26 P-92) |  |  |  |  |  |  |  |
|  |  |  | 63.0 |  | 180/50 | P.sft | 11372/0 |  |
| 12 | Pacca brick work other than building i/c stricking of joints upto 20 feet height in. (S.I.No.7e P-No.22) |  |  |  |  |  |  |  |
|  |  |  | 370.0 |  | 12346/65 | %cft | 45683/0 |  |
| 13 | S/Fixing Iron Girders at of site work (Material Schedule No: 140) |  |  |  |  |  |  |  |
|  |  |  | 15.589 3850/0 |  |  | P.cwt | 60019/0 |  |
| 14 | S/Fixing Iron Tears at Site of Work. (Material Schedule No: 144) |  |  |  |  |  |  |  |
|  |  |  | 15.178 3575/0 |  |  | P.cwt | 54261/0 |  |
| 15 | Errectio of Rolled steel beams (S.I.No.6 /P.90) |  |  |  |  |  |  |  |
|  |  |  | 30.767 |  | 186/34 | P.cwt | 5733/0 |  |
| 16 | Second class tiles roofing consisting 4” earth 1” mud plaster with Gobri leaping (S.I.No.2 /P-32) |  |  |  |  |  |  |  |
|  |  |  | 762.0 |  | 7607/25 | %cft | 57967/0 |  |
| 17 | Cement plaster 1:4 uotp 20ht 3/8"thick.(S.I.N. 13 b/P-51) |  |  |  |  |  |  |  |
|  | Net: 5178.0 (-) 216.0 = |  | 4962.0 |  | 2197/52 | %sft | 109041/0 |  |
| 18 | Cement plaster 1:6 uotp 20ht 1/2"thick (S.I.No: 11 a/ P-51) |  |  |  |  |  |  |  |
|  |  |  | 4962.0 |  | 2206/60 | %sft | 109491/0 |  |
| 19 | Cement pointing struck joints on walls ratio 1:2 (S.I.No.19 a P-52) |  |  |  |  |  |  |  |
|  |  |  | 2546.0 |  | 1287/44 | %sft | 32778/0 |  |
| 20 A | P/Laying 3" C C Topping 1.2.4. i/c surface finishing & dividing into panels(S.I.No: 16 d / P-41) |  |  |  |  |  |  |  |
|  |  |  | 1769 |  | 4411/82 | %sft | 78045/0 |  |
| 20 B | P/Laying 2" C C Topping 1.2.4. i/c surface finishing & dividing into panels(S.I.No: 16 C / P-41) |  |  |  |  |  |  |  |
|  |  |  | 624.0 |  | 3275/50 | %sft | 20439/0 |  |
| 21 | First class deodar wod wrought joinery in door and windows any type i/c fixing in position (Only shelters) (S.I.N.7b/ P-57) |  |  |  |  |  |  |  |
|  |  |  | 159.0 |  | 902/93 | P.sft | 143565/0 |  |
| 22 | S/Fixing steel grated door with 1/16"thick sheeting angle iron rame 2"x2"x1/8" square bars 4" c.c with locally arrangement.(SI.N.24/P-91) |  |  |  |  |  |  |  |
|  |  |  | 48.0 |  | 726/72 | P.sft | 34883/0 |  |
| 23 | Providing and laying HALLA or pattren tiles glazed 6”x6”x1/4” on floor or wall facing in required colour and pattren of STILE specification jointed in white cement cleaning and cost of wax polish etc. complete i/c cutting tiles to proper profile (S.I.No. 61/ P-47) |  |  |  |  |  |  |  |
|  |  |  | 51.0 |  | 47450/0 | %cft | 24302/0 |  |
| 24 | Making Notice board made in cement (S.I.N.1/P.94) |  |  |  |  |  |  |  |
|  |  |  | 64.0 |  | 58/11 | P.sft | 3719/0 |  |
| S.NO | NAME OF ITEMS |  | QTY |  | RATE | UNIT | AMOUNT |  |
| 25 | RCC Spout Fixing in Position |  |  |  |  |  |  |  |
|  |  |  | 4.No |  | 261/25 | P.No | 1045/0 |  |
| 26 | White wash three coats.(S.I.No.26b/P.No.53) |  |  |  |  |  |  |  |
|  |  |  | 689.0 |  | 829/95 | %sft | 5718/0 |  |
| 27 | Primary coats of chalk under distempering. (S.I.No.23/P.No.53) |  |  |  |  |  |  |  |
|  |  |  | 4962 |  | 442/75 | %sft | 21969/0 |  |
| 28 | Distempering in three coats (S.I.No:24 A/P-53) |  |  |  |  |  |  |  |
|  |  |  | 4952.0 |  | 1079/65 | %sft | 53572/0 |  |
| 29 | Colour wash two coat. (S.I.No.25 B/P-53) |  |  |  |  |  |  |  |
|  |  |  | 2546.0 |  | 859/90 | %sft | 21893/0 |  |
| 30 | Preparing surface painting to doors & windows any type three coats. (S.I.No.4c(ii) P-67) |  |  |  |  |  |  |  |
|  |  |  | 410.0 |  | 2116/41 | %sft | 8677/0 |  |
| 31 | Painting guarders barse gates iron barse 3 coats. (S.I.No.14d/P-68) |  |  |  |  |  |  |  |
|  |  |  | 672.0 |  | 1270/83 | %sft | 8540/0 |  |
|  |  |  |  |  | Total |  | 1927073/0 |  |

Amount Total (a)

________% above/below on the rates of CSR Rs.______________/- Amount to be added/deducted   on the basis of premium quoted

Total (A) = in words & figures __________________________________________________

___________________________________________________________________________

CONTRACTOR

EXECUTIVE ENGINEER                        EDUCATION WORKS DIVISION                             KHAIRPUR