BILL OF QUANTITES

(A) DESCRIPTION AND RATE OF ITEMS BASED ON COMPOSITE SCHEDULE OF RATES

Name of Scheme:-      REHABILITATION/ REPAIR  OF GOVT: GIRLS PRIMARY          SCHOOL GATH TALUKA KOTDIJI

| S.NO | NAME OF ITEMS |  |  | QTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Dismantling R.C.C work (S.I.No.20, P-10) |  |  |  |  |  |  |
|  |  |  | 604.0 |  | 5445/- | %cft | 32887/0 |
| 2 | Dismantling C.C plain 1:2:4 (S.I.No.19c- P-10) |  |  |  |  |  |  |
|  |  |  | 210.0 |  | 3327/50 | %cft | 6988/0 |
| 3 | Dismantling of Pacca brick work. (S.I.No.13, P-10) |  |  |  |  |  |  |
|  |  |  | 349.0 |  | 1285/63 | %cft | 4487/0 |
| 4 | Removing cement or lime plaster. (S.I.No.53, P-13) |  |  |  |  |  |  |
|  |  |  | 1336.0 |  | 121/0 | %sft | 1617/0 |
| 5 | Pacca brick work in foundation and plinth in cement sand mortar ratio 1:6 (S.I.No: 4e P-20) |  |  |  |  |  |  |
|  |  |  | 709.0 |  | 11948/36 | %cft | 84714/0 |
| 6 | S/Fixing Iron Girders at of site work (S.I.No.140) |  |  |  |  |  |  |
|  |  |  | 21.96 |  | 3850//0 | P.cwt | 84546/0 |
| 7 | S/Fixing Iron Tears at Site of Work. (S.I.No. 144) |  |  |  |  |  |  |
|  |  |  | 16.714 |  | 3575/0 | P.cwt | 59752/0 |
| 8 | Errection of Rolled steel beams (S.I.No.6 /P.90) |  |  |  |  |  |  |
|  |  |  | 38.674 |  | 186/34 | P.cwt | 7207/0 |
| 9 | First class tiles roofing consisting 4” earth 1” mud plaster with Gobri leaping (S.I.No.1 /P-32) |  |  |  |  |  |  |
|  |  |  | 1040.0 |  | 11443/10 | %cft | 119008/0 |
| 10 | P/Laying 3" C C Topping 1.2.4. i/c surface finishing & dividing into panels(S.I.No: 16 d / P-41) |  |  |  |  |  |  |
|  |  |  | 840.0 |  | 4411/82 | %sft | 37059/0 |
| 11 | P/Laying 2" C C Topping 1.2.4. i/c surface finishing & dividing into panels(S.I.No: 16 C / P-41) |  |  |  |  |  |  |
|  |  |  | 162.0 |  | 3275/50 | %sft | 5306/0 |
| S.NO | NAME OF ITEMS |  | QTY |  | RATE | UNIT | AMOUNT |
| 12 | Pacca brick work in other than building i/c strucking joints on walls 1:2. (S.I.N: 7e/P-22) |  |  |  |  |  |  |
|  |  |  | 363.0 |  | 12346/65 | %cft | 44818/0 |
| 13 | RCC Spout i/c fixing in position |  |  |  |  |  |  |
|  |  | 4.No | 4.0 |  | 261/25 | P.No | 1045/0 |
| 14 | RCC work in roof slab columns rafts lintel and other structure member laid in situ or recast laid in position complete in all respect ratio 1:2:4 .( S.I.No:6-A/P-16) |  |  |  |  |  |  |
|  |  |  | 145.0 |  | 337/0 | P.sft | 48865/0 |
| 15 | Fabrication of tor steel reinforcement for cement concrete i/c cutting, bending, and laying in position i/c the cost of binding wire also removal of rust from bars.(S.I.N:8-B/P-16) |  |  |  |  |  |  |
|  |  |  | 6.463 |  | 5001/70 | P.cwt | 32377/0 |
| 16 | Cement plaster 1:6 uotp 20ht 1/2"thick.(S.I.N. 13-B/P-51) |  |  |  |  |  |  |
|  |  |  | 2827.0 |  | 2206/60 | %sft | 62381/0 |
| 17 | Cement plaster 1:4 uotp 20ht 3/8"thick (S.I.No: 13 a/ P-51) |  |  |  |  |  |  |
|  |  |  | 2827.0 |  | 2197/52 | %sft | 62124/0 |
| 18 | Applying floating coats. (S.I.No.14, P-52) |  |  |  |  |  |  |
|  |  |  | 1336.0 |  | 660/0 | %sft | 8818/0 |
| 19 | First class deodar wood wrought joinery in door and windows any type i/c fixing in position (Only shelters) (S.I.N.7b/ P-57) |  |  |  |  |  |  |
|  |  |  | 28.0 |  | 902/93 | P.sft | 25271/0 |
| 20 | S/Fixing G.I frame chowkata steel door frame size 7”x2” or 4 ½”x3” type i/c fixing in position using 20 guage sheet welding fixing (S.I.N.29-P/92) |  |  |  |  |  |  |
|  |  |  | 32.0 |  | 228/90 | P.rft | 7325/0 |
| 21 | Pacca brick work in G/Floor i/c stricking of joints cement sand mortar ratio1:6.(S.I.N: 5e/P-20) |  |  |  |  |  |  |
|  |  |  | 511.0 |  | 12674/34 | %cft | 64766/0 |
| 22 | S/Fixing steel grated door with 1/16"thick sheeting angle iron rame 2"x2"x1/8" square bars 4" c.c with locally arrangement.(SI.N.24/P-91) |  |  |  |  |  |  |
|  |  |  | 48.0 |  | 726/72 | P.sft | 34883/0 |
| 23 | Cement pointing struck joints on walls (S.I.N: 19 /P-52) |  |  |  |  |  |  |
|  |  |  | 1141.0 |  | 1287/44 | %sft | 14690/0 |
| 24 | White wash three coats.(S.I.No.26 C/P.No.53) |  |  |  |  |  |  |
|  |  |  | 1090.0 |  | 829/95 | %sft | 9046/0 |
| S.NO | NAME OF ITEMS |  | QTY |  | RATE | UNIT | AMOUNT |
| 25 | Distempering in Two coats (S.I.No:24b/P-53) |  |  |  |  |  |  |
|  |  |  | 2604.0 |  | 1043/90 | %sft | 27183/0 |
| 26 | Preparing surface painting to doors & windows any type three coats. (S.I.No.4c(ii) P-67) |  |  |  |  |  |  |
|  |  |  | 582.0 |  | 1506/45 | %sft | 8768/0 |
| 27 | Painting guarders barse gates iron barse 3 coats. (S.I.No.14d/P-68) |  |  |  |  |  |  |
|  |  |  | 1025.0 |  | 908/04 | %sft | 9311/0 |
| 28 | Colour wash two coat. (S.I.No.25 B/P-53) |  |  |  |  |  |  |
|  | C/wall | 1x2x300.0x7.0 | 4200.0 |  |  |  |  |
|  |  |  | 4200.0 |  | 859/90 | %sft | 36116/0 |
|  |  |  |  |  | Total: |  | 941705/0 |

Amount Total (a)

________% above/below on the rates of CSR Rs.______________/- Amount to be added/deducted   on the basis of premium quoted

Total (A) = in words & figures __________________________________________________

___________________________________________________________________________

CONTRACTOR

EXECUTIVE ENGINEER                        EDUCATION WORKS DIVISION                             KHAIRPUR