BILL OF QUANTITES

(A) DESCRIPTION AND RATE OF ITEMS BASED ON COMPOSITE SCHEDULE OF RATES

Name of Scheme:-  REHABILITATION/ REPAIR  OF GOVT: BOYS HIGH  SCHOOL PHARHARO TALUKA NARA

| S.NO | NAME OF ITEMS |  | QTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Dismantling of Pacca brick work. (S.I.No.13, P-10) |  |  |  |  |  |
|  |  |  | 444.0 | 1285/63 | %cft | 5708/0 |
| 2 | Dismantling R.C.C work (S.I.No.20, P-10) |  |  |  |  |  |
|  |  |  | 52.0 | 5445/0 | %cft | 2831/0 |
| 3 | Removing cement or lime plaster. (S.I.No.53, P-13) |  |  |  |  |  |
|  |  |  | 685.0 | 121/0 | %sft | 829/0 |
| 4 | Pacca brick work in G/Floor i/c stricking of joints cement sand mortar ratio1:6.(S.I.N: 51/P-20) |  |  |  |  |  |
|  |  |  | 64.0 | 12674/36 | %sft | 8112/0 |
| 5 | Pacca brick work in foundation and plinth in cement sand mortar ratio 1:6 (S.I.No: 4e P-20) |  |  |  |  |  |
|  |  |  | 1128.0 | 11948/36 | %sft | 134778/0 |
| 6 | RCC work in roof slab columns rafts lintel and other structure member laid in situ or recast laid in position complete in all respect ratio 1:2:4.(S.I.No:6-A/P-16) |  |  |  |  |  |
|  |  |  | 311.0 | 337/0 | P.sft | 104807/0 |
| 7 | Fabrication of tor steel reinforcement for cement concrete i/c cutting, bending, and laying in position i/c the cost of binding wire also removal of rust from bars.(S.I.N:7-ii/P-19) Tar Bar |  |  |  |  |  |
|  |  |  | 13.883 | 5001/70 | P.cwt | 69439/0 |
| 8 | Pacca brick work in other than building i/c strucking joints on walls 1:2. (S.I.N: 7e/P-22) |  |  |  |  |  |
|  | C/wall | 1x300.0x0.75x5.50 | 1237.0 |  |  |  |
|  | Pill: | 60x0.37x0.75x5.0 | 83.00 |  |  |  |
|  |  |  | 1320.0 | 12346/65 | %cft | 163099/0 |
| 9 | Cement plaster 1:6 uotp 20ht 1/2"thick.(S.I.N. 10-A/P-51) |  |  |  |  |  |
|  | Same qty I.No. 3 |  | 2812.0 |  |  |  |
|  | C/wall | 1x300.0x5.50 | 1650.0 |  |  |  |
|  | Pill: | 1x2x60.0x0.17x5.0 | 102.0 |  |  |  |
|  |  | 1x60.0x1.25x5.0 | 375.0 |  |  |  |
|  |  |  | 2812.0 | 2206/60 | %sft | 62050/0 |
| 10 | Cement plaster 1:4 uotp 20ht 3/8"thick (S.I.No: 13 a/ P-51) |  |  |  |  |  |
|  | Same qty I.No. 9 = |  | 2812.0 |  |  |  |
|  |  |  | 2812.0 | 2197/52 | %sft | 61794/0 |
| 11 | Cement pointing struck joints on walls (S.I.N: 19 /P-52) |  |  |  |  |  |
|  | C/w B/s | 1x300.0x5.50 | 1650.0 |  |  |  |
|  |  |  | 1650.0 | 1287/44 | %sft | 21243/0 |
| S.NO | NAME OF ITEMS |  | QTY | RATE | UNIT | AMOUNT |
| 12 | Providing and laying HALLA or pattren tiles glazed 6”x6”x1/4” on floor or wall facing in required colour and pattren of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortor ¾” thick i/c washing and filling of joints with slurry of white cement and pigment in desired shape with finishing, cleaning and cost of wax polish etc. complete i/c cutting tiles to proper profile (S.I.No. 61/ P-47) |  |  |  |  |  |
|  | M/gate | 2x8.0x8.0 | 128.0 |  |  |  |
|  |  |  | 128.0 | 47651/56 | %cft | 60994/0 |
| 13 | First class deodar wood wrought joinery in door and windows any type i/c fixing in position (Only shelters) (S.I.N.7b/ P-57) |  |  |  |  |  |
|  |  |  | 70.0 | 902/93 | P.sft | 63205/0 |
| 14 | White wash two coats.(S.I.No.26a/P.No.53) |  |  |  |  |  |
|  |  |  | 3043.0 | 425/84 | %sft | 12958/0 |
| 15 | Distempering in Two coats (S.I.No:24b/P-53) |  |  |  |  |  |
|  |  |  | 10312 | 1043/90 | %sft | 107647/0 |
| 16 | Preparing new surface painting to doors & windows any type two coats. (S.I.No.4c(ii) P-67) |  |  |  |  |  |
|  |  |  | 1406.0 | 2116.41 | %sft | 29757/0 |
| 17 | Painting guarders barse gates iron barse 3 coats. (S.I.No.14d/P-68) |  |  |  |  |  |
|  |  |  | 1391.0 | 1270/83 | %sft | 17677/0 |
| 18 | Colour wash two coat. (S.I.No.25b /P-53) |  |  |  |  |  |
|  |  |  | 3090.0 | 859/90 | %sft | 26571/0 |
|  |  |  |  | Total: |  | 953471/0 |

Amount Total (a)

________% above/below on the rates of CSR Rs.______________/- Amount to be added/deducted   on the basis of premium quoted

Total (A) = in words & figures __________________________________________________

___________________________________________________________________________

CONTRACTOR

EXECUTIVE ENGINEER                        EDUCATION WORKS DIVISION                             KHAIRPUR