ADP # 599.

| Name of Work. | Construction of 8’Span bridge at More Shakh (Kuppri) U.C.Shah Ladhani. |
| --- | --- |

Schedule “B”

| Quantity | Item of Work | Rate | Unit | Amount |
| --- | --- | --- | --- | --- |

01. Excavation in foundation of building, bridges and other structure i/c degbelling, dressing, refilling around structure with excavated earth watering and ramming lead upto one chain and lift upto 5’(S.I.No.18b, P-5).

| 3256 | Cft | Rs,3176/25 | P. %0 Cft | Rs,10342/- |
| --- | --- | --- | --- | --- |

02. Cement Concrete brick or Stone ballast 1-1/2” to 2” guage Ratio (1:4:8) (S.I.No.4, P-17).

| 763 | Cft | Rs,9416/28 | P. % Cft | Rs,71846/- |
| --- | --- | --- | --- | --- |

03. Pacca brick work in foundation and Plinth in Cement Sand mortor Ratio (1:4).

| 1280 | Cft | Rs,12501/41 | P. % Cft | Rs,160018/- |
| --- | --- | --- | --- | --- |

04. Cement Concrete Plain i/c Placing compacting, finishing and curing complete (i/c screening and washing of stone aggregate without shuttering (1:3:6) (S.I.No.5h, P-18).

| 72 | Cft | Rs,14429/25 | P. % Cft | Rs,10389/- |
| --- | --- | --- | --- | --- |

05. Fabrication of mild Steel reinforcement for Cement Concrete i/c cutting, bending, laying in Position making joints and fastening i/c cost of binding wire (also i/c removal of rust from bars) (S.I.No.7ii, P-20).

| 25.46 | Cwt | Rs,4820/20 | P.Cwt | Rs,122722/- |
| --- | --- | --- | --- | --- |

06. R.C.C.Work i/c all labor and material except the cost of steel r/f and its labor for bending and binding which will be paid separately, This rate also i/c all kinds of  forms, moulds, lifting, shuttering, curing, rendering and finishing the exposed surface (i/c screening and washing of shingle) (a) R.C.C.Work in roof slabs beams, columns, lintels and other structural member slain in situ or pre-cast laid in Position complete in all respects Ratio (1:2:4) (S.I.No.6a, P-19).

| 580 | Cft | Rs,337/- | P.Cft | Rs,195460/- |
| --- | --- | --- | --- | --- |

| Quantity | Item of Work | Rate | Unit | Amount |
| --- | --- | --- | --- | --- |

07. Cement Plaster (1:3) upto 20’height ½”thick. (S.I.No.13b, P-58).

| 359 | Sft | Rs,2344/59 | P.% Sft | Rs,8417/- |
| --- | --- | --- | --- | --- |

08. Earth work embankment from barrow Pits including laying in 6”layers, clod breaking ramming dressing complete, lead upto 100’ft:lift upto 5ft: ( in ordinary soil).(S.I.No.2,P-01)

With extra lead.

| 720 | Cft | Rs,2208/37 | P. %0 Cft | Rs,1590.00 |
| --- | --- | --- | --- | --- |
|  |  |  | Total | Rs,580784.00 |

| Note:- Subject to any changes variation in rates/ | Executive Engineer |
| --- | --- |
| Quantities in Technical Section. | Highway Division |

Khairpur

Contractor ______________

Part-B-(  )-Construction/fixing of Paving blocks/Paver on New road.

| Name of Work :- | Construction of 8’Span bridge at More Shakh (Kuppri) U.C.Shah Ladhani. |
| --- | --- |

Schedule “B”

| Quantity. | Item of Work. | Rate. | Unit. | Amount. |
| --- | --- | --- | --- | --- |

01. Providing Sand Cushion including supplying and spreading Pit/Canal Sand of approved quality from approved Source of supply to site of work including watering and rolling etc, complete Rate includes all cost of materials T&P labour and carriage of 3-0 Miles (Average).

| 824 | Cft | @ | Rs: | 1479.41 | P. % Cft | Rs: | 12190.00 |
| --- | --- | --- | --- | --- | --- | --- | --- |

02. Cement Concrete brick or Stone ballast 1-1/2” to 2” guage Ratio (1:4:8) (S.I.No.4, P-17).

| 412 | Cft | @ | Rs: | 9416.28 | P. % Cft | Rs: | 38795.00 |
| --- | --- | --- | --- | --- | --- | --- | --- |

03. Crushed fire bricks grated as sand (S.I.No.51 P,No.04)

| 136 | Cft | @ | Rs: | 2500.00 | P.% Cft | Rs: | 3400.00 |
| --- | --- | --- | --- | --- | --- | --- | --- |

04. Supplying and filling Sand under floor and plugging in wells. (S.I.No.29, P-31)

| 136 | Cft | @ | Rs: | 151.25 | P.% Cft | Rs: | 205.00 |
| --- | --- | --- | --- | --- | --- | --- | --- |

05. Erection and removal of centering for R.c.c.or Plain C.C. works of portal wood (S.I.No.18b, P-21)

| 120 | Sft | @ | Rs: | 3127.41 | P. % Sft | Rs: | 3752.00 |
| --- | --- | --- | --- | --- | --- | --- | --- |

06. Cement Concrete Plain i/c Placing compacting, finishing and curing complete (i/c screening and washing of stone aggregate without shuttering (1:3:6) (S.I.No.5h, P-18).

| 216 | Cft | @ | Rs: | 14429.25 | P. % Cft | Rs: | 31167.00 |
| --- | --- | --- | --- | --- | --- | --- | --- |

07. Providing & fixing cement paving blocks flooring having size of 197x960 (mm) of city/quddra/cobble shape with natural colours, having strength b/w 5000 psi to 8500 psi i/c filling the joints with hill sand and laying in specified manner/pattern and design e/tc complete.

| 824 | Sft | @ | Rs: | 199.77 | P. Sft | Rs: | 164610.00 |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Total | Rs: | 254119.00 |

| Note:- Subject to any changes variation in rates/ | Executive Engineer |
| --- | --- |
| Quantities in Technical Section. | Highway Division |

Khairpur

Contractor ______________

Part-(B)-Scheme Board.

| Name of Work :- | Supplying and fixing Scheme board |
| --- | --- |

ABSTRACT SHEET.

| Quantity | Item of Work. | Rate. | Unit. | Amount. |
| --- | --- | --- | --- | --- |

01. Providing & Fixing Informatory Sign Rectangular shape 4”x3”comprising 2Nos. 3”dia G.I.pipe Post i/c painting Writing as directed each.

| 01 | No. | Rs:16956.00 | Each | Rs: | 16956.00 |
| --- | --- | --- | --- | --- | --- |
|  |  |  | Total | Rs: | 16956.00 |

| Note:- Subject to any changes variation in rates/ | Executive Engineer |
| --- | --- |
| Quantities in Technical Section. | Highway Division |

Khairpur

Contractor ______________