Name of Work : - Construction of 10’Span bridge on Jiyal minor near Village Moula Bux Lashari U.C.Tando Masti Taluka Khairpur.

SCHEDUL “B”

| Quantity | Item of work | Rate | Unit | Amount |
| --- | --- | --- | --- | --- |

- Excavation in foundation of building, bridges and other structure i/c degbelling, dressing, refilling around structure with excavated earth watering and ramming lead upto one chain and lift upto 5’(S.I.No.18b, P-5).

| 3861 | Cft | Rs:3176.25 | P.%0 Cft | Rs:12263.00 |
| --- | --- | --- | --- | --- |

02. Extra for Slush or daedal including dewaters.

| 1800 | Cft | Rs:2420.00 | P.%0 Cft | Rs:4356.00 |
| --- | --- | --- | --- | --- |

03. Pacca brick work in f/p in cement sand mortar (1:4). (S.I.No.4, P-25).

| 1400 | Cft | Rs:12501.41 | P.%0 Cft | Rs:175020.00 |
| --- | --- | --- | --- | --- |

04. Erection and removal of centering for R.c.c.or Plain C.C. works of portal wood (S.I.No.18b, P-21).

| 16 | Sft | Rs:3588.10 | P.% Sft | Rs:574.00 |
| --- | --- | --- | --- | --- |

05. C.C.brick or stone ballast 1-1/2” to 2” guage Ratio (1:4:8) (S.I.No.4, P-17).

| 727 | Cft | Rs:9416.28 | P.% Cft | Rs:68456.00 |
| --- | --- | --- | --- | --- |

06. Cement Concrete Plain i/c placing compacting, finishing and curing complete (i/c screening and washing of stone aggregate without shuttering (1:2:4) (S.I.No.5h, P-18).

| 69 | Cft | Rs:14429.25 | P.% Cft | Rs:9956.00 |
| --- | --- | --- | --- | --- |

07. Fabrication of mild steel r/f for cement concrete i/c cutting, bending, laying in Position making joints and fastening i/c cost of binding wire (also i/c removal of rust from bars) (S.I.No.7ii, P-20).

| 66.35 | Cwt | Rs:4820.20 | P.Cwt | Rs:319820.00 |
| --- | --- | --- | --- | --- |

| Quantity | Item of work | Rate | Unit | Amount |
| --- | --- | --- | --- | --- |

08. R.C.C.Work i/c all labor and material except the cost of steel r/f and its labor for bending and binding which will be paid separately, This rate also i/c all kinds of  forms, moulds, lifting, shuttering, curing, rendering and finishing the exposed surface (i/c screening and washing of shingle) (a) R.C.C.Work in roof slabs beams, columns, lintels and other structural member slain in situ or pre-cast laid in Position complete in all respects Ratio (1:2:4) (S.I.No.6a, P-19).

| 1088 | Cft | Rs:337.00 | P.Cft | Rs:366656.00 |
| --- | --- | --- | --- | --- |

09. Cement Plaster (1:3) up to 20’height ½”thick.

| 528 | Sft | Rs:2344.59 | P.% Sft | Rs:12379.00 |
| --- | --- | --- | --- | --- |
|  |  |  | Total | Rs:889480.00 |

| Note:- Subject to any changes variation in rates/ | Executive Engineer |
| --- | --- |
| Quantities in Technical Section. | Highway Division |

Khairpur

Contractor ______________

Part-(B)-Scheme Board.

| Name of Work :- | Supplying and fixing Scheme board |
| --- | --- |

SCHEDULE “B”

| Quantity | Item of Work. | Rate. | Unit. | Amount. |
| --- | --- | --- | --- | --- |

01. Providing & Fixing Informatory Sign Rectangular shape 4”x3”comprising 2Nos. 3”dia G.I.pipe Post i/c painting Writing as directed each.

| 01 | No. | Rs:16956.00 | Each | Rs: | 16956.00 |
| --- | --- | --- | --- | --- | --- |
|  |  |  | Total | Rs: | 16956.00 |

| Note:- Subject to any changes variation in rates/ | Executive Engineer |
| --- | --- |
| Quantities in Technical Section. | Highway Division |

Khairpur

Contractor ______________