SCHEDULE “B”

| NAME OF WORK | PROVIDING LAYING JOINTING & TESTING F.C RISING MAIN 16”DIA FROM DISPOSAL WORK RAHMOONWALI UPTO EXISTING OXIDATION PONDS NEAR SADAF CINEMA (RAHMOONWALI-ZONE) FOR URBAN DRAINAGE SCHEME GHOTKI (MEGA PROJECT) |
| --- | --- |

| A | F.C RISING MAIN 16” DIA |  |  |  |
| --- | --- | --- | --- | --- |
| 01 | Excavation for pipe line in trenches & pits in soft soil i/c trimming & dressing sides to true alignment & shape leveling of beds to correct level & grade, cutting joint, holes & disposal of surplus earth with in one chain as directed by Engineer incharge .providing fence guard, light flags & temporary crossing for non vehicular traffic where ever required lift up to 5 ft (1.52 m) & lead up to one chain (30.5 m) (P.H.S.I no-1 p-46) |  |  |  |
|  | 115500.00CFT | RS:3600/00 | P-%0 CFT | RS: 415800/00 |
| 02 | Providing laying jointing FC Pressure Pipe of Class B and fixing in trenches i/c cutting fitting jointing with Z joint with one rubber ring i/c testing with water to a head of 6im or 200 Ft. (PHSI No: 1 P No: 22) |  |  |  |
|  | 66.00 RFT | RS: 2780/06 | P-RFT | RS: 18348396/00 |
| 03 | CI Specials |  |  |  |
|  | CI Bends 16”dia 90 |  |  |  |
|  | 4 Nos. | RS: 26812/50 | EACH | RS: 107250/00 |
|  | CI Bends 16”dia 45 |  |  |  |
|  | 4 Nos. | RS: 13000/00 | EACH | RS: 52000/00 |
| 04 | Supplying FC Cement Joints B Class (Sch: of Mat: 4 P No: 90) |  |  |  |
|  | 6 Nos. | RS: 1220/00 | EACH | RS: 7320/00 |
| 05 | Rubber Ring for FC Pressure Pipe B Class (Sch: of Mat: 7 P No: 90) |  |  |  |
|  | 12 Nos. | RS: 437/00 | EACH | RS: 5244/00 |
| 06 | Making joints to C.I specials fitting i/c laying of the required diameter & testing the joints along with the AC Pressure pipe line to the specified pressure & making good to all leaky joints etc complete (PHSI No: 24 P No: 81) |  |  |  |
|  | 6 Joints | RS: 90/00 | P.JOINT | RS: 540/00 |
| 07 | Refilling the excavated stuff in trenches 6’ thick layers i/c watering ramming to full compaction etc complete (P.H.S.I no-24 p-53) |  |  |  |
|  | 103950.00 CFT | RS: 2760/005 | P-%0 CFT | RS: 286902/00 |
|  | 1 No: | RS: 18820/00 | EACH | RS: 18820/00 |
|  |  |  | TOTAL | RS: 19223995/00 |

| CONTRACTOR | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION GHOTKI @ MIRPUR MATHELO |
| --- | --- |

CONDITION

| 01 | The work shall have to be executed according to PWD/PHE specification |
| --- | --- |
| 02 | No premium on non schedule item shall be allowed to the contractor |
| 03 | Any error omission in the description of item of work and the rate shall be governed with the relevant schedule of rate and estimate |
| 04 | The contractor shall have to bring the material to be used from the quarries mentioned in the estimate |

| CONTRACTOR | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION GHOTKI @ MIRPUR MATHELO |
| --- | --- |