Schedule-A to Bid

SCHEDULE OF PRICES

| NAME OF WORK | REHBILITATION OF RURAL DRAINAGE SCHEMES LOHI & RURAL DRAINAGE SCHEME JARWAR. |
| --- | --- |

| 01 | REHBILITATION OF RURAL DRAINAGE SCHEME LOHI |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | SUB-WORK-I REPAIR OF SCREENING CHAMBER |  |  |  |  |  |
| 01 | Fabrication of heavy steel with angle iron flat iron round iron & sheet iron for Making trusses girder tanks etc i/c cutting drilling reviting handling assembling & fixing but excluding errection in position (C.S.I no-02 p- 96) |  |  |  |  |  |
|  | 2.13 CWT |  | RS: 4928/49 | P- CWT |  | RS: 10498/00 |
| 02 | Errection & fitting in position of iron trusses lagging of water tanks etc (P.H.S.I NO-3 P-96) |  |  |  |  |  |
|  | 2.13CWT |  | RS: 271/04 | P-CWT |  | RS: 577/00 |
| 03 | Dismantling cement concrete reinforced separating reinforcement from concrete cleaning and straightening the same (CSI No: 20 P No: 10) |  |  |  |  |  |
|  | 52.00 CFT |  | RS: 5445/00 | P%CFT |  | RS: 2831/00 |
| 04 | Cement concrete plain i/c placing compacting finishing and curing i/c screening and washing of stone aggregate without shuttering Ratio 1:4:8 (CSI No: 05 P No: 16) |  |  |  |  |  |
|  | 117.00 CFT |  | RS: 12595/00 | P%CFT |  | RS: 14736/00 |
| 05 | Erection & removal centering for RCC or plain cement concrete works of deodar (for partal wood) wood (CSI No:19 P No:18 ) |  |  |  |  |  |
|  | 270.00SFT |  | RS: 3127/41 | P-% SFT |  | RS: 8444/00 |
| 06 | Pacca Brick work in foundation & plinth in cement sand mortar ratio 1:6 |  |  |  |  |  |
|  | 12.093 CFT |  | RS: 11948/36 | P-% CFT |  | RS: 1445/00 |
| 07 | Cement plaster 1:4 upto 20ft height and 1/2 “ thick (CSI No: 11 P No:52) |  |  |  |  |  |
|  | 44.62 SFT |  | RS: 2283/93 | P.%SFT |  | RS: 1019/00 |
|  |  |  |  | TOTAL |  | RS: 39550/00 |
|  | SUB-WORK-II PUMPING MACHINERY |  |  |  |  |  |
| 01 | Supplying & installing in position i/c transportation to site of work at Disposal Work @ Lohi, Electric pumping consisting AC electric motor (Golden Made) 10.0 BHP 5/4 1450RPM (Type-I) LA73-113-2AA 60 frame 60 MM coupled with non clogging pump KWPZ 100-250 size 5’/4’ mounted local sell frame are base plate of discharge 410 PM against the head of 40:ft installation of pumping set on cement concrete foundation Ratio 1:2:4 & 1:4:8 with stone ballast with MS nuts and bolts of 5/8 to be embedded in cement concrete foundation . Providing fixing M.C.U ( MEECO made) all accessories consisting of ASD 15 BHP (Automatic star delta starter circuit breaker MCCB over load relay timer, relay push button ,indicators & internal wiring & all those companies are fixed in a metallic cost smoke proof box, providing internal electric wiring MCU to electric motor 3-7/0.44 PVC insulated wire 660 volts grade in 50 mm (2”) PVC conduit on surface as required i/c providing & fixing earthling set with 0.6 mm 0.6 mm (2x2x1/4) copper plate buried out in the ground @ depth 3.7 m (12ft) as per P.W.D-PHE specification & testing pumping set against the required head for 72 hours etc complete (R.A Approved) |  |  |  |  |  |
|  | 1SET |  | RS: 224600/00 | P-SET |  | RS: 224600/00 |
|  | INTERCONNECTION |  |  |  |  |  |
| 01 | Providing P.E Pipe HDPE -100 (P No: 10) 6”Dia |  |  |  |  |  |
|  | 16.00RFT |  | RS: 749/34 | P.RFT |  | RS: 11989/00 |
| 02 | M.I with welding M,S flanged made out of M.S sheet 3/8”thick i/c cutting drilling holes etc complete (R.A.A) (Based on Schedule Rate ) |  |  |  |  |  |
|  | 16 Nos: |  | RS: 804/77 | P.No: |  | RS: 12876/00 |
| 03 | Providing & Fixing P.E Pipe (HDPE-100) P.N10 6”Dia |  |  |  |  |  |
|  | 48.00RFT |  | RS: 520/00 | P.RFT |  | RS: 25440/00 |
| 04 | Supplying of CI sluice valve heavy pattern (test pressure 21.00kg / sq cm or 300ibs inch) SM PHSI 2 P 11. |  |  |  |  |  |
|  | 02 Nos: 4”Dia |  | RS: 5460/00 | Each |  | RS: 10920/00 |
| 05 | CI supplying reflex valve heavy pattern (test pressure 21.00kg / sq cm or 300ibs inch) SM PHSI 6 P 11. |  |  |  |  |  |
|  | 02 Nos: 4” Dia |  | RS: 1706/25 | Each |  | RS: 3413/00 |
| 06 | Supplying of Foot valve heavy pattern with one cone end type gate SM PHSI 2 P 10. |  |  |  |  |  |
|  | 02 Nos: 6 Dia |  | RS: 1381/25 | Each |  | RS: 2763/00 |
| 07 | CI taper flat bottomed or central tapered flanged with holes i/c turning and facing of flanged of all size |  |  |  |  |  |
|  | 0.60CWT |  | RS: 6096/00 | P.CWT |  | RS: 3658/00 |
| 08 | CI bends with flanges with holes i/c turning facing flanges for all size. SM PHSI 8 P 11. |  |  |  |  |  |
|  | 1.06CWT |  | RS: 6096/00 | P.CWT |  | RS: 6462/00 |
| 09 | CI tee flanges with holes i/c turning facing flanges for all size. SM PHSI 12 P 12. |  |  |  |  |  |
|  | 0.26CWT |  | RS: 6096/00 | P.CWT |  | RS: 1584/00 |
| 10 | But fusion joint 6” Dia |  |  |  |  |  |
|  | 16 Nos: |  | RS: 1000/00 | EACH |  | RS: 16000/00 |
| 11 | Flange adopter 6” Dia |  |  |  |  |  |
|  | 16 Nos: |  | RS: 2025/00 | EACH |  | RS: 32400/00 |
| 12 | Jointing C.I/M.S flanges pipes & specials flanged & inside trenches i/c supplying rubber packing of the required thickness nuts bolts with washers etc & tools required for jointing & the joints to the specified pressure etc complete (PHSI No: 1 P No:40) 6’Dia |  |  |  |  |  |
|  | 16 Joints 6”Dia |  | RS: 938/00 | P.JOINT |  | RS: 15008/00 |
|  | 04 Joints 4”Dia |  | RS: 513/00 | P.JOINT |  | RS: 2052/00 |
|  |  |  |  | TOTAL |  | RS: 369165/00 |
|  | SUB-WORK-II P.E RISING MAIN 6”DIA |  |  |  |  |  |
| 01 | Excavation in foundation of building bridges and structure i/c dag belling dressing refilling around the structure executed earth watering and ramming lead upto one chain lift upto 5dt in ordinary soil |  |  |  |  |  |
|  | 8267.00CFT |  | RS: 3600/00 | P.%0CFT |  | RS: 29761/00 |
| 02 | Providing laying fixing testing i/c fitting jointing and testing etc complete in all respect the high density polyethylene P.E pipe (HDPE-100) for w/s confirming 1504427/DIN8074/8075 PS3580 & PSI 3051 (PHSI 1 No: P No: 25) |  |  |  |  |  |
|  | 1181.00RFT |  | RS: 384/81 | P.RFT |  | RS:454461/00 |
| 03 | P.E Specials (HDPE-100) P.N8 |  |  |  |  |  |
| a) | P.E Elbow 45’ P.N8 |  |  |  |  |  |
|  | 1 No: |  | RS: 2784/00 | P.No: |  | RS: 2784/00 |
| b) | Butt Fusion 6”Dia |  |  |  |  |  |
|  | 2 Nos: |  | RS: 1000/00 | P.No: |  | RS: 2000/00 |
| 4 | Refilling the excavated stuff in trenches 6”thick layers i/c watering ramming to full compacting |  |  |  |  |  |
|  | 7440.30CFT |  | RS: 2760/00 | P.%0 |  | RS: 20535/00 |
|  |  |  |  | TOTAL |  | RS: 509541/00 |
|  | SUB-WORK-IV PUMP HOUSE |  |  |  |  |  |
| 01 | Dismantling cement concrete reinforced separating reinforcement from concrete cleaning and straightening the same (CSI No: 20 P No: 10) |  |  |  |  |  |
|  | 51.23CFT |  | RS: 5445/00 | P-% CFT |  | RS: 2790/00 |
| 02 | Dismantling brick work in lime or cement mortar (CSI No: 13 P No: 10) |  |  |  |  |  |
|  | 211.50CFT |  | RS: 1285/63 | P-% CFT |  | RS: 2719/00 |
| 03 | Excavation in foundation of buildings bridges &other structures i/c dag belling dressing& refilling around the structures with excavated earth lead up to one chain &lift up to 5 ft (c.s.i no 18 p no 4) |  |  |  |  |  |
|  | 188.00CFT |  | RS: 3176/25 | P-%0 CFT |  | RS: 597/00 |
| 04 | Cement concrete brick or stone ballast 1 ½”--2” guage (c.s.i no 4 p no:17) |  |  |  |  |  |
|  | 83.05 CFT |  | RS: 9416/28 | P % CFT |  | RS: 7820/00 |
| 05 | Random Rubble masonry (Un coursed) in foundation (1:6) (c.s.i no- p-32) |  |  |  |  |  |
|  | 141.00CFT |  | RS: 17723/00 | P-% CFT |  | RS: 24989/00 |
| 06 | Coursed Rubble masonry i/c hammer dressing ( c.s.i no-1 p-32) |  |  |  |  |  |
|  | 117.50 CFT |  | RS:25321/00 | P-% CFT |  | RS: 29752/00 |
| 07 | Damp proof coarse with cement sand & shingle concrete (1:2:4) i/c two coats Maxphalt mixture |  |  |  |  |  |
|  | 58.75 SFT |  | RS: 4982/18 | P-% SFT |  | RS: 2927/00 |
| 08 | Pacca brick work in ground floor in cement sand mortar 1:6 (c.s.i no5 p-25) |  |  |  |  |  |
|  | 312.19 CFT |  | RS: 12674/36 | P %CFT |  | RS: 39568/00 |
| 09 | R.C.C working roof slab beams ,columns, rafts, lintels,& other structural members Laid in situ or pre-cast laid in position complete in all respect ratio 1:2:4 |  |  |  |  |  |
|  | 105.73 CFT |  | RS: 337/00 | P- CFT |  | RS: 35631/00 |
| 10 | Fabrication of mild steel reinforcement for R.C.C or C.C i/c cutting bending, laying In position, making joints& fastening i/c cost of binding wire also i/c removal of rust from bars (c.s.i no-7 p-20) |  |  |  |  |  |
|  | 4.24 CWT |  | RS: 5001/70 | P- CWT |  | RS: 21207/00 |
| 11 | Filling watering and remaining earth under floor with new earth excavated from out side lead upto one chain and lift upto 5ft (CSI No:22 P No:04) |  |  |  |  |  |
|  | 163.87CFT |  | RS: 3630/00 | P%0CFT |  | RS: 595/00 |
| 12 | Painting on stone work raised (CSI No: 20 P No: 53) Ratio 1:3 |  |  |  |  |  |
|  | 108.00 SFT |  | RS: 1758/08 | P %SFT |  | RS: 1899/00 |
| 13 | Cement plaster 1:6 upto 12ft height |  |  |  |  |  |
|  | 846.50 SFT |  | RS: 2206/60 | P-% SFT |  | RS: 18678/00 |
| 14 | Cement plaster 1:4 upto 11ft height |  |  |  |  |  |
|  | 846.50 SFT |  | RS: 2197/52 | P-% SFT |  | RS: 18602/00 |
| 15 | White washing one coat (c.s.i no- 26 p-60) |  |  |  |  |  |
|  | 846.50 SFT |  | RS: 416/63 | P-% SFT |  | RS: 3527/00 |
|  | Three Coat |  |  |  |  |  |
|  | 199.50SFT |  | RS: 829/95 | P.%SFT |  | RS: 1656/00 |
|  | Colour washing Two Coats |  |  |  |  |  |
|  | 846.50 SFT |  | RS: 859/90 | P-%SFT |  | RS: 7282/00 |
| 16 | Fabrication of heavy steel with angle iron flat iron round iron & sheet iron for Making truses girder tanks etc i/c cutting drilling reviting handling assembling & fixing but excluding errection in position (C.S.I no-02 p- 96) |  |  |  |  |  |
|  | 2.03 CWT |  | RS: 4928/49 | P- CWT |  | RS: 10005/00 |
| 17 | Making fixing steel grated doors with 1 /16” thick sheeting i/c angle iron frame 2x2”3/38& ¾” square bars 4” c/c with locking arrangement (CSI No: 24 P No: 92) |  |  |  |  |  |
|  | 22.75SFT |  | RS: 726/72 | P.SFT |  | RS: 16533/00 |
| 18 | Supplying and fixing in position iron stele girl of 1/ 4x ¼ size flate iron of approved design i/c painting of coats etc complete. (Weight not to be less than 3.7 Ibs /sq ft) finished girls (CSI No: 26) |  |  |  |  |  |
|  | 24.00SFT |  | RS: 180/50 | P.SFT |  | RS: 4332/00 |
|  |  |  |  | TOTAL |  | RS: 251109/00 |
|  | SUB-WORK- V CHOWKIDAR HUTT (REPAIR) |  |  |  |  |  |
| 01 | Dismantling cement concrete reinforced separating reinforcement from concrete cleaning and straightening the same (CSI No: 20 P No: 10) |  |  |  |  |  |
|  | 181.99CFT |  | RS: 5445/00 | P-% CFT |  | RS: 9909/00 |
| 02 | Dismantling brick work in lime or cement mortar (CSI No: 13 P No: 10) |  |  |  |  |  |
|  | 105.75CFT |  | RS: 1285/63 | P-% CFT |  | RS: 1360/00 |
| 03 | Removing cement or limit plaster (CSI No: 53 P No: 13) |  |  |  |  |  |
|  | 605.34SFT |  | RS: 121/00 | P-% SFT |  | RS: 732/00 |
| 04 | Pacca brick work in ground floor in cement sand mortar 1:6 (c.s.i no5 p-25) |  |  |  |  |  |
|  | 141.00 CFT |  | RS: 12674/36 | P %CFT |  | RS: 17871/00 |
| 05 | R.C.C working roof slab beams ,columns, rafts, lintels,& other structural members Laid in situ or pre-cast laid in position complete in all respect ratio 1:2:4 |  |  |  |  |  |
|  | 163.45 CFT |  | RS: 337/00 | P- CFT |  | RS: 55083/00 |
| 06 | Fabrication of mild steel reinforcement for R.C.C or C.C i/c cutting bending, laying In position, making joints& fastening i/c cost of binding wire also i/c removal of rust from bars (c.s.i no-7 p-20) |  |  |  |  |  |
|  | 6.56 CWT |  | RS: 5001/70 | P- CWT |  | RS: 32811/00 |
| 07 | Cement plaster 1:4 upto 20ft height and 1/2 “ thick (CSI No: 11 P No:52) |  |  |  |  |  |
|  | 499.37 SFT |  | RS: 2283/93 | P.%SFT |  | RS: 11405/00 |
| 08 | Cement painting strict joints on walls |  |  |  |  |  |
|  | 341.00SFT |  | RS: 1213/58 | P-%SFT |  | RS: 4138/00 |
| 09 | Providing & laying 1”thick topping cement concrete (1:2:4) i/c surface finishing & dividing in to panels (CSI No: 16 P No: 42) 3”thick |  |  |  |  |  |
|  | 211.12SFT |  | RS: 4411/82 | P-%SFT |  | RS: 9314/00 |
| 10 | Making fixing steel grated doors with 1 /16” thick sheeting i/c angle iron frame 2x2”3/38& ¾” square bars 4” c/c with locking arrangement (CSI No: 24 P No: 92) |  |  |  |  |  |
|  | 28.03SFT |  | RS: 726/72 | P.SFT |  | RS: 20348/00 |
| 11 | Fabrication of heavy steel with angle iron flat iron round iron & sheet iron for Making truses girder tanks etc i/c cutting drilling reviting handling assembling & fixing but excluding errection in position (C.S.I no-02 p- 96) |  |  |  |  |  |
|  | 2.03 CWT |  | RS: 4928/49 | P- CWT |  | RS: 10005/00 |
| 12 | Preparing surface painting doors & window any type i/c edge |  |  |  |  |  |
|  | 104.00SFT |  | RS: 2116/41 | P-%SFT |  | RS: 2201/00 |
| 13 | White washing one coat (c.s.i no- 26 p-60) |  |  |  |  |  |
|  | 840.37 SFT |  | RS: 416/63 | P-% SFT |  | RS: 3501/00 |
| 14 | Colour washing Two Coats |  |  |  |  |  |
|  | 840.37 SFT |  | RS: 859/90 | P-%SFT |  | RS: 7226/00 |
|  |  |  |  | TOTAL |  | RS: 185904/00 |
|  | SUB-WORK-VI COMPOUND WALL (REPAIR) |  |  |  |  |  |
| 01 | Excavation in foundation of building bridges & other structures i/c dag belling dressing refilling around structure with excavated earth watering & ramming lift up to 5 ft etc Complete (.C.S I no18 p-no 3) |  |  |  |  |  |
|  | 852.00 CFT |  | RS:3176/25 | P-%0 CFT |  | RS: 2706/00 |
| 02 | Cement concrete stone are ballast 1 ½” –2 gauge. |  |  |  |  |  |
|  | 213.00CFT |  | RS: 9416/28 | P-%0CFT |  | RS: 20057/00 |
| 03 | Random Rubble masonry (Un coursed) in foundation (1:6) (c.s.i no- p-32) |  |  |  |  |  |
|  | 612.00CFT |  | RS: 17723/00 | P-% CFT |  | RS: 108465/00 |
| 04 | Coursed Rubble masonry i/c hammer dressing ( c.s.i no-1 p-32) |  |  |  |  |  |
|  | 510.00 CFT |  | RS:25321/00 | P-% CFT |  | RS: 129137/00 |
| 05 | Damp proof coarse with cement sand & shingle concrete (1:2:4) i/c two coats Maxphalt mixture |  |  |  |  |  |
|  | 255.00 SFT |  | RS: 4982/18 | P-% SFT |  | RS: 12705/00 |
| 06 | Pointing on stone work raised (c.s.i no-20 c p-52) (Ratio 1:3) in cement sand mortar |  |  |  |  |  |
|  | 816.00 SFT |  | RS: 1758/08 | P-% SFT |  | RS: 14346/00 |
| 07 | Pacca brick work other than building i/c stricking of joints upto 20ft height in cement mortar ratio 1:6 |  |  |  |  |  |
|  | 351.00 CFT |  | RS: 12346/65 | P %CFT |  | RS: 43337/00 |
| 08 | R.C.C working roof slab beams ,columns, rafts, lintels,& other structural members Laid in situ or pre-cast laid in position complete in all respect ratio 1:2:4 |  |  |  |  |  |
|  | 75.25 CFT |  | RS: 337/00 | P- CFT |  | RS: 25359/00 |
| 09 | Fabrication of mild steel reinforcement for R.C.C or C.C i/c cutting bending, laying In position, making joints& fastening i/c cost of binding wire also i/c removal of rust from bars (c.s.i no-7 p-20) |  |  |  |  |  |
|  | 3.02 CWT |  | RS: 5001/70 | P- CWT |  | RS: 15105/00 |
| 10 | Cement painting strict joints on walls |  |  |  |  |  |
|  | 744.00SFT |  | RS: 1213/58 | P-%SFT |  | RS: 9029/00 |
| 11 | Cement plaster 1:4 upto 12.0ft height & 1/2 “ thick (CSI No: 11 P No: 52) |  |  |  |  |  |
|  | 1032.00 SFT |  | RS: 2283/93 | P-% SFT |  | RS: 23570/00 |
| 12 | White washing one coat (c.s.i no- 26 p-54) |  |  |  |  |  |
|  | 1776.00 SFT |  | RS: 416/63 | P-% SFT |  | RS: 7399/00 |
| 13 | Colour washing Two Coats (CSI No: 25 P No: 54) |  |  |  |  |  |
|  | 1776.00 SFT |  | RS: 859/90 | P-%SFT |  | RS: 15272/00 |
| 14 | Making fixing steel grated doors with 1 /16” thick sheeting i/c angle iron frame 2x2”3/38& ¾” square bars 4” c/c with locking arrangement (CSI No: 24 P No: 92) |  |  |  |  |  |
|  | 60.00SFT |  | RS: 726/72 | P.SFT |  | RS: 43603/00 |
| 15 | Pointing new surface preparing and painting doors & window any type i/c edge (CSI No: 5 P Mo: 69) three coats |  |  |  |  |  |
|  | 120.00SFT |  | RS: 2116/41 | P-%SFT |  | RS: 2540/00 |
|  |  |  |  | TOTAL |  | RS: 472630/00 |
|  | SUB-WORK-VII REPAIR OF TRANSFORMER |  |  |  |  |  |
| 01 | Rewinding of transformer 25KV coils (M.R) |  |  |  |  |  |
|  | 2 Coils |  | RS: 15000/00 | P. Coil |  | RS: 30000/00 |
| 02 | Supplying & filling transformer oil (M.R) |  |  |  |  |  |
|  | 80 Litters |  | RS: 180/00 | P.Litter |  | RS: 14400/00 |
| 03 | Labour charges for dismantling and re-installing of transformer in same position |  |  |  |  |  |
|  | 1 Job |  | RS: 5000/00 | P.Job |  | RS: 5000/00 |
| 04 | PVC installed & PVC sheeted 4 Core copper conductor 300/500 volts (10.mm) (E-S.I No:23 P-149) |  |  |  |  |  |
|  | 120.00RFT |  | RS: 169/47 | P. RFT |  | RS: 20336/00 |
|  |  |  |  | TOTAL |  | RS: 69736/00 |
|  | SUB-WORK-VIII SURFACE DRAINS |  |  |  |  |  |
| 01 | Excavation for foundation of building bridges and other structures i/c dag belling dressing refilling around structure with executed earth watering & ramming lift upto 5”ft (CSI No: 18 P No: 04) |  |  |  |  |  |
|  | 13741.34CFT |  | RS:3176/25 | P%0CFT |  | RS: 43645/00 |
| 02 | Cement concrete plain i/c placing compacting finishing and curing i/c screening and washing of stone aggregate without shuttering Ratio 1:4:8 (CSI No: 05 P No: 16) |  |  |  |  |  |
|  | 1:4:8 | 2572.83 CFT | RS: 11288/75 | P%CFT |  | RS: 290440/00 |
| 03 | HD Step |  |  |  |  |  |
|  | 31.94CFT |  | RS: 14429/25 | P.%CFT |  | RS: 4609/00 |
| 04 | Construction of open drains cunettee block of cement concrete (1:2:4) n situ to design profile i/c applying floating coat of cement 1/3” thick to the exposed face finished smooth curing etc complete as per detailed drawing (PHSI No: P No: 58). |  |  |  |  |  |
|  | T-I | 2827.0RFT | RS: 94/00 | P.RFT |  | RS: 265738/00 |
|  | T-II | 1150.0CFT | RS: 174/00 | P.RFT |  | RS: 200100/00 |
| 05 | Pacca brick work in foundation and plinth in cement sand mortar 41:6 (CSI No: 04 P. No: 21). |  |  |  |  |  |
|  | 10240.50CFT |  | RS: 11948/36 | P.%CFT |  | RS: 1223572/00 |
| 06 | Cement plaster (1:4) up to 20” height ½” (CSI No: 11 P No: 52) |  |  |  |  |  |
|  | 17615.18SFT |  | RS: 2283/93 | P.%SFT |  | RS: 402318/00 |
| 07 | RCC work in roof slabs beams columns rafts lintels and other structural members laid in situ or pre cost laid in position complete in all respect. (CSI No: 6 P No: 18) |  |  |  |  |  |
|  | 93.25 CFT |  | RS: 337/00 | P.%CFT |  | RS: 21231/00 |
| 08 | Fabrication of Mild Steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastening i/c cost of binding wire also i/c removal of rust from bars. (CSI No7 P.20). |  |  |  |  |  |
|  | 2.25 CWT |  | RS: 5001/70 | P.CWT |  | RS: 11254/00 |
|  |  |  |  | TOTAL |  | RS: 2462907/00 |
|  | SUB-WORK-IX SILT CLEARANCE |  |  |  |  |  |
| 01 | Earth work excavation undressed lead upto 1chain shingle throw of kassi phawara in ordinary soil (CSI No: 1 P No: 1 i/c 02 mile extra lead) |  |  |  |  |  |
|  | 9624.84 CFT |  | RS: 1134/38 | P.%0CFT |  | RS: 10918/00 |
| 02 | Cleaning of collecting tank/ sump well below ground level i/c dewatering of sullage water and disposal of garbage solid waste etc outside the tank etc complete (PHSI No:4 P No:4 ) |  |  |  |  |  |
|  | 1613.00CFT |  | RS: 11900/00 | P.%0CFT |  | RS: 19195/00 |
| 03 | Extra for every 50ft: additional lead of or part thereof, for earth work (soft ordinary hard & very hard) (CSI No: 8 P No:2) |  |  |  |  |  |
|  | 9624.84CFT |  | RS: 1914/82 | P%0CFT |  | RS: 18430/00 |
|  |  |  |  | TOTAL |  | RS: 48543/00 |
|  | SUB-WORK-X ANNUAL OPERATION MAINTENANCE COST |  |  |  |  |  |
| A | ESTABLISHMENT |  |  |  |  |  |
| 01 | Pump Operator (M&R) |  |  |  |  |  |
|  | 12.00 Month |  | RS: 7000/00 | P. Month |  | RS: 84000/00 |
| 02 | Chowkidar / Hepler (M&R) |  |  |  |  |  |
|  | 12.00 Month |  | RS: 7000/00 | P. Month |  | RS: 84000/00 |
| 03 | Sweeper (M&R) |  |  |  |  |  |
|  | 12.00 Month |  | RS: 7000/00 | P. Month |  | RS: 84000/00 |
| B | ANNUAL REPAIR CHARGES |  |  |  |  |  |
| 01 | Repair of Electric & Pump etc complete (M&R) |  |  |  |  |  |
|  | 1 Job |  | RS: 100000/00 | P.SET |  | RS: 100000/00 |
| 02 | Oil Lubrication / Cotton Waste etc complete. (M.R) |  |  |  |  |  |
|  | 24 Months |  | RS: 3000/00 | P. Month |  | RS: 72000/00 |
|  |  |  |  | TOTAL |  | RS: 424000/00 |
| 02 | REHBILITATION OF RURAL DRAINAGE SCHEME JARWAR. |  |  |  |  |  |
|  | SUB-WORK-II CIVIL STRUCTURE |  |  |  |  |  |
| 01 | Dismantling cement concrete reinforced separating reinforcement from concrete cleaning and straightening the same (CSI No: 20 P No: 10) |  |  |  |  |  |
|  | 537.92CFT |  | RS: 5445/00 | P-% CFT |  | RS: 29290/00 |
| 02 | Dismantling brick work in lime or cement mortar (CSI No: 13 P No: 10) |  |  |  |  |  |
|  | 26.25CFT |  | RS: 1285/63 | P-% CFT |  | RS: 337/00 |
| 03 | Removing of cement or lime plaster (CSI No: 53 P No: 13) |  |  |  |  |  |
|  | 1175.25SFT |  | RS: 121/00 | P-% SFT |  | RS: 1422/00 |
| 04 | Pacca brick work in foundation and plinth in cement sand mortar 1:6 (c.s.i no4 p-24) |  |  |  |  |  |
|  | 99.18 CFT |  | RS: 11948/36 | P %CFT |  | RS: 11850/00 |
| 05 | Pacca brick work in ground floor in cement sand mortar 1:6 (c.s.i no5 p-25) |  |  |  |  |  |
|  | 515.34 CFT |  | RS: 12674/36 | P %CFT |  | RS: 65316/00 |
| 06 | Extra for arch pacca in staining of wells or any other circular masonry (CSI No: 10 P No:23) |  |  |  |  |  |
|  | 150.72 CFT |  | RS: 1131/63 | P %CFT |  | RS: 1706/00 |
| 07 | R.C.C working roof slab beams ,columns, rafts, lintels,& other structural members Laid in situ or pre-cast laid in position complete in all respect ratio 1:2:4 |  |  |  |  |  |
|  | 464.63 CFT |  | RS: 337/00 | P- CFT |  | RS: 156580/00 |
| 08 | Fabrication of mild steel reinforcement for R.C.C or C.C i/c cutting bending, laying In position, making joints& fastening i/c cost of binding wire also i/c removal of rust from bars (c.s.i no-7 p-20) |  |  |  |  |  |
|  | 17.85 CWT |  | RS: 5001/70 | P- CWT |  | RS: 89280/00 |
| 09 | Cement plaster 1:6 upto 12ft height |  |  |  |  |  |
|  | 2365.68 SFT |  | RS: 2206/60 | P-% SFT |  | RS: 52201/00 |
| 10 | Cement plaster 1:4 upto 11ft height |  |  |  |  |  |
|  | 2365.68 SFT |  | RS: 2197/52 | P-% SFT |  | RS: 51986/00 |
| 11 | 1/2 “thick for step of door |  |  |  |  |  |
|  | 684.54 SFT |  | RS: 2283/93 | P-% SFT |  | RS: 15634/00 |
| 12 | Cement pointing strict joints and walls (CSI No: 19 P ano:53) |  |  |  |  |  |
|  | 1413.18 SFT |  | RS: 1213/58 | P-% SFT |  | RS: 17150/00 |
| 13 | Cement concrete stone ballast (CSI NO:4 P no: 17) |  |  |  |  |  |
|  | 96.03 SFT |  | RS: 9416/28 | P-% CFT |  | RS: 9042/00 |
| 14 | Providing & laying 1”thick topping cement concrete (1:2:4) i/c surface finishing & dividing in to panels (CSI No: 16 P No: 42) 3”thick |  |  |  |  |  |
|  | 612.00SFT |  | RS: 4411/82 | P-%SFT |  | RS: 27000/00 |
| 15 | Making fixing steel grated doors with 1 /16” thick sheeting i/c angle iron frame 2x2”3/38& ¾” square bars 4” c/c with locking arrangement (CSI No: 24 P No: 92). |  |  |  |  |  |
|  | 84.00SFT |  | RS: 726/72 | P.SFT |  | RS: 61044/00 |
| 16 | Fabrication of heavy steel with angle iron flat iron round iron & sheet iron for Making truses girder tanks etc i/c cutting drilling reviting handling assembling & fixing but excluding errection in position (C.S.I no-02 p- 96) |  |  |  |  |  |
|  | 12.40 CWT |  | RS: 4928/49 | P- CWT |  | RS: 61113/00 |
| 17 | Erection & fitting in position of iron truses lagging of water tanks etc (PHSI No:03 P NoL91) |  |  |  |  |  |
|  | 9.34 CWT |  | RS: 271/04 | P- CWT |  | RS: 2532/00 |
| 18 | Supplying and fixing in position iron stele girl of 1/ 4x ¼ size flate iron of approved design i/c painting of coats etc complete. (Weight not to be less than 3.7 Ibs /sq ft) finished girls (CSI No: 26) |  |  |  |  |  |
|  | 96.00SFT |  | RS: 180/50 | P.SFT |  | RS: 17328/00 |
| 19 | Preparing of surface & painting of door & windows any type i/c edge (CSI No: 5 P No:70) |  |  |  |  |  |
|  | 608.00SFT |  | RS: 2116/41 | P.SFT |  | RS: 12868/00 |
| 20 | White washing one coat (c.s.i no- 26 p-60) |  |  |  |  |  |
|  | 3776.86 SFT |  | RS: 416/63 | P-% SFT |  | RS: 15744/00 |
| 21 | Colour washing Two Coats |  |  |  |  |  |
|  | 3776.86 SFT |  | RS: 859/90 | P-%SFT |  | RS: 32494/00 |
| 22 | White washing Three Coats |  |  |  |  |  |
|  | 1285.00 SFT |  | RS: 829/95 | P-%SFT |  | RS: 10665/00 |
| 23 | Filling watering and remaining earth under floor with new earth excavated from out side lead upto one chain and lift upto 5ft (CSI No:22 P No:04) |  |  |  |  |  |
|  | 846.00CFT |  | RS: 3630/00 | P%0CFT |  | RS: 3071/00 |
|  |  |  |  | TOTAL |  | RS: 745653/00 |
|  | SUB-WORK-II COMPOUND WALL (REPAIR) |  |  |  |  |  |
| 01 | Dismantling cement concrete reinforced separating reinforcement from concrete cleaning and straightening the same (CSI No: 20 P No: 10) |  |  |  |  |  |
|  | 56.00CFT |  | RS: 5445/00 | P-% CFT |  | RS: 3049/00 |
| 02 | Dismantling brick work in lime or cement mortar (CSI No: 13 P No: 10) |  |  |  |  |  |
|  | 138.78CFT |  | RS: 1285/63 | P-% CFT |  | RS: 1784/00 |
| 03 | Pacca brick work in foundation and plinth in cement sand mortar 1:6 (c.s.i no4 p-24) |  |  |  |  |  |
|  | 972.84 CFT |  | RS: 11948/36 | P %CFT |  | RS: 116239/00 |
| 04 | Pacca brick work in ground floor in cement sand mortar 1:6 (c.s.i no5 p-25) |  |  |  |  |  |
|  | 486.00 CFT |  | RS: 12346/65 | P %CFT |  | RS: 60005/00 |
| 05 | Damp proof coarse with cement sand & shingle concrete (1:2:4) i/c two coats Maxphalt mixture |  |  |  |  |  |
|  | 324.28 SFT |  | RS: 4982/18 | P-% SFT |  | RS: 16156/00 |
| 06 | R.C.C working roof slab beams ,columns, rafts, lintels,& other structural members Laid in situ or pre-cast laid in position complete in all respect ratio 1:2:4 |  |  |  |  |  |
|  | 69.00 CFT |  | RS: 337/00 | P- CFT |  | RS: 23253/00 |
| 07 | Fabrication of mild steel reinforcement for R.C.C or C.C i/c cutting bending, laying In position, making joints& fastening i/c cost of binding wire also i/c removal of rust from bars (c.s.i no-7 p-20) |  |  |  |  |  |
|  | 2.77 CWT |  | RS: 5001/70 | P- CWT |  | RS: 13855/00 |
| 18 | Cement pointing strict joints and walls (CSI No: 19 P ano:53) |  |  |  |  |  |
|  | 1032.00 SFT |  | RS: 1213/58 | P-% SFT |  | RS: 12524/00 |
| 19 | Cement plaster 1:4 upto 11ft height |  |  |  |  |  |
|  | 1428.00 SFT |  | RS: 2283/93 | P-% SFT |  | RS: 32615/00 |
| 20 | White washing one coat (c.s.i no- 26 p-60) |  |  |  |  |  |
|  | 2460.00 SFT |  | RS: 416/63 | P-% SFT |  | RS: 10249/00 |
| 21 | Colour washing Two Coats |  |  |  |  |  |
|  | 2460.00 SFT |  | RS: 859/90 | P-%SFT |  | RS: 21154/00 |
| 22 | Making fixing steel grated doors with 1 /16” thick sheeting i/c angle iron frame 2x2”3/38& ¾” square bars 4” c/c with locking arrangement (CSI No: 24 P No: 92). |  |  |  |  |  |
|  | 72.00SFT |  | RS: 726/72 | P.SFT |  | RS: 52124/00 |
| 23 | Painting of doors and windows any type |  |  |  |  |  |
|  | 144.00SFT |  | RS: 1160/06 | P.SFT |  | RS: 1670/00 |
| 24 | Barrow pit excavation undressed lead up to 100ft (CSI No: 3 P No:01) |  |  |  |  |  |
|  | 14516.19CFT |  | RS: 2117/50 | P.%0CFT |  | RS: 30738/00 |
| 25 | Dressing & leveling of earth work in 6”layers i/c compaction etc (CSI NO: 13 P No:3) |  |  |  |  |  |
|  | 14516.19CFT |  | RS: 354/00 | P.%0CFT |  | RS: 5138/00 |
| 26 | Extra for every 50ft additional lead of part thereof (CSI No: 8 P No:2) |  |  |  |  |  |
|  | 14516.19CFT |  | RS: 5039/00 | P.%0CFT |  | RS: 73147/00 |
|  |  |  |  | TOTAL |  | RS: 473900/00 |
|  | SUB-WORK-III PUMPING MACHINERY |  |  |  |  |  |
| 01 | Supplying & installing in position i/c transportation to site of work at Disposal Work @ Jarwar, Electric pumping consisting AC electric motor (Golden Made) 15.0 BHP 5/4 1450RPM (Type-I) LA73-113-2AA 60 frame 60 MM coupled with non clogging pump KWPZ 100-250 size 5’/4’ mounted local sell frame are base plate of discharge 410 PM against the head of 40:ft installation of pumping set on cement concrete foundation Ratio 1:2:4 & 1:4:8 with stone ballast with MS nuts and bolts of 5/8 to be embedded in cement concrete foundation . Providing fixing M.C.U ( MEECO made) all accessories consisting of ASD 15 BHP (Automatic star delta starter circuit breaker MCCB over load relay timer, relay push button ,indicators & internal wiring & all those companies are fixed in a metallic cost smoke proof box, providing internal electric wiring MCU to electric motor 3-7/0.44 PVC insulated wire 660 volts grade in 50 mm (2”) PVC conduit on surface as required i/c providing & fixing earthling set with 0.6 mm 0.6 mm (2x2x1/4) copper plate buried out in the ground @ depth 3.7 m (12ft) as per P.W.D-PHE specification & testing pumping set against the required head for 72 hours etc complete (R.A Approved) |  |  |  |  |  |
|  | 2SET |  | RS: 275200/00 | P-SET |  | RS: 550400/00 |
|  | Supplying & installing in position i/c transportation to site of work at Disposal Work @ Harwar, Electric pumping consisting AC electric motor (Siemens Made) 10.0 BHP 5/4 1450RPM (Type-I) LA73-113-2AA 60 frame 60 MM coupled with non clogging pump KWPZ 100-250 size 5’/4’ mounted local sell frame are base plate of discharge 410 PM against the head of 40:ft installation of pumping set on cement concrete foundation Ratio 1:2:4 & 1:4:8 with stone ballast with MS nuts and bolts of 5/8 to be embedded in cement concrete foundation . Providing fixing M.C.U ( MEECO made) all accessories consisting of ASD 10 BHP (Automatic star delta starter circuit breaker MCCB over load relay timer, relay push button ,indicators & internal wiring & all those companies are fixed in a metallic cost smoke proof box, providing internal electric wiring MCU to electric motor 3-7/0.44 PVC insulated wire 660 volts grade in 50 mm (2”) PVC conduit on surface as required i/c providing & fixing earthling set with 0.6 mm 0.6 mm (2x2x1/4) copper plate buried out in the ground @ depth 3.7 m (12ft) as per P.W.D-PHE specification & testing pumping set against the required head for 72 hours etc complete (R.A Approved) |  |  |  |  |  |
|  | 1SET |  | RS: 223000/00 | P-SET |  | RS: 223000/00 |
|  |  |  |  | TOTAL |  | RS: 773400/00 |
|  | INTERCONNECTION |  |  |  |  |  |
| 01 | Providing laying & fixing in trench i/c fitting jointing & testing etc complete in all respect the high Density Polythene PE Pipes (HDPE-100) PN-10 for W/S confirming ISO 4427/DIN 8074/8075 B.S 3580 & PSI 3051 (PHSI No: F-1 P No: 25) |  |  |  |  |  |
|  | 50.00RFT |  | RS: 530/00 | P.RFT |  | RS: 26500/00 |
| 02 | For suction line 4”dia |  |  |  |  |  |
|  | 10.00RFT |  | RS: 268/00 | P.RFT |  | RS: 2680/00 |
| 03 | Providing / Fixing M.S Machined pipe made out of M.S Sheet 3/16” thick i/c cutting fitting & rolling the correct curvature shape (Based on schedule item) |  |  |  |  |  |
|  | 16.00RFT 6”Dia |  | RS: 749/34 | P.RFT |  | RS: 11989/00 |
|  | 8.00RFT 4”Dia |  | RS: 506/60 | P.RFT |  | RS: 8106/00 |
| 04 | Providing installing M.S Flanged made out of M.S Sheet 3/8”ticj i/c drilling holes & welding with M.S Pipe (based on Schedule Items) |  |  |  |  |  |
|  | 16.00RFT 6”Dia |  | RS: 804/77 | P.RFT |  | RS: 12876/00 |
|  | 8.00RFT 4”Dia |  | RS: 596/75 | P.RFT |  | RS: 4774/00 |
| 05 | Providing & fixing Adopter |  |  |  |  |  |
|  | 08 Nos: 4”Dia |  | RS: 1215/00 | EACH |  | RS: 9720/00 |
|  | 16 Nos: 6”Dia |  | RS: 2025/00 | EACH |  | RS: 32400/00 |
| 06 | Supplying of CI sluice valve heavy pattern (test pressure 21.00kg / sq cm or 300ibs inch) SM PHSI 2 P 11. |  |  |  |  |  |
|  | 03 Nos: 6”Dia |  | RS: 9360/00 | Each |  | RS: 98080/00 |
| 07 | Supplying of Foot valve heavy pattern with one cone end type gate SM PHSI 2 P 10. |  |  |  |  |  |
|  | 01 No: 4”Dia |  | RS: 893/75 | Each |  | RS: 894/00 |
|  | 02 Nos: 6”Dia |  | RS: 1381/25 | Each |  | RS: 2763/00 |
| 08 | CI supplying reflex valve heavy pattern (test pressure 21.00kg / sq cm or 300ibs inch) SM PHSI 6 P 11. |  |  |  |  |  |
|  | 02 Nos: 4”Dia |  | RS: 1706/25 | Each |  | RS: 3413/00 |
|  | 02 Nos: 6”Dia |  | RS: 4062/50 | Each |  | RS: 8125/00 |
| 09 | CI bends with flanges with holes i/c turning facing flanges for all size. SM PHSI 8 P 11. |  |  |  |  |  |
|  | 1.73CWT 6”Dia |  | RS: 6096/00 | P.CWT |  | RS: 10546/00 |
| 10 | CI tee flanges with holes i/c turning facing flanges for all size. SM PHSI 12 P 12. |  |  |  |  |  |
|  | 0.71CWT |  | RS: 6096/00 | P.CWT |  | RS: 4328/00 |
| 11 | But fusion joint |  |  |  |  |  |
|  | 24 Nos: |  | RS: 1000/00 | EACH |  | RS: 24000/00 |
| 12 | Jointing C.I/M.S flanges pipes & specials flanged & inside trenches i/c supplying rubber packing of the required thickness nuts bolts with washers etc & tools required for jointing & the joints to the specified pressure etc complete (PHSI No: 1 P No:40) 6’Dia |  |  |  |  |  |
|  | 16 Joints 6”Dia |  | RS: 938/00 | P.JOINT |  | RS: 15008/00 |
|  | 08 Joints 4”Dia |  | RS: 513/00 | P.JOINT |  | RS: 4104/00 |
|  |  |  |  | TOTAL |  | RS: 983706/00 |
|  | SUB-WORK-IV SURFACE DRAINS |  |  |  |  |  |
| 01 | Dismantling brick work in lime or cement mortar (CSI No: 13 P No: 10) |  |  |  |  |  |
|  | 1200.00CFT |  | RS: 1285/63 | P-% CFT |  | RS: 15428/00 |
| 02 | Dismantling cement concrete reinforced separating reinforcement from concrete cleaning and straightening the same (CSI No: 20 P No: 10) |  |  |  |  |  |
|  | 231.18CFT |  | RS: 5445/00 | P-% CFT |  | RS: 12588/00 |
| 03 | Excavation for foundation of building bridges and other structures i/c dag belling dressing refilling around structure with executed earth watering & ramming lift upto 5”ft (CSI No: 18 P No: 04) |  |  |  |  |  |
|  | 43360.00CFT |  | RS:3176/25 | P%0CFT |  | RS: 137722/00 |
| 04 | Cement concrete plain i/c placing compacting finishing and curing i/c screening and washing of stone aggregate without shuttering Ratio 1:4:8 (CSI No: 05 P No: 16) |  |  |  |  |  |
|  | 1:4:8 | 4932.00 CFT | RS: 11288/75 | P%CFT |  | RS: 556761/00 |
| 05 | HD Step |  |  |  |  |  |
|  | 519.55CFT |  | RS: 14429/25 | P.%CFT |  | RS: 74967/00 |
| 06 | Pacca brick work in foundation and plinth in cement sand mortar 41:6 (CSI No: 04 P. No: 21). |  |  |  |  |  |
|  | 26437.50CFT |  | RS: 11948/36 | P.%CFT |  | RS: 3158848/00 |
| 07 | Construction of open drains cunettee block of cement concrete (1:2:4) n situ to design profile i/c applying floating coat of cement 1/3” thick to the exposed face finished smooth curing etc complete as per detailed drawing (PHSI No: P No: 58). |  |  |  |  |  |
|  | T-I | 3000.0RFT | RS: 94/00 | P.RFT |  | RS: 282000/00 |
|  | T-II | 2000.0CFT | RS: 174/00 | P.RFT |  | RS: 348000/00 |
|  | T-III | 1400.0CFT | RS: 309/00 | P.RFT |  | RS: 432600/00 |
| 08 | Cement plaster (1:4) up to 20” height ½” (CSI No: 11 P No: 52) |  |  |  |  |  |
|  | 42800.00SFT |  | RS: 2283/93 | P.%SFT |  | RS: 977522/00 |
| 09 | RCC work in roof slabs beams columns rafts lintels and other structural members laid in situ or pre cost laid in position complete in all respect. (CSI No: 6 P No: 18) |  |  |  |  |  |
|  | 361.50 CFT |  | RS: 337/00 | P.%CFT |  | RS: 121826/00 |
| 08 | Fabrication of Mild Steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastening i/c cost of binding wire also i/c removal of rust from bars. (CSI No7 P.20). |  |  |  |  |  |
|  | 12.91 CWT |  | RS: 5001/70 | P.CWT |  | RS: 64572/00 |
|  |  |  |  | TOTAL |  | RS: 6182834/00 |
|  | SUB-WORK-IV RCC SEWERE 18 & 24”DIA |  |  |  |  |  |
| 01 | Dismantling & removing road medaling (GSI No: 51 P No: 13) |  |  |  |  |  |
|  | 1400.00CFT |  | RS: 605/00 |  | P.%CFT | RS: 8470/00 |
| 02 | Excavation for pipe line in trenches and pit sand in soft soil i/c trimming and dressing sides to true alignment design section/profiles and shape leveling of beds of trenches to correct level and grade i/c laying of earth in 6” layers for construction of banks and dressing and disposal of surplus excavated earth within one chain as directed by Engineer in charge i/c providing fence guards lights flags and temporary crossing for non vehicular traffic where ever required lift upto 5’ft (1.52m) and lead upto one chain(P.H.S.I.NO. 1 P/60) |  |  |  |  |  |
|  | 4752.00CFT |  | RS: 3600/00 |  | P.%0CFT | RS: 17107/00 |
| 03 | Excavation for pipe line in trenches and pit sand in wet soil i/c trimming and dressing sides to true alignment design section/profiles and shape leveling of beds of trenches to correct level and grade i/c laying of earth in 6” layers for construction of banks and dressing and disposal of surplus excavated earth within one chain as directed by Engineer in charge i/c providing fence guards lights flags where ever required lift upto 5’ft and lead upto one chain(P.H.S.I.NO. 1 P/67) |  |  |  |  |  |
|  | 3384.00CFT |  | RS: 5400/00 |  | P.%0CFT | RS: 12830/00 |
| 04 | 4752.00CFT (18&24:Dia Pipe) |  | RS: 5950/00 |  | P.%0CFT | RS: 28274/00 |
| 05 | Providing RCC PIPES OF ASTM C-76-62 T/C 76-70 class II wall ‘B’& fixing in Trenches i/c cutting fitting & jointing with rubber rings i/c testing with water to specified pressure (PHSI No: B-1 P 17) |  |  |  |  |  |
|  | 288.00 RFT 18” Dia |  | RS: 618/00 |  | P-RFT | RS: 177984/00 |
|  | 96.00 RFT 24” Dia |  | RS: 869/00 |  | P-RFT | RS: 83424/00 |
| 06 | Cement plaster ½ “ thick upto 12”height |  |  |  |  |  |
|  | 216.66 SFT |  | RS: 2283/93 |  | P-% SFT | RS: 4948/00 |
| 07 | High bond polymer compound (SMI No: 48 P No: 4) |  |  |  |  |  |
|  | 10.00KG |  | RS: 154/00 |  | P.KG | RS: 1540/00 |
| 08 | Refilling the excavated stuff in trenches 6” thick layer i/c watering ramming to full compaction etc complete (PHSI No: 24 P No: 77) |  |  |  |  |  |
|  | 11599.20CFT |  | RS: 2760/00 |  | P.%0CFT | RS: 32014/00 |
|  |  |  |  |  | TOTAL | RS: 366591/00 |
|  | SUB-WORK-V MAIN HOLE |  |  |  |  |  |
| 01 | Dismantling & removing road medaling (GSI No: 51 P No: 13) |  |  |  |  |  |
|  | 265.33CFT |  | RS: 605/00 |  | P.%CFT | RS: 1605/00 |
| 02 | Excavation for foundation of building bridges and other structures i/c dag belling dressing refilling around structure with executed earth watering & ramming lift upto 5”ft (CSI No: 18 P No: 04) |  |  |  |  |  |
|  | 1907.55CFT |  | RS:3176/25 |  | P%0CFT | RS: 6059/00 |
| 03 | Extra for wet earth work (CSI No: 15 P No: 3) |  |  |  |  |  |
|  | 1144.53CFT |  | RS: 1058/75 |  | P.%0CFT | RS: 1212/00 |
| 04 | Cement concrete brick are stone ballast |  |  |  |  |  |
|  | 190.75CFT |  | RS: 9416/28 |  | P-%CFT | RS: 17962/00 |
| 05 | RCC work in roof slabs beams columns rafts lintels and other structural members laid in situ or pre cost laid in position complete in all respect. (CSI No: 6 P No: 18) |  |  |  |  |  |
|  | 652.58 CFT |  | RS: 337/00 |  | P.%CFT | RS: 219919/00 |
| 06 | Fabrication of Mild Steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastening i/c cost of binding wire also i/c removal of rust from bars. (CSI No7 P.20). |  |  |  |  |  |
|  | 26.21 CWT |  | RS: 5001/70 |  | P.CWT | RS: 131095/00 |
| 07 | Cement concrete plain i/c placing, compacting, finishing curing i/c screening & Washing of stone aggregate w/o shuttering (c.s.i no 05 p-no18) |  |  |  |  |  |
|  | 164.10 CFT 1:2:4 |  | RS: 14429/25 |  | P-%CFT | RS: 23678/00 |
| 08 | Erection and removal of centering for RCC plain CC work of partal wood works of wood. |  |  |  |  |  |
|  | 116.00SFT |  | RS: 3127/41 |  | P.%SFT | RS: 3628/00 |
| 09 | Providing CI manhole cover and frame i/c cost of material etc (PHSI No: 1 P No:35) |  |  |  |  |  |
|  | 27.00CWT |  | RS: 6985/00 |  | P.CWT | RS: 188595/00 |
|  |  |  |  |  | TOTAL | RS: 593753/00 |
|  | SUB-WORK-VI P.E RISING MAIN 6”DIA |  |  |  |  |  |
| 01 | Excavation in foundation of building bridges and structure i/c dag belling dressing refilling around the structure executed earth watering and ramming lead upto one chain lift upto 5dt in ordinary soil |  |  |  |  |  |
|  | 35481.50CFT |  | RS: 3600/00 |  | P.%0CFT | RS: 127555/00 |
| 02 | Providing laying fixing testing i/c fitting jointing and testing etc complete in all respect the high density polyethylene P.E pipe (HDPE-100) for w/s confirming 1504427/DIN8074/8075 PS3580 & PSI 3051 (PHSI 1 No: P No: 25) |  |  |  |  |  |
|  | 300.00RFT 160MM |  | RS: 440/00 |  | P.RFT | RS:132000/00 |
|  | 3850.00RFT 225MM |  | RS: 860/00 |  | P.RFT | RS:3311000/00 |
| 03 | P.E Specials (HDPE-100) P.N8 |  |  |  |  |  |
| a) | P.E Elbow 45’ P.N8 |  |  |  |  |  |
|  | 2 Nos: |  | RS: 5500/00 |  | P.No: | RS: 11000/00 |
|  | P.E Elbow 45’ P.N8 |  |  |  |  |  |
|  | 4 Nos: |  | RS: 6874/00 |  | P.No: | RS: 27496/00 |
|  | P.E Elbow 90’ P.N8 |  |  |  |  |  |
|  | 2 Nos: |  | RS: 2748/80 |  | P.No: | RS: 5498/00 |
| b) | Butt Fusion 6”Dia |  |  |  |  |  |
|  | 2 Nos: |  | RS: 1000/00 |  | P.No: | RS: 2000/00 |
|  | Butt Fusion 8”Dia |  |  |  |  |  |
|  | 6 Nos: |  | RS: 1800/00 |  | P.No: | RS: 10800/00 |
| 4 | Refilling the excavated stuff in trenches 6”thick layers i/c watering ramming to full compacting |  |  |  |  |  |
|  | 31939.00CFT |  | RS: 2760/00 |  | P.%0 | RS: 88152/00 |
|  |  |  |  |  | TOTAL | RS: 3715701/00 |
|  | SUB-WORK-VII REWINDING OF TRANSFORMER |  |  |  |  |  |
| 1 | Filling of Oil in Transformer (M.R) |  |  |  |  |  |
|  | 160 Litters |  | RS: 180/00 | P.Litter |  | RS: 28800/00 |
| 2 | Supplying & Fixing PVC 3core cable (M.R) |  |  |  |  |  |
|  | 75.00Meter |  | RS: 240/78 | P.Meter |  | RS: 18059/00 |
|  |  |  |  | TOTAL |  | RS: 46859/00 |
|  | SUB-WORK-VIII SILT CLEARANCE |  |  |  |  |  |
| 01 | Earth work excavation undressed lead upto 1chain shingle throw of kassi phawara in ordinary soil (CSI No: 1 P No: 1 i/c 02 mile extra lead) |  |  |  |  |  |
|  | 22208.92 CFT |  | RS: 1134/38 |  | P.%0CFT | RS: 25193/00 |
| 02 | Cleaning of collecting tank/ sump well below ground level i/c dewatering of sullage water and disposal of garbage solid waste etc outside the tank etc complete (PHSI No:4 P No:4 ) |  |  |  |  |  |
|  | 3753.52CFT |  | RS: 11900/00 |  | P.%0CFT | RS: 44667/00 |
| 03 | Extra for every 50ft: additional lead of or part thereof, for earth work (soft ordinary hard & very hard) (CSI No: 8 P No:2) |  |  |  |  |  |
|  | 22736.44CFT |  | RS: 2015/60 |  | P%0CFT | RS: 45828/00 |
|  |  |  |  |  | TOTAL | RS: 115688/00 |
|  | SUB-WORK-IX ANNUAL OPERATION MAINTENANCE COST |  |  |  |  |  |
| A | ESTABLISHMENT |  |  |  |  |  |
| 01 | Pump Operator (M&R) |  |  |  |  |  |
|  | 12.00 Month |  | RS: 7000/00 | P. Month |  | RS: 84000/00 |
| 02 | Chowkidar / Hepler (M&R) |  |  |  |  |  |
|  | 12.00 Month |  | RS: 7000/00 | P. Month |  | RS: 84000/00 |
| 03 | Sweeper (M&R) |  |  |  |  |  |
|  | 12.00 Month |  | RS: 7000/00 | P. Month |  | RS: 84000/00 |
| B | ANNUAL REPAIR CHARGES |  |  |  |  |  |
| 01 | Repair of Electric & Pump etc complete (M&R) |  |  |  |  |  |
|  | 1 Job |  | RS: 100000/00 | P.SET |  | RS: 100000/00 |
| 02 | Oil Lubrication / Cotton Waste etc complete. (M.R) |  |  |  |  |  |
|  | 24 Months |  | RS: 3000/00 | P. Month |  | RS: 72000/00 |
|  |  |  |  | TOTAL |  | RS: 424000/00 |

ABSTRACT

| S. NO: | ITEM OF WORK | SCHEDULE ITEMS | NON-SCHEDULE ITEM | TOTAL |
| --- | --- | --- | --- | --- |
| 1 | Repair of Screening Chamber (Lohi) | 39550.00 | 00 | 39550.00 |
| 2 | Pumping Machinery I/C Interconnection (Lohi) | 144565.00 | 224600.00 | 369165.00 |
| 3 | P.E Rising Main 6”Dia (Lohi) | 509541.00 | 00 | 509541.00 |
| 4 | Pump House (Lohi) | 251109.00 | 00 | 251109.00 |
| 5 | Repair of Chowkidar Hut (Lohi) | 185904..00 | 00 | 185904..00 |
| 6 | Repair of Compound Wall (Lohi) | 472630.00 | 00 | 472630.00 |
| 7 | Repair of Transformer (Lohi) | 25336.00 | 44400.00 | 69736.00 |
| 8 | Surface Drains (Lohi) | 2462907.00 | 00 | 2462907.00 |
| 9 | Silt Clearance (Lohi) | 48543.00 | 00 | 48543.00 |
| 10 | Operation & Maintenance Cost for 1 Year (Lohi) | 00 | 424000.00 | 424000.00 |
| 11 | Civil Structure (Jarwar) | 745653.00 | 00 | 745653.00 |
| 12 | Repair of Compound Wall (Jarwar) | 473900.00 | 00 | 473900.00 |
| 13 | P/ Machinery Intt:Connection (Jarwar) | 210306.00 | 773400.00 | 983706.00 |
| 14 | Surface Drains (Jarwar) | 6182834.00 | 00 | 6182834.00 |
| 15 | RCC Sewer (Jarwar) | 366591.00 | 00 | 366591.00 |
| 16 | Main Hole (Jarwar) | 593753.00 | 00 | 593753.00 |
| 17 | Rising Main (Jarwar) | 3715701.00 | 00 | 3715701.00 |
| 18 | Repair of Transformer (Jarwar) | 00 | 46859.00 | 46859.00 |
| 19 | Silt Clearance (Jarwar) | 115688.00 | 00 | 115688.00 |
| 20 | Operation & Maintenance Cost for 1 Year (Jarwar) | 00 | 424000.00 | 424000.00 |
|  | TOTAL | 16544511.00 | 1937259.00 | 18481770.00 |

| CONTRACTOR | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION GHOTKI @ MIRPUR MATHELO |
| --- | --- |

CONDITION

| 01 | The work shall have to be executed according to PWD/PHE specification |
| --- | --- |
| 02 | No premium on non schedule item shall be allowed to the contractor |
| 03 | Any error omission in the description of item of work and the rate shall be governed with the relevant schedule of rate and estimate |
| 04 | The contractor shall have to bring the material to be used from the quarries mentioned in the estimate |

| CONTRACTOR | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION GHOTKI @ MIRPUR MATHELO |
| --- | --- |