SCHEDULE “B”

| NAME OF WORK | CONSTRUCTION OF SURFACE DRAINS, CC BLOCK, BRICK PAVEMENT & DISPOSAL WORK RCC COLLECTING TANK RCC SCREENING CHAMBER & PUMP HOUSE (GHOTA MARKET & TANDU MASU KHAN ZONE) FOR URBAN DRAINAGE SCHEME GHOTKI (MEGA PROJECT) |
| --- | --- |

| A | SURFACE DRAINS (GHOTA MARKET ZONE) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 01 | Excavation for foundation of building bridges and other structures i/c dag belling dressing refilling around structure with executed earth watering & ramming lift upto 5”ft (CSI No: 18 P No: 04) |  |  |  |  |  |  |
|  | 5876.25CFT |  | RS:3176/25 |  | P%0CFT |  | RS: 18664/00 |
| 02 | Cement concrete plain i/c placing compacting finishing and curing i/c screening and washing of stone aggregate without shuttering Ratio 1:4:8 (CSI No: 05 P No: 16) |  |  |  |  |  |  |
|  | 935.25 CFT Ratio 1:4:8 |  | RS: 11288/75 |  | P%CFT |  | RS: 105578/00 |
|  | 135.43 CFT Ratio 1:2:8 |  | RS: 14429/25 |  | P%CFT |  | RS: 19542/00 |
| 03 | Pacca brick work in foundation and plinth in cement sand mortar 41:6 (CSI No: 04 P. No: 21). |  |  |  |  |  |  |
|  | 2775.00CFT |  | RS: 11948/36 |  | P.%CFT |  | RS: 331567/00 |
| 04 | Construction of open drains cunettee block of cement concrete (1:2:4) n situ to design profile i/c applying floating coat of cement 1/3” thick to the exposed face finished smooth curing etc complete as per detailed drawing (PHSI No: P No: 58). |  |  |  |  |  |  |
|  | 1050.00RFT Type-I |  | RS: 94/00 |  | P.RFT |  | RS: 98700/00 |
|  | 400.0CFT Type-II |  | RS: 174/00 |  | P.RFT |  | RS: 69600/00 |
| 05 | Cement plaster (1:4) up to 20” height ½” (CSI No: 11 P No: 52) |  |  |  |  |  |  |
|  | 4225.00SFT |  | RS: 2283/93 |  | P.%SFT |  | RS: 96496/00 |
| 06 | RCC work in roof slabs beams columns rafts lintels and other structural members laid in situ or pre cost laid in position complete in all respect. (CSI No: 6 P No: 18) |  |  |  |  |  |  |
|  | 146.63 CFT |  | RS: 337/00 |  | P.%CFT |  | RS: 49414/00 |
| 07 | Fabrication of Mild Steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastening i/c cost of binding wire also i/c removal of rust from bars. (CSI No7 P.20). |  |  |  |  |  |  |
|  | 5.23 CWT |  | RS: 5001/70 |  | P.CWT |  | RS: 26159/00 |
|  |  |  |  |  | TOTAL |  | RS: 815720/00 |
| B | CC BLOCK(GHOTA MARKET ZONE) |  |  |  |  |  |  |
| 01 | Barrow pit excavation under said lead up to 100 ft( CSI No. 3 P. 11 |  |  |  |  |  |  |
|  | 8044.00CFT |  |  | RS: 2117/50 |  | P.%0CFT | RS: 17033/00 |
| 02 | Carraige of Earth (CSI No:08 P No: 02) |  |  |  |  |  |  |
|  | 8044.00CFT |  |  | RS: 579/41 |  | P.%0CFT | RS: 46608/00 |
| 03 | Laying earth in 6” layer leveling dressing & watering for compaction etc complete |  |  |  |  |  |  |
|  | 13920.00CFT |  |  | RS: 354/00 |  | P.%0CFT | RS: 4928/00 |
| 04 | Dry Brick on edge paving sand grouted including preparation of bed by watering ramming and brining the same to proper camber by ½”thick mud plaster (CSI No: 05 P No: 40) |  |  |  |  |  |  |
|  | 9280.00SFT |  |  | RS: 3823/57 |  | P.%SFT | RS: 354827/00 |
| 05 | Cement Concrete plain compacting finishing and queering etc complete 1:2:4 i/c surface finishing and dividing in to panels 3” thick. (CSI No: 5 P No: 16). |  |  |  |  |  |  |
|  | 2320.00SFT |  |  | RS: 14429/25 |  | P.%SFT | RS: 334759/00 |
| 06 | Eraction and removal of centering for RCC plain CC work of partal wood works of wood. |  |  |  |  |  |  |
|  | 580.00SFT |  |  | RS: 3127/41 |  | P.%SFT | RS: 18139/00 |
|  |  |  |  |  |  | TOTAL | RS: 776294/00 |
| C | BRICK PAVEMENT (GHOTA MARKET ZONE) |  |  |  |  |  |  |
| 01 | Barrow pit excavation under said lead up to 100 ft( CSI No. 3 P. 11 |  |  |  |  |  |  |
|  | 3480.00CFT |  |  | RS: 2117/50 |  | P.%0CFT | RS: 7369/00 |
| 02 | Carraige of Earth (CSI No:08 P No: 02) |  |  |  |  |  |  |
|  | 3480.00CFT |  |  | RS: 579/41 |  | P.%0CFT | RS: 20163/00 |
| 03 | Laying earth in 6” layer leveling dressing & watering for compaction etc complete |  |  |  |  |  |  |
|  | 3480.00CFT |  |  | RS: 354/00 |  | P.%0CFT | RS: 1232/00 |
| 04 | Dry Brick on edge paving sand grouted including preparation of bed by watering ramming and brining the same to proper camber by ½”thick mud plaster (CSI No: 05 P No: 40) |  |  |  |  |  |  |
|  | 2320.00SFT |  |  | RS: 3823/57 |  | P.%SFT | RS: 88107/00 |
|  |  |  |  |  |  | TOTAL | RS: 117471/00 |
| D | RCC COLLECTING TANK 20”DIA (GHOTA MARKET) |  |  |  |  |  |  |
| 01 | Excavation of well in dry up to 20’ below ground level & disposal of earth soil With in one chain (p.h.s.i no 1 p no 86) |  |  |  |  |  |  |
|  | 1987.03 CFT |  | RS: 2247/58 |  | P%0 CFT |  | RS: 4466/00 |
| 02 | Wet sinking of well for depth below spring level by means of all charges for Shoring lead in & removing of excavated material with one chain (c.s.i no 3 p-09) |  |  |  |  |  |  |
|  | 1987.03 CFT | 0-5’ | RS: 11763/80 |  | P-%CFT |  | RS: 23375/00 |
|  | 1987.03 CFT | 5’-10’ | RS: 24200/00 |  | P-%0CFT |  | RS: 48086/00 |
|  | 1589.62CFT | 10-”15’ | RS: 37230/77 |  | P-%0CFT |  | RS: 59183/00 |
| 03 | R.C.C working roof slab beams ,columns, rafts, lintels,& other structural members Laid in situ or pre-cast laid in position complete in all respect ratio 1:2:4 (c.s.i no- 06 p- 19) |  |  |  |  |  |  |
|  | 1458.75 CFT |  | RS: 337/00 |  | P- CFT |  | RS: 491599/00 |
| 04 | Fabrication of mild steel reinforcement for R.C.C or C.C i/c cutting bending, laying In position ,making joints& fastening i/c cost of binding wire also i/c removal of Rust from bars (c.s.i no-7 p-20) |  |  |  |  |  |  |
|  | 61.10 CFT |  | RS: 5001/70 |  | P- CFT |  | RS: 305604/00 |
| 05 | Providing construction of joints in concrete works of 9” (225MM) WIRE CORRUGATED PVC water stop with bulb i/c soldering material & labour (PHSI No: 02 p No: 56) |  |  |  |  |  |  |
|  | 197.82RFT |  | RS: 86/00 |  | P-RFT |  | RS: 17013/00 |
| 05 | Cement concrete brick are stone ballast (CSI No: 04 P No: 15) |  |  |  |  |  |  |
|  | 652.32CFT |  | RS: 9416/28 |  | P-%CFT |  | RS: 61424/00 |
| 06 | Cement concrete plain i/c placing, compacting, finishing curing i/c screening & Washing of stone aggregate w/o shuttering (c.s.i no 05 p-no18) |  |  |  |  |  |  |
|  | 314.00 CFT 1:4:8 |  | RS: 11288/75 |  | P-%CFT |  | RS: 35447/00 |
|  | 314.00 CFT 1:3:6 |  | RS: 12595/00 |  | P-%CFT |  | RS: 39548/00 |
|  | 314.00 CFT 1:2:4 |  | RS: 14429/25 |  | P-%CFT |  | RS: 45308/00 |
| 07 | Bailing or pumping out sub soil ,water during excavation, concreting cost in situ Concrete of masonary work in foundation etc complete ( p.h.s.i no- p- ) |  |  |  |  |  |  |
|  | 7222.00 CFT |  | RS: 543/00 |  | P-% CFT |  | RS: 39215/00 |
|  | INTERCONNECTION |  |  |  |  |  |  |
| 08 | Excavation for pipe line in trenches pits tank & reservoir in soft soil i/.c trimming dressing to true alignment & leveling of beds of trenches to correct level & grad cutting jointing holes providing non vehicular traffic (PHSI No: 1 P No: 60) |  |  |  |  |  |  |
|  | 192.00 CFT |  | RS: 3000/00 |  | P-%0 CFT |  | RS: 691/00 |
| 09 | Providing RCC PIPES OF ASTM C-76-62 T/C 76-70 class II wall ‘B’& fixing in Trenches i/c cutting fitting & jointing with rubber rings i/c testing with water to specified pressure (PHSI No: B-1 P 17) |  |  |  |  |  |  |
|  | 8.00 RFT 18”DIA |  | RS: 618/00 |  | P-RFT |  | RS: 49444/00 |
| 10 | Refilling the excavated stuff in trenches in 6” layer i/c watering & ramming (p.h.s.i no- 24 p-53) |  |  |  |  |  |  |
|  | 172.80CFT |  | RS: 2760/00 |  | P%0CFT |  | RS: 477/00 |
|  |  |  |  |  | TOTAL |  | RS: 1176380/00 |
| E | RCC COLLECTING TANK 15”DIA (TANDO MASU KHAN) |  |  |  |  |  |  |
| 01 | Excavation of well in dry up to 20’ below ground level & disposal of earth soil With in one chain (p.h.s.i no 1 p no 86) |  |  |  |  |  |  |
|  | 1202.03 CFT |  | RS: 2247/58 |  | P%0 CFT |  | RS: 2702/00 |
| 02 | Wet sinking of well for depth below spring level by means of all charges for Shoring lead in & removing of excavated material with one chain (c.s.i no 3 p-09) |  |  |  |  |  |  |
|  | 1202.03 CFT | 0-5’ | RS: 11763/80 |  | P-%CFT |  | RS: 14140/00 |
|  | 1202.03 CFT | 5’-10’ | RS: 24200/00 |  | P-%0CFT |  | RS: 29089/00 |
|  | 841.42 CFT | 10-”15’ | RS: 37230/77 |  | P-%0CFT |  | RS: 31327/00 |
| 03 | R.C.C working roof slab beams ,columns, rafts, lintels,& other structural members Laid in situ or pre-cast laid in position complete in all respect ratio 1:2:4 (c.s.i no- 06 p- 19) |  |  |  |  |  |  |
|  | 1036.07 CFT |  | RS: 337/00 |  | P- CFT |  | RS: 349156/00 |
| 04 | Fabrication of mild steel reinforcement for R.C.C or C.C i/c cutting bending, laying In position ,making joints& fastening i/c cost of binding wire also i/c removal of Rust from bars (c.s.i no-7 p-20) |  |  |  |  |  |  |
|  | 43.53 CFT |  | RS: 5001/70 |  | P- CFT |  | RS: 217724/00 |
| 05 | Providing construction of joints in concrete works of 9” (225MM) WIRE CORRUGATED PVC water stop with bulb i/c soldering material & labour. |  |  |  |  |  |  |
|  | 150.72RFT |  | RS: 86/00 |  | P-RFT |  | RS: 12962/00 |
| 05 | Cement concrete brick are stone ballast |  |  |  |  |  |  |
|  | 371.65CFT |  | RS: 9416/28 |  | P-%CFT |  | RS: 34996/00 |
| 06 | Cement concrete plain i/c placing, compacting, finishing curing i/c screening & Washing of stone aggregate w/o shuttering (c.s.i no 05 p-no18) |  |  |  |  |  |  |
|  | 176.62 CFT 1:4:8 |  | RS: 11288/75 |  | P-%CFT |  | RS: 19938/00 |
|  | 176.62 CFT 1:3:6 |  | RS: 12595/00 |  | P-%CFT |  | RS: 22245/00 |
|  | 176.62 CFT 1:2:4 |  | RS: 14429/25 |  | P-%CFT |  | RS: 25485/00 |
| 07 | Bailing or pumping out sub soil ,water during excavation, concreting cost in situ Concrete of masonary work in foundation etc complete ( p.h.s.i no- p- ) |  |  |  |  |  |  |
|  | 4877.59 CFT |  | RS: 543/00 |  | P-% CFT |  | RS: 26485/00 |
|  | INTERCONNECTION |  |  |  |  |  |  |
| 08 | Excavation for pipe line in trenches pits tank & reservoir in soft soil i/.c trimming dressing to true alignment & leveling of beds of trenches to correct level & grad cutting jointing holes providing non vehicular traffic (PHSI No: 1 P No: 60) |  |  |  |  |  |  |
|  | 192.00 CFT |  | RS: 3000/00 |  | P-%0 CFT |  | RS: 691/00 |
| 09 | Providing RCC PIPES OF ASTM C-76-62 T/C 76-70 class II wall ‘B’& fixing in Trenches i/c cutting fitting & jointing with rubber rings i/c testing with water to specified pressure (PHSI No: B-1 P 17) |  |  |  |  |  |  |
|  | 8.00 RFT 18”DIA |  | RS: 618/00 |  | P-RFT |  | RS: 49444/00 |
| 10 | Refilling the excavated stuff in trenches in 6” layer i/c watering & ramming (p.h.s.i no- 24 p-53) |  |  |  |  |  |  |
|  | 172.80CFT |  | RS: 2760/00 |  | P%0CFT |  | RS: 475/00 |
|  |  |  |  |  | TOTAL |  | RS: 792359/00 |
| F | SCREENING CHAMBER GHOTA MARKET & TANDO MASU |  |  |  |  |  |  |
| 01 | Excavation in foundation of buildings bridges &other structures i/c dag belling dressing& refilling around the structures with excavated earth lead up to one chain &lift up to 5 ft (c.s.i no 18 p no 4) |  |  |  |  |  |  |
|  | 647.50CFT |  | RS: 3176/25 |  | P-%0 CFT |  | RS: 2057/00 |
| 02 | Extra for wet earth (CSI No: 15 P No: 3) |  |  |  |  |  |  |
|  | 297.50CFT |  | RS: 1058/75 |  | P.%0CFT |  | RS: 315/00 |
| 03 | Cement concrete brick or stone ballast 1 ½”-2” guage (c.s.i no 4 p no:17) |  |  |  |  |  |  |
|  | 52.82 CFT |  | RS: 9416/28 |  | P-%CFT |  | RS: 4944/00 |
| 04 | R.C.C working roof slab beams ,columns, rafts, lintels,& other structural members Laid in situ or pre-cast laid in position complete in all respect ratio 1:2:4 (c.s.i no- 06 p- 19) |  |  |  |  |  |  |
|  | 276.72 CFT |  | RS: 337/00 |  | P- CFT |  | RS: 93255/00 |
| 05 | Fabrication of mild steel reinforcement for R.C.C or C.C i/c cutting bending, laying In position ,making joints& fastening i/c cost of binding wire also i/c removal of Rust from bars (c.s.i no-7 p-20) |  |  |  |  |  |  |
|  | 11.11 CWT |  | RS: 5001/70 |  | P- CWT |  | RS: 55569/00 |
| 06 | Providing construction of joints in concrete works of 9” (225MM) WIRE CORRUGATED PVC water stop with bulb i/c soldering material & labour. |  |  |  |  |  |  |
|  | 29.00RFT |  | RS: 86/00 |  | P-RFT |  | RS: 2494/00 |
| 07 | Small iron work such as gusset plate knees per CWT bends stirring, rings etc including cutting drilling reverting, handling assembling and fixing but excluding erection in position (CSI No: 1 P No:91). |  |  |  |  |  |  |
|  | 2.22 CWT |  | RS: 6420/61 |  | P- CWT |  | RS: 14254/00 |
| 08 | Errection & fitting in position of iron trusses lagging of water tanks etc (P.H.S.I NO-3 P-96) |  |  |  |  |  |  |
|  | 2.22CWT |  | RS: 271/04 |  | P-CWT |  | RS: 601/00 |
| 09 | Pacca Brick work in foundation & plinth in cement sand mortar ratio 1:6 |  |  |  |  |  |  |
|  | 10.13 CFT |  | RS: 11948/36 |  | P-% CFT |  | RS: 1220/00 |
| 10 | Cement plaster 1.4 1/2 “thick upto 20”height (CSI No: 11 P No: 52) |  |  |  |  |  |  |
|  | 38.67 SFT |  | RS: 2283/93 |  | P-% SFT |  | RS: 883/00 |
|  |  |  |  |  |  |  | RS: 175592/00 |
|  |  |  |  |  | 175592x2= |  | RS: 351184/00 |
| G | PUMP HOUSE (GHOTA MARKET & TANDU MASU) |  |  |  |  |  |  |
| 01 | Excavation in foundation of buildings bridges &other structures i/c dag belling dressing& refilling around the structures with excavated earth lead up to one chain &lift up to 5 ft (c.s.i no 18 p no 4) |  |  |  |  |  |  |
|  | 241.62CFT |  | RS: 3176/25 |  | P-%0 CFT |  | RS: 767/00 |
| 02 | Cement concrete brick or stone ballast 1 ½”--2” guage (c.s.i no 4 p no:17) |  |  |  |  |  |  |
|  | 120.71 CFT |  | RS: 9416/28 |  | P % CFT |  | RS: 11366/00 |
| 03 | Random Rubble masonry (Un coursed) in foundation (1:6) (c.s.i no- p-32) |  |  |  |  |  |  |
|  | 177.00CFT |  | RS: 17723/00 |  | P-% CFT |  | RS: 31370/00 |
| 04 | Coursed Rubble masonry i/c hammer dressing ( c.s.i no-1 p-32) |  |  |  |  |  |  |
|  | 239.68 CFT |  | RS:25321/00 |  | P-% CFT |  | RS: 60690/00 |
| 05 | Damp proof coarse with cement sand & shingle concrete (1:2:4) i/c two coats Maxphalt mixture |  |  |  |  |  |  |
|  | 73.75 SFT |  | RS: 4982/18 |  | P-% SFT |  | RS: 3674/00 |
| 06 | Painting on stone work raised (CSI No: 20 P No: 53) Ratio 1:3 |  |  |  |  |  |  |
|  | 240.00 SFT |  | RS: 1758/08 |  | P %SFT |  | RS: 4219/00 |
| 07 | Pacca brick work in foundation and plinth in cement sand mortar 1:6 (c.s.i no5 p-25) |  |  |  |  |  |  |
|  | 18.74 CFT |  | RS: 11948/36 |  | P %CFT |  | RS: 2239/00 |
| 08 | Pacca brick work in foundation ground floor in cement sand mortar 1:6 (c.s.i no5 p-25) |  |  |  |  |  |  |
|  | 387.54 CFT |  | RS: 12674/36 |  | P %CFT |  | RS: 49118/00 |
| 09 | Making fixing steel grated doors with 1 /16” thick sheeting i/c angle iron frame 2x2”3/38& ¾” square bars 4” c/c with locking arrangement (CSI No: 24 P No: 92) |  |  |  |  |  |  |
|  | 28.00SFT |  | RS: 726/72 |  | P.SFT |  | RS: 20348/00 |
| 10 | Fabrication of heavy steel with angle iron flat iron round iron & sheet iron for Making truses girder tanks etc i/c cutting drilling reviting handling assembling & fixing but excluding errection in position (C.S.I no-02 p- 96) |  |  |  |  |  |  |
|  | 3.05 CWT |  | RS: 4928/49 |  | P- CWT |  | RS: 15032/00 |
| 11 | Errection & fitting in position of iron trusses lagging of water tanks etc (P.H.S.I NO-3 P-96) |  |  |  |  |  |  |
|  | 3.05CWT |  | RS: 271/04 |  | P-CWT |  | RS: 827/00 |
| 12 | R.C.C working roof slab beams ,columns, rafts, lintels,& other structural members Laid in situ or pre-cast laid in position complete in all respect ratio 1:2:4 |  |  |  |  |  |  |
|  | 141.25 CFT |  | RS: 337/00 |  | P- CFT |  | RS: 47601/00 |
| 13 | Fabrication of mild steel reinforcement for R.C.C or C.C i/c cutting bending, laying In position, making joints& fastening i/c cost of binding wire also i/c removal of rust from bars (c.s.i no-7 p-20) |  |  |  |  |  |  |
|  | 5.83 CWT |  | RS: 5001/70 |  | P- CWT |  | RS: 29160/00 |
| 14 | Filling watering and remaining earth under floor with new earth excavated from out side lead upto one chain |  |  |  |  |  |  |
|  | 688.00CFT |  | RS: 1512/50 |  | P%0CFT |  | RS: 1011/00 |
| 15 | Preparing surface painting doors & window any type i/c edge |  |  |  |  |  |  |
|  | 128.00SFT |  | RS: 2116/41 |  | P-%SFT |  | RS: 2709/00 |
| 16 | Cement painting strict joints on walls |  |  |  |  |  |  |
|  | 547.50SFT |  | RS: 1213/58 |  | P-%SFT |  | RS: 6644/00 |
| 17 | Cement plaster 1:6 upto 12ft height |  |  |  |  |  |  |
|  | 528.50 SFT |  | RS: 2206/60 |  | P-% SFT |  | RS: 11662/00 |
| 18 | Cement plaster 1:4 upto 11ft height |  |  |  |  |  |  |
|  | 496.00 SFT |  | RS: 2197/52 |  | P-% SFT |  | RS: 10900/00 |
| 19 | White washing one coat (c.s.i no- 26 p-60) |  |  |  |  |  |  |
|  | 496.00 SFT |  | RS: 416/63 |  | P-% SFT |  | RS: 2066/00 |
|  | Three Coat |  |  |  |  |  |  |
|  | 304.50SFT |  | RS: 829/95 |  | P.%SFT |  | RS: 2527/00 |
| 20 | Colour washing Two Coats |  |  |  |  |  |  |
|  | 1024.50 SFT |  | RS: 849/90 |  | P-%SFT |  | RS: 8810/00 |
| 21 | Providing and laying 1”thick topping cement concrete (1:24) ic surface and deriding in to panels |  |  |  |  |  |  |
|  | 178.25SFT |  | RS: 4411/82 |  | P-%SFT |  | RS: 7864/00 |
|  |  |  |  |  |  |  | RS: 330604/00 |
|  |  |  |  |  | 330604x2= |  | RS: 661208/00 |

ABSTRACT

| S# | NAME OF WORK | SCHEDULE | NON- SCHEDULE | TOTAL |
| --- | --- | --- | --- | --- |
| 1 | Surface Drains (Ghota Market) | 815720/00 |  | 815720/00 |
| 2 | CC Block (Ghota Market) | 776294/00 |  | 776294/00 |
| 3 | Brick Pavement (Ghota Market) | 117471/00 |  | 117471/00 |
| 4 | RCC Collecting Tank/ Inter Connection 01 No: (Ghotak Market) | 1176380/00 |  | 1176380/00 |
| 5 | RCC Collecting Tank/ Inter Connection 01 No: (Tandu Masu) | 792359/00 |  | 792359/00 |
| 6 | Screening Chamber (Ghotak Market & Tandu Masu) | 351184/00 |  | 351184/00 |
| 7 | Pump House (Ghotak Market & Tandu Masu) | 661208/00 |  | 661208/00 |
|  | TOTAL | 4690616/00 |  | 4690616/00 |

| CONTRACTOR | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION GHOTKI @ MIRPUR MATHELO |
| --- | --- |

CONDITION

| 01 | The work shall have to be executed according to PWD/PHE specification |
| --- | --- |
| 02 | No premium on non schedule item shall be allowed to the contractor |
| 03 | Any error omission in the description of item of work and the rate shall be governed with the relevant schedule of rate and estimate |
| 04 | The contractor shall have to bring the material to be used from the quarries mentioned in the estimate |

| CONTRACTOR | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION GHOTKI @ MIRPUR MATHELO |
| --- | --- |