SCHEDULE “B”

| NAME OF WORK | CONSTRUCTION OF SURFACE DRAINS & CC BLOCK (RAHMOONWALI ZONE) FOR URBAN DRAINAGE SCHEME GHOTKI (MEGA PROJECT) |
| --- | --- |

| A | SURFACE DRAINS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | Excavation for foundation of building bridges and other structures i/c dag belling dressing refilling around structure with executed earth watering & ramming lift upto 5”ft (CSI No: 18 P No: 04) |  |  |  |  |  |
|  | 32476.25CFT | RS:3176/25 |  | P%0CFT |  | RS: 103153/00 |
| 02 | Cement concrete plain i/c placing compacting finishing and curing i/c screening and washing of stone aggregate without shuttering Ratio 1:4:8 (CSI No: 05 P No: 16) |  |  |  |  |  |
|  | 5235.25 CFT Ratio 1:4:8 | RS: 11288/75 |  | P%CFT |  | RS: 590994/00 |
|  | 479.16 CFT Ratio 1:2:8 | RS: 14429/25 |  | P%CFT |  | RS: 69139/00 |
| 03 | Pacca brick work in foundation and plinth in cement sand mortar 41:6 (CSI No: 04 P. No: 21). |  |  |  |  |  |
|  | 15375.00CFT | RS: 11948/36 |  | P.%CFT |  | RS: 1837060/00 |
| 04 | Construction of open drains cunettee block of cement concrete (1:2:4) n situ to design profile i/c applying floating coat of cement 1/3” thick to the exposed face finished smooth curing etc complete as per detailed drawing (PHSI No: P No: 58). |  |  |  |  |  |
|  | 6050.00RFT Type-I | RS: 94/00 |  | P.RFT |  | RS: 568700/00 |
|  | 2100.0CFT Type-II | RS: 174/00 |  | P.RFT |  | RS: 365400/00 |
| 05 | Cement plaster (1:4) up to 20” height ½” (CSI No: 11 P No: 52) |  |  |  |  |  |
|  | 23525.00SFT | RS: 2283/93 |  | P.%SFT |  | RS: 537295/00 |
| 06 | RCC work in roof slabs beams columns rafts lintels and other structural members laid in situ or pre cost laid in position complete in all respect. (CSI No: 6 P No: 18) |  |  |  |  |  |
|  | 514.89 CFT | RS: 337/00 |  | P.%CFT |  | RS: 173518/00 |
| 07 | Fabrication of Mild Steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastening i/c cost of binding wire also i/c removal of rust from bars. (CSI No7 P.20). |  |  |  |  |  |
|  | 18.38 CWT | RS: 5001/70 |  | P.CWT |  | RS: 91931/00 |
|  |  |  |  | TOTAL |  | RS: 4337190/00 |
| B | CC BLOCK |  |  |  |  |  |
| 01 | Barrow pit excavation under said lead up to 100 ft( CSI No. 3 P. 11 |  |  |  |  |  |
|  | 65324.00CFT |  | RS: 2117/50 |  | P.%0CFT | RS: 138324/00 |
| 02 | Carraige of Earth (CSI No:08 P No: 02) |  |  |  |  |  |
|  | 65324.00CFT |  | RS: 579/41 |  | P.%0CFT | RS: 378494/00 |
| 03 | Laying earth in 6” layer leveling dressing & watering for compaction etc complete |  |  |  |  |  |
|  | 97800.00CFT |  | RS: 354/00 |  | P.%0CFT | RS: 34621/00 |
| 04 | Dry Brick on edge paving sand grouted including preparation of bed by watering ramming and brining the same to proper camber by ½”thick mud plaster (CSI No: 05 P No: 40) |  |  |  |  |  |
|  | 65200.00SFT |  | RS: 3823/57 |  | P.%SFT | RS: 2492968/00 |
| 05 | Cement Concrete plain compacting finishing and queering etc complete 1:2:4 i/c surface finishing and dividing in to panels 3” thick. (CSI No: 5 P No: 16). |  |  |  |  |  |
|  | 16300.00SFT |  | RS: 14429/25 |  | P.%SFT | RS: 2351968/00 |
| 06 | Eraction and removal of centering for RCC plain CC work of partal wood works of wood. |  |  |  |  |  |
|  | 4075.00SFT |  | RS: 3127/41 |  | P.%SFT | RS: 127442/00 |
|  |  |  |  |  | TOTAL | RS: 5523817/00 |

ABSTRACT

| S# | NAME OF WORK | SCHEDULE | NON- SCHEDULE | TOTAL |
| --- | --- | --- | --- | --- |
| 1 | Surface Drains | 4337190/00 |  | 4337190/00 |
| 2 | CC Block | 5523817/00 |  | 5523817/00 |
|  | TOTAL | 9861007/00 |  | 9861007/00 |

| CONTRACTOR | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION GHOTKI @ MIRPUR MATHELO |
| --- | --- |

CONDITION

| 01 | The work shall have to be executed according to PWD/PHE specification |
| --- | --- |
| 02 | No premium on non schedule item shall be allowed to the contractor |
| 03 | Any error omission in the description of item of work and the rate shall be governed with the relevant schedule of rate and estimate |
| 04 | The contractor shall have to bring the material to be used from the quarries mentioned in the estimate |

| CONTRACTOR | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION GHOTKI @ MIRPUR MATHELO |
| --- | --- |