Schedule-A to Bid

SCHEDULE OF PRICES

| NAME OF WORK:- | REHBILITATION OF RURAL DRAINAGE SCHEME RETTI & RURAL WATER SUPPLY SCHEME GHULAM HUSSAIN LEGHARI. |
| --- | --- |

|  | REHBILITATION OF RURAL DRAINAGE SCHEME RETTI |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | SUB-WORK-I CIVIL STRUCTURE |  |  |  |  |
| 01 | Dismantling cement concrete reinforced separating reinforcement from concrete cleaning and straightening the same (CSI No: 20 P No: 10) |  |  |  |  |
|  | 661.30CFT |  | RS: 5445/00 | P-% CFT | RS: 36008/00 |
| 02 | Dismantling brick work in lime or cement mortar (CSI No: 13 P No: 10) |  |  |  |  |
|  | 360.00CFT |  | RS: 1285/63 | P-% CFT | RS: 4628/00 |
| 03 | Coursed Rubble Masonry /c hammer dressing (CSI No: 1 P No:32) |  |  |  |  |
|  | 457.50SFT |  | RS: 25321/00 | P-% SFT | RS: 115844/00 |
| 04 | Pointing on stone works raised (CSI No: 20 P No:53) |  |  |  |  |
|  | 1402.50SFT |  | RS: 1758/08 | P-% SFT | RS: 24657/00 |
| 05 | Pacca brick work in foundation and plinth in cement sand mortar 1:6 (c.s.i no4 p-24) |  |  |  |  |
|  | 75.00 CFT |  | RS: 11948/36 | P %CFT | RS: 8961/00 |
| 06 | Pacca brick work in ground floor in cement sand mortar 1:6 (c.s.i no5 p-25) |  |  |  |  |
|  | 919.44 CFT |  | RS: 12674/36 | P %CFT | RS: 116533/00 |
| 07 | R.C.C working roof slab beams ,columns, rafts, lintels,& other structural members Laid in situ or pre-cast laid in position complete in all respect ratio 1:2:4 |  |  |  |  |
|  | 688.12 CFT |  | RS: 337/00 | P- CFT | RS: 231896/00 |
| 08 | Fabrication of mild steel reinforcement for R.C.C or C.C i/c cutting bending, laying In position, making joints& fastening i/c cost of binding wire also i/c removal of rust from bars (c.s.i no-7 p-20) |  |  |  |  |
|  | 27.64 CWT |  | RS: 5001/70 | P- CWT | RS: 138247/00 |
| 09 | Pacca brick work other then building i/c strucking of joints upto 20ft Height in cement sand mortar 1:6 (CSI NO: 4 P No:22) |  |  |  |  |
|  | 329.50 CFT |  | RS: 12346/65 | P %CFT | RS: 102415/00 |
| 10 | Cement plaster 1:6 upto 12ft height |  |  |  |  |
|  | 1970.00 SFT |  | RS: 2206/60 | P-% SFT | RS: 43470/00 |
| 11 | Cement plaster 1:4 upto 12.0ft height & 3/8” thick (CSI No: 11 P No: 52) |  |  |  |  |
|  | 1970.00 SFT |  | RS: 2197/52 | P-% SFT | RS: 43291/00 |
| 12 | 1/2 “thick for step of door |  |  |  |  |
|  | 3390.18 SFT |  | RS: 2283/93 | P-% SFT | RS: 77429/00 |
| 13 | Cement pointing strict joints and walls (CSI No: 19 P ano:53) |  |  |  |  |
|  | 3380.12 SFT |  | RS: 1213/58 | P-% SFT | RS: 41020/00 |
| 14 | Cement concrete stone ballast (CSI NO:4 P no: 17) |  |  |  |  |
|  | 185.95 CFT |  | RS: 9416/28 | P-% CFT | RS: 17506/00 |
| 15 | Providing & laying 1”thick topping cement concrete (1:2:4) i/c surface finishing & dividing in to panels (CSI No: 16 P No: 42) 3”thick |  |  |  |  |
|  | 662.24SFT |  | RS: 4411/82 | P-%SFT | RS: 29216/00 |
| 16 | Making fixing steel grated doors with 1 /16” thick sheeting i/c angle iron frame 2x2”3/38& ¾” square bars 4” c/c with locking arrangement (CSI No: 24 P No: 92). |  |  |  |  |
|  | 185.00SFT |  | RS: 726/72 | P.SFT | RS: 134443/00 |
| 17 | Fabrication of heavy steel with angle iron flat iron round iron & sheet iron for Making truses girder tanks etc i/c cutting drilling reviting handling assembling & fixing but excluding errection in position (C.S.I no-02 p- 96) |  |  |  |  |
|  | 9.34 CWT |  | RS: 4928/49 | P- CWT | RS: 46032/00 |
| 18 | Erection & fitting in position of iron truses lagging of water tanks etc (PHSI No:03 P NoL91) |  |  |  |  |
|  | 9.34 CWT |  | RS: 271/04 | P- CWT | RS: 2532/00 |
| 19 | Supplying and fixing in position iron stele girl of 1/ 4x ¼ size flate iron of approved design i/c painting of coats etc complete. (Weight not to be less than 3.7 Ibs /sq ft) finished girls (CSI No: 26) |  |  |  |  |
|  | 60.00SFT |  | RS: 180/50 | P.SFT | RS: 10830/00 |
| 20 | Preparing of surface & painting of door & windows any type i/c edge (CSI No: 5 P No:70) |  |  |  |  |
|  | 704.00SFT |  | RS: 2116/41 | P.SFT | RS: 14900/00 |
| 21 | White washing one coat (c.s.i no- 26 p-60) |  |  |  |  |
|  | 5360.18 SFT |  | RS: 416/63 | P-% SFT | RS: 22332/00 |
| 22 | White washing Three Coats |  |  |  |  |
|  | 1210.00 SFT |  | RS: 829/95 | P-%SFT | RS: 10042/00 |
| 23 | Colour washing Two Coats |  |  |  |  |
|  | 8740.30 SFT |  | RS: 859/90 | P-%SFT | RS: 75158/00 |
| 24 | Filling watering and remaining earth under floor with new earth excavated from out side lead upto one chain and lift upto 5ft (CSI No:22 P No:04) |  |  |  |  |
|  | 1248.00CFT |  | RS: 3630/00 | P%0CFT | RS: 4530/00 |
|  | 27076.54CFT |  | RS: 2117/50 | P.%0CFT | RS: 57335 |
| 24 | Dressing & leveling of earth work in 6”layers i/c compaction etc (CSI NO: 13 P No:3) |  |  |  |  |
|  | 27076.54CFT |  | RS: 354/00 | P.%0CFT | RS: 9585/00 |
| 25 | Extra for every 50ft additional lead of part thereof (CSI No: 8 P No:2) |  |  |  |  |
|  | 27076.54CFT |  | RS: 5039/00 | P.%0CFT | RS: 136439/00 |
|  |  |  |  | TOTAL | RS: 1555279/00 |
|  | SUB-WORK-II PUMPING MACHINERY |  |  |  |  |
| 01 | Supplying & installing in position i/c transportation to site of work at Disposal Work @ Retti, Electric pumping consisting AC electric motor (KSB Made) 15.0 BHP 5/4 1450RPM (Type-I) LA73-113-2AA 60 frame 60 MM coupled with non clogging pump KWPZ 100-250 size 5’/4’ mounted local sell frame are base plate of discharge 410 PM against the head of 40:ft installation of pumping set on cement concrete foundation Ratio 1:2:4 & 1:4:8 with stone ballast with MS nuts and bolts of 5/8 to be embedded in cement concrete foundation . Providing fixing M.C.U ( MEECO made) all accessories consisting of ASD 15 BHP (Automatic star delta starter circuit breaker MCCB over load relay timer, relay push button ,indicators & internal wiring & all those companies are fixed in a metallic cost smoke proof box, providing internal electric wiring MCU to electric motor 3-7/0.44 PVC insulated wire 660 volts grade in 50 mm (2”) PVC conduit on surface as required i/c providing & fixing earthling set with 0.6 mm 0.6 mm (2x2x1/4) copper plate buried out in the ground @ depth 3.7 m (12ft) as per P.W.D-PHE specification & testing pumping set against the required head for 72 hours etc complete (R.A Approved) |  |  |  |  |
|  | 4SET |  | RS: 276000/00 | P-SET | RS: 1104000/00 |
|  | INTERCONNECTION |  |  |  |  |
| 01 | Providing laying & fixing in trench i/c fitting jointing & testing etc complete in all respect the high Density Polythene PE Pipes (HDPE-100) PN-10 for W/S confirming ISO 4427/DIN 8074/8075 B.S 3580 & PSI 3051 (PHSI No: F-1 P No: 25) |  |  |  |  |
|  | 88.00RFT |  | RS: 530/00 | P.RFT | RS: 46640/00 |
| 02 | Providing / Fixing M.S Machined pipe made out of M.S Sheet 3/16” thick i/c cutting fitting & rolling the correct curvature shape (Based on schedule item) |  |  |  |  |
|  | 40.00RFT 6”Dia |  | RS: 749/34 | P.RFT | RS: 29976/00 |
| 03 | Providing installing M.S Flanged made out of M.S Sheet 3/8”ticj i/c drilling holes & welding with M.S Pipe (based on Schedule Items) |  |  |  |  |
|  | 32.00RFT |  | RS: 804/77 | P.RFT | RS: 25753/00 |
| 04 | But Fusion Joints |  |  |  |  |
|  | 32.00 Joints |  | RS: 1000/00 | EACH | RS: 32000/00 |
| 05 | Supplying of CI sluice valve heavy pattern (test pressure 21.00kg / sq cm or 300ibs inch) SM PHSI 2 P 11. |  |  |  |  |
|  | 04 Nos: 6”Dia |  | RS: 9360/00 | EACH | RS: 37440/00 |
| 06 | Supplying of Foot valve heavy pattern with one cone end type gate SM PHSI 2 P 10. |  |  |  |  |
|  | 04 Nos: 6”Dia |  | RS: 1381/25 | Each | RS: 5525/00 |
| 07 | CI supplying reflex valve heavy pattern (test pressure 21.00kg / sq cm or 300ibs inch) SM PHSI 6 P 11. |  |  |  |  |
|  | 04 Nos: 6”Dia |  | RS: 4062/50 | Each | RS: 16250/00 |
| 08 | CI bends with flanges with holes i/c turning facing flanges for all size. SM PHSI 8 P 11. |  |  |  |  |
|  | 3.09CWT 6”Dia |  | RS: 6096/00 | P.CWT | RS: 18837/00 |
| 09 | CI tee flanges with holes i/c turning facing flanges for all size. SM PHSI 12 P 12. |  |  |  |  |
|  | 0.98CWT |  | RS: 6096/00 | P.CWT | RS: 5974/00 |
| 10 | CI Taper flat tapered or central tapered (SMPHI No:5 P No: ) |  |  |  |  |
|  | 0.89CWT |  | RS: 6096/00 | P.CWT | RS: 5425/00 |
| 11 | Jointing C.I/M.S flanges pipes & specials flanged & inside trenches i/c supplying rubber packing of the required thickness nuts bolts with washers etc & tools required for jointing & the joints to the specified pressure etc complete (PHSI No: 1 P No:40) 6’Dia |  |  |  |  |
|  | 32 Joints 6”Dia |  | RS: 938/00 | P.JOINT | RS: 30016/00 |
|  |  |  |  | TOTAL | RS: 1357836/00 |
|  | SUB-WORK-III REPAIR OF TRANSFORMER |  |  |  |  |
| 01 | Rewinding of HT Coil of 25KV coils (M.R) |  |  |  |  |
|  | 6 Coils |  | RS: 15000/00 | P. Coil | RS: 90000/00 |
| 02 | Rewinding of LT Coil of 50KV coils (M.R) |  |  |  |  |
|  | 6 Coils |  | RS: 8000/00 | P. Coil | RS: 48000/00 |
| 03 | Supplying & filling transformer oil (M.R) |  |  |  |  |
|  | 160 Litters |  | RS: 180/00 | P.Litter | RS: 28800/00 |
| 04 | Supplying & fixing Unarmored Cable 4-Core Cable 16mm 2PVC(S.E.I No: 1 P No:10) |  |  |  |  |
|  | 120.00Meter |  | RS: 240/78 | P.Meter | RS: 28894/00 |
| 05 | Labour charges for dismantling and re-installing of transformer in same position |  |  |  |  |
|  | 02 Job |  | RS: 5000/00 | P.Job | RS: 10000/00 |
|  |  |  |  | TOTAL | RS: 205694/00 |
|  | SUB-WORK-VI SILT CLEARANCE |  |  |  |  |
| 01 | Earth work excavation undressed lead upto 1chain shingle throw of kassi phawara in ordinary soil (CSI No: 1 P No: 1 i/c 02 mile extra lead) |  |  |  |  |
|  | 25057.83 CFT |  | RS: 1134/38 | P.%0CFT | RS: 28425/00 |
| 02 | Cleaning of collecting tank/ sump well below ground level i/c dewatering of sullage water and disposal of garbage solid waste etc outside the tank etc complete (PHSI No:4 P No:4 ) |  |  |  |  |
|  | 3226.00CFT |  | RS: 11900/00 | P.%0CFT | RS: 38389/00 |
| 03 | Extra for every 50ft: additional lead of or part thereof, for earth work (soft ordinary hard & very hard) (CSI No: 8 P No:2) |  |  |  |  |
|  | 25057.83CFT |  | RS: 2015/60 | P%0CFT | RS: 50506/00 |
|  |  |  |  | TOTAL | RS: 117320/00 |
|  | SUB-WORK-V SURFACE DRAINS |  |  |  |  |
| 01 | Dismantling brick work in lime or cement mortar (CSI No: 13 P No: 10) |  |  |  |  |
|  | 5477.49CFT |  | RS: 1285/63 | P-% CFT | RS: 7034/00 |
| 02 | Excavation for foundation of building bridges and other structures i/c dag belling dressing refilling around structure with executed earth watering & ramming lift upto 5”ft (CSI No: 18 P No: 04) |  |  |  |  |
|  | 4670.00CFT |  | RS:3176/25 | P%0CFT | RS: 14833/00 |
| 03 | Cement concrete plain i/c placing compacting finishing and curing i/c screening and washing of stone aggregate without shuttering Ratio 1:4:8 (CSI No: 05 P No: 16) |  |  |  |  |
|  | 1:4:8 | 980.00 CFT | RS: 11288/75 | P%CFT | RS: 110630/00 |
| 04 | Pacca brick work in foundation and plinth in cement sand mortar 41:6 (CSI No: 04 P. No: 21). |  |  |  |  |
|  | 12150.00CFT |  | RS: 11948/36 | P.%CFT | RS: 1451726/00 |
| 05 | Construction of open drains cunettee block of cement concrete (1:2:4) n situ to design profile i/c applying floating coat of cement 1/3” thick to the exposed face finished smooth curing etc complete as per detailed drawing (PHSI No: P No: 58). |  |  |  |  |
|  | T-I | 1000.0RFT | RS: 94/00 | P.RFT | RS: 94000/00 |
|  | T-II | 500.0CFT | RS: 174/00 | P.RFT | RS: 87000/00 |
| 08 | Cement plaster (1:4) up to 20” height ½” (CSI No: 11 P No: 52) |  |  |  |  |
|  | 25550.00SFT |  | RS: 2283/93 | P.%SFT | RS: 583544/00 |
| 09 | RCC work in roof slabs beams columns rafts lintels and other structural members laid in situ or pre cost laid in position complete in all respect. (CSI No: 6 P No: 19) |  |  |  |  |
|  | 253.50 CFT |  | RS: 337/00 | P.%CFT | RS: 85430/00 |
| 08 | Fabrication of Mild Steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastening i/c cost of binding wire also i/c removal of rust from bars. (CSI No7 P.20). |  |  |  |  |
|  | 9.05 CWT |  | RS: 5001/70 | P.CWT | RS: 45283/00 |
|  |  |  |  | TOTAL | RS: 2479480/00 |
|  | SUB-WORK-VI P.E RISING MAIN 6”DIA |  |  |  |  |
| 01 | Excavation in foundation of building bridges and structure i/c dag belling dressing refilling around the structure executed earth watering and ramming lead upto one chain lift upto 5dt in ordinary soil |  |  |  |  |
|  | 54925.00CFT |  | RS: 3600/00 | P.%0CFT | RS: 197730/00 |
| 02 | Providing laying fixing testing i/c fitting jointing and testing etc complete in all respect the high density polyethylene P.E pipe (HDPE-100) for w/s confirming 1504427/DIN8074/8075 PS3580 & PSI 3051 (PHSI 1 No: P No: 25) |  |  |  |  |
|  | 5800.00RFT 160MM |  | RS: 440/00 | P.RFT | RS:2552000/00 |
|  | 2300.00RFT 225MM |  | RS: 860/00 | P.RFT | RS:1978000/00 |
| 03 | P.E Specials (HDPE-100) P.W.S |  |  |  |  |
| a) | P.E Elbow 45’ |  |  |  |  |
|  | 5 Nos:6”dia 160mm |  | RS: 2784/00 | P No: | RS: 13920/00 |
|  | 1 No: 8”dia 225mm |  | RS: 5500/00 | P No: | RS: 5500/00 |
|  | P.E Tee 8”dia 225mm |  |  |  |  |
|  | 1 No: |  | RS: 8249/00 | P No: | RS: 8249/00 |
|  | C.I reducer 8”&6”dia |  |  |  |  |
|  | 2 Nos: |  | RS: 1218/75 | EACH | RS: 2438/00 |
| b) | Butt Fusion 6”Dia |  |  |  |  |
|  | 10 Nos: |  | RS: 1000/00 | P.No: | RS: 10000/00 |
|  | Butt Fusion 8”Dia |  |  |  |  |
|  | 2 Nos: |  | RS: 1800/00 | P.No: | RS: 3600/00 |
| 4 | Refilling the excavated stuff in trenches 6”thick layers i/c watering ramming to full compacting |  |  |  |  |
|  | 49433.00CFT |  | RS: 2760/00 | P.%0 | RS: 136435/00 |
|  |  |  |  | TOTAL | RS: 4907772/00 |
|  | SUB-WORK-VII ANNUAL OPERATION MAINTENANCE COST |  |  |  |  |
| A | ESTABLISHMENT |  |  |  |  |
| 01 | Pump Operator (M&R) |  |  |  |  |
|  | 12.00 Month |  | RS: 7000/00 | P. Month | RS: 84000/00 |
| 02 | Chowkidar / Hepler (M&R) |  |  |  |  |
|  | 12.00 Month |  | RS: 7000/00 | P. Month | RS: 84000/00 |
| 03 | Sweeper (M&R) |  |  |  |  |
|  | 12.00 Month |  | RS: 7000/00 | P. Month | RS: 84000/00 |
| B | ANNUAL REPAIR CHARGES |  |  |  |  |
| 01 | Repair of Electric & Pump etc complete (M&R) |  |  |  |  |
|  | 1 Job |  | RS: 100000/00 | P.SET | RS: 100000/00 |
| 02 | Oil Lubrication / Cotton Waste etc complete. (M.R) |  |  |  |  |
|  | 24 Months |  | RS: 3000/00 | P. Month | RS: 72000/00 |
|  |  |  |  | TOTAL | RS: 424000/00 |
| 02 | REHBILITATION OF RURAL WATER SUPPLY SCHEME GHULAM HUSSAIN LEGHARI |  |  |  |  |
| 01 | SUB-WORK-I CIVIL STRUCTURE |  |  |  |  |
| 01 | Dismantling cement concrete reinforced separating reinforcement from concrete cleaning and straightening the same (CSI No: 20 P No: 10) |  |  |  |  |
|  | 338.24CFT |  | RS: 5445/00 | P-% CFT | RS: 18417/00 |
| 02 | Dismantling brick work in lime or cement mortar (CSI No: 13 P No: 10) |  |  |  |  |
|  | 45.00CFT |  | RS: 1285/63 | P-% CFT | RS: 579/00 |
| 03 | Removing cement or lime plaster (CSI No: 53 P No: 13) |  |  |  |  |
|  | 1245.34SFT |  | RS: 121/00 | P-% SFT | RS: 1507/00 |
| 04 | Pacca brick work in ground floor in cement sand mortar 1:6 (c.s.i no5 p-25) |  |  |  |  |
|  | 45.00 CFT |  | RS: 12674/36 | P %CFT | RS: 5703/00 |
| 05 | R.C.C working roof slab beams ,columns, rafts, lintels,& other structural members Laid in situ or pre-cast laid in position complete in all respect ratio 1:2:4 |  |  |  |  |
|  | 280.16 CFT |  | RS: 337/00 | P- CFT | RS: 94414/00 |
| 06 | Fabrication of mild steel reinforcement for R.C.C or C.C i/c cutting bending, laying In position, making joints& fastening i/c cost of binding wire also i/c removal of rust from bars (c.s.i no-7 p-20) |  |  |  |  |
|  | 11.25 CWT |  | RS: 5001/70 | P- CWT | RS: 56269/00 |
| 07 | Cement plaster 1:4 upto 20ft height (CSI No: 11 P No:52) |  |  |  |  |
|  | 1015.00 SFT |  | RS: 2283/93 | P-% SFT | RS: 23182/00 |
| 09 | Cement pointing strict joints and walls (CSI No: 19 P ano:53) |  |  |  |  |
|  | 1020.96 SFT |  | RS: 1213/58 | P-% SFT | RS: 12390/00 |
| 10 | Cement concrete stone ballast (CSI NO:4 P no: 17) |  |  |  |  |
|  | 101.63 CFT |  | RS: 9416/28 | P-% CFT | RS: 9570/00 |
| 11 | Providing & laying 1”thick topping cement concrete (1:2:4) i/c surface finishing & dividing in to panels (CSI No: 16 P No: 42) 3”thick |  |  |  |  |
|  | 349.25SFT |  | RS: 4411/82 | P-%SFT | RS: 15408/00 |
| 12 | Making fixing steel grated doors with 1 /16” thick sheeting i/c angle iron frame 2x2”3/38& ¾” square bars 4” c/c with locking arrangement (CSI No: 24 P No: 92). |  |  |  |  |
|  | 77.00SFT |  | RS: 726/72 | P.SFT | RS: 55957/00 |
| 13 | Preparing of surface & painting of door & windows any type i/c edge (CSI No: 5 P No:70) |  |  |  |  |
|  | 168.00SFT |  | RS: 1160/06 | P.SFT | RS: 1949/00 |
|  | 154.00SFT |  | RS: 2116/41 | P.SFT | RS: 3259/00 |
| 14 | White washing one coat (c.s.i no- 26 p-60) |  |  |  |  |
|  | 2035.96 SFT |  | RS: 416/63 | P-% SFT | RS: 8482/00 |
| 15 | White washing Three Coats |  |  |  |  |
|  | 388.50 SFT |  | RS: 829/95 | P-%SFT | RS: 3224/00 |
| 16 | Colour washing Two Coats |  |  |  |  |
|  | 2035.96 SFT |  | RS: 859/90 | P-%SFT | RS: 17507/00 |
| 17 | Pointing on stone work raised (CSI No: 20 P No: 52) |  |  |  |  |
|  | 213.75 SFT |  | RS: 1758/08 | P-%SFT | RS: 3758/00 |
| 18 | Barrow pit excavation undressed lead up to 100ft (CSI No: 3 P No:01) |  |  |  |  |
|  | 16657.49CFT |  | RS: 2117/50 | P.%0CFT | RS: 35272/00 |
| 19 | Dressing & leveling of earth work in 6”layers i/c compaction etc (CSI NO: 13 P No:3) |  |  |  |  |
|  | 16657.49CFT |  | RS: 354/00 | P.%0CFT | RS: 5897/00 |
| 20 | Extra for every 50ft additional lead of part thereof (CSI No: 8 P No:2) |  |  |  |  |
|  | 16657.49CFT |  | RS: 5039/00 | P.%0CFT | RS: 83937/00 |
|  |  |  |  | TOTAL | RS: 452923/00 |
|  | SUB-WORK-II PUMP HOUSE |  |  |  |  |
| 01 | Excavation in foundation of buildings bridges &other structures i/c dag belling dressing& refilling around the structures with excavated earth lead up to one chain &lift up to 5 ft (c.s.i no 18 p no 4) |  |  |  |  |
|  | 176.50CFT |  | RS: 3176/25 | P-%0 CFT | RS: 561/00 |
| 02 | Cement concrete brick or stone ballast 1 ½”--2” guage (c.s.i no 4 p no:17) |  |  |  |  |
|  | 76.74 CFT |  | RS: 9416/28 | P % CFT | RS: 7226/00 |
| 03 | Random Rubble masonry (Un coursed) in foundation (1:6) (c.s.i no- p-32) |  |  |  |  |
|  | 96.74CFT |  | RS: 17723/00 | P-% CFT | RS: 17146/00 |
| 04 | Coursed Rubble masonry i/c hammer dressing ( c.s.i no-1 p-32) |  |  |  |  |
|  | 80.62 CFT |  | RS:25321/00 | P-% CFT | RS: 20414/00 |
| 05 | Damp proof coarse with cement sand & shingle concrete (1:2:4) i/c two coats Maxphalt mixture |  |  |  |  |
|  | 53.75 SFT |  | RS: 4982/18 | P-% SFT | RS: 2678/00 |
| 06 | Painting on stone work raised (CSI No: 20 P No: 53) Ratio 1:3 |  |  |  |  |
|  | 72.00 SFT |  | RS: 1758/08 | P %SFT | RS: 1266/00 |
| 07 | Pacca brick work in foundation and plinth in cement sand mortar 1:6 (c.s.i no5 p-25) |  |  |  |  |
|  | 18.74 CFT |  | RS: 11948/36 | P %CFT | RS: 2239/00 |
| 08 | Pacca brick work in foundation ground floor in cement sand mortar 1:6 (c.s.i no5 p-25) |  |  |  |  |
|  | 281.26 CFT |  | RS: 12674/36 | P %CFT | RS: 35648/00 |
| 09 | Making fixing steel grated doors with 1 /16” thick sheeting i/c angle iron frame 2x2”3/38& ¾” square bars 4” c/c with locking arrangement (CSI No: 24 P No: 92) |  |  |  |  |
|  | 24.50SFT |  | RS: 726/72 | P.SFT | RS: 17805/00 |
| 10 | Fabrication of heavy steel with angle iron flat iron round iron & sheet iron for Making truses girder tanks etc i/c cutting drilling reviting handling assembling & fixing but excluding errection in position (C.S.I no-02 p- 96) |  |  |  |  |
|  | 2.03 CWT |  | RS: 4928/49 | P- CWT | RS: 10005/00 |
| 11 | R.C.C working roof slab beams ,columns, rafts, lintels,& other structural members Laid in situ or pre-cast laid in position complete in all respect ratio 1:2:4 |  |  |  |  |
|  | 86.53 CFT |  | RS: 337/00 | P- CFT | RS: 29161/00 |
| 12 | Fabrication of mild steel reinforcement for R.C.C or C.C i/c cutting bending, laying In position, making joints& fastening i/c cost of binding wire also i/c removal of rust from bars (c.s.i no-7 p-20) |  |  |  |  |
|  | 3.47 CWT |  | RS: 5001/70 | P- CWT | RS: 17356/00 |
| 13 | Filling watering and remaining earth under floor with new earth excavated from out side lead upto one chain |  |  |  |  |
|  | 105.59CFT |  | RS: 1512/50 | P%0CFT | RS: 160/00 |
| 14 | Preparing surface painting doors & window any type i/c edge |  |  |  |  |
|  | 97.00SFT |  | RS: 2116/41 | P-%SFT | RS: 2053/00 |
| 15 | Cement painting strict joints on walls |  |  |  |  |
|  | 405.00SFT |  | RS: 1213/58 | P-%SFT | RS: 4915/00 |
| 16 | Cement plaster 1:4 upto 20ft height (CSI No: 11 P No:58) |  |  |  |  |
|  | 432.50 SFT |  | RS: 2283/93 | P-% SFT | RS: 9878/00 |
| 17 | White washing one coat (c.s.i no- 26 p-60) |  |  |  |  |
|  | 400.00 SFT |  | RS: 416/63 | P-% SFT | RS: 1667/00 |
|  | Three Coat |  |  |  |  |
|  | 188.50SFT |  | RS: 829/95 | P.%SFT | RS: 1564/00 |
| 18 | Colour washing Two Coats |  |  |  |  |
|  | 805.00 SFT |  | RS: 849/90 | P-%SFT | RS: 6922/00 |
| 19 | Providing and laying 1”thick topping cement concrete (1:24) ic surface and deriding in to panels |  |  |  |  |
|  | 92.25SFT |  | RS: 4411/82 | P-%SFT | RS: 3982/00 |
|  |  |  |  | TOTAL | RS: 192646/00 |
|  | SUB-WORK-III TUBE WELL 02 NOS: |  |  |  |  |
| 01 | Boring for type for tube well in all water bearing soil from ground level upto 100ft of 30.30 meter depth i/c sinking and with drawing of costing pipe (PHSI No: 1 P/41) |  |  |  |  |
|  | 100.0RFT 12:Dia |  | RS:743/00 | P.RFT | RS: 74300/00 |
| 02 | Providing strong substantially build wooden locked box with compartment for preserving 2lbs (1kg) sample of per strata from bore holes (PSHI No: 5 P No: 43) |  |  |  |  |
|  | 01 No: |  | RS: 3530/00 | P No: | RS: 3530/00 |
| 03 | Taking & preserving in box 2lbs (1kg) P-samples of per strata from boreholes (PHSI No: 6 P No:43) |  |  |  |  |
|  | 10 Sample |  | RS: 101/00 | P.Sample | RS: 1010/00 |
| 04 | Supplying and installing PVC strainer (B) class of approved design quality and making i/c necessary socket etc complete (PHSI No: 9 P No: 43) |  |  |  |  |
|  | 40.0RFT |  | RS: 554/05 | P.RFT | RS: 22162/00 |
| 05 | Supplying and installing PVC blind PVC blind pipe (B) class approved quality and make i/c necessary socket etc (PHSI No: 12 P No: 44) |  |  |  |  |
|  | 60.0RFT |  | RS: 516/80 | P.RFT | RS: 31008/00 |
| 06 | Shrouding with graded bajri 3/8”to 1/8” or 8 to 3mm in between bore and blind pipe for the following diameters of strainers (PHSI No: 13 P No:45) |  |  |  |  |
|  | 100.0RFT |  | RS: 105/00 | P.RFT | RS: 10500/00 |
| 07 | Supplying & fixing of and plugging PVC (PHSI No: 3 P No: 26) |  |  |  |  |
|  | 01 No: |  | RS: 1360/00 | EACH | RS: 1360/00 |
| 08 | Supplying & fixing M.S bail plug (PHSI No: 8b P No: 43) |  |  |  |  |
|  | 01 No: |  | RS: 2607/00 | EACH | RS: 2607/00 |
| 09 | Development of tube well testing charges of sample from laboratory (PHSI No: 8n P No: 43) |  |  |  |  |
|  | 100.00RFT |  | RS: 200/00 | P. RFT | RS: 20000/00 |
| 10 | Provision for Restively Survey (M&R) |  |  |  |  |
|  | 01 Job |  | RS: 25000/00 | P.JOB | RS: 25000/00 |
|  |  |  |  | TOTAL | 191477/00 |
|  | 191477x2= 382954/00 |  |  | TOTAL | 382954/00 |
|  | SUB-WORK-IV COMMUNITY STORAGE TANK |  |  |  |  |
| 01 | Excavation in foundation of blinding brides and other structures i/c blind design riffling around structure with excavated earth watering and remaining level laid up to 5”ft (CSI 18 P 4) |  |  |  |  |
|  | 194.09 CFT |  | RS:3176/25 | P %0CFT | RS 616/00 |
| 02 | Cement concrete plain i/c placing compacting finishing and curing complete with washing are stone arrangement without shuttering Ratio 1:4:8(CSI 5 P 18) |  |  |  |  |
|  | 115.77 CFT Ratio 1:4:8 |  | RS:11288/75 | P% CFT | RS:13069/00 |
|  | 85.87 CFT Ratio 1:2:4 |  | RS:14429/25 | P% CFT | RS:12390/00 |
| 03 | Pacca brick work in foundation (CSI No: 04 P No: 20) |  |  |  |  |
|  | 206.11 SFT |  | RS:11948/36 | P% SFT | RS:24627/00 |
| 04 | Filling watering ramming earth under floor with surplus excavated earth from out side lead upto one chain and lift upto 5ft (GSI No: 21 P No:04) |  |  |  |  |
|  | 45.70 CFT |  | RS:1512/50 | P%0 CFT | RS:69/00 |
| 05 | Cement plaster 1:4 upto 20ft height (CSI No: 11 P No:58) |  |  |  |  |
|  | 343.22 SFT |  | RS: 2283/93 | P-% SFT | RS: 7839/00 |
| 06 | R.C.C working roof slab beams ,columns, rafts, lintels,& other structural members Laid in situ or pre-cast laid in position complete in all respect ratio 1:2:4 |  |  |  |  |
|  | 271.54 CFT |  | RS: 337/00 | P- CFT | RS: 91509/00 |
| 07 | Fabrication of mild steel reinforcement for R.C.C or C.C i/c cutting bending, laying In position, making joints& fastening i/c cost of binding wire also i/c removal of rust from bars (c.s.i no-7 p-20) |  |  |  |  |
|  | 13.33 CWT |  | RS: 5001/70 | P- CWT | RS: 66673/00 |
| 08 | Providing construction joints in concrete work of 9” (225mm) made corrugate P.V.C water stop (with bulb) soldering cost of material and labour (PHSI No: 02 P No: 56) |  |  |  |  |
|  | 54.95 RFT |  | RS: 86/00 | P- RFT | RS: 4726/00 |
| 09 | Cement plaster (1:4) upto 12’ height ¾ thick (GSI No: 11 P No: 51) |  |  |  |  |
|  | 599.74 SFT |  | RS: 3015/76 | P%SFT | RS: 18087/00 |
| 10 | Supply of Dampo (Schedule of Material No: 1-46 P No: 04 ) |  |  |  |  |
|  | 5.44 KG |  | RS: 125/00 | P.KG | RS: 680/00 |
| 11 | Providing G.I standard approved quality to tested with pressure head 200ft (CSI No: 1 P No: 03) |  |  |  |  |
|  | 5.00 RFT ¾ :Dia |  | RS: 62/38 | P- RFT | RS: 312/00 |
|  | 25.00 RFT 3Dia |  | RS: 304/02 | P- RFT | RS: 7601/00 |
| 12 | Providing and fixing M.S 3:dia flanged out of M.S steel 3/8”thick (Based on Sch: rate) |  |  |  |  |
|  | 8 Nos: |  | RS: 500/89 | EACH | RS: 4007/00 |
| 13 | Supplying and fixing in position brass bib cock ¾ “dia standard pattern (Sant: 1-13 P No: 18) |  |  |  |  |
|  | 5.00 Nos: |  | RS: 300/00 | EACH | RS: 1500/00 |
| 14 | C.I Bend with flanged ends with holes i/c turning facing flanged for all size (PHSI (M) 1-8 P-11 ) |  |  |  |  |
|  | 0.58 CWT |  | RS: 6096/00 | P.CWT | RS: 3520/00 |
| 15 | Cost iron specials for AC pressure pipes of class B ACIL (PHSI P No: 15) |  |  |  |  |
|  | 01 No: |  | RS: 375/00 | EACH | RSL 375/00 |
| 16 | Jointing C.I/M.S flanges pipes & specials flanged & inside trenches i/c supplying rubber packing of the required thickness nuts bolts with washers etc & tools required for jointing & the joints to the specified pressure etc complete (PHSI No: 1 P No:40) 6’Dia |  |  |  |  |
|  | 05 Joints 3”Dia |  | RS: 499/00 | P.JOINT | RS: 2495/00 |
| 17 | Providing CI Main Hole Cover & Frame i/c cost of material etc (PSHI No: 1 P No: 35) |  |  |  |  |
|  | 01 No: |  | RS: 6985/00 | EACH | RS: 6985/00 |
| 18 | CI Sluice valve heavy pattern test pressure 21Kg/Sq:cm or 300lbs/ sq: inch: (PSHI No: 2 P No: 11) |  |  |  |  |
|  | 01 No: 3”Dia |  | RS: 4290/00 | EACH | RS: 4290/00 |
| 19 | Providing Fixing CI ventilator not be less than 90lbs once in roof tank of approved design rain with water right joints i/c painting etc complete (PHSI No: 04 P No: 55) |  |  |  |  |
|  | 01 No: |  | RS: 4870/00 | EACH | RS: 4870/00 |
|  | 276240x4=1104960/00 |  |  | TOTAL | RS: 1104960/00 |
|  | SUB-WORK-V PUMPING MACHINERY |  |  |  |  |
| 01 | Supplying & installing in position i/c transportation to site of work at Water Work @ Ghulam Hussain Leghari, Electric pumping consisting AC electric motor (Siemens Made) 10.0 BHP 5/4 2900RPM (Type-I) LA73-113-2AA 60 frame 60 MM coupled with ETA NORMS 40-200 size 2x1½’ mounted local sell frame are base plate of discharge 90 PM against the head of 130:ft installation of pumping set on cement concrete foundation Ratio 1:2:4 & 1:4:8 with stone ballast with MS nuts and bolts of 5/8 to be embedded in cement concrete foundation . Providing fixing M.C.U (MEECO made) all accessories consisting of ASD 10 BHP (Automatic star delta starter circuit breaker MCCB over load relay timer, relay push button ,indicators & internal wiring & all those companies are fixed in a metallic cost smoke proof box, providing internal electric wiring MCU to electric motor 3-7/0.44 PVC insulated wire 660 volts grade in 50 mm (2”) PVC conduit on surface as required i/c providing & fixing earthling set with 0.6 mm 0.6 mm (2x2x1/4) copper plate buried out in the ground @ depth 3.7 m (12ft) as per P.W.D-PHE specification & testing pumping set against the required head for 72 hours etc complete (R.A Approved) |  |  |  |  |
|  | 2SET |  | RS: 385000/00 | P-SET | RS: 570000/00 |
|  | INTERCONNECTION |  |  |  |  |
| 01 | Providing laying G.I & Pipe clamps etc i/c fixing cutting complete i/c the cost of braking through walls & making good etc painting 3 coats after cleaning the pipe with zink paint with pigment to match the pressure head of 200ft & handling (Sain Sch: I No: 1 P No: 12). |  |  |  |  |
|  | 16.00RFT |  | RS:304/02 | P.RFT | RS: 4867/00 |
| 02 | Providing & fixing M.S Flanged 3”Dia made of M.S Sheet 3/8”thick i/c cutting drilling holes (R.A) Based on Schedules Rates. |  |  |  |  |
|  | 24 Nos: 3:Dai |  | RS: 500/89 | EACH | RS: 12021/00 |
| 04 | Providing laying fixing testing i/c fitting jointing and testing etc complete in all respect the high density polyethylene P.E pipe (HDPE-100) for w/s confirming 1504427/DIN8074/8075 PS3580 & PSI 3051 (PHSI 1 No: P No: 25) |  |  |  |  |
|  | 84.00RFT 3”Dia |  | RS: 178/00 | P.RFT | RS:14952/00 |
| 05 | But fusion Joints |  |  |  |  |
|  | 24 Joints 3”Dia |  | RS: 600/00 | P.JOINT | RS: 14400/00 |
| 06 | Flange adopter |  |  |  |  |
|  | 24 Joints 3”Dia |  | RS: 675/00 | P.JOINT | RS: 16200/00 |
| 07 | Supplying of CI sluice valve heavy pattern (test pressure 21.00kg / sq cm or 300ibs inch) SM PHSI 2 P 11. |  |  |  |  |
|  | 02 Nos: 3”Dia |  | RS: 4290/00 | EACH | RS: 8580/00 |
| 08 | Supplying of Foot valve heavy pattern with one cone end type gate SM PHSI 2 P 10. |  |  |  |  |
|  | 02 Nos: 3”Dia |  | RS: 731/25 | Each | RS: 1463/00 |
| 09 | CI supplying reflex valve heavy pattern (test pressure 21.00kg / sq cm or 300ibs inch) SM PHSI 6 P 11. |  |  |  |  |
|  | 02 Nos: 3”Dia |  | RS: 1543/75 | Each | RS: 3088/00 |
| 10 | CI bends with flanges with holes i/c turning facing flanges for all size. SM PHSI 8 P 11. |  |  |  |  |
|  | 1.05CWT 3”Dia |  | RS: 60/96 | P.CWT | RS: 6401/00 |
| 12 | CI Taper flat tapered or central tapered (SMPHI No:5 P No: ) |  |  |  |  |
|  | 0.34CWT |  | RS: 6090/00 | P.CWT | RS: 2073/00 |
| 13 | Jointing C.I/M.S flanges pipes & specials flanged & inside trenches i/c supplying rubber packing of the required thickness nuts bolts with washers etc & tools required for jointing & the joints to the specified pressure etc complete (PHSI No: 1 P No:40) 6’Dia |  |  |  |  |
|  | 24 Joints 3”Dia |  | RS: 499/00 | P.JOINT | RS: 11976/00 |
|  |  |  |  | TOTAL | RS: 666021/00 |
|  | SUB-WORK-VI REPAIR OF PUMPING MACHINERY |  |  |  |  |
| 01 | Rewinding of Electric Motor 3 Phase 400/440 volts, 50 cycle with best quality insolated copper wire of required gauge i/c testing on load with satisfactory result upto one weeks time opening & refitting & replacement cost of worn out material (CSI No: 97 P No:110) |  |  |  |  |
|  | 01 Job |  | RS: 10141/00 | P.Job | RS: 10141/00 |
| 02 | Over hauling of centrifugal pump i/c service, gland dori, Mobil oil & greasing etc (M.R) |  |  |  |  |
|  | 01 Job |  | RS: 10000/00 | P.Job | RS: 10000/00 |
| 03 | Supplying of MCU (MEECO Pole) (M.R) |  |  |  |  |
|  | 01 No: |  | RS: 27800/00 | P.No: | RS: 27800/00 |
|  |  |  |  | TOTAL | RS: 47941/00 |
|  | SUB-WORK-VII P.E RISING MAIN & DISTRIBUTION SYSTEM 3”, 4” & 6”DIA |  |  |  |  |
| 01 | Excavation in foundation of building bridges and structure i/c dag belling dressing refilling around the structure executed earth watering and ramming lead upto one chain lift upto 5dt in ordinary soil |  |  |  |  |
|  | 38300.00CFT |  | RS: 3600/00 | P.%0CFT | RS: 137780/00 |
| 02 | Providing laying fixing testing i/c fitting jointing and testing etc complete in all respect the high density polyethylene P.E pipe (HDPE-100) for w/s confirming 1504427/DIN8074/8075 PS3580 & PSI 3051 (PHSI 1 No: P No: 25) |  |  |  |  |
|  | 3500.00RFT 6”Dia |  | RS: 384/81 | P.RFT | RS:1346835/00 |
|  | 800.00RFT 4”Dia |  | RS: 137/00 | P.RFT | RS:109600/00 |
|  | 1500.00RFT 3”Dia |  | RS: 90/00 | P.RFT | RS:135000/00 |
| 03 | P.E Elbow 45C 6”Dia |  |  |  |  |
|  | 02 Nos: |  | RS: 2784/00 | EACH | RS: 5568/00 |
| 04 | But Fusion Joint 6”Dia |  |  |  |  |
|  | 02 Nos: |  | RS: 1000/00 | EACH | RS: 2000/00 |
| 05 | Flange adopter |  |  |  |  |
|  | 02 Nos: |  | RS: 2025/00 | EACH | RS: 4050/00 |
| 06 | CI Bend 4”Dia 90C |  |  |  |  |
|  | 02 Nos: |  | RS: 893/75 | EACH | RS: 1788/00 |
| 07 | CI Bend 3”Dia 90C |  |  |  |  |
|  | 03 Nos: |  | RS: 650/00 | EACH | RS: 1950/00 |
| 08 | CI Tee Equal |  |  |  |  |
|  | 01 No: |  | RS: 1950/00 | EACH | RS: 1950/00 |
| 09 | CI Tee Un-Equal 6x6x4 |  |  |  |  |
|  | 02 Nos: |  | RS: 1375/00 | EACH | RS: 2750/00 |
| 10 | CI Tee Un-Equal 4x4x3 |  |  |  |  |
|  | 02 Nos: |  | RS: 956/25 | EACH | RS: 1912/00 |
| 11 | CI Jebault Joint |  |  |  |  |
|  | 02 Nos: 6”Dia |  | RS: 1062/50 | EACH | RS: 2125/00 |
|  | 06 Nos: 4”Dia |  | RS: 731/25 | EACH | RS: 4387/00 |
|  | 06 Nos: 3”Dia |  | RS: 568/75 | EACH | RS: 3412/00 |
| 12 | CI Air valve double acting local (PHIS No: 08 P No: 12) |  |  |  |  |
|  | 1 No: |  | RS: 4000/00 | EACH | RS: 4000/00 |
| 13 | Fire Hydrant Tee for 6”Dia |  |  |  |  |
|  | 1 No: |  | RS: 1687/50 | EACH | RS: 1688/00/00 |
| 14 | CI sluice valve heavy pattern test pressure 21.KG S.P H MI No: 2 P No:13 |  |  |  |  |
|  | 1 No: 6”Dia |  | RS: 9360/00 | EACH | RS: 9360/00 |
| 15 | CI Tail Piece 6”Dia (PHSI MI No: 9 P No:15) |  |  |  |  |
|  | 06 Nos: |  | RS: 618/75 | EACH | RS: 3713/00 |
| 15 | Providing chamber 3’x2’ (915x615mm) inside dimension 41/2’ (1372mm) deep as per approved design for sluice 3” to 12”dia with 18”(457 mm) dia inside cost iron cover and frame (wt=1 cwt3qr) fixed in RCC 1:2:4 (102mm) thick (with 5 Lbs steel per cft) 9”(299 mm) thick brick masonry wall set in 1:6 cement mortar 6” (1152 mm) thick cement concrete 1:2:4 flooring ½” (12.5mm) thick cement plaster 1:3 to all inside wall surface and to top i/c providing and fixing M.S foot rest at every one for beyond 2 ½ft depth curing, excavation, back filling and disposal of surplus earth etc complete. (PHSI No: 1 P No: 49) |  |  |  |  |
|  | 02 Nos: |  | RS: 18820/00 | EACH | RS: 37640/00 |
| 16 | Jointing C.I/M.S flanges pipes & specials flanged & inside trenches i/c supplying rubber packing of the required thickness nuts bolts with washers etc & tools required for jointing & the joints to the specified pressure etc complete (PHSI No: 1 P No:40) 6’Dia |  |  |  |  |
|  | 06Joints |  | RS: 938/00 | P.JOINT | RS: 5628/00 |
| 17 | Making joints to CI special s fitting i/c laying of the required diameter & testing the joints along with the A.C pressure pipe line to the specified pressure & making good to all leaky joints etc complete (PHSI No: 1 P No: 81) |  |  |  |  |
|  | 10 Joints 4”Dia |  | RS: 62/00 | EACH | RS: 620/00 |
|  | 15 Joints 3”Dia |  | RS: 62/00 | EACH | RS: 930/00 |
|  | 15 Joints 6”Dia |  | RS: 72/00 | EACH | RS: 1080/00 |
| 18 | Refilling the excavated stuff in trenches 6”thick layers i/c watering ramming to full compacting |  |  |  |  |
|  | 34470.00CFT |  | RS: 2760/00 | P.%0 | RS: 95137/00 |
|  |  |  |  | TOTAL | RS: 1921003/00 |
|  | SUB-WORK-VIII REPAIR OF TRANSFORMER |  |  |  |  |
| 01 | Rewinding of HT Coil of 25KV coils (M.R) |  |  |  |  |
|  | 3 Coils |  | RS: 15000/00 | P. Coil | RS: 45000/00 |
| 02 | Rewinding of LT Coil of 50KV coils (M.R) |  |  |  |  |
|  | 3 Coils |  | RS: 8000/00 | P. Coil | RS: 24000/00 |
| 03 | Supplying & filling transformer oil (M.R) |  |  |  |  |
|  | 80 Litters |  | RS: 180/00 | P.Litter | RS: 14400/00 |
| 04 | Labour charges for dismantling and re-installing of transformer in same position |  |  |  |  |
|  | 01 Job |  | RS: 5000/00 | P.Job | RS: 5000/00 |
|  |  |  |  | TOTAL | RS: 88400/00 |
|  | SUB-WORK-VII ANNUAL OPERATION MAINTENANCE COST |  |  |  |  |
| A | ESTABLISHMENT |  |  |  |  |
| 01 | Pump Operator (M&R) |  |  |  |  |
|  | 12.00 Month |  | RS: 7000/00 | P. Month | RS: 84000/00 |
| 02 | Chowkidar / Hepler (M&R) |  |  |  |  |
|  | 12.00 Month |  | RS: 7000/00 | P. Month | RS: 84000/00 |
| 03 | Sweeper (M&R) |  |  |  |  |
|  | 12.00 Month |  | RS: 7000/00 | P. Month | RS: 84000/00 |
| B | ANNUAL REPAIR CHARGES |  |  |  |  |
| 01 | Repair of Electric & Pump etc complete (M&R) |  |  |  |  |
|  | 1 Job |  | RS: 100000/00 | P.SET | RS: 100000/00 |
| 02 | Oil Lubrication / Cotton Waste etc complete. (M.R) |  |  |  |  |
|  | 24 Months |  | RS: 3000/00 | P. Month | RS: 72000/00 |
|  |  |  |  | TOTAL | RS: 424000/00 |

ABSTRACT

| S. NO: | ITEM OF WORK | SCHEDULE ITEMS | NON-SCHEDULE ITEM | TOTAL |
| --- | --- | --- | --- | --- |
| 1 | Civil Structure (Retti) | 1555279.00 | 00 | 1555279.00 |
| 2 | P/ Machinery Intt: Connection (Retti) | 253836.00 | 1104000.00 | 1357836.00 |
| 3 | Repair of Transformer (Retti) | 38894.00 | 166800.00 | 205694.00 |
| 4 | Silt Clearance (Retti) | 117320.00 | 00 | 117320.00 |
| 5 | Surface Drains (Retti) | 2479480.00 | 00 | 2479480.00 |
| 6 | Rising Main (Retti) | 4907772.00 | 00 | 4907772.00 |
| 7 | Operation & Maintenance Cost for 1 Year (Retti) | 00 | 424000.00 | 424000.00 |
| 08 | Civil Structure (Gh: Hussain Leghari) | 452923.00 | 00 | 452923.00 |
| 09 | Pump House (Gh: Hussain Leghari) | 192646.00 | 00 | 192646.00 |
| 10 | Tube Wells 02 Nos: (Gh: Hussain Leghari) | 332954.00 | 00 | 332954.00 |
| 11 | LSR 04 Nos: (Gh: Hussain Leghari) | 1104960.00 | 00 | 1104960.00 |
| 12 | P/ Machi: Interconnection (Gh: Hussain Leghari) | 96021.00 | 570000.00 | 666021.00 |
| 13 | Repair of P/Machinery (Gh: Hussain Leghari) | 10141.00 | 37800.00 | 47941.00 |
| 14 | R/Main, Distribution System (Gh: Hussain Leghari) | 1921003.00 | 00 | 1921003.00 |
| 15 | Repair of Transformer (Gh: Hussain Leghari) | 5000.00 | 83400.00 | 88400.00 |
| 16 | Operation & Maintenance Cost for 1 Year (Gh: Hussain Leghari) | 00 | 350000.00 | 350000.00 |
|  | TOTAL | 13468229.00 | 2736000.00 | 16204229.00 |

| CONTRACTOR | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION GHOTKI @ MIRPUR MATHELO |
| --- | --- |

CONDITION

| 01 | The work shall have to be executed according to PWD/PHE specification |
| --- | --- |
| 02 | No premium on non schedule item shall be allowed to the contractor |
| 03 | Any error omission in the description of item of work and the rate shall be governed with the relevant schedule of rate and estimate |
| 04 | The contractor shall have to bring the material to be used from the quarries mentioned in the estimate |

| CONTRACTOR | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION GHOTKI @ MIRPUR MATHELO |
| --- | --- |