## Estimate
SCHEDULE "B"
NAME OF WORK:- |  |  |  | IMPROVEMENT / EXTENSION OF BABY AFZA DASTAKARI CENTER AND FLOORING OF GROUND IN FRONT OF NADRA OFFICE, LIBARTY MAREKT CITY HYDERABAD (PS-45)
Part "A" (Schedule Items)
1 | Cement Concrete work including placing compacting & curring complete including screening & washing of stone agreement without shuttering. (S.O.R-P-16-I-5 (i) & (f)).
| Cricket Pitch. |  |  | 1 | x | 66 | x | 12 | x | 0.75 |  | = | 594 | Cft
| Walking Track. |  |  | 1 | x | 1438 | x | 4.5 | x | 0.5 |  | = | 3235.5 | Cft
[13 empty] | 3829.5 | Cft
| Cricket Pitch |  |  | 1 | x | 66 | x | 12 | x | 0.5 |  | = | 396 | Cft
| Walking Track. |  |  | 1 | x | 1438 | x | 4.5 | x | 0.37 |  | = | 2394.27 | Cft
[13 empty] | 2790.27 | Cft
| ii) Ratio 1:3:6 |  |  |  |  | 306.25 | Cft | @ | Rs. | 12595 |  | P%Cft |  | Rs. | 38572.1875
| iii) Ratio 1:2:4 |  |  |  |  | 241.13 | Cft | @ | Rs. | 14429.25 |  | P%Cft |  | Rs. | 34793.2505 | 2496 | 100
2 | RCC work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding, which will be paid separately. This rate i/c all kind of forms, moulds, lifting shuttering, curing, rendering and finishing the exposed surface (i/c screening and washing of shingle (a) RCC work in roof slab beam columns walls lintels and other structural member laid in situ or per-cost aid in position complete in all respect in all respect. (S.O.R-P-16-I-6)
| Raft of Columns |  |  | 11 | x | 3 | x | 3 | x | 0.5 |  | = | 49.5 | cft
| Column upto plinth |  |  | 11 | x | 1.5 | x | 0.5 | x | 5.5 |  | = | 45.375 | cft
| Plinth Beams Long |  |  | 2 | x | 40 | x | 1 | x | 1.5 |  | = | 120 | cft
| Plinth Beams Short |  |  | 3 | x | 23 | x | 1 | x | 1.5 |  | = | 103.5 | cft
| Column upto Roof |  |  | 11 | x | 1.5 | x | 0.5 | x | 10.5 |  | = | 86.625 | cft
| Roof Beamn Long |  |  | 2 | x | 40 | x | 0.5 | x | 1.5 |  | = | 60 | cft
| Roof Beamn Short |  |  | 3 | x | 24 | x | 0.5 | x | 1.5 |  | = | 54 | cft
| Roof Slab i/c Chajja |  |  | 1 | x | 42 | x | 27 | x | 0.5 |  | = | 567 | cft
Lintals
| Main Door 1 |  |  | 1 | x | 6 | x | 0.5 | x | 0.5 |  | = | 1.5 | cft
| Door 2 |  |  | 1 | x | 5 | x | 0.5 | x | 0.5 |  | = | 1.25 | cft
| Door 3 |  |  | 2 | x | 4 | x | 0.5 | x | 0.5 |  | = | 2 | cft
| Window 1 |  |  | 4 | x | 6 | x | 0.5 | x | 0.5 |  | = | 6 | cft
| Window 2 |  |  | 2 | x | 5 | x | 0.5 | x | 0.5 |  | = | 2.5 | cft
Under Ground Tank
| Raft |  |  | 1 | x | 9 | x | 10 | x | 0.5 |  | = | 45 | cft
| Walls |  |  | 2 | x | 8 | x | 0.75 | x | 4 |  | = | 48 | cft
|  |  |  | 2 | x | 9 | x | 0.75 | x | 4 |  | = | 54 | cft
| Roof |  |  | 1 | x | 9 | x | 10 | x | 0.5 |  | = | 45 | cft
Over Head Tank
| Raft |  |  | 1 | x | 8 | x | 6 | x | 0.5 |  | = | 24 | cft
| Walls |  |  | 2 | x | 8 | x | 0.75 | x | 4 |  | = | 48 | cft
|  |  |  | 2 | x | 5 | x | 0.75 | x | 4 |  | = | 30 | cft
| Roof |  |  | 1 | x | 8 | x | 6 | x | 0.5 |  | = | 24 | cft
| Stairs Flight |  |  | 2 | x | 16 | x | 4 | x | 0.5 |  | = | 64 | cft
[13 empty] | 1481.25 | cft
Deduction
| Column area from Plinth Beam |  |  | 11 | x | 1.5 | x | 0.5 | x | 1.5 |  | = | 12.375 | cft
[13 empty] | 1468.875 | cft
| Ratio 1:2:4 |  |  |  |  | 1456.83 | cft | @ | Rs. | 337 |  | P. Cft |  | Rs. | 490951.71
3 | Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastening i/c cost of binding wire, i/c removal of rust from bars. (S.O.R-P-17-I-8)
|  | 1468.875 | x | 5 | [7 empty] | = | 65.5748 | cwt
112
[6 empty] | 65.04 | cwt | @ | Rs. | 4820 |  | P. Cwt |  | Rs. | 313492.8
4 | Pacca Brick Work in Ground Floor in Cement Sand Mortor Ratio 1:5 (SOR (G) P/21 I/5 (d)).
| Long Walls |  |  | 2 | x | 40 | x | 0.5 | x | 10.5 |  | = | 420 | cft
| Short Walls |  |  | 3 | x | 24 | x | 0.5 | x | 10.5 |  | = | 378 | cft
| Partition Walls |  |  | 1 | x | 12 | x | 0.5 | x | 10.5 |  | = | 63 | cft
|  |  |  | 1 | x | 8 | x | 0.5 | x | 10.5 |  | = | 42 | cft
[13 empty] | 903 | cft
Deduction
| Doors |  |  | 1 | x | 5 | x | 7 | x | 0.5 |  | = | 17.5 | cft
|  |  |  | 1 | x | 3.5 | x | 7 | x | 0.5 |  | = | 12.25 | cft
|  |  |  | 2 | x | 3 | x | 7 | x | 0.5 |  | = | 21 | cft
| Windows |  |  | 4 | x | 5 | x | 4 | x | 0.5 |  | = | 40 | cft
|  |  |  | 2 | x | 4 | x | 4 | x | 0.5 |  | = | 16 | cft
| Ventilator |  |  | 2 | x | 2 | x | 1.5 | x | 0.5 |  | = | 3 | cft
| Columns Area |  |  | 11 | x | 1.5 | x | 0.5 | x | 10.5 |  | = | 86.625 | cft
[13 empty] | 196.375 | cft
[6 empty] | 903 | Cft | (-) |  | 196.375 | Cft = |  | 706.625 | Cft
[6 empty] | 1144.75 | cft | @ | Rs. | 12902.08 |  | P.% cft |  | Rs. | 147696.5608
5 | Providing and laying tiles glazed 6" x 6" x 1/4" on floor or wal facing in required colour and appten of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar 3/4" thick including washing and filling of joints with slaurry of white cement and pigment in desired shape with finishing, clearing and cost of wax polish etc. complete including cutting tiles to proper profile. (SOR (G) P/46 I/60 ).
| Bath Floor |  |  | 8.5 | x | 6 | [5 empty] | = | 51 | cft
| on walls |  |  | 2 | x | 8.5 | x | 5 |  |  |  | = | 85 | cft
|  |  |  | 2 | x | 6 | x | 5 |  |  |  | = | 60 | cft
[13 empty] | 196 | cft
Deduction
| Floor |  |  | 3 | x | 5 | [5 empty] | = | 15 | cft
[13 empty] | 181 | cft
[6 empty] | 2116 | Sft | @ | Rs. | 30509.77 |  | P.% Sft |  | Rs. | 645586.7332
6 | Cement Plaster 1:5 upto 12' height. (SOR (G) P-52 I/11 (c) 3/4" thick.
| Out side wall Super Structure from G. Level |  |  | 2 | x | 40 | x | 14.5 |  |  |  | = | 1160 | Sft
|  |  |  | 2 | x | 25 | x | 14.5 |  |  |  | = | 725 | Sft
| Internal Walls |  |  | 2 | x | 24 | x | 12 |  |  |  | = | 576 | Sft
|  |  |  | 2 | x | 26 | x | 12 |  |  |  | = | 624 | Sft
| Rooms |  |  | 2 | x | 15 | x | 12 |  |  |  | = | 360 | Sft
|  |  |  | 2 | x | 12.5 | x | 12 |  |  |  | = | 300 | Sft
| Stores |  |  | 2 | x | 8.5 | x | 12 |  |  |  | = | 204 | Sft
|  |  |  | 2 | x | 6 | x | 12 |  |  |  | = | 144 | Sft
| Bath Rooms |  |  | 2 | x | 8.5 | x | 7 |  |  |  | = | 119 | Sft
|  |  |  | 2 | x | 6 | x | 7 |  |  |  | = | 84 | Sft
| Inside Roof i/c Chajja |  |  | 1 | x | 42 | x | 27 |  |  |  | = | 1134 | Sft
Under Ground Tank
| Bed |  |  | 1 | x | 9 | x | 10 |  |  |  | = | 90 | Sft
| Walls |  |  | 2 | x | 8 | x | 4 |  |  |  | = | 64 | Sft
|  |  |  | 2 | x | 9 | x | 4 |  |  |  | = | 72 | Sft
| Roof |  |  | 1 | x | 8 | x | 9 |  |  |  | = | 72 | Sft
Over Ground Tank
| Bed |  |  | 1 | x | 8 | x | 6 |  |  |  | = | 48 | Sft
| Walls |  |  | 2 | x | 8 | x | 4 |  |  |  | = | 64 | Sft
|  |  |  | 2 | x | 5 | x | 4 |  |  |  | = | 40 | Sft
| Roof |  |  | 1 | x | 8 | x | 6 |  |  |  | = | 48 | Sft
[13 empty] | 5928 | Sft
Deduction
| Doors |  |  | 2 | x | 5 | x | 7 |  |  |  | = | 70 | Sft
|  |  |  | 2 | x | 3.5 | x | 7 |  |  |  | = | 49 | Sft
|  |  |  | 2 | x | 2 | x | 3 | x | 7 |  | = | 84 | Sft
| Windows |  |  | 4 | x | 2 | x | 5 | x | 4 |  | = | 160 | Sft
|  |  |  | 2 | x | 2 | x | 4 | x | 4 |  | = | 64 | Sft
| Ventilator |  |  | 2 | x | 2 | x | 2 | x | 1.5 |  | = | 12 | Sft
[13 empty] | 439 | Sft
[6 empty] | 5928 | Sft | (-) |  | 439 | Sft = |  | 5489 | Sft
[6 empty] | 14728 | Sft | @ | Rs. | 3015.76 |  | P.% Sft |  | Rs. | 444161.1328
7 | Making & fixing Steel Grated Door with 1/16" thick sheeting including angle iron frame 2" x 2" x 3/8" and 3/4" square bar @ 4" center to center with locking arrangment. (SOR (G) P/91 I/24).
Steel Greated Doors
|  |  |  | 1 | x | 4 | x | 7 |  |  |  | = | 28 | Sft
[6 empty] | 84 | Sft | @ | Rs. | 726.72 |  | P. Sft |  | Rs. | 61044.48
8 | Priming coat of chalk distemper. (SOR (G) P-53 I-23).
| Qtty Same as Item No. 10 |  |  |  |  | 12911 | Sft | @ | Rs. | 442.75 |  | P%Sft |  | Rs. | 57163.4525
9 | Distempering. (SOR (G) P-54 I-24 (C) Three Coats.
| Qtty Same as Item No. 10 |  |  |  |  | 12911 | Sft | @ | Rs. | 1079.65 |  | P%Sft |  | Rs. | 139393.6115
10 | Painting New Surfaces.
(C) preparing surface and painting of doors and windows any type, (i/c edges) (SOR (G) P-69 I-5 (c))
[6 empty] | #REF! | x | 2 |  |  |  | = | #REF! | Sft
i) | Priming Coat. |  |  |  |  | 1009 | Sft | @ | Rs. | 862.95 |  | P%Sft |  | Rs. | 8707.1655
ii) | Each Subsequent Coat of Paint. |  |  |  |  | 1009 | Sft | @ | Rs. | 626.73 |  | P%Sft |  | Rs. | 6323.7057
11 | PVC insulated single core copper conductor 250/440-Volts size 1/.13mm (3/.029) (S.O.R (M) Electrical Item P-01 I-1).
Wire 3.29 i/c UPS Wiring
| 02 Bundle |  |  |  |  | 900 | Rft | @ | Rs. | 5.8 |  | P.Rft |  | Rs. | 5220
12 | PVC insulated single core copper conductor 250/440-Volts size 1/1.78mm (7/.029) (S.O.R (M) Electrical Item P-01 I-3).
| Wire 7.29 |  |  | 03 Bundle |  | 1200 | Rft | @ | Rs. | 11.72 |  | P.Rft |  | Rs. | 14064
13 | Providing & Fixing Circuit Breaker 6,10,15,20,30,40,50 & 63 amp SP (TB-5S) on prepared board as required. (S.O.R (C) Electrical Works P-31 I-203).
[6 empty] | 8 | Nos. @ | @ | Rs. | 916 |  | Each |  | Rs. | 7328
14 | Providing & Fixing Circuit Breaker 6,10,15,20,30,40,50 & 63 amp DP (TB-5S) on prepared board as required. (S.O.R (C) Electrical Works P-31 I-204).
[6 empty] | 1 | Nos. @ | @ | Rs. | 2456 |  | Each |  | Rs. | 2456
15 | Providing & Fixing Circuit Breaker 15,20,30,40,50,60,75 & 100 amp TP (XS-100NS) on prepared board as required. (S.O.R (C) Electrical Works P-31 I-207).
[6 empty] | 1 | No. @ | @ | Rs. | 9261 |  | Each |  | Rs. | 9261
16 | Providing & Fixing DP i/c change over switch 500volts 30aamp on a prepared board. (S.O.R (C) Electrical Works P-30 I-195).
[6 empty] | 2 | No. @ | @ | Rs. | 2615 |  | Each |  | Rs. | 5230
17 | Providing & Fixing DP i/c change over switch 500volts 60aamp on a prepared board. (S.O.R (C) Electrical Works P-30 I-196).
[6 empty] | 2 | No. @ | @ | Rs. | 3559.5 |  | Each |  | Rs. | 7119
18 | Providing & Fixing DP i/c change over switch 500volts 100aamp on a prepared board. (S.O.R (C) Electrical Works P-30 I-197).
[6 empty] | 1 | No. @ | @ | Rs. | 7612 |  | Each |  | Rs. | 7612
19 | Providing & Fixing Voltmeter Size 96 / 96 MM 500 voltsof (S.O.R (C) Electrical Works P-41 I-285).
[6 empty] | 2 | No. @ | @ | Rs. | 999 |  | Each |  | Rs. | 1998
20 | Wiring for light or fan point with 3/.029 PVC Insulated wire in 20mm (3/4") PVC conduit recessed in the wall or column as required (S.O.R (C) Electrical Works P-15 I-124).
[6 empty] | 34 | Point. @ | @ | Rs. | 1130 |  | P.Point |  | Rs. | 38420
21 | Wiring for plug point with 3/.029 PVC Insulated wire in 20mm (3/4") PVC conduit recessed in the wall or column as required (S.O.R (C) Electrical Works P-15 I-126).
[6 empty] | 30 | Point. @ | @ | Rs. | 985 |  | P.Point |  | Rs. | 29550
22 | Providing Fixing Brass ceiling fan 56" (Good Quality). (S.O.R (C) Electrical Works P-34 I-235).
[6 empty] | 8 | Nos. | @ | Rs. | 3185 |  | Each |  | Rs. | 25480
23 | Providing Laying uPVC pressure pipes of Class "B" (equivalent make) fixing in trench i/c cutting fitting & jointing with "Z" joint with one rubber ring i/c testing with water to a head 61 meter or 200 ft. (PHE V-III P-III P-22 I-E1 (a)).
| 3" Dia |  |  |  |  | 22 | Rft. @ | @ | Rs. | 90.22 |  | P.Rft |  | Rs. | 1984.84
| 4" Dia |  |  |  |  | 26 | Rft. @ | @ | Rs. | 147.98 |  | P.Rft |  | Rs. | 3847.48
24 | European type white or colured glazed W.C Pan (Superior Quality) (SOR (M) WSASI P-1 I/8).
[6 empty] | 4 | No. @ | @ | Rs. | 5980 |  | Each |  | Rs. | 23920
25 | Flush Tank lo level Plastic 3 Gallons I.C.I (Master Brand Superior Quality). (a) 1st Quality (SOR (M) WSASI P-2 I/26).
[6 empty] | 4 | No. @ | @ | Rs. | 3000 |  | Each |  | Rs. | 12000
26 | Flush Pipe Steel (SOR (M) WSASI P-2 I/38).
[6 empty] | 4 | No. @ | @ | Rs. | 580 |  | Each |  | Rs. | 2320
27 | Flush Bend PVC Steel 1 1/2" dia (Golden or White). (SOR (M) WSASI P-2 I/35).
[6 empty] | 4 | No. @ | @ | Rs. | 180 |  | Each |  | Rs. | 720
28 | Wash Basin white Colour glazed 22" x 16" (Foreign or Superior Quality) (SOR (M) WSASI P-1 I/14).
[6 empty] | 4 | No. @ | @ | Rs. | 3000 |  | Each |  | Rs. | 12000
29 | Supplying & Fixing Bath Room accessories set (7 Piece) i/c towel rod, brush heler, soaptray shelf of approved design i/c cost of screws, nuts etc completer (SOR (vol-III Part V-B) P-19 I/23).
[6 empty] | 4 | No. @ | @ | Rs. | 10322.4 |  | Each |  | Rs. | 41289.6
30 | Mirror size 15" x 12" Belgium Glass with plastic moulding (Superior Quality) (SOR (M) WSASI P-3 I/13).
[6 empty] | 4 | No. @ | @ | Rs. | 1700 |  | Each |  | Rs. | 6800
31 | C.I Soil or Vent Pipe 4" Dia Commercial. (SOR (M) W/S & Sanitary Item P-4 I-2)
[6 empty] | 30 | Rft. @ | @ | Rs. | 256 |  | P.Rft |  | Rs. | 7680
32 | Gate Valve (Gun Metal) (Heavy) (SOR (M) W/S & Sanitary Item P-8 I-11).
| 2" Dia |  |  |  |  | 4 | Nos. @ | @ | Rs. | 925 |  | Each |  | Rs. | 3700
33 | Handle Valve (Italy) (SOR (M) W/S & Sanitary Item P-8 I-13).
| 2" Dia |  |  |  |  | 4 | Nos. @ | @ | Rs. | 1250 |  | Each |  | Rs. | 5000
34 | C.I Floor Trap 6" x 2" or 6" x 3" commercial. (SOR (M) W/S & Sanitary Item P-2 I-48).
[6 empty] | 4 | No. @ | @ | Rs. | 1300 |  | Each |  | Rs. | 5200
[14 empty] | Part "A" Total Rs. | 2103769.562 | #VALUE!
SCHEDULE "B"
NAME OF WORK:- |  |  |  | PROVIDING RE-CREATIONAL FACILITIES OF NAZIR HUSSAIN GYMNASIUM, ARIF HUSSAIN AUDITORIUM & BABY AFZA PLAY GROUND DEVELOPMENT & REHABILITATION AT PREETABAD COLLEGE, PREETABAD CITY HYDERABAD (PS-45).
Part "B" (Non Schedule Items)
1 | Doors & Windows (Russian Deodar Wood). (M.R).
| Covered Area |  |  | 1 | x | 375 | x | 410 | x | 0.5 |  | = | 76875 | Cft
[6 empty] | 439 | Sft | @ | Rs. |  |  | P-Sft |  | Rs.
2 | Preparing Front Elevation of Building by Making Fancy Curves Patties, Emboss Article etc complete as per approved design. (M.R)
|  |  |  | 1 | x | 100 | x | 100 |  |  |  | = | 10000 | Sft
[6 empty] | 1 | Job | @ | Rs. |  |  | P-Job |  | Rs.
3 | Pannel Box Size 10 x 12. (M.R)
[6 empty] | 2 | No. | @ | Rs. |  |  | Each |  | Rs.
4 | PVC Pipe 1" (M.R)
[6 empty] | 300 | Rft | @ | Rs. |  |  | Each |  | Rs.
5 | Bend + Fan Box + Socket + Big Board + Smal Board. (M.R)
[6 empty] | 1 | Job | @ | Rs. |  |  | P.Job |  | Rs.
6 | Providing Fixing Exhust Fan. (M.R).
[6 empty] | 10 | Nos. @ | @ | Rs. |  |  | Each |  | Rs.
7 | Providing Fixing Electric Fox Light. (M.R).
[6 empty] | 4 | Nos. @ | @ | Rs. |  |  | Each |  | Rs.
8 | Providing Fixing Electric Double Tube Light i/c Chowk, Starter, Patti etc complete. (M.R).
[6 empty] | 16 | Nos. @ | @ | Rs. |  |  | Each |  | Rs.
9 | Providing Fixing Electric Saver, Holder etc complete. (M.R).
[6 empty] | 14 | Nos. @ | @ | Rs. |  |  | Each |  | Rs.
10 | Labour Charges. (M.R)
[6 empty] | 1 | Job. @ | @ | Rs. |  |  | P.Job |  | Rs.
(iii) | (Sanitary Works)
11 | PPR Pipe1/2" Dia (M.R)
[6 empty] | 60 | Rft | @ | Rs. |  |  | P.Rft |  | Rs.
12 | PPR Pipe 1" Dia. (M.R)
[6 empty] | 6 | Rft | @ | Rs. |  |  | P.Rft |  | Rs.
13 | Thread Tee 1/2" Dia. (M.R).
[6 empty] | 4 | Nos. @ | @ | Rs. |  |  | Each |  | Rs.
14 | Thread Elbo 1/2" Dia (M.R)
[6 empty] | 6 | Nos. @ | @ | Rs. |  |  | Each |  | Rs.
15 | Plan Tee (M.R)
[6 empty] | 7 | Nos. @ | @ | Rs. |  |  | Each |  | Rs.
16 | Plan Elbo (M.R)
[6 empty] | 7 | Nos. @ | @ | Rs. |  |  | Each |  | Rs.
17 | Handle Valve (M.R).
[6 empty] | 4 | No. @ | @ | Rs. |  |  | Each |  | Rs.
18 | Union. (M.R)
[6 empty] | 4 | No. @ | @ | Rs. |  |  | Each |  | Rs.
19 | Elboo 1" x 1/2. (M.R)
[6 empty] | 4 | No. @ | @ | Rs. |  |  | Each |  | Rs.
20 | G.I Pipe Niple 1" Dia 1 ft long. (M.R)
[6 empty] | 4 | No. @ | @ | Rs. |  |  | Each |  | Rs.
21 | G.I Socket. (M.R)
[6 empty] | 4 | No. @ | @ | Rs. |  |  | Each |  | Rs.
22 | G.I Plug. (M.R)
[6 empty] | 4 | No. @ | @ | Rs. |  |  | Each |  | Rs.
23 | Male Thread Socket. (M.R).
[6 empty] | 4 | Nos. @ | @ | Rs. |  |  | Each |  | Rs.
24 | Concelled Stopcock. (M.R)
[6 empty] | 4 | No. @ | @ | Rs. |  |  | Each |  | Rs.
25 | Jambo P. Trap 4" Dia. (M.R)
[6 empty] | 4 | No. @ | @ | Rs. |  |  | Each |  | Rs.
26 | Medium P.Trap 3" Dia. (M.R)
[6 empty] | 4 | Nos. @ | @ | Rs. |  |  | Each |  | Rs.
27 | Coval Jali. (M.R)
[6 empty] | 4 | No. @ | @ | Rs. |  |  | Each |  | Rs.
28 | Plug Tee 4" Dia. (M.R)
[6 empty] | 4 | No. @ | @ | Rs. |  |  | Each |  | Rs.
29 | Plug Elbo 4" Dia. (M.R)
[6 empty] | 4 | No. @ | @ | Rs. |  |  | Each |  | Rs.
30 | Plug Elbo 3" Dia. (M.R)
[6 empty] | 4 | Nos. @ | @ | Rs. |  |  | Each |  | Rs.
31 | Plan Elbo 3" Dia. (M.R)
[6 empty] | 4 | Nos. @ | @ | Rs. |  |  | Each |  | Rs.
32 | Silicon 250 ml. (M.R).
[6 empty] | 4 | Nos. @ | @ | Rs. |  |  | Each |  | Rs.
33 | Side Piller Cock. (M.R)
[6 empty] | 9 | Nos. @ | @ | Rs. |  |  | Each |  | Rs.
34 | Bib Cock. (M.R)
[6 empty] | 8 | Nos. @ | @ | Rs. |  |  | Each |  | Rs.
35 | Tee Cock. (M.R)
[6 empty] | 8 | Nos. @ | @ | Rs. |  |  | Each |  | Rs.
36 | Shower Set i/c Wash Basin Mixer, Hand Shower, Shower, Shower Rod, Muslim Shower etc complete. (M.R)
[6 empty] | 4 | Set. @ | @ | Rs. |  |  | P.Set |  | Rs.
37 | Labour Charges. (M.R)
[6 empty] | 1 | Job. @ | @ | Rs. |  |  | P.Job |  | Rs.
[14 empty] | Part "B" Total Rs. |  | 0
1 | Total Amount of Schedule Item Part "A" | [6 empty] | Rs. |  | 2103769.562
2 | I the Contractor M/S
Here by quote__________% premium the
| above / below the Schedule Items. | [6 empty] | Rs.
3 | Total Amount of Non Schedule Items
| Part "B" in | [6 empty] | Rs.
| Total Tender Amount 1 to 3 (in figures) | [6 empty] | Rs.
In word: