| BILL OF QUANTITY (B) DESCRIPTION AND RATE OF ITEMS BASED ON COMPOSITE SHEDULE OF RATES NAME OF WORK:- REHABILITATION OF RURAL DRAINAGE SCHEME DARYA KHAN TALPUR TALUKA & DISTRICT MATIARI S# Items Qty: Rate Unit Amount. |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Group ‘A”Repair of Pumping Machinery. |  |  |  |
| 1 | Rewinding of Electric motor 10 BHP phase 400/440 volts, 50 cycles with best quality in solated copper wire of required guage i/c testing on load with satisfactory result up to one week’s time opening and refitting and replacing the bolts in necessary including the cost of worn out material (GSI NO: 97 (c) P-II0). 1450 |  |  |  |
|  | BHP 10 |  |  |  |
|  | 2 No | @Rs: 10599/- | Each | Rs: 21,198/- |
|  | BHP 15 |  |  |  |
|  | 2 No | @Rs: 15188/- | Each | Rs: 30,376/- |
| 2 | Repair of non clogging sullage pump 2- 1/3 x 3 etc complete (Rate approved ) |  |  |  |
|  | 4 Nos | @Rs: 10,000/- | Each | Rs: 40,000/- |
| 3 | Providing and faxing common steel or base plate (M.R) |  |  |  |
|  | 4 Nos | @Rs: 18601/- | Each | Rs: 74,404/- |
| 4 | Providing C.I Coupling (KSB made with aligment change (M.R) rate as per p.list |  |  |  |
|  | 4 Nos | @Rs: 9882/- | Each | Rs: 39,528/- |
| 5 | Providing MCU /SD 10 BHP consists of breaker magnetic contractor over load protection under over voltage protection phase failure protection ammeter with current transformer voltmeter with potential transformer automatic star-delta change over switch control an power cables i/c light and all these component are fixed in a metallic dust and smoke proof box (KSB made) P list approved) |  |  |  |
|  | 2 Nos | @Rs: 48750/- | Each | Rs: 97,500/- |
| 6 | Providing internal wire from main with 3.7/0.0.36 PVC installed wire 660 volts in25 mm1”PVC conduit on surface as required(ESI No: 18 P-3) |  |  |  |
|  | 60.00 Rft | @Rs: 85/06 | P.Rft | Rs: 5104/- |
| 7 | Providing fixing earth set 2’x2’x1/2 copper in ground at depth of 12 or less it was come out from the ground level with salt and charcoal etc |  |  |  |
|  | 4 Set | @Rs: 2600/- | P.Set | Rs: 10,400/- |
| 8 | Making foundation of cement concrete plain i/c placing compacting finishing and curing complete i/c screening and washing of stone aggregate without shuttering ratio 1:2:4) (GSINo:5 P-16 ) |  |  |  |
|  | 48.00 Cft | @Rs: 14429/25 | P% Cft | Rs: 6,926/- |
| 9 | Cement concrete brick or stone ballast 1:1/2”to 2” gauge (G.S.I.N:4 P-15) Ratio(1:4:8) |  |  |  |
|  | 24.00 Cft | @Rs: 9416/28 | P% Cft | Rs: 2,260/- |
| 10 | Providing & embedding M.S foundation nuts and bolts of ½ (4 Nos ) 2ft long inch half thread (SMI No: 6 P-27) |  |  |  |
|  | Size |  |  |  |
|  | 21.34 Ibs | @Rs: 112/61 | P.Ibs | Rs: 2,403/- |
| 11 | Manufacturing supplying and fixing 4”Dia M.S pipe ms sheet of 3/8” thick(R.Approved) based on schedule |  |  |  |
|  | 154.00 Rft | @Rs: 506/60 | P.Rft | Rs: 78, 016/- |
| 12. | Manufacturing supplying M.S. flanges of different dia made of m.s.sheet of holes and welding of flanges with m.s pipe etc complete(R,A) based on schedule |  |  |  |
|  | 4”Dia |  | 40 Nos |  |
|  | 40 Nos | @RS: 596/75 | Each | Rs: 23,870/- |
| 13. | Supplying C.I. sluice valve heavy pattern(test pressure 21 Kg sq cm or 300 lbs sq inch) (SMI No 2 P/12) (Imported) |  |  |  |
|  | 4”Dia |  |  |  |
|  | 4 Nos | @RS: 5460/- | Each | Rs: 21,840/- |
| 14. | Supplying C.I. Reflex valve heavy pattern(test pressure 21 Kg sq cm or 300 lbs sq inch) (SMI NO: 6 P/12) (imported) |  |  |  |
|  | 4”Dia |  |  |  |
|  | 4 Nos | @Rs: 1706/25 | Each | Rs 6,825/- |
| 15. | Supplying C.I. taper flat bottomed or central tapered flanged ends with holes i/c turning and facing turning flanges for all size. (S M.I.No.9 P/13) |  |  |  |
|  | 0.20 Cwt | @RS: 6096/- | P.Cwt | Rs: 1,219/- |
| 16. | Supplying C.I. bend with flanged ends with holes i/c turning and facing of flanges for all size.(S M I No: 8 P- 13) |  |  |  |
|  | 4”Dia |  |  |  |
|  | 3.00 Cwt | @Rs: 6096/- | P.Cwt | Rs: 18,288/- |
| 17. | C.I. Tee flanged ends with holes i/c turning and facing of flanges. (S M I No:12 P No 13) |  |  |  |
|  | 4”x4”x4” |  |  |  |
|  | 0.48 Cwt | @Rs: 6096/- | P.Cwt | Rs: 2,926/- |
| 18 | Supplying CI foot valve heavy pattern test (S.M.INO:4 P-12) (Imported) |  |  |  |
|  | 4”Dia |  |  |  |
|  | 4 Nos | @Rs: 893/75 | Each | Rs: 3,575/- |
| 19 | Supplying CI short piece(SMINO:9 P-15) |  |  |  |
|  | 2 No | @Rs 487/50 | Each | Rs: 975/- |
| 20 | Jointing C.I./M.S. flanges pipes and specials flanged and inside trench i/c supplying rubber packing of the required thickness nuts bolts with washers etc complete.(PHSINO:1P-40) |  |  |  |
|  | 60.0 Joints | @Rs: 513/- | P. Joint Total | Rs: 30,780/- Rs; 5,18,413/- |

GROUP ‘B’ PUMP HOUISE

| 1. |  | Dismantling cement concrete re-enforced separating reinforcement form concrete cleaning and straightening the same (GSI No: 19(a) P/10). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 88.52Cft @Rs: 5445/- P% Cft |  |  |  |  |  | Rs: 4,820/- |
| 2. |  | Removing cement or line plaster (G.S.I.No: 53 P-13) |  |  |  |  |  |  |
|  |  | 386.25 Sft @Rs: 121/- P% Sft |  |  |  |  |  | Rs: 467/- |
| 3. |  | Excavation in foundation of building bridges and other structure i/c dag belling dressing refilling around the structure with excavated earth watering ramming lift upto 5ft and lead upto one chain (In ordinary soil) etc (G.S.I.NO:18 P-4) |  |  |  |  |  |  |
|  |  | 235.00 Cft |  | @Rs:3176/25 |  | P%0Cft |  | Rs: 746/- |
| 4. |  | Cement concrete brick or stone ballast 1 ½” to 2” guage ratio (GSINO:4 P-15) |  |  |  |  |  |  |
| i) |  | Ratio(1:4:8) |  |  |  |  |  |  |
|  |  | 47.00 Cft |  | @Rs:9416/28 |  | P% Cft |  | Rs: 4,426/- |
| ii) |  | Ratio(1:5:10) |  |  |  |  |  |  |
|  |  | 57.28 Cft |  | @Rs:8694/95 |  | P% Cft |  | Rs: 4,980/- |
| 5. |  | Cement concrete plain i/c placing compacting finishing and curing complete i/c screening and washing of stone aggregate without shuttering ratio(1:3:6) (G.S.I.NO: 5(h) P/16) |  |  |  |  |  |  |
|  |  | 188.00 Cft |  | @Rs:12595/- |  | P% Cft |  | Rs: 23,679/- |
| 6. |  | Erection and removal of centering for R.C.C.plain c.c.works pertal wood (2nd class) vertical (G.S.I.NO:18 P/8) |  |  |  |  |  |  |
|  |  | 376.0C Sft |  | @Rs:3127/41 |  | P% Sft |  | Rs: 11,759/- |
| 7. |  | Pucca brick work in ground floor in cement sand mortor (1:6)(GSINO: 5P-21) |  |  |  |  |  |  |
|  |  | 298.51 Cft |  | @Rs:12674/36 |  | P% Cft |  | Rs: 37,834/- |
| 8. |  | R.C.C. work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rates also i/c all kinds forms moulds lifting shuttering ;curing rendering and finishing the exposed surface i/c screening and washing of shingle (a) RCC work in roof slab beams columns rafts lintels and other structural member laid in situ or precast laid in position in all respect ratio(1:2:4)et (G.S.I.NO:6 P/17 |  |  |  |  |  |  |
|  |  | 182.65 Cft |  | @Rs:337/- |  | P.Cft |  | Rs: 61,553/- |
| 9. |  | Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastening i/c cost of binding wire also i/c removal of rust from bars etc (G.S.I.NO:8/b P/17) |  |  |  |  |  |  |
|  |  | 7.33 Cwt |  | @Rs:5001/70 |  | P. Cwt |  | Rs: 36,662 /- |
| 10. |  | Filling watering and ramming earth under floor with new earth (excavated from outside) lead one chain lift upto 5ft(GSINO:22,P-4) |  |  |  |  |  |  |
|  |  | 229.12 Cft |  | @Rs:3630/- |  | P%0 Cft |  | Rs: 832/- |
| 11. |  | Making & fixing steel grated doors with 1/16” thick sheeting including angle iron frame 2”x2” 3/8”x ¾” square bars 4” center to center with locking arrangement (GSI.No.24 P/92) |  |  |  |  |  |  |
|  |  | 22.75 Sft |  | @Rs:726/72 |  | P.Sft |  | Rs: 16,533/- |
| 12 |  | P/F iron steel grill of ¾ ”x1/4”side flat iron of approved design i/c painting 3 coats weight not less than 3.7 lbs of finished grill(GSINO:26 P97) |  |  |  |  |  |  |
|  |  | 30.00 Sft |  | @Rs:180/50 |  | P. Sft |  | Rs: 5,415/- |
| 13 |  | Fabrication of heavy steel work with angles tees flat iron round iron and sheet iron for making trusses girders tanks etc i/c cutting diverting handling assembling and fixing but excluding erection in position(GSIN:2,P-91). |  |  |  |  |  |  |
|  |  | 2.54 Cwt |  | @Rs:4928/49 |  | P. Cwt |  | Rs: 12,518/- |
| 14 |  | Cement plaster(1:4) upto 12’ ft height 3/8” thick (GSINO:11(a ) P-52) |  |  |  |  |  |  |
|  |  | 1804.50 Sft |  | @Rs:2197/52 |  | P% Sft |  | Rs: 39,654/- |
| 15 |  | Cement plaster(1:4)upto 12’ ft height 1/2” thick (GSINO:11(b) P-52) |  |  |  |  |  |  |
|  |  | 1804.50 Sft |  | @Rs:2283/93 |  | P% Sft |  | Rs: 41,214/- |
| 16 |  | Providing and laying 1” thick topping cement concrete(1;2:4)i/c surface finishing and dividing into panels (2”Thick) (PHSINO:16,P-46) |  |  |  |  |  |  |
|  |  | 240.00 Sft |  | @Rs:3275/50 |  | P.% Sft |  | Rs: 7,861/- |
| 17 |  | White wash three coat(GSINO:24P-54) |  |  |  |  |  |  |
|  |  | 1804.50 Sft |  | @Rs:829/95 |  | P.% Sft |  | Rs: 14,976/- |
| 18 |  | Painting New Surface. Preparing (Door and windows) Surface and painting of any type (i/c angle two coats (GSINO:5 ( c) P-70) |  |  |  |  |  |  |
|  |  | 105.50 Sft |  | @Rs: 2116/41 |  | P.% Sft |  | Rs: 2,233/- |
| 19 |  | Painting old Surface .Preparing (Door and windows) Surface and painting of any type (i/c angle two coats (GSINO:5 ( c) P-70) |  |  |  |  |  |  |
|  |  | 105.50 Sft |  | @Rs: 1662/21 |  | P%. Sft |  | Rs: 1,754/- |
| 20 |  | Erection and fitting in position of iron trusses and testing of water tank etc (GSINO:3 P-91) |  |  |  |  |  |  |
|  |  | 2.54 Cwt |  | @Rs:271/04 |  | P.Cwt |  | Rs: 688/- |
|  |  |  |  |  |  | Total |  | Rs: 3,30,604/- |
| 1. | INTERCONNECTION Excavation for pipe lines in trenches and pits in Soft Soil i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joint holes and disposal of surplus earth within one chain as directed by Engineer In charge providing fence guards light flags and wherever required lift upto 5ft and Lead upto one chain (P.H.S.I.NO:1 P/60) |  |  |  |  |  |  |  |
|  | 480.00 Cft |  | @Rs:3600/- |  | P%0Cft |  | Rs: 1,728/- |  |
| 2. | Providing RCC pipe and collars of class B and fixing in trench i/c cutting fitting and jointing with maxphalt composition and cement mortar(1:1)i/c testing with water to a head of 22.5 metter or 75 ft.(PHSI.NO:2,P-17) |  |  |  |  |  |  |  |
|  | 12” dia |  |  |  |  |  |  |  |
|  | 40.0 Rft |  | @Rs:412/- |  | P.Rft |  | Rs: 16,480/- |  |
| 3. | Refilling excavated the stuff in trenches 6” thick layers i/c watering ramming to full compaction etc complete (PHSINO:24 P-77) |  |  |  |  |  |  |  |
|  | 432.0 Rft |  | @Rs:2760/- |  | P%0 Cft |  | Rs: 1,192/- |  |
|  |  |  |  |  | Total |  | Rs: 19,400/- |  |
| 1. | SCREENING CHAMBER.SIZE(5’x8’) Excavation for tank and reservoirs in soft soil i/c trimming and dressing side to true alignment design section/profiles and shape leveling of bed of trenches to correct level and i/c laying of earth in 6”layers for construction of banks and dressing and disposal of surplus excavated earth within one chain as directed by engineer in charge providing fence guards light flags and temporary crossing for non vehicular traffic wherever required lift upt 5ft(1.52m) and lead upto one chain(30.5m). (PHSINO:1,P-69) |  |  |  |  |  |  |  |
| i) | 0’-5’Depth |  |  |  |  |  |  |  |
|  | 440.0 Cft |  | @Rs:3000/- |  | P%0 Cft |  | Rs: 1,320/- |  |
| 2. | Excavation for tank and reservoirs in wet soil i/c trimming and dressing side to true alignment design section/profiles and shape leveling of bed of trenches to correct level and i/c laying of earth in 6”layers for construction of banks and dressing and disposal of surplus excavated earth within one chain as directed by engineer in charge providing fence guards light flags and temporary crossing for non vehicular traffic wherever required lift upt 5ft(1.52m) and lead upto one chain(30.5m). (PHSINO:14P-74) |  |  |  |  |  |  |  |
| i) | 0’-5’Depth |  |  |  |  |  |  |  |
|  | 308.00 Cft |  | @Rs:4800/- |  | P%0 Cft |  | Rs: 1,478/- |  |
| 3. | Cement concrete brick or stone ballast 1 ½” to 2” guage ratio (1:4:8)(GSINO:4 P-17) |  |  |  |  |  |  |  |
|  | 44.00 Cft |  | @Rs:9416/28 |  | P% Cft |  | Rs: 4,143/- |  |
| 4. | Cement concrete plain i/c placing compacting finishing and curing complete i/c screening and washing of stone aggregate without shuttering ratio(1:2:4) (G.S.I.NO: 5 P/16) |  |  |  |  |  |  |  |
|  | 10.00 Cft |  | @Rs:14429/25 |  | P% Cft |  | Rs: 1,443/- |  |
| 5. | R.C.C. work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rates also i/c all kinds forms moulds lifting shuttering ;curing rendering and finishing the exposed surface i/c screening and washing of shingle (a) RCC work in roof slab beams columns rafts lintels and other structural member laid in situ or precast laid in position in all respect ratio(1:2:4)et (G.S.I.NO:6 P/17 |  |  |  |  |  |  |  |
|  | 242.27 Cft |  | @Rs:337/- |  | P.Cft |  | Rs: 81,645/- |  |
| 6. | Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastening i/c cost of binding wire also i/c removal of rust from bars etc (G.S.I.NO:8 P/17) |  |  |  |  |  |  |  |
|  | 9.73 Cwt |  | @Rs:5001/70 |  | P.Cwt |  | Rs: 48,667/- |  |
| 7. | Pucca brick work in foundation and plinth in cement sand mortar (1:6) etc (G.S.I.NO:4 P/21) |  |  |  |  |  |  |  |
|  | 20.34 Cft |  | @Rs:11948/36 |  | P% Cft |  | Rs: 2,430/- |  |
| 8. | Cement plaster(1:4)upto 12’ ft height 1/2” thick (GSINO:11( b)P-52) |  |  |  |  |  |  |  |
|  | 187.56 Sft |  | @Rs:2283/93 |  | P% Sft |  | Rs: 4,284/- |  |
| 9. | Providing expansion joint in cement work of 9” wide corrugated PVC water stop with bulbs i/c soldering cost of material and lab our etc complete(PHSINO:2,P-56) |  |  |  |  |  |  |  |
|  | 30.00 Rft |  | @Rs:86/- |  | P.Rft |  | Rs: 2,580/- |  |
| 10 | P/F in position in cc foundation (1:3:6) M.S.ladder of M.S.angle iron 2’x2”x1/4” 1” apart with M.S.bar ¾” dia spaced 1’ apart i/c painting three coat with anticorrosive steel paint etc complete.(PHSINO:3,P-55) |  |  |  |  |  |  |  |
|  | 10.0 Rft |  | @Rs:799/- |  | P. Rft |  | Rs: 7,990/- |  |
| 11 | Fabrication of heavy steel work with angles tees flat iron round iron and sheet iron for making trusses girders tanks etc i/c cutting diverting handling assembling and fixing but excluding erection in position(GSIN:2,P-91). |  |  |  |  |  |  |  |
|  | 1.67 Cwt |  | @Rs: 4928/49 |  | P. Cwt |  | Rs: 8,231/- |  |
| 12 | Erection and fitting in position of iron trusses staging of water tanks etc (GSI.No.3 P/91) |  |  |  |  |  |  |  |
|  | 1.67 Cwt |  | @Rs:271/04 |  | P. Cwt |  | Rs: 453/- |  |
| 13 | Providing and fixing C.I. main hole cover with frame i/c cost of material etc(PHSINO:1,P-35) |  |  |  |  |  |  |  |
|  | 1.75 Cwt |  | @Rs: 6985/- |  | P.Cwt |  | Rs; 12,224/- |  |
|  |  |  |  |  | Total |  | Rs: 1,75,568/- |  |

SURFACE DRAINS.

| 1. | Earth work excavation in ashes sup sail or silt clearance undressed Lead up to 50 ft (GSI No: 2 P/1). |  |  |  |
| --- | --- | --- | --- | --- |
|  | 9595.32 Cft | @Rs: 1663/75 | P%0Cft | Rs: 15,964/- |
| 2 | Dismantling brick work in lime or cement motor (GSI No: 13 P/10). |  |  |  |
|  | 1860.93 Cft | @Rs: 1285/63 | P% Cft | Rs: 23,925/- |
| 3 | Dismantling R.C.C work 1:2:4 reinforcement from cleaning and straightening the same (GSI No:20 P/10). |  |  |  |
|  | 48.00 Cft | @ Rs: 5445/- | P% Cft. | Rs: 2,614/- |
| 4 | Extra for every 50ft additional or part thereof (a)For earth work soft ordinary hard and very hard(GSINO:8(a) P-2) |  |  |  |
|  | 11456.25 Cft | @Rs: 4837/44 | P%0Cft | Rs: 55,419/- |
| 5. | Excavation in foundation of building bridges and other structure i/c dag belling dressing refilling around the structure with excavated earth watering ramming lift upto 5ft and lead upto one chain (In ordinary soil) (G.S.I.NO:18 P/4) |  |  |  |
|  | 12001.70 Cft | @Rs:3176/25 | P%0Cft | Rs: 38,120/- |
| 6. | Cement concrete plain i/c placing compacting finishing and curing complete i/c screening and washing of stone aggregate without shuttering ratio (1:4:8) (G.S.I.NO: 5 P/16) |  |  |  |
|  | 2531.67 Cft | @Rs:11288/75 | P% Cft | Rs: 2,85,794/- |
| 7. | Cement plaster (1:4) upto 12’ height ½” thick (GSINO:11,P-52) |  |  |  |
|  | 19698.0 Sft | @Rs:2283/93 | P% Sft | Rs: 4,49,889/- |
| 8 | Pucca brick work in foundation and plinth in cement sand mortar (1:6) etc (G.S.I.NO:4 P/20) |  |  |  |
|  | 10487.00 Cft | @Rs:11948/36 | P% Cft | Rs: 12,53,025/- |
| 9. | Construction of standard open drain cunette block of cc (1:2:4)in situ to the design profile i/c cost of moulds as per drawing i/c applying floating cost of cement 1/32” thick face finished smooth curing etc complete as per detailed drawing(PHSINO:D(ii)P-58) |  |  |  |
|  | Type-A |  |  |  |
|  | 2635.00 RFt. | @Rs:94/- | P. Rft | Rs: 2,47,690/- |
|  | Type-B |  |  |  |
|  | 1250.00 RFt. | @Rs:174/- | P. Rft | Rs: 2,17,500/- |
| 11. | R.C.C. work i/c all lab our and material except the cost of steel; reinforcement and its lab our for bending and binding which will be paid separately. This rates also i/c all kinds forms moulds lifting shuttering curing rendering and finishing the exposed surface i/c screening and washing of shingle (a) RC work in roof slab beams columns rafts lintels and other structural member laid in situ or precast laid in position in all respect ratio(1:2:4)et (G.S.I.NO:5 P/16) |  |  |  |
|  | 431.16 Cft | @Rs:337/- | P. Cft | Rs: 1,45,301/- |
| 12 | Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastening i/c cost of binding wire also i/c removal of rust from bars etc (G.S.I.NO:8(a) P/ 17) |  |  |  |
|  | 15.39 Cwt. | @Rs:5001/70 | P.Cwt | Rs: 76,976/- |
| 13 | Borrow pit excavation undressed lead upto 100ft. (a) Ordinary soil (G S I No:3 (a) P:1) |  |  |  |
|  | 34618.30 Cft | @Rs: 2117/50 | P%0 Cft | Rs: 73,304/- |
| 14 | Earth work excavation in ashes sup sand or silt clearance undressed lead up to 50 ft (GSI No: 3(b) P-3). |  |  |  |
|  | 46620.0 Cft | @Rs: 354/- | P %0 Cft | Rs: 16,503/- |
| 15 | Dry brick on edge paving sand grouted i/c preparation of bed by watering ramming and bringing the same to proper camber by ½”thick mud plaster (GSINo: 5 P-40 ) |  |  |  |
|  | 31080.0 Sft | @Rs: 3823/57 | P%Sft | Rs: 11,88,366/- |
| 16 | Carriage 100 cft/tons of all material like stone spwal coal line Surkhi etc BG rails fastening and crossing bridges girders pipeSheets Rails MS bars etc of 100 No:s mound of fuel wood by Truck wood by truck on work by the contractor earth (Lead 2 miles lead).(S of C I No: 1 P: 1) |  |  |  |
|  | 34618.30 Cft | @Rs: 502/52 | P% Cft Total | Rs: 1,73,964/- Rs: 42,64,354/- |

RISIN MAIN

| 1. | Excavation for pipe line in soft soil i/c trimming and dressing side to true alignment design section/profiles and shape leveling of bed of trenches to correct level and i/c laying of earth in 6”layers for construction of banks and dressing and disposal of surplus excavated earth within one chain as directed by engineer in charge providing fence guards light flags and temporary crossing for non vehicular traffic wherever required lift upt 5ft(1.52m) and lead upto one chain(30.5m). (PHSINO:1,P-49) |  |  |  |
| --- | --- | --- | --- | --- |
|  | 6” 3937.50Cft | @Rs:3600/- | P%0 Cft | Rs: 14,175/- |
| 2. | Providing Laying Jointing and testing FC pipe of class B (Equiv ilant make)fixing in trench i/c cutting fitting and jointing with Z joint with one rubber rings i/c testing with water to head of 61 meter or 200 ft(PHSINO:E(1) P-22 |  |  |  |
|  | 6”D. 500.0 Rf | @Rs: 472/53 | P.Rft | Rs: 2,36,265/- |
| 3. | Short piece (S.M.I.No:9 P-16) |  |  |  |
|  | 6”Dia |  |  |  |
|  | 8 Nos | @Rs: 618/75 | Each | Rs: 4,950/- |
| 4 | Supplying AC Collars B class (PHSINo:4:P-5) |  |  |  |
|  | 8 Nos | @Rs:194/- | Each | Rs: 1,552/- |
| 5 | One pair of rubber ring for AC pressure pipe B class(Comet joint)(PHSINo:7 P-5) |  |  |  |
|  | 6”Dia |  |  |  |
|  | 8 Pair | @Rs:129/- | P. Pair | Rs: 1,032/- |
| 6. | Making joint to C I special fitting (i/c laying of special and cost of solvent cement)of required the diameter and testing the joints along with C I pipe line B’C and D class to the specified pressure and making good to all leaky joint etc complete. (PHSINO:N(1)P-80) |  |  |  |
|  | 6”Dia |  |  |  |
|  | 8 Nos | @Rs: 72/- | Each | Rs: 576/- |
| 7 | Gibult joints (SM I No: 14 P-18) |  |  |  |
|  | 4 Nos | @Rs: 1062/50 | Each | Rs: 4,250/- |
| 8 | Jointing C.I./M.S. flanges pipes and specials flanged and inside trench i/c supplying rubber packing of the required thickness nuts bolts with washers etc complete.(PHSINO: M 1P-40) |  |  |  |
|  | 8 Joints | @Rs:938/- | P. Joint | Rs: 7,504/- |
| 9. | Refilling excavated the stuff in trenches 6” thick layers i/c watering ramming to full compaction etc complete (PHSINO:24 P-77) |  |  |  |
|  | 3543.75 Cft | @Rs:2760/- | P%0Cft | Rs: 9,781/- |
|  |  |  | Total | Rs: 2,80,085/- |
|  | KHUD / OXIDATION POND |  |  |  |
| 1. | Full hire charges of pumping set per day inclusive of wage of driver an assistant fuel and electric energy plate from required for Placing pumping pump etc at lower depth with Suction and delivery pipes for pumping out water Found at various depths from trenches i/c the cost of reaction and dismantling after completion of the job.(PHSI NO:23 P-77) |  |  |  |
|  | 18 Days | @Rs: 1500/- | P. Days | Rs: 27,000/- |
| 2. | Borrow pit excavation undressed lead upto 100ft ordinary soil (G S I No:3 (a) P:1) |  |  |  |
|  | 103730.0 Cft | @Rs: 2117/50 | P%0Cft | Rs: 2,19,648/- |
| 3. | Earth work compaction (Soft ordinary or Hard Soil) (a) laying earth in 6” layers leveling and dressing complete. (G S I No:13(a) P: 3) |  |  |  |
|  | 103730.0 Cft | @Rs: 354/- | P%0 Cft | Rs: 36,720/- |
| 4 | Dressing of slopes of brick or ground surface (GSINo:24:P-5) |  |  |  |
|  | 17577.78 Sft | @Rs:378/13 | P% Sft | Rs: 66,467/- |
| 5 | Carriage 100 cft/tons of all material like stone spwal coal line Surkhi etc BG rails fastening and crossing bridges girders pipe Sheets Rails MS bars etc of 100 Nos mound of fuel wood by Truck wood by truck on work by the contractor earth (Lead 2 miles lead).(Sch: & carriage).(S of C I No: 1 P: 1) |  |  |  |
|  | 103730.00Cft | @Rs: 502/52 | P% Cft Total | Rs:5,21,264/- Rs: 8,71,099/- |
|  | COLOUR WASH OF COMPOUND WALL. |  |  |  |
| 1 | Distempering Three coats (GSI.No.24 P/54) |  |  |  |
|  | 2000.00 Sft | @ Rs: 1079.65 | P.% Sft | Rs: 21,593/- |
| 2. | Painting old surface ( c) painting doors and windows any type three coats ( GSI.No.4 P/68 ) |  |  |  |
|  | 144.00 Sft | @ Rs: 1662/21 | P.% Sft | Rs: 2,394/- |
|  |  |  | Total | Rs: 23,987/- |

Amount Total (a) + (b) + (c) + (d) + (e) + (f) + (g) & (h)  	=	Rs: 64,83,510/-

________ % above / below on the rate of CSR,

Amount to be added / deducted on the basis of

premium, Total (b) Rs. ___________________

Total (A) = a + b in works & Figures______________________________________

______________________________________

CONDITIONS.

1	Any error or omissions in the description of items, rates, unit quantity &

Calculation will be governed by the relevant schedule of rates.

2.	The contractor must remove the surplus earth, material, Garbage from

Site of work on his own cost.

3.	No premium will be allowed on non-schedule items & market rates.

4.	No separate cartage will be paid to the contractor.

5.	The work will be completed within specified period.

6.	The contractor is bound the work will be carried out as per agreement

and standard PWD specification .

(MUHAMMAD  AKBAR BALOCH)

CONTRACTOR			                      EXECUTIVE ENGINEER

PUBLIC HEALTH ENGG: DIVISION

MATIARI.	.