BILL OF QUANTITY

(B) DESCRIPTION AND RATE OF ITEMS BASED ON COMPOSITE

SHEDULE  OF RATES

Name of work:-	Rehabilitation of Rural Drainage scheme Old saeedabad Taluka Saeedabad District Matiari.:::::::::::::

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

| A. 1. | REPAIR OF SURFACE DRAINS Earth work excavation in ashes sand soft soil or silt clearance undressed lead upto 50ft(GSINO: 2 P-1 ) |  |  |  |
| --- | --- | --- | --- | --- |
|  | 6970.00 Cft | @Rs:1663/75 | P%o Cft | Rs:11,596/= |
| 2. | Dismantling brick work in lime or cement mortar (GSINO:13 P-10) |  |  |  |
|  | 2109.37 Cft | @Rs:1285/63 | P%Cft | Rs:27,119/= |
| 3. | Dismantling CC reinforcement separating reinforcement from concrete cleaning and straightening the same (GSINO:20P-10) |  |  |  |
|  | 47.52 Cft | @Rs:5445/- | P%Cft | Rs:2587/= |
| 4. | Dismantling CC plain ratio (1:2:4) (GSINO:19 ( c) P-11) |  |  |  |
|  | 287.93Cft | @Rs:3327/50 | P%Cft | Rs:9581/= |
| 5. | Extra for every 50ft additional or part thereof (a)For earth work soft ordinary hard and very hard(GSINO:8(a) P-2) |  |  |  |
|  | 9414.82 Cft | @Rs: 4232/76 | P%oCft | Rs: 39,851/= |
| 6. | Excavation in foundation of building bridges and other structure i/c dag belling dressing refilling around the structure with excavated earth watering ramming lift upto 5ft and lead upto one chain (In ordinary soil) etc (G.S.I.NO:18 P-4) |  |  |  |
|  | 8058.00Cft | @Rs:3176/25 | P%oCft | Rs: 25,594/= |
| 7. | Cement concrete plain i/c placing compacting finishing and curing complete i/c screening and washing of stone aggregate without shuttering ratio (1:4:8) (G.S.I.NO: 5(f) P/77) |  |  |  |
|  | 1827.00Cft | @Rs:11288/75 | P%Cft | Rs: 2,06,245/= |
| 8. | Pucca brick work in foundation and plinth in cement sand mortor (1:6)(GSINO:4P-22) |  |  |  |
|  | 8565.0 Cft | @Rs:11948/36 | P%Cft | Rs: 10,23,377/= |
| 9. | Construction of standard open drains connute block of C.C.( 1:2:4 situ to the design profiles i/c cost of modules as per drawing i/c supplying floating cost of cement 1/3”thick to the exposed surface finished smooth curing etc complete as per detailed drawing |  |  |  |
| T-A | 2400.00Rft | @Rs:94//- | P.Rft | Rs:2,25,600/= |
| T-B | 500.0Rft | @Rs:174/- | P.Rft | Rs: 87,0000/= |
| 10. | Cement plaster(1:4)upto 12’ ft height 1/2” thick (GSINO:11( c )P-57 |  |  |  |
|  | 17486.0Sft | @Rs:2283/93 | P%Sft | Rs: 3,99,368/= |
| 11. | R.C.C. work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rates also i/c all kinds forms moulds lifting shuttering ;curing rendering and finishing the exposed surface i/c screening and washing of shingle (a) RCC work in roof slab beams columns rafts lintels and other structural member laid in situ or precast laid in position in all respect ratio(1:2:4)et (G.S.I.NO:5 P/19) |  |  |  |
|  | 311.00 Cft | @Rs:337/- | P.Cft | Rs:1,04,807/= |
| 12. | Fabrication of mild steel reinforcement for cement concrete i/c cuttng bending laying in position making joints and fastening i/c cost of binding wire also i/c removal of rust from bars etc (G.S.I.NO:8(B) P17)TOR BAR |  |  |  |
|  | 11.10 Cwt | @Rs:5001/70 | P.Cwt | Rs:55,519/= |
|  |  |  | Total | Rs: 22,18,244/= |
| B. 1 | R/ OF COMPOUND WALL COLLG: TANK SCR/CHAMB: Pucca brick work in other then building i/c stricking of joints upto 20 ft(GSINO:7P-22) |  |  |  |
|  | 435.37 Cft | @Rs:12346/65 | P%Cft | Rs:53,754/= |
| 2. | Cement plaster(1:4)upto 12’ ft height 1/2” thick (GSINO:11(B) P-52) |  |  |  |
|  | 2190.00Sft | @Rs:2283/93 | P% Sft | Rs:50,018/= |
| 3. | Distempering three coats(GSINO:24,P-59) |  |  |  |
|  | 2190.00Sft | @Rs:1079/65 | P%Sft | Rs:23,644/= |
| 4. | Painting Old Surface. Preparing Surface and painting of door and windows any type i/c edges three coats (GSINO:4 (c) P-68) |  |  |  |
|  | 144.0Sft | @Rs:1662/21 | P%Sft | Rs:2394/= |
| 1. | COLLECTING TANK SCREENING CHAMBER. Cleaning of collecting tank sump below ground level i/c dewatering of sullage water and disposal of garbage solid waste etc out site the tank etc complete.(PHSINO:1 P-33) |  |  |  |
|  | 883.12 Cft | @Rs:11900/- | P%oCft | Rs:10,509/= |
| 2. | Cement plaster(1:4)upto 12’ ft height 1/2” thick (GSINO:11 P-52) |  |  |  |
|  | 862.50Sft | @Rs:2283/93 | P%Sft | Rs:19,699/= |
|  |  |  | Total | Rs:1,60,018/= |

| C 1. | C.C.BLOCK. Barrow pit excavation undressed lead upto 100 ft ordinary soil (GSINO:3 P-1) |  |  |  |
| --- | --- | --- | --- | --- |
|  | 5062.00 Cft | @Rs:2117/50 | P%oCft | Rs: 10,719/= |
| 2. | Earth compaction (Soft ordinary soil)(b)Laying earth in 6”layers leveling dressing watering compaction etc compt:(GSINO:13 P-3) |  |  |  |
|  | 13120.00Cft | @Rs:354/- | P%oCft | Rs: 4,644/= |
| 3. | Erection and removal of centering for R.C.C.plain c.c.works deodar wood (2nd class) vertical (G.S.I.NO:18 P/20) |  |  |  |
|  | 628.00 Cft | @Rs:3127/41 | P%Sft | Rs:19,640/= |
| 4. | Cement concrete brick or stone ballast 1 ½” to 2” guage ratio (1:4:8)(GSINO:4 P-7) |  |  |  |
|  | 4329.60Cft | @Rs:9416/28 | P%Sft | Rs:4,07,687/= |
| 5. | Cement concrete plain i/c placing compacting finishing and curing complete i/c screening and washing of stone aggregate without shuttering ratio (1:2:4) (G.S.I.NO: 5(f) P/77) |  |  |  |
|  | 3280.00 Cft | @Rs:14429/25 | P%Cft | Rs:4,73,279/= |
| 6. | Extra for every 50ft additional or part thereof (a)For earth work soft ordinary hard and very hard(GSINO:8(a) P-2) |  |  |  |
|  | 5062.0 Cft | @Rs: 4232/76 | P%oCft | Rs: 21,426/= |
|  |  |  | Total | Rs: 9,37,395/= |

| D. 1. | REPAIR OF STAFF QUARTER Dismantling CC reinforcement separating reinforcement from concrete cleaning and straightening the same (GSINO:20P-10) |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | 115.70Cft | @Rs:5445/- | P%Cft | Rs:6,300/= |  |
| 2. | R.C.C. work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rates also i/c all kinds forms moulds lifting shuttering ;curing rendering and finishing the exposed surface i/c screening and washing of shingle (a) RCC work in roof slab beams columns rafts lintels and other structural member laid in situ or precast laid in position in all respect ratio(1:2:4)et (G.S.I.NO:5 P/19 |  |  |  |  |
|  | 147.26 Cft | @Rs:337/- | P.Cft | Rs: 49,627/= |  |
| 3. | Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastening i/c cost of binding wire also i/c removal of rust from bars etc (G.S.I.NO:7 P/20) |  |  |  |  |
|  | 5,91 Cwt | @Rs:5001/70 | P.Cwt | Rs:29,560/= |  |
| 4. | Making fixing stree grated door with 1/16” sheeting i/c angle frame 2”x2”x/8” and ¾” panel(GSINO:27 P-98) |  |  |  |  |
|  | 22.75 Sft | @Rs:726/72 | P.Sft | Rs: 16,533/= |  |
| 5. | Cement plaster(1:4)upto 12’ ft height 3/8” thick (GSINO:11( b )P-57) - 3/8” thick |  |  |  |  |
|  | 1300.62 Sft - ½” thick. 1300.62 Sft | @Rs:2197/52 @Rs.2206/60 | P%Sft P.% Sft | Rs: 28,581/= Rs. 28,699/- |  |
| 6 | Providing and laying 1” thick topping cement concrete(1;2:4)i/c surface finishing and dividing into panels (PHSINO:16,(a)P-42) ( i ) 2” thick. |  |  |  |  |
|  | 192.00Sft | @Rs:3275/50 | P%Sft | Rs: 6,289/= |  |
|  | (ii ) 1-1/2” thick. |  |  |  |  |
|  | 350.62.00Sft | @Rs: 2548/29 | P%Sft | Rs: 8,935/= |  |
| 7. | White wash three coats(GSINO:26P-54) |  |  |  |  |
|  | 192.00Sft | @Rs:829/95 | P%Sft | Rs: 1,594/= |  |
| 8 | White wash one coat(GSINO:26P-54) |  |  |  |  |
|  | 1300.62Sft | @Rs:416/63 | P%Sft | Rs: 5,419/= |  |
| 9 | Distemring two coats(GSINO:25P-55) |  |  |  |  |
|  | 1300.00Sft | @Rs:859/90 | P%Sft | Rs:11,184/= |  |
| 10 | Painting New Surface .Preparing (Door and windows) Surface and painting of any type i/c edges two subsequent cost over primary coat three coats (GSINO:4 P-68) |  |  |  |  |
|  | 105.50Sft | @Rs:2116/41 | P%Sft | Rs:2,233/= |  |
| 11 | Fabrication of heavy steel work with angle iron tee flate iron etc complete . (GSINo. P ). |  |  |  |  |
|  | 2.54 Cwt | @Rs:4928/49 | P.Cwt | Rs: 12.518/= |  |
| 13 | Erection and fitting in position of iron trusses staging of water etc(GSINO:3 P-91) |  |  |  |  |
|  | 2.54Cwt | @Rs:271/04 | P.Cwt | Rs:688/= |  |
|  |  |  | Total | Rs:2,08,160/= |  |
| E 1. | REPAIR OF.RISING MAIN 6”DIA. Excavation for pipe lines in trenches and pits in Soft Soil i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joint holes and disposal of surplus earth within one chain as directed by Engineer In charge providing fence guards light flags and wherever required lift upto 5ft and Lead upto one chain (P.H.S.I.NO:1 P/46) |  |  |  |  |
| 6”Dia | 1417.50Cft | @Rs:3600/- | P%oCft | Rs: 5,105/= |  |
| 2. | Providing laying jointing and testing AC pressure pipes B class and fixing intrenches i/c cutting fitting and jointing with rubber rings i/c testing water to a head of 122 meter or 400 ft(PHSINO:D(I)P-20) |  |  |  |  |
| 6”Dia | 180.0 Rft | @Rs: 472/53 | P.Rft | Rs: 85,055/= |  |
| 3. | Supplying C.I.special for AC pressure pipe B class(Sandard weight of ACIL.(PHSINO:(M) P-12) |  |  |  |  |
| 6”Dia | 2 Nos | @Rs:2212/50 | Each | Rs:4,425/= |  |
| ii) | C.I.Jibault Joint |  |  |  |  |
| 6”Dia | 4 Nos | @Rs:1062/50 | Each | Rs:4,250/= |  |
| 4. | Supplying AC Collars B class..(PHSINO:4P-5) |  |  |  |  |
| 6”Dia | 2 Nos | @Rs:194/- | Each | Rs:388/= |  |
| 5. | One pair of rubber rings for AC pressure pipe B class (Comet joint)(PHSIMINO:7 P-6) |  |  |  |  |
| 6”Dia | 2 Pairs | @Rs:129/- | P.Pair | Rs:258/= |  |
| 6. | Making joint to CI speiclas fitting making i/c laying)of the required dia meter and testing the joint allowed with AC pipe line to the specified pressure and making good to all leaky joint etc complete.(PHSINO:1 P-56) |  |  |  |  |
| 6”Dia | 2 Joints | @Rs:72/- | P.Joint | Rs:144/= |  |
| 7. | Refilling the excavated stuff intrenches 6”thick layers i/c watering ramming to full compaction etc complete.(PHSINO:24P-77) |  |  |  |  |
|  | 1276.0Cft | @Rs:2760/- | P%oCft | Rs: 3,522/= |  |
|  |  |  | Total | Rs: 1,03,147/= |  |

| F 1. | REPAIR OF PUMPING MACHINARY. Rewinding of electric motor 10 BHP 3 phase 400/440 volt 50 cycles with best quality insolated copper wire of required Guage i/c testing on load with satisfactory result upto one weeks Time opening and refitting and replacing the bolts of necessary Excluding the cost of work out material (GSINO:97 ( c )P-111) |  |  |  |
| --- | --- | --- | --- | --- |
|  | 1 No | @Rs:10599/- | Each | Rs: 10,599/= |
| 2. | Repair of non clogging sullage pump NICE 75 size 2 ½”x3” etc complete(R.A.Approved) |  |  |  |
|  | 2 Nos | @Rs:10000/- | Each | Rs:20,000/= |
| 3. | Providing MCU/SD-10 BHP consists of braker magnetic contractor over load |  |  |  |
|  | 1 No | @Rs: 48750/- | Each | Rs:48,750/= |
| 4 | Supplying and fixing C.I.foot valve heavy pattern test pressure (SMINO:4P-11) |  |  |  |
| 4”Dia | 2 Nos | @Rs:893/75 | Each | Rs:1,788/= |
| 5. | Supplying C.I.Reflex valve heavy pattern test pressure (PHSINO:6 P-10) |  |  |  |
|  | 2 Nos | @Rs:1706/25 | Each | Rs:3,413/= |
| 6 | Wiring for main with 2-7/.036insulated wire in 4 mm (1.1/4)PVC conduit(ESINO: 46 P64) |  |  |  |
|  | 185.0Rft | @Rs:44/81 | P.Rft | Rs:8,290/= |
| 7. | Jointing C.I./M.S.flanges pipe and specials flanged and inside in trench i/c supplying rubber packing of the required thickness nuts bolts with washers etc complete.(PHSINO:1 P-35) |  |  |  |
|  | 4 Joints | @Rs:513/- | P.Joint | Rs:2052/= |
|  |  |  | Total | Rs: 94,892/= |
| I 1. | REPAIR OF TRANSFORMER Repair of transformer i/c rewinding of 3 Nos coils of transformer and replacing the old transformer coil by new i/c cartage from site to work shop and reinstalled at site the cost of burnet wire etc complete(MR)(Rate approved)in Jhando Khoso No:3516 Dt:26-12-2008. |  |  |  |
|  | 1 Job | @Rs:66800/- | P.Job | Rs:66,800/= |
|  |  |  | Total | Rs:66,800/= |

Amount Total (a) + (b) + (c) + (d) + (e) +(f) & (i) 	=	Rs: 37,88,656/-

________ % above / below on the rate of CSR,

Amount to be added / deducted on the basis of

premium, Total (b) Rs. ________________

Total (A) = a + b in works & Figures_________________________________________

__________________________________________

CONDITIONS.

1	Any error or omissions in the description of items, rates, unit quantity &

Calculation will be governed by the relevant schedule of rates.

2.	The contractor must remove the surplus earth, material, Garbage from

Site of work on his own cost.

3.	No premium will be allowed on non-schedule items & market rates.

4.	No separate cartage will be paid to the contractor.

5.	The work will be completed within specified period.

6.	The contractor is bound the work will be carried out as per agreement

and standard PWD specification .

(MUHAMMAD  AKBAR BALOCH)

CONTRACTOR			               EXECUTIVE ENGINEER

PUBLIC HEALTH ENGG: DIVISION

MATIARI.