BILL OF QUANTITY

(B) DESCRIPTION AND RATE OF ITEMS BASED ON COMPOSITE

SHEDULE  OF RATES

Name of Work:-                Rehabilitation of Rural Drainage Scheme

Arzi Hakro Taluka & District Matiari.

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

A.REPAIR / CONSTT: OF SURFACE DRAINS.

| 1. | Earth work excavation in ashes sups sail or silt clearance undressed Lead up to 50 ft (GSI No: 2 P/1). |  |  |  |
| --- | --- | --- | --- | --- |
|  | 3275.20Cft | @Rs:1663/75 | P%oCft | Rs: 5449/- |
| 2 | Dismantling brick work in line or cement motor (GSI No: 13 P/10). |  |  |  |
|  | 2064.37Cft | @Rs:1285/63 | P%Cft | Rs: 26540/- |
| 3. | Dismantling cement concrete plain (1:4:8)(GSI No: 19(a) P/10). |  |  |  |
|  | 127.77Cft | @ RS: 5445/- | P% CFt | Rs: 6957/- |
| 4. | Extra for every 50 ft additional lead or part thereof (a) For earth work (soft ordinary hard soil)(GSI No: 8(a) P/2). |  |  |  |
|  | 5467.34Cft | @ RS: 5039/- | P %o Cft. | Rs: 27550/- |
| 5. | Excavation in foundation of building bridges and other structure i/c dag belling dressing refilling around the structure with excavated earth watering ramming lift upto 5ft and lead upto one chain (In ordinary soil) etc(G.S.I.NO:18 P/4) |  |  |  |
|  | 7200.50Cft | @Rs:3176/25 | P%oCft | Rs: 22871/- |
| 6. | Cement concrete plain i/c placing compacting finishing and curing complete i/c screening and washing of stone aggregate without shuttering ratio (1:4:8) (G.S.I.NO: 5 P/16) |  |  |  |
|  | 1507.62Cft | @Rs:11288/75 | P%Cft | Rs: 170191/- |
| 7. | Pucca brick work in foundation and plinth in cement sand mortar (1:6) etc (G.S.I.NO:4 P/21) |  |  |  |
|  | 6479.77Cft | @Rs:11948/36 | P%Cft | Rs: 774226/- |
| 8. | Construction of standard open drain connote block of cc (1:2:4)in situ to the design profile i/c cost of moulds as per drawing i/c applying floating cost of cement 1/32” thick face finished smooth curing etc complete as per detailed drawing(PHSINO:D(ii)P-44) |  |  |  |
|  | Type-A |  |  |  |
|  | 1525.00 RFt. | @Rs:94/- | P.Rft | Rs: 143350/- |
|  | Type-B |  |  |  |
|  | 780.00 RFt. | @Rs:174/- | P.Rft | Rs: 135720/- |
| 9. | Cement plaster (1:4)upto 12’ height ½” thick (GSINO:11,P-52) |  |  |  |
|  | 12341.10Sft | @Rs:2283/93 | P%Sft | Rs: 281862/- |
| 10. | R.c.c. work i/c all lab our and material except the cost of steel; reinforcement and its lab our for bending and binding which will be paid separately. This rates also i/c all kinds forms moulds lifting shuttering curing rendering and finishing the exposed surface i/c screening and washing of shingle (a) RC work in roof slab beams columns rafts lintels and other structural member laid in situ or precast laid in position in all respect ratio(1:2:4)et (G.S.I.NO:5 P/17) |  |  |  |
|  | 510.44Cft | @Rs:337/- | P.Cft | Rs: 172018/- |
| 11 | Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastening i/c cost of binding wire also i/c removal of rust from bars etc (G.S.I.NO:8(a) P/ 17) |  |  |  |
|  | 18.23Cwt | @Rs:5001/70 | P.Cwt | Rs: 91181/- Rs: 18,57,915/- |
| B. C.C.BLOCK. |  |  |  |  |
| 1. | Earth work compaction (Soft ordinary or Hard Soil (b) laying earth in 6” layers leveling and dressing and watering for complete.(G S I No:3 (b) P:3) |  |  |  |
|  | 6000.00 Cft | @Rs: 354/- | P%0Cft | Rs: 2124/- |
| 2. | Erection and removal of centering for R.C.C.plain c.c.works partal wood (2nd class) vertical (G.S.I.NO:18 P/20) |  |  |  |
|  | 250.00 Sft | @Rs: 3127/41 | P%Sft | Rs: 7819/- |
| 3. | Cement concrete brick or stone ballast 1 ½” to 2” guage ratio (1:4:8)(GSINO:4 P-7) |  |  |  |
|  | 1980.00 Cft | @Rs:9416/28 | P%Cft | Rs: 186442/- |
| 4. | C.C plain i/c placing compacting and curing complete i/c screening and washing of stone aggregate without shuttering ratio (1:2:4) (G.S.I.NO: 5(f) P/16) |  |  |  |
|  | 1500.00 Cft | @Rs:14429/25 | P%Cft | Rs: 216439/- |
| 6. | Providing RCC pipes colours of class and faxing In trench i/c cutting fitting and jointing witrh rubber ring i/c testing With water to specified pressure.(P H I No:B 1 P-17). |  |  |  |
|  | 90.00 Rft | @Rs: 163/- | P: Rft | Rs: 14670/- |
|  |  |  |  | Rs: 4,27,494/- |

C.   REPAIR OF COMPOUND WALL.

| 1. | Pucca brick work in ground floor(1:6)(GSINO:5 P-24) |  |  |  |
| --- | --- | --- | --- | --- |
|  | 68.82Cft | @Rs: 12674/36 | P%Cft | Rs: 8722/- |
| 2. | Cement plaster(1:4)1/2” thick upto 20’ height(GSINO:11(b)P-52) |  |  |  |
|  | 425.81Sft | @Rs: 2283/93 | P%Sft | Rs:9725/- |
| 3. | Painting old Surface. Preparing(Door and Windows)Surface and painting of any type angle two coats(GSINo: 4 ( ciii )P-69) |  |  |  |
|  | 144.00Sft | @Rs:1660/06 | P%Sft | Rs: 1670/- |
| 4. | White wash two coots (GSI No: 26(i) P54) |  |  |  |
|  | 425.81Sft | @ Rs: 416/63 | P.% Sft | Rs: 1774/- |
| 5. | Colour wash Two coots (GSINo: 24(b)P54 |  |  |  |
|  | 3059.00Sft | @Rs: 859/90 | P%Sft Total | Rs: 26304/- Rs: 48195/- |

D. SILT CLEARANCE OF OXIDATION POND

| 1. | Jangal clearance and removing with in 100 ft (G.S.I.NO:4- P 95) |  |  |  |
| --- | --- | --- | --- | --- |
|  | 16000Sft | @Rs: 75/63 | P%0Sft | Rs: 1210/- |
| 2. | Earth work silt clearance excavation in ashes sups sail or silt clearance undressed Lead up to 50 ft (GSI No: 2 P/1). |  |  |  |
|  | 40000.0Sft | @RS: 1663/75 | P%Cft | Rs: 66550/- |
| 3. | Earth for slush dadal i/c Dewatering (GSINO:16 P-1) |  |  |  |
|  | 40000.0Sft | @Rs: 2420/- | P%oCft | Rs: 96800/- |
| 4. | Carriage 100 cft/tons of all material like stone spwal coal line Surkhi etc BG rails fastening and crossing bridges girders pipe Sheets Rails MS bars etc of 100 No:s mound of fuel wood by Truck wood by truck on work by the contractor earth (Lead 2 miles lead).(Sch: & carriage). |  |  |  |
|  | 40000.0Sft | @Rs: 502/52 | P%Cft Total | Rs: 201008/- Rs: 365568/- |

E. REPAIR OF SCREENING CHAMBER.

| 1. | Clearing of collecting tank / Sump below Ground level i/e dewatering of Sullage water & Disposal of garbage soil water etc out side tank etc complete. ( PHS I No:T ( I ) P:59 ) |  |  |  |
| --- | --- | --- | --- | --- |
|  | 320.0Cft | @Rs:11900/- | P%oCft | Rs: 3808/- |
| 2. | Carriage 100 cft/tons of all material like stone spwal coal line Surkhi etc BG rails fastening and crossing bridges girders pipe Sheets Rails MS bars etc of 100 No:s mound of fuel wood by Truck wood by truck on work by the contractor earth (Lead 2 miles lead).(Sch: & carriage). |  |  |  |
|  | 320.0Cft | @Rs:502/52 | P%Cft | Rs: 1608/- |
| 3. | R.c.c. work i/c all labour and material except the cost of steel; reinforcement and its labour for bending and binding which will be paid separately. This rates also i/c all kinds forms moduls lifting shuttering ;curring rendering and finishing the exposed surface i/c screening and washing of shingle (a) RC work in roof slab beam columns rafts lintels and other structural member laid in situ or precast laid in position in all respect ratio(1:2:4)et (G.S.I.NO:5 P/19) |  |  |  |
|  | 185.25Cft | @Rs: 337/- | P.Cft | Rs: 62429/- |
| 4. | Fabrication of mild steel reinforcement for c.c. i/c cutting bending laying in position making joints and fastening i/c cost of binding wire also i/c removal of rust from bars etc (G.S.I.NO: 8(a) P-17) |  |  |  |
|  | 7.44Cwt | @Rs: 5001/70 | P.Cwt Total | Rs: 37213/- Rs: 105058/- |

| F 1. | SCREENING CHAMBER.SIZE(5’x8’)2Nos Excavation for tank and reservoirs in soft soil i/c trimming and dressing side to true alignment design section/profiles and shape leveling of bed of trenches to correct level and i/c laying of earth in 6”layers for construction of banks and dressing and disposal of surplus excavated earth within one chain as directed by engineer in charge providing fence guards light flags and temporary crossing for non vehicular traffic wherever required lift upt 5ft(1.52m) and lead upto one chain(30.5m). (PHSINO:1,P-67) |  |  |  |
| --- | --- | --- | --- | --- |
|  | 880.0Cft | @Rs:3000/- | P%0Cft | Rs: 2,640/- |
| 2. | Excavation for tank and reservoirs in wet soil i/c trimming and dressing side to true alignment design section/profiles and shape leveling of bed of trenches to correct level and i/c laying of earth in 6”layers for construction of banks and dressing and disposal of surplus excavated earth within one chain as directed by engineer in charge providing fence guards light flags and temporary crossing for non vehicular traffic wherever required lift upt 5ft(1.52m) and lead upto one chain(30.5m). (PHSINO:14P-50) |  |  |  |
| i) | 0”-5”Depth |  |  |  |
|  | 616.00Cft | @Rs:4800/- | P%0Cft | Rs: 2,957/- |
| 3. | Cement concrete brick or stone ballast 1 ½” to 2” guage ratio (1:4:8)(GSINO:4 P-7) |  |  |  |
|  | 132.00Cft | @Rs:9416/28 | P%Cft | Rs: 12,429/- |
| 5. | R.C.C. work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rates also i/c all kinds forms moulds lifting shuttering ;curing rendering and finishing the exposed surface i/c screening and washing of shingle (a) RCC work in roof slab beams columns rafts lintels and other structural member laid in situ or precast laid in position in all respect ratio(1:2:4)et (G.S.I.NO:5 P/19 |  |  |  |
|  | 473.56Cft | @Rs:337/- | P.Cft | Rs: 1,59,590/- |
| 6. | Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastening i/c cost of binding wire also i/c removal of rust from bars etc (G.S.I.NO:7 P/20) |  |  |  |
|  | 19.02Cwt | @Rs:5001/70 | P.Cwt | Rs: 95132/- |
| 7. | Pucca brick work in foundation and plinth in cement sand mortor (1:6) etc (G.S.I.NO:4 P/12) |  |  |  |
|  | 40.68Cft | @Rs:11948/36 | P%Cft | Rs: 4,861/- |
| 8. | Cement plaster(1:4)upto 20’ ft height 1/2” thick (GSINO:11( c )P-57 |  |  |  |
|  | 567.00 Sft | @Rs:2283/93 | P%Sft | Rs: 12950/- |
| 9. | Providing expansion joint in cement work of 9” wide corrugated PVC water stop with bulbs i/c soldering cost of material and lab our etc complete(PHSINO:2,P-56) |  |  |  |
|  | 60.00Rft | @Rs:86/- | P.Rft | Rs: 5,160/- |
| 10 | C.I Foot steps (Market rates) |  |  |  |
|  | 14.0Rft | @Rs:181/65 | P.Rft | Rs: 2543/- |
| 11 | Fabrication of heavy steel work with angles tees flat iron round iron and sheet iron for making trusses girders tanks etc i/c cutting diverting handling assembling and fixing but excluding erection in position(GSIN:2,P-90). |  |  |  |
|  | 2.40 Cwt | @Rs:4928/49 | P.Cwt | Rs: 11,828/- |
| 12 | Erection and fitting in position of iron trusses and testing of water Tank etc (G S I No: 3 P-91) |  |  |  |
|  | 2.40 Cwt | @Rs:271/04 | P.Cwt | Rs: 650/- |
| 13 | Providing and fixing C.I.main hole cover with frame i/c cost of material etc(PHSINO:1,P-15) |  |  |  |
|  | 3.0 Cwt | @Rs: 6985/- | P.Cwt | Rs: 20955/- |
|  |  |  | Total | Rs: 3,31,695/- |

G. REPAIR OF COLLECTING TANK 15” DIA.

| 1. | Clearing of collecting tank / Sump below Ground level i/e dewatering of Sullage water & Disposal of garbage soil water etc out side tank etc complete. ( PHS I No:T ( I ) P:59 ) |  |  |  |
| --- | --- | --- | --- | --- |
|  | 4239.00Cft | @Rs:11900/- | P%oCft | Rs: 50444/- |
| 2. | Carriage 100 cft/tons of all material like stone spwal coal line Surkhi etc BG rails fastening and crossing bridges girders pipe Sheets Rails MS bars etc of 100 No:s mound of fuel wood by Truck wood by truck on work by the contractor earth (Lead 2 miles lead).(Sch: & carriage). |  |  |  |
|  | 4239.00Cft | @Rs:502/52 | P%Cft | Rs: 21302/- |
| 3 | Dismantling cement concrete reinforced separating reinfor cement from concrete cleaning and straightening the same (GSI No: 19(a) P/10). |  |  |  |
|  | 34.54Cft | @Rs: 5445/- | P%Cft | Rs: 1881/- |
| 4. | R.c.c. work i/c all labour and material except the cost of steel; reinforcement and its labour for bending and binding which will be paid separately. This rates also i/c all kinds forms moduls lifting shuttering ;curring rendering and finishing the exposed surface i/c screening and washing of shingle (a) RC work in roof slab beam columns rafts lintels and other structural member laid in situ or precast laid in position in all respect ratio(1:2:4)et (G.S.I.NO:6(a) P/17) |  |  |  |
|  | 86.35Cft | @Rs: 337/- | P.Cft | Rs: 29100/- |
| 5. | Fabrication of mild steel reinforcement for c.c. i/c cutting bending laying in position making joints and fastening i/c cost of binding wire also i/c removal of rust from bars etc (G.S.I.NO: 8(a) P-17) |  |  |  |
|  | 3.46Cwt | @Rs: 5001/70 | P.Cwt Total | Rs: 17306/- Rs: 120033/- |

H. REPAIR OF COLOUR WASHING OF PUMP HOUSE

| 1. | Removing Cement or line plaster (G S I No:53P-13) |  |  |  |
| --- | --- | --- | --- | --- |
|  | 386.25Sft | @Rs: 121/- | P%Sft | Rs: 467/- |
| 2 | Cement plaster 1:4:12 height (b) ½ thick (G S I No:11(b)P-52) |  |  |  |
|  | 386.25Sft | @Rs: 2283/93 | P%Sft | Rs: 8822/- |
| 3. | Providing and laying 1” thick topping cement concrete(1;2:4)i/c surface finishing and dividing into panels(2”Thick) (PHSINO:16,P-42) |  |  |  |
|  | 61.07Sft | @Rs: 3275/50 | P%Sft | Rs: 2000/- |
| 4. | White Washing of 2 coots (G S I No: 26(b) P-54) |  |  |  |
|  | 202.50Sft | @Rs:425/84 | P%Sft | Rs: 862/- |
| 5 | Distempering 3 coots (GSINo: 24(b)P54 |  |  |  |
|  | 873.75Sft | @Rs: 1079/65 | P%Sft | Rs: 9433/- |
| 4. | Painting Old Surface. Preparing(Door and Windows)Surface and painting of any type angle two coats(G S I No: 4 ( ciii )P-69) |  |  |  |
|  | 85.50Sft | @Rs: 1160/06 | P.Sft Total | Rs: 992/- Rs: 22576/- |

I REPAIR OF  STAFF QUARTER

| 1. | Dismantling R .C.C (1:2:4) (GSINO P- ) |  |  |  |
| --- | --- | --- | --- | --- |
|  | 150.36 Cft | @Rs:5445/-/= | P%oCft | Rs: 8187/- |
| 2. | Pucca brick work in ground floor i/c stricking of joints in cement sand mortor (1:6)(GSINO:5 P21) |  |  |  |
|  | 156.00 Cft | @RS: 12674/36 | P%Cft | Rs: 19772/- |
| 3. | R.C.C. work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rates also i/c all kinds forms moulds lifting shuttering ;curing rendering and finishing the exposed surface i/c screening and washing of shingle (a) RCC work in roof slab beams columns rafts lintels and other structural member laid in situ or precast laid in position in all respect ratio(1:2:4)et (G.S.I.NO:6 P/16) |  |  |  |
|  | 140.80Cft | @Rs:337 | P.Cft | Rs: 47450/- |
| 4. | Fabrication of mild steel ;reinforcement for cement concrete i/c cutting bending laying in position making joints and fastening i/c cost of binding wire also i/c removal of rust from bars etc (G.S.I.NO:8(a) P/7) |  |  |  |
|  | 5.657 Cwt | @Rs:5001/70 | P.Cwt | Rs: 28260/- |
| 5. | Filling watering and ramming earth under floor with new earth (excavated from outside) lead one chain lift upto 5ft(GSINO:22,P-5) |  |  |  |
|  | 576.00 Cft | @Rs:3630/- | P%0Cf | Rs: 2091/- |
| 6. | Cement concrete brick or stone ballast 1:1/2” gauge Ratio(1:4:8) (G.S.I.N:3 P-15) |  |  |  |
|  | 144.00 Cft | @Rs:9416/28 | P%Cft | Rs: 13559/- |
| 7. | Providing and laying 1”thick topping cc(1:2:4)i/c surface finishing and dividing into panel ratio (1:2:4) (GSINO:2 P41) |  |  |  |
|  | 192.00 Sft | @Rs:3275/50 | P%Sft | Rs: 6289/- |
|  |  |  | Total | Rs:125608/= |
| J. CHOWKIDAR HUT |  |  |  |  |
| 1 | Cement plaster(1:4)upto 20ft height ½”thick(GSINO:11(b)P42) |  |  |  |
|  | 1311.00Sft | @Rs:2283/93 | P%Sft | Rs:29942/- |
| 2. | Painting old surfaces ( c) painting doors and windows any type i/c three coats (G S I No: 4 c P- 68) |  |  |  |
|  | 109.50Sft | @Rs: 1160/06 | P%Sft | Rs: 1270/- |
| 3 | White wash three coats (GSINo: 16 P-42) |  |  |  |
|  | 224.75Sft | @Rs: 829/95 | P%Sft | Rs: 1865/- |
| 4 | Colour wash two coats (G S I No: 25 P-55) |  |  |  |
|  | 1311.00Sft | @Rs: 859/90 | P%Sft Total | Rs:11273/- Rs: 44350/- |

K. REPAIR OF A.C RISING MAIN .

| 1. | Excavation for pipe line in trancehes.and pits in Soft soil i/c trimming and dressing sides to true alignment and shape leveling o beds trenches to correct level and grade cutting joint holes and disposal Of surplus earth within one chain as directed by Engineer,Incharge providingFence guards light flags and where ever required lift up to one chain(PHSI No:1 P/60). |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | 45750.00 Cft | @Rs: 3600/- |  | P%oCft | Rs: 164700/- |
| 2. | Providing A.C pressure pipe and comet joint of class “B”And fixing intrenches i/c cutting fitting and jointing with rubber rings i/c testing Water to a head of 122 meter or 400 ft (PHSI NO: 1 P/20) |  |  |  |  |
|  | 4”Dia |  |  |  |  |
|  | 5000.00Rft | @Rs:297/53 |  | P.Rft | Rs: 1487650/- |
|  | 6”Dia |  |  |  |  |
|  | 2000.00Rft | @Rs:472/53 |  | P.Rft | Rs: 945060/- |
| 3. | Supplying AC collars B Class (PHSINI: P- ) |  |  |  |  |
|  | 10 Nos | @Rs: 157/- |  | Each | Rs: 1570/- |
|  | 6”Dia |  |  |  |  |
|  | 8 Nos | @Rs: 194/- |  | Each | Rs: 1552/- |
| 4. | Supplying one pair rubber ring for A.C pipe B class(comet joint) ( PHSMI No: 7 P-4 ) |  |  |  |  |
|  | 4”Dia |  |  |  |  |
|  | 10 Pairs | @Rs:95/- |  | Each | Rs: 950/- |
|  | 6”Dia |  |  |  |  |
|  | 8 Pairs | @Rs:129/- |  | Each | Rs: 1032/- |
| 5 | C.I Gibault joint ( PHSMI No: 14 P-17 ) |  |  |  |  |
|  | 4”Dia |  |  |  |  |
|  | 8 Nos | @Rs: 731/25 |  | Each | Rs: 5848/- |
|  | 6”Dia |  |  |  |  |
|  | 3 Nos | @Rs: 1062/50 |  | Each | Rs: 3188/- |
| 6 | Refilling the excavated stuff in trenches 6” thick layer i/c watering Ramming to full compaction etc complete (P H S I No:24 P-77) |  |  |  |  |
|  | 41175.00 Cft | @Rs: 2760/- |  | P%oCft | Rs:113643/- |
| 7 | Making joint to C.I specials fitting making i/c laying) of the required Dia meter and testing the joint allowed with AC pipe line to the Specified pressure and making good to all leaky joint etc complete.( PHSI No: 1 P/56). |  |  |  |  |
|  | 4Dia |  |  |  |  |
|  | 10. Joint | @Rs: 62/- |  | P.Joint | Rs: 620/- |
|  | 6 Dia |  |  |  |  |
|  | 8 Joint | @Rs: 72/- |  | P.Joint | Rs: 576/- |
|  |  |  |  | Total | Rs:2726389/- |
| L REPAIR OF TRANSFORMER |  |  |  |  |  |
| 1. | Tacking out 25 K V transformer & repair of 3 Nos coils i/c changing transformer & repair of oil from disposal work for necessary repair @ Hyd:and referring at same place (R.A approved C.E PHED vide his No: 513 dt: 26/2/2011 or W/Supply scheme Nabi Bux Mahajor |  |  |  |  |
|  | 3 Nos | @Rs:66800/- |  | Each | Rs:200400/= |
|  |  |  |  | Total | Rs:200400/= |
| M REPAIR OF PUMPING MACHINARY |  |  |  |  |  |
| 1. | Rewinding of Electric motor 10 BHP phase 400/440 Volts, 50 cycles with best quality in solated copper wire of required guage i/c testing on load with satisfactory result up to one week’s time Opening and refitting and replacing the bolts in necessary including the Cost of worn out material (GSI NO: 97 (c) P-III). 10 BHP (1450 4 poles) |  |  |  |  |
| i) | 10 BHP 3Nos | @Rs:10599/- |  | Each | Rs:31797/= |
| ii) | 15 BHP 2Nos | @Rs:15188/- |  | Each | Rs:30376/= |
| 2 | Repair of non clogging sullage pump 2 1/3 x 3 etc complete (Rate approved ) |  |  |  |  |
|  | 5Nos | @Rs:10000/- |  | Each | Rs:50000/= |
| 3 | Manufacturing supplying faxing M.S pipe 3/16 thick etc complete (R.A) |  |  |  |  |
| i) | 3”Dia Suction 240.0Rft | @Rs:385/89 |  | Each | Rs:92614/= |
| ii) | 4”D Delivery 32.0Rft | @Rs:506/60 |  | Each | Rs:16211/= |
| 4. | Manufacturing supplying M.S.flanges of different dia made of m.s.sheet of holes and welding of flanges with m.s pipe etc complete(R,A) |  |  |  |  |
| i) | 3”Dia 40 Nos | @Rs:500/89 |  | Each | Rs:20036/= |
| ii) | 4”Dia 8 Nos | @Rs:596/75 |  | Each | Rs:4774/= |
| 5. | Supplying bend with flanged ends with holes i/c turning and facing of flanges for all size.(S M I No: 8 P- |  |  |  |  |
|  | 4”D 0.79Cwt | @Rs:6096/- |  | P.Cwt | Rs:4815/= |
| 6. | Supplying C.I.Foot valve heavy pattern(test pressure 21 Kg sq cm or 300 lbs sq inch)(SMI No |  |  |  |  |
| i) | 3”Dia 4 Nos | @Rs:731/25 |  | Each | Rs:2925/= |
| ii) | 4”Dia 2 Nos | @Rs:893/75 |  | Each | Rs:1788/= |
| 7 | Jointing C.I M.S flanged pipes and specials flanged and inside a trench i/c supplying flanged rubber packing of the required thickness nuts bolts with washers etc and other tools required for jointing and testing the Joints to the specified pressure etc complete.(PHSI NO:1 M P/ 40). |  |  |  |  |
| i) | 3”Dia 20Nos | @Rs:499/- |  | P.Joint | Rs:9980/= |
| ii) | 4”Dia 8 Nos | @Rs:513/- |  | P.Joint Total | Rs:4104/= Rs:269420/= |
| M 1. | PUMPING MACHINERY OXIDATION POND. Supplying and installing in position i/c transportation to site of work at Rural Drainage Scheme Arzi Hakro electric pumping set consisting of A.C.electric motor of 15 BHP 3 phase 50 cycles 400/420 volts 1450 RPM type ILA 133-4 AA60 coupled with KSB pump type (KWPZ-65-315)size 3”x2 ½ mounted on common steel frame or base plate capable of discharging 220 gallons per minute against a head of 90 ft i/c installation of pumping set on c.c foundation ratio(1:2 4 )and ratio(1:4:8)with ballast with m.s nuts and bolts of 1/2”dia to be embedded in c.c foundation i/c providing and fixing on prepared board A.C.50 cycles 3 phase 12/25 amperes trip rating push button type star delta starter complete with no volts and over load release and required i/c providing and fixing on prepared board iron (clad)triple pole and neutral switch fuse with rewire able fuse link carried 500 volts grade 30 amperes and providing and fixing volts meter 0.500 volts and amperes meter 0-50 amperes installed on metal led board i/c providing and fixing metal led board to accommodate main or sub main control switch recessed in the wall size 3’x2 ½’ i/c providing phase indication bulbs with holder and providing internal electric wiring for main with pvc insulated wire 660 volts grade in 25 mm( ½ )G.I.plate buried in the ground at depth of ( 12 )for base plate and testing of the pumping set against the required head for 72 hours etc complete R.A attached |  |  |  |  |
|  | 1 Set | @Rs: 773900/- | P.Set |  | Rs: 7,73,900/= |
| 2 | Manufacturing supplying and fixing ms pipe madeout of ms sheet of 3/8” thick(R.Approved) |  |  |  |  |
| i) | 3”Dia Suction |  |  |  |  |
|  | 25.00 Rft | @Rs: 385/- |  | P.Rft | Rs: 9,647/= |
|  | 3”Di Delivery |  |  |  |  |
|  | 18.00 Rft | @Rs: 385/- |  | P.Rft | Rs: 6,946/-= |
| 3. | Supplying C.I.sluice valve heavy pattern(test pressure 21 Kg sq cm or 300 lbs sq inch)(SMI No |  |  |  |  |
|  | 3”Dia |  |  |  |  |
|  | 1 Nos | @Rs: 4290/- |  | Each | Rs: 4,290/= |
| 4. | Supplying C.I.Reflex valve heavy pattern(test pressure 21 Kg sq cm or 300 lbs sq inch)(SMI NO: |  |  |  |  |
|  | 3”Dia |  |  |  |  |
|  | 1 Nos | @Rs: 1543/- |  | Each | Rs: 1,543/= |
| 5. | Manufacturing & Supplying fixing M.S flange M.S sheet thick with holes (A.R approved ) |  |  |  |  |
|  | 4. Nos | @Rs: 500/89 |  | Each | Rs: 40007/= |
| 6 | Supplying CI bend with flange end with holes i/c turing and facing of flange |  |  |  |  |
|  | 0.66 Cwt | @Rs: 6096/- |  | Each | Rs: 4023/= |
| 7 | Supplying CI foot valve heavy pattern test (SmINO:4 P-11) |  |  |  |  |
|  | 3” dia |  |  |  |  |
|  | 1 No | @Rs: 731/25 |  | Each | Rs: 731/= |
| 11 | Supplying CI short piece(SMINO:9 P-15) |  |  |  |  |
|  | 6”Dia |  |  |  |  |
|  | 3 No | @Rs:618/75 |  | Each | Rs: 1856/= |
| 12 | Jointing C.I./M.S.flanges pipes and specials flanged and inside trench i/c supplying rubber packing of the required thickness nuts bolts with washers etc complete.(PHSINO:1P-35) |  |  |  |  |
| i) | 3”Dia |  |  |  |  |
|  | 12.0 Joints | @Rs: 499/- |  | P.Joint | Rs:_5988/=__ |
|  |  |  |  | Total | Rs: 8,12,931/= |

Amount Total (a) + (b) + (c) + (d) + (e) + (f) + (g) + (h) + (i) + (j) + (k) + (l) & (m)    =     Rs: 74,57,632/=

________ % above / below on the rate of CSR,

Amount to be added / deducted on the basis of

premium, Total (b) Rs. ________________

Total (A) = a + b in works & Figures_______________________________________________

__________________________________________

CONDITIONS.

1	Any error or omissions in the description of items, rates, unit quantity &

Calculation will be governed by the relevant schedule of rates.

2.	The contractor must remove the surplus earth, material, Garbage from

Site of work on his own cost.

3.	No premium will be allowed on non-schedule items & market rates.

4.	No separate cartage will be paid to the contractor.

5.	The work will be completed within specified period.

6.	The contractor is bound the work will be carried out as per agreement

and standard PWD specification .

(MUHAMMAD  AKBAR BALOCH)

CONTRACTOR					EXECUTIVE ENGINEER

PUBLIC HEALTH ENGG: DIVISION

MATIARI.