BILL OF QUANTITY

(B) DESCRIPTION AND RATE OF ITEMS BASED ON COMPOSITE

SHEDULE  OF RATES

Name of work:-	 Rehabilitation of Rural Drainage scheme Khando Taluka

Hala District Matiari.:::::::::::::::::::::::::::::::::::::::::::::::::::::::::

| Sr. No. | Description of Item to be executed at Site | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

- REPAIR OF SURFACE DRAINS

| 1 | Earth work excavation in ashes sand soft soil or silt clearance undressed lead upto 50ft(GSINO: 2 P-1 ) |  |  |  |
| --- | --- | --- | --- | --- |
|  | 8990.0Cft | @Rs:1663/75 | P%oCft | Rs: 14,957/= |
| 2. | Dismantling cement concrete plain ratio (1:2:4) (GSINO:19(c) P-11) |  |  |  |
|  | 675.00 Cft | @Rs:3327/50 | P%Cft | Rs: 22,461/= |
| 3. | Dismantling brick work in lime or cement mortar (GSINO:13 P-11) |  |  |  |
|  | 416.00 Cft | @Rs:1285/63 | P%Cft | Rs: 5,348/= |
| 4. | Dismantling CC reinforcement separating reinforcement from concrete cleaning and straightening the same (GSINO:20P-10) |  |  |  |
|  | 66.60 Cft | @Rs:5445/- | P%Cft | Rs: 3,626/= |
| 5. | Extra for every 50ft additional or part thereof (a)For earth work soft ordinary hard and very hard(GSINO:8(a) P-2) |  |  |  |
|  | 10147.60 Cft | @Rs: 3023/40 | P%oCft | Rs: 30,680/= |
| 6. | Excavation in foundation of building bridges and other structure i/c dag belling dressing refilling around the structure with excavated earth watering ramming lift upto 5ft and lead upto one chain (In ordinary soil) etc (G.S.I.NO:18 P-4) |  |  |  |
|  | 6113.80Sft | @Rs:3176/25 | P%Cft | Rs:19,419/= |
| 7. | Excavation for pipe lines in trenches and pits in Soft Soil i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joint holes and disposal of surplus earth within one chain as directed by Engineer Incharge providing fence guards light flags and wherever required lift upto 5ft and Lead upto one chain (P.H.S.I.NO:1 P/46) |  |  |  |
|  | 72.00Sft | @Rs:3600/- | P%oCft | Rs: 259/= |
| 8. | Providing R.C.C pipe. with collars of class-B and fixing in trenches i/c cutting and jointing with maxphalt composition and cement mortor (1:1)1/2”(P.H.S.I.NO: 2 P-17) |  |  |  |
|  | 40.00Rft | @Rs:163/- | P.Rft | Rs: 6.520/= |
| 9. | Refilling excavated the stuff in trenches 6” thick layers i/c watering ramming to full compaction etc complete. (PHSINO:24P-54) |  |  |  |
|  | 65.00Cft | @Rs:2760/- | P%oCft | Rs: 179/= |
| 10. | Cement concrete plain i/c placing compacting finishing and curing complete i/c screening and washing of stone aggregate without shuttering ratio (1:4:8) (G.S.I.NO: 5(f) P/77) |  |  |  |
|  | 1278.15Cft | @Rs:11288/75 | P%Cft | Rs:1,44,287/= |
| 11 | Pucca brick work in foundation and plinth in cement sand mortor (1:6)(GSINO:4P-22) |  |  |  |
|  | 9201.15Cft | @Rs:11948/36 | P%Cft | Rs:10,99,387/= |
| 12. | Construction of standard open drains connute block of C.C.( 1:2:4 situ to the design profiles i/c cost of modules as per drawing i/c supplying floating cost of cement 1/3”thick to the exposed surface finished smooth curing etc complete as per detailed drawing |  |  |  |
| T-A | 2048.0Rft | @Rs:94//- | P.Rft | Rs:1,92,512/= |
| T-B | 1520.0Rft | @Rs:174/- | P.Rft | Rs:2,64,480/= |
| 13 | Cement plaster (1:4)upt 12’ ft height ½” thick (GSINO:11( c )P-57 |  |  |  |
|  | 20170.00 Sft | @Rs:2283/93 | P%Sft | Rs:4,60,669/= |
| 14 | R.C.C. work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rates also i/c all kinds forms moulds lifting shuttering ;curing rendering and finishing the exposed surface i/c screening and washing of shingle (a) RCC work in roof slab beams columns rafts lintels and other structural member laid in situ or precast laid in position in all respect ratio(1:2:4)et (G.S.I.NO:5 P/19 |  |  |  |
|  | 307.77 Cft | @Rs:337/- | P.Cft | Rs:1,03,718/= |
| 15 | Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastening i/c cost of binding wire also i/c removal of rust from bars etc (G.S.I.NO:7 P/20) |  |  |  |
|  | 10.99 Cwt | @Rs:5001/70 | P.Cwt | Rs: 54,969/= |
|  |  |  | Total | Rs: 24,23,471/= |

| B | REPAIR OF COMPOUND WALL |  |  |  |
| --- | --- | --- | --- | --- |
| 1. | Dismantling brick work in lime or cement mortar (GSINO:13 P-10) |  |  |  |
|  | 59.94 Cft | @Rs:1285/63 | P%Cft | Rs: 771/= |
| 2. | Dismantling cement concrete plain ratio (1:3:6) (GSINO:19 P-10) |  |  |  |
|  | 100.00 Cft | @Rs:1306/80 | P%Cft | Rs:130/= |
| 3. | Erection and removal of centering for RCC or plain c.c.work of deodar wood(2nd class)vertical.(GSINO:18 P-20) |  |  |  |
|  | 2088.00Sft | @Rs:3127/41 | P%Sft | Rs:65,300/= |
| 4. | Cement concrete plain i/c placing compacting finishing curing complete i/c screening and washing of stone aggregate without shuttering ratio(1:3:6)(GSINO:5 P-17) |  |  |  |
|  | 1051.50Cft | @Rs:12595/- | P%Cft | Rs:1,32,436/= |
| 5. | Pucca brick work other then building i/c stricking of joint upto 20’ height(GSINO:7 P-26) |  |  |  |
|  | 583.00 Cft | @Rs:12346/65 | P%Cft | Rs:71,981/= |
| 6. | Cement plaster(1:4)upto 20’ ft height 1/2” thick (GSINO:11( c )P-57) |  |  |  |
|  | 2926.00Sft | @Rs:2283/93 | P%Sft | Rs:66,828/= |
| 7. | Making & fixing steel grated doors with 1/16” thick sheeting including angle iron frame 2”x2” 3/8”x ¾” square bars 4” center to center with locking arrangement (GSI.No.24 P/92) |  |  |  |
|  | 72.00 Cft | @Rs:726/72 | P.Sft | Rs:52,324/= |
| 8. | Distempering three coat(GSINO:24 P-54) |  |  |  |
|  | 2926.00Sft | @Rs:1079/65 | P%Sft | Rs:31,591/= |
| 9. | Painting New Surface Preparing surface and painting of door and window any type (i/c edges) three coats(GSINO:5P-77) |  |  |  |
|  | 144.0Sft | @Rs:2116/41 | P%Sft | Rs:3047/= |
|  |  |  | Total | Rs:4,24,408/= |

| C 1. | C.C.BLOCK. Barrow pit excavation undressed lead upto 100 ft ordinary soil (GSINO:3 P-1) |  |  |  |
| --- | --- | --- | --- | --- |
|  | 2886.20 Cft | @Rs:2117/50 | P%oCft | Rs: 6,112/= |
| 2. | Earth work compaction (Soft ordinary or hard soil)(b) Laying earth in 6” layers leveling dressing and watering for compaction etc complete (GSINO:13(b)P-13) |  |  |  |
|  | 9000.00Cft | @Rs:354/- | P%oCft | Rs: 3,186/= |
| 3. | Carriage of 100 Cft/5 tons of all material like stone aggregate spawl coal lime surkhi etc BG rails fastenings points and crossing bridge girders pipes sheets rails ms bars etc or 1000 Nos bricks 10”x5”x3” or 1000 Nos tiles 12”x6”x2” or 150 cft of timber or 100 mounds of fuel wood by trucks or any other means owned by the contractor(Cartage of M.S.INO:1 P-1) |  |  |  |
|  | 2886.20 Cft | @Rs:502/52 | P%Cft | Rs: 14,504/= |
| 4. | Erection and removal of centering for R.C.C.plain c.c.works deodar wood (2nd class) vertical (G.S.I.NO:18 P/20) |  |  |  |
|  | 400.00 Sft | @Rs:312741 | P%Sft | Rs: 12,510/= |
| 5. | Cement concrete brick or stone ballast1 ½”to 2” gauge ratio(1:4:8)(GSINO:4 P-60) |  |  |  |
|  | 1980.0 Cft | @Rs:9416/28 | P%Sft | Rs: 1,86,442/= |
| 7. | Cement concrete plain i/c placing compacting finishing and curing complete i/c screening and washing of stone aggregate without shuttering ratio (1:2:4) (G.S.I.NO: 5(f) P/16) |  |  |  |
|  | 1500.0 Cft | @Rs:14429/25 | P%Cft Total | Rs: 2,16,439/= Rs 4,39,193/= |

| D 1. | REPAIR OF COLLECTING TANK 15’ IDA. Cleaning of collecting tank sump below ground level i/c dewatering of sullage water and disposal of garbage solid waste etc out site the tank etc complete.(PHSINO:1 P-33) |  |  |  |
| --- | --- | --- | --- | --- |
|  | 2360.00Sft | @Rs:11900/- | P%oCft | Rs:28,084/= |
| 2. | Carriage of 100 Cft/5 tons of all material like stone aggregate spawl coal lime surkhi etc BG rails fastenings points and crossing bridge girders pipes sheets rails ms bars etc or 1000 Nos bricks 10”x5”x3” or 1000 Nos tiles 12”x6”x2” or 150 cft of timber or 100 mounds of fuel wood by trucks or any other means owned by the contractor(Cartage of M.S.INO:1 P-1)(2 miles) |  |  |  |
|  | 2360.00Sft | @Rs:502/52 | P%Cft | Rs: 11,859/= |
| 3. | Cement plaster(1:4)upto 12’ ft height 3/4” thick (GSINO:11( c )P-57) |  |  |  |
|  | 1326.00 Sft | @Rs:3015/76 | P%Sft | Rs:39,989/= |
| 4. | Providing and fixing in portion cc foundation (1:3:6)MS ladder of ms angle iron 2”x2”x0”with ms bars 3/2” dia approved 1’x0” apart paiting three coats with anltersive steel paint complete(PHSINO:3 P-42) |  |  |  |
|  | 27.00Rft | @ Rs: 799/- | PRft | Rs: 13,583/= |
| 5. | Fabrication of heavy steel work with angle iron tee flate iron etc complete . (GSINo. P ). |  |  |  |
|  | 2.00 Cwt | @Rs4928/49 | P.Cwt | Rs: 9,857/= |
| 6. | Erection and fitting in position of iron trases stage of water tank etc(GSINO:3 P-96) |  |  |  |
|  | 2.00 Cwt | @Rs:271/04 | P.Cwt | Rs:542/= |
|  |  |  | Total | Rs:1,03,914/= |

| E. 1. | REPAIR OF STAFF QUARTER Dismantling CC reinforcement separating reinforcement from concrete cleaning and straightening the same (GSINO:20P-10) |  |  |  |
| --- | --- | --- | --- | --- |
|  | 115.70Cft | @Rs:5445/- | P%Cft | Rs:6,300/= |
| 2. | R.C.C. work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rates also i/c all kinds forms moulds lifting shuttering ;curing rendering and finishing the exposed surface i/c screening and washing of shingle (a) RCC work in roof slab beams columns rafts lintels and other structural member laid in situ or precast laid in position in all respect ratio(1:2:4)et (G.S.I.NO:5 P/19 |  |  |  |
|  | 147.26 Cft | @Rs:337/- | P.Cft | Rs: 49,627/= |
| 3. | Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastening i/c cost of binding wire also i/c removal of rust from bars etc (G.S.I.NO:7 P/20) |  |  |  |
|  | 5.91 Cwt | @Rs:5001/70 | P.Cwt | Rs:29,560/= |
| 4. | Making fixing stree grated door with 1/16” sheeting i/c angle frame 2”x2”x/8” and ¾” panel(GSINO:27 P-98) |  |  |  |
|  | 52.75 Sft | @Rs:726/72 | P.Sft | Rs: 16,533/= |
| 5. | Cement plaster(1:4)upto 12’ ft height 3/8” thick (GSINO:11( b )P-57) |  |  |  |
|  | 1300.62 Cft | @Rs:2197/52 | P%Sft | Rs:28,581/= |
| 6. | Cement plaster(1:6)upto 12’ ft height 1/2” thick (GSINO:11)P-53) |  |  |  |
|  | 1300.62 Sft | @Rs:2206/60 | P%Sft | Rs:28,699/= |
| 7. | Providing and laying 2” thick topping cement concrete(1;2:4)i/c surface finishing and dividing into panels (PHSINO:16,P-41) |  |  |  |
|  | 192.00Sft | @Rs:3275/50 | P%Sft | Rs:6,289/= |
| 8. | White wash three coats(GSINO:26P-59) |  |  |  |
|  | 192.00Sft | @Rs:829/95 | P%Sft | Rs: 1,594/= |
| 9. | White wash one coat(GSINO:26P-54) |  |  |  |
|  | 1300.62Sft | @Rs:416/63 | P%Sft | Rs:5419/= |
| 10 | Colour wash two coats(GSINO:25P-55) |  |  |  |
|  | 1300.62Sft | @Rs:859/90 | P%Sft | Rs:11,184/= |
| 11 | Painting New Surface.Preparing (Door and windows) Surface and painting of any type i/c edges two subsequent cost over primary coat three coats (GSINO:4 P-68) |  |  |  |
|  | 105.50Sft | @Rs:2116/41 | P%Sft | Rs:2,233/= |
| 12 | Fabrication of heavy steel work with angle iron tee flate iron etc complete . (GSINo. P ). |  |  |  |
|  | 2.54 Cwt | @Rs: 4928/49 | P.Cwt | Rs: 12,518/= |
| 13 | Erection and fitting in position of iron trases stage of water tank etc(GSINO:3 P-96) |  |  |  |
|  | 2.54 Cwt | @Rs: 271/06 | P.Cwt | Rs: 688/= |
| 14 | S/F in position iron steel grill of ¾”x1/4” size flat iron steel grid of approved designing (GSINO:26 P-93) |  |  |  |
|  | 30.00Sft | @Rs:180/50 | P.Sft | Rs:5415/= |
| 15 | Providing and laying 1-1/2” thick topping cement concrete(1;2:4)i/c surface finishing and dividing into panels (PHSINO:16,P-46) |  |  |  |
|  | 350.62Sft | @Rs:2548/29 | P%Sft | Rs:8935/= |
|  |  |  | Total | Rs:2,13,575/= |

| F. 1. | REPAIR OF PUMP HOUSE(10X12) Dismantling CC reinforcement separating reinforcement from concrete cleaning and straightening the same (GSINO:20P-10) |  |  |  |
| --- | --- | --- | --- | --- |
|  | 78.95Cft | @Rs:5445/- | P%Cft | Rs: 4,299/= |
| 2. | R.C.C. work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rates also i/c all kinds forms moulds lifting shuttering ;curing rendering and finishing the exposed surface i/c screening and washing of shingle (a) RCC work in roof slab beams columns rafts lintels and other structural member laid in situ or precast laid in position in all respect ratio(1:2:4)et (G.S.I.NO:5 P/19 |  |  |  |
|  | 100.49 Cft | @Rs:337/- | P.Cft | Rs:33,864/= |
| 3. | Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastening i/c cost of binding wire also i/c removal of rust from bars etc (G.S.I.NO:7 P/20) |  |  |  |
|  | 4.04 Cwt | @Rs:5001/70 | P.Cwt | Rs:20,206/= |
| 4. | Making fixing steel grated door with 1/16” sheeting i/c angle frame 2”x2”x/8” and ¾” panel(GSINO:27 P-98) |  |  |  |
|  | 22.75 Sft | @Rs:726/72 | P.Sft | Rs: 16,533/= |
| 5. | Cement plaster(1:4)upto 12’ ft height 3/8” thick (GSINO:11( b )P-57) |  |  |  |
|  | 942.00 Cft | @Rs:2197/52 | P%Sft | Rs: 20,701/= |
| 6. | Cement plaster(1:4)upto 12’ ft height 1/2” thick (GSINO:11)P-53) |  |  |  |
|  | 942.00Sft | @Rs:2206/60 | P%Sft | Rs: 20,786/= |
| 7. | Providing and laying 2” thick topping cement concrete(1;2:4)i/c surface finishing and dividing into panels (PHSINO:16,P-41) |  |  |  |
|  | 120.00 00Sft | @Rs:3275/50 | P%Sft | Rs: 3,930/= |
| 8. | White wash three coats(GSINO:26P-59) |  |  |  |
|  | 204.00Sft | @Rs:829/95 | P%Sft | Rs: 1,693/= |
| 9. | White wash one coat(GSINO:26P-59) |  |  |  |
|  | 942.00Sft | @Rs:416/63 | P%Sft | Rs: 3,925/= |
| 10 | Colour wash two coats(GSINO:25P-55) |  |  |  |
|  | 942.00Sft | @Rs:859/90 | P%Sft | Rs: 8,100/= |
| 11 | Painting New Surface. Preparing (Door and windows) Surface and painting of any type i/c edges two subsequent cost over primary coat three coats (GSINO:4 P-68) |  |  |  |
|  | 105.50 Sft | @Rs: 2116/41 | P%Sft | Rs: 2,233/= |
| 12 | Fabrication of heavy steel work with angle iron tee flate iron etc complete . (GSINo. P ). |  |  |  |
|  | 2.54 | @Rs: 4928/49 | P.Cwt | Rs: 12,518/= |
| 13 | Erection and fitting in position of iron trases stage of water tank etc(GSINO:3 P-96) |  |  |  |
|  | 2.54 Cwt | @Rs: 271/06 | P.Cwt | Rs: 688/= |
|  |  |  | Total | Rs:1,49,476/= |

| G 1. | REPAIR OF.AC RISING MAIN 6” DIA. Excavation for pipe lines in trenches and pits in Soft Soil i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joint holes and disposal of surplus earth within one chain as directed by Engineer In charge providing fence guards light flags and wherever required lift upto 5ft and Lead upto one chain (P.H.S.I.NO:1 P/46) |  |  |  |
| --- | --- | --- | --- | --- |
| 6”dia | 5315.62Cft | @Rs:3600/- | P%oCft | Rs:19,136/= |
| 2. | Providing laying jointing and testing AC pressure pipes B class and fixing in trenches i/c cutting fitting and jointing with rubber rings i/c testing water to a head of 122 meter or 400 ft(PHSINO:D(I)P-20) |  |  |  |
| 6”dia | 675.0 Rft | @Rs: 472/53 | P.Rft | Rs: 3,18,958/= |
| 3. | Supplying C.I.special for AC pressure pipe B class(Sandard weight of ACIL.(PHSINO:(M) P-12) |  |  |  |
| 6”dia | 1 . No | @Rs:2212/50 | Each | Rs: 2,213/= |
| ii) | C.I.Jibault Joint |  |  |  |
| 6”dia | 16.00 Nos | @Rs:1062/50 | Each | Rs:17,000/= |
| 4. | Supplying AC Collars B class..(PHSINO:4P-5) |  |  |  |
| 6”dia | 2 Nos | @Rs:194/- | Each | Rs: 388/= |
| 5. | One pair of rubber rings for AC pressure pipe B class (Comet joint)(PHSIMINO:7 P-6) |  |  |  |
| 6”dia | 2 Pairs | @Rs:129/- | P.Pair | Rs: 258/= |
| 6. | Making joint to CI speiclas fitting making i/c laying)of the required dia meter and testing the joint allowed with AC pipe line to the specified pressure and making good to all leaky joint etc complete.(PHSINO:1 P-56) |  |  |  |
| 6”dia | 2 Joints | @Rs: 72/- | P.Joint | Rs: 144/= |
| 7. | Refilling the excavated stuff intrenches 6”thick layers i/c watering ramming to full compaction etc complete.(PHSINO:24P-77) |  |  |  |
|  | 4784.05Cft | @Rs:2760/- | P%oCft | Rs:13,204/= |
| 8. | Jointing C.I./M.S.flanges pipes and specials flanged and inside atrench i/c supplying rubber packing of the required thickness nuts bolts with washers etc complete.(PHSINO:1P-35) |  |  |  |
|  | 16 Joints | @Rs:938/- | P.Joint | Rs:15,008/= |
| 9. | Manufacturing Supplying of M.S.pipe for Block steel pipe MS pipe madeout MS sheet of 4.8 mm thick from 3”x6” dia meter confirming to API 5L grade-X-42 spirally welded and extermally asphalt coated internally apoxy contend (AWWA specification)i/c laying jointing with straight welding intrenches i/c testing with water minimum specified pressure for different dia of pipe as below (PHSINO:1(i)P-40) |  |  |  |
|  | 40.0Rft | @Rs:1207/40 | P.Rft | Rs:48,296/= |
|  |  |  | Total | Rs:4,34,605/= |

| J 1. | PROVIDING/INSTALLING PUMPING MACHINARY. Supplying and installing in position i/c transportation to site of work at Khando electric pumping set consisting of A.C.electric motor of 10 BHP 3 phase 50 cycles 400/420 volts 1450 RPM type 65-215(3x2 ½’) size ”mounted on common steel frame or base plate capable of discharging 365gallons per minute against a head of 70 ft i/c installation of pumping set on c.c foundation ratio(1:24) with m.s nuts and bolts of 5/8”dia to be embeded in c.c foundation i/c providing and fixing on prepared baord A.C.50 cycles 3 phase 12/25 ampers trip rating push button type star delta starter complete with no volts and over load release and required i/c providing and fixing on prepared board iron (clad)triple pole and neutral switch fuse with rewireable fuse link carried 500 volts grade 30 ampers and providing and fixing volts meter 0.500 volts and ampers meter 0-50 ampers installed on metalled board i/c providing and fixing metalled board to accomadate main or sub main control switch recessed in the wall size 3’x2 ½’ i/c providing phase indication bulbs with holder and providing internal elctric wiring for main with 3-7/0.83(7/0.036) pvc insulated wire 660 volts grade in 25 mm(1” )G.I.plate burried in the ground at depth 3.7 m (12ft )for base plate and testing of the pumping set against the required head for 72 hour etc complete. |  |  |  |
| --- | --- | --- | --- | --- |
|  | 1 No | @Rs: 743420/- | Each | Rs:7,43,420/= |
| 2. | Manufacturing Supplying MS pipe made out of MS sheet of 3/16” thick cutting bending folding to correct curvature and shape i/c welding etc complete (R.A) |  |  |  |
| 4”dia | 32.0 Rft | @Rs: 506/60 | P.Rft | Rs:16,211/= |
| 3”dia | 84.0Rft | @Rs: 385/89 | P.Rft | Rs:32,415/= |
| 3. | Rewinding of electric motor 10 BHP 3 phase 400/440 volt 50 cycles with best quality insolated copper wire of required Guage i/c testing on load with satisfactory result upto one weeks Time opening and refitting and replacing the bolts of necessary Excluding the cost of work out material (GSINO:97 ( c )P-111) |  |  |  |
|  | 1 No | @Rs:10599/- | Each | Rs:10,599/= |
| 4. | Repair of on clogging sullage pump 3x2 ½” etc complete.(R.A) |  |  |  |
|  | 1 No | @Rs:10000/- | Each | Rs:10,000/= |
| 5 | Manufacturing supplying M.S.flanges of 3/16” Dia made out 3/8 of flange cutting bending folding to correct curvature and shape i/c welding etc complete(R.A.Approved) |  |  |  |
| 4”dia | 10.0 Nos | @Rs: 596/75 | Each | Rs: 5,968/= |
| 3”dia | 12 Nos | @Rs:500/89 | Each | Rs: 6,011/= |
| 6. | C.I.Short Piece(SMINO:9 P-15) |  |  |  |
| 6”dia | 1 No | @Rs:618/75 | Each | Rs: 619/= |
| 7. | Supplying C.I.bend with flanged ends with holes i/c turning and facing of flanges for all size.(PHSMINO:8 P-14) |  |  |  |
|  | 0.63 Cwt | @Rs:6096/- | P.Cwt | Rs:3,840/= |
| 8 | Supplying C.I.tapper2 ½ x 3 flat bottomed or central tapered flanged ends with holes i/c turning and facing turning flanges for all size. (PHSMINO:9 P-14) |  |  |  |
|  | 0.20 Cwt | @Rs:6096/- | P.Cwt | Rs:1,219/= |
| 9 | C.I.Tee flanged ends with holes i/c turning and facing of flanges. (PHSMINO:12 P-14 |  |  |  |
|  | 0.22 Cwt | @Rs:6096/- | P.Cwt | Rs: 1,341/= |
| 10 | Supplying C.I. Reflex valve heavy pattern(test pressure 21 Kg sq cm or 300 lbs sq inch) complete(SMI NO:6 P-11) |  |  |  |
| 3”dia | 2. Nos | @Rs:1543/75 | Each | Rs: 3,088/= |
| 11 | Supplying and fixing C.I.foot valve heavy pattern test pressure (SMINO:5 P-11) |  |  |  |
| 3”dia | 2. Nos | @Rs:731/25 | Each | Rs:1,463/= |
| 12 | Supplying C.I.sluice valve heavy pattern(test pressure 21 Kg sq cm or 300 lbs sq inch) complete(PHESINO:2 P-10) |  |  |  |
| 3”dia | 2 Nos | @Rs:4290/- | Each | Rs:8,580/= |
| 13 | Jointing C.I./M.S.flanges pipe and specials flanged and inside in trench i/c supplying rubber packing of the required thickness nuts bolts with washers etc complete.(PHSINO:1 P-35) |  |  |  |
| 3”dia | 12 Joints | @Rs:499/- | P.Joint | Rs:5,988/= |
| 4”dia | 8 Joints | @Rs:513/- | P.Joint | Rs:4,104/= |
|  |  |  | Total | Rs:8,54,866/= |
| K 1. | REPAIR OF TRANSFORMER AND SERVICE WIRE. Taking out 25 kv transformer and repair of 3 Nos coils i/c changing of oil from disposal works for necessary repair at Hyderabad and repairing at same place(Rate approved) (R.A approved by C.E. PHE vide his No:573 dt:26/2/2011 |  |  |  |
|  | 1 No | @Rs:66800/- | Each | Rs:66,800/= |
|  |  |  | Total | Rs:66,800/= |

Amount Total (a) + (b) + (c) + (d) + (e) +(f) + (i) + (g) + (h) 	=	Rs: 51,10,308/-

________ % above / below on the rate of CSR,

Amount to be added / deducted on the basis of

premium, Total (b) Rs. ________________

Total (A) = a + b in works & Figures_______________________________________________

_______________________________________________

CONDITIONS.

1	Any error or omissions in the description of items, rates, unit quantity &

Calculation will be governed by the relevant schedule of rates.

2.	The contractor must remove the surplus earth, material, Garbage from

Site of work on his own cost.

3.	No premium will be allowed on non-schedule items & market rates.

4.	No separate cartage will be paid to the contractor.

5.	The work will be completed within specified period.

6.	The contractor is bound the work will be carried out as per agreement

and standard PWD specification .

(MUHAMMAD  AKBAR BALOCH)

CONTRACTOR					EXECUTIVE ENGINEER

PUBLIC HEALTH ENGG: DIVISION

MATIARI.