BIDDING DATA

(The Section Should Be Filed In The Engineer /Production Agency Before Issuance Of The Bidding Documents)

| a) | Name of procuring agency: | Executive Engineer Public Health Engineering Division II Khairpur @ Ranipur |
| --- | --- | --- |
| b | Briel description of work : | Compound Wall and CC Block of Tomb Dargah Syed Abdul Jabbar Shah Jillani Ranipur Taluka Sobhodero. |
| c | procuring agency’s Address | Taluka Sobhodero District Khairpur |
| d | Estimated Cost | Rs. 20,00,000/- |
| e | Amount of BID Security | 2% |
| f | Period of bid validity (Security) | 15 Days |
| g | Security Deposit(including Bid Security) | N/A |
| h | Dead Line for bid submission of bid along with time | N/A |
| i | Venue time and date of bid opening | At Executive Engineer Public Health Engineering Division II Khairpur @ Ranipur |
| j | Time for completion form written order of commence | 3 Months |
| k | Liquidity damages | N/A |
| l | Deposit receipt No: date amount (kin word & Figure) | N/A |

(Executive Engineer/Authority issuing bedding document)

.

| Assistant Engineer Public Health Engineering Sub Division Sobhodero | Executive Engineer Public Health Engineering Division II Khairpur @ Ranipur |
| --- | --- |

SCHEDULE B

NAME  OF  WORK:   	CONSTRUCTION OF C/WALLC.C BLOCK FOR SYED ABDUL JABBARSHAH JILLANIU/C RANIPUR TALUKA SOBHODERO DISTRICT KHAIRPUR MIR’S

Sub Head Num:1 COMPOUND WALL

- Excavation in foundation of building bridges and other structure i/c dag belling refilling around the structure with excavated earth watering ramming lead up to one

chain and lift up to 5 ft. (CSI No.18 P.NO.4)

Qty:1569.0Cft      @Rs:3176/25    P.%0Cft Rs:4984/-

- C.C Brick or stone ballast 1:4:8(CSI No.4 P.NO.17)

Qty:392.25 Cft@Rs:9416/28        P.%Cft Rs:36935/-

- Randommarblemasonry (incoursed) in foundation in

cement sand mortar.(CSI No.1(b) P.NO.31)

Qty: 1176.0 Cft@Rs:17723/-        P.% Cft                          Rs:2,08,422/-

- Coursed Rubble conssonary  1:6

(CSI No.2 P.NO.31)

Qty: 582.50 Cft         @Rs:25321/-         P.% Cft                          Rs:1,47,495/-

- Cement Pointing raised on stone work © on stone

work raised (ii) In Cement Mortar 1:3.

(CSI No:20 (c) (ii) P.NO:53)

Qty: 582.50 Cft         @Rs:25321/-         P.% Cft                          Rs:1,47,495/-

- DPC with cement sand & shingle concrete 1:2:4 i/c

coated of asphaltic mixture (CSI No.27 P.23) 3” thick.

Qty: 582.50 Sft         @Rs:3912/85         P.% Sft                     Rs:22,792/-

- Pacca  brick work other than building i/c stricking

of joints up 20 ft. height (in cement sand mortar e )

Ratio 1:6 (CSI No.7 P.25).

Qty: 1402.46 Sft          @Rs.12674/36	P.%Sft         Rs.1,77,753/-

- CementAster Plaster (1:4) up to 20 ” hight

thick  (CSI -11(b)P-57)  ½” thick.

Qty: 2026.50 Sft	  @Rs:2206/60	P.%Sft                Rs.44,717/-

- CementPlaster (1:4) up to 12 ” hight

thick  (CSI -11(b)P-57)  ½” thick.

Qty: 2026.50 Sft	  @Rs:2283/93	P.%Sft                Rs.46,284/-

10)    Cement pointing struck jointing in walls (b) 1:3

(CSI No19 P no 59)

Qty:1687.50Sft	  @Rs:1213/58	P.%Sft                Rs.20,479/-

- White washing (a) one coat .  (CSI No.26(b) P.54).

Qty: 2026.50 Sft	  @Rs:425/84	P.%Sft                Rs.8630/-

- Colour washing (b)two coat.  (CSI No.25 (c) P.54).

Qty: 1687.50 Sft	  @Rs:829/95	P.%Sft                Rs.14005/-

- Making and fixing steel grated door with 1/16” thick

sheeting i/c angle iron frame 2”x2” 3/8” and ¾” square

bars 4” C/C with locking arrangement (CSI No.24 P.92).

Qty:48.0 Sft	  @Rs:726/72	P.Sft         Rs.34883/-

- Preparing surface painting new surface of door

and windows any type 	(three coats)

(CSI No.5 © P.70)

Qty: 96.0 Sft	  @Rs:1270/83P.SftRs.83084/-

Total  Rs:7,89,169/-

Sub Head Num:II				C.C Block

01.     Barrow pit excavation undressed lead up to 100 ft in

ordinary soil    (CSI NO 3 (a) P.No 1)

Qty.7653.75Cft	@Rs.2117/50		P%0 Cft.		          Rs.16207/-

02.	Lying Earth in 6” layers & leveling dressing & Watering

forEtc complete. (CSI NO 3 (b) P.No 3)

Qty:7653.75Cft	@Rs.354/-		P%0 Cft		          Rs.2709/-

03.	Extra every 50 ft additional lead or part therefore

(CSI No 8 (a)      PNO 2    )

Qty:7653.75Cft	@Rs.5039/-	P%0 Cft		Rs.38,567/-

04.C.C Brick or stone ballast 1:4:8(CSI No.4 P.NO.17)

Qty.3367.65Cft	@Rs.9416/28		P%0 Cft.		          Rs.317107/-

05.Cement concrete plain i/c placing compacting finishing

curing complete i/c screening and washing stone

aggregate w/o shuttering  (CSI No.5(i) P.NO.17)

Qty.2551.25Cft	@Rs.14429/25		P%0 Cft.		          Rs.368126/-

06.Errection and removal of centering for R.C.C or plain

cementconcrete.

Qty.573.04 Sft	@Rs.3588/41		P%0 Sft.		Rs.20563/-

Total  Rs:763279/-

ABSTRACT OF COST

1	sub head no-I	compound  wallRs:7,86,169/-

2.SUB HEAD NO -II              C.C BLOCK		Rs: 7,63,279/-

Total	Rs.15,49,446/-

C  O  N  D  I  T  I  O  N  S

01.      Any error / omission in the description of items of work rate original schedule

will correct accordingly under executive engineer Public Health Engineering

division II Khairpur @ Ranipur  .

02.         premium will be  allowed as non , schedule items.

03.        The work will be carried out as per P.W.D. specification and approval details.

working estimates .

| CONTRACTOR | EXECUTIVE ENGINEER PUBLIC HEALTH ENGINEERING DIVISION-II KHAIRPUR @ RANNIPUR |
| --- | --- |