BIDDING DATA

(The Section Should Be Filed In The Engineer /Production Agency Before Issuance Of The Bidding Documents)

| a) | Name of procuring agency: | Executive Engineer Public Health Engineering Division II Khairpur @ Ranipur |
| --- | --- | --- |
| b | Briel description of work : | Construction of Surface drains and CC Block at Village Yaqoob Nangreja UC Pir Budhro Taluka Mirwah |
| c | procuring agency’s Address | Taluka Mirwah District Khairpur |
| d | Estimated Cost | Rs. 11,00,000/- |
| e | Amount of BID Security | 2% |
| f | Period of bid validity (Security) | 15 Days |
| g | Security Deposit(including Bid Security) | N/A |
| h | Dead Line for bid submission of bid along with time | N/A |
| i | Venue time and date of bid opening | At Executive Engineer Public Health Engineering Division II Khairpur @ Ranipur |
| j | Time for completion form written order of commence | 12 Months |
| k | Liquidity damages | N/A |
| l | Deposit receipt No: date amount (kin word & Figure) | N/A |

(Executive Engineer/Authority issuing bedding document)

| Assistant Engineer Public Health Engineering Sub Division Sobhodero | Executive Engineer Public Health Engineering Division II Khairpur @ Ranipur |
| --- | --- |

| SCHEDULE “B” |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| NAME OF WORK: |  |  |  |  |  | CONSTRUCTION OF SURFACE DRAINS & C.C BLOCK FOR VILLAGE YAQOOB NAGREJO U/C PIR BUDHRO TALUKA THARI MIR WAH DISTRICT KHAIRPUR |  |  |  |  |  |  |  |  |  |  |  |  |  |
| S No. |  | Qty: |  | Item of Work |  |  |  |  |  | Rate |  | Unit |  | Amount |  |  |  |  |  |
| PART - I |  |  |  |  |  |  |  |  | SURFACE DRAIN |  |  |  |  |  |  |  |  |  |  |
| 3 | Excavation in foundation of building bridges & other structure i/c dag belling dressing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | refilling around the structure with excavated earth watering ramming lead, up to one |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | chain & lift upto 5”ft ( CSI-No:18, P-No:4) In Ordinary soil. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Qty: | 1331.00 |  |  | cft |  | .@Rs: | 3176.25 |  |  |  | P.%ocft |  |  | Rs: |  | 4,228 | /= |  |
| 4 | Cement concrete plain i/c placing compacting finishing and curring complete i/c |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Screening & washing of stone aggregates without shuttering. (CSI.No:5(i) P.No:16) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| a) | Ratio 1:4:8 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Qty: | 332.75 |  |  | cft |  | .@Rs: | 11288.75 |  |  |  | P.%cft |  |  | Rs: |  | 37,563 | /= |  |
| 5 | Pacca brick work in foundation plinth in cement sand mortor (1:6) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | (CSI.No:4 (e )P.No:20) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Qty: | 684.75 |  |  | cft |  | .@Rs: | 11948.36 |  |  |  | P.%cft |  |  | Rs: |  | 81,816 | /= |  |
| 6 | Constt: of standard of open drains cunette block of cement concrete (1.2.4.) in situ to |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | The design profile i/c cost of mould as per drawing i/c applying floating coat of cement |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 1/32”inch thick to exposed face finished smooth curing etc complete (as per detail drawing) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | (PHSI No. D (I) P-58) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Type I |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Qty: | 550.00 |  |  | rft |  | .@Rs: | 94.00 |  |  |  | P.rft |  |  | Rs: |  | 51,700 | /= |  |
| 7 | Cement plaster 1:4 upto 20” height ½ thick (C.S.I No11 (b) .P No 52) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Type I |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Qty: | 1100.00 |  |  | sft |  | .@Rs: | 2283.93 |  |  |  | P.%sft |  |  | Rs: |  | 25,123 | /= |  |
| 8 | R.C.C work in roof, slabs, beams, columns raft lintel & other structural members laid in situ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | or preCost lead position complete in all respect Ratio (1:2:4) (C.S.I No: 6 (a)(i) P.No: 16) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Qty: | 152.94 |  |  | cft |  | .@Rs: | 337.00 |  |  |  | P,cft |  |  | Rs: |  | 51,542 | /= |  |
| 9 | Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | position making joints & fastening i/c cost of binding wire also removal of rust from bars |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | (C.S.I No: 8(b), PNo:17) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 152.94 | x | 4.50 | = |  |  | 6.145 | cwt |  |  |  |  |  |  |  |
|  | Qty: | 6.145 |  |  | cwt |  | .@Rs: | 5001.70 |  |  |  | P.cwt |  |  | Rs: |  | 30,736 | /= |  |
|  |  |  |  |  |  |  |  |  |  |  | Total |  |  |  | Rs: |  | 282,708 | /= |  |
|  |  |  |  |  |  |  |  |  | Add. |  | 10% | Above |  |  | Rs: |  | 28,271 | /= |  |
| PART - II |  |  |  | C.C TOPPING |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Borrow pit excavation dressed lead upto 100 ft |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ordinary soil (CSI .No: 3 (a) P. No:1) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Qty: | 5419.00 |  | cft |  | .@Rs: | 2117.50 |  |  | P.%ocft |  |  | Rs: |  |  | 11,475 | /= |  |
| 2 | Earth work compaction (soft ordinary or hard |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | soil ) laying earth in 6” layer and dressing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | complete (CSI No: 13 P-3) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Qty: | 6750.0 |  | cft |  | .@Rs: | 263.00 |  |  |  | P.%ocft |  |  | Rs: |  | 1,775 | /= |  |
| 3 | Extra for every 50” ft additional lead or part there of (C.S.I No:8(a)P-3) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Total lead (2600-100)= 50 Leads @Rs: 100/78 per lead 5039/= %o cft |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 50 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Qty: | 5419.00 |  |  |  |  | .@Rs: | 5039.00 |  |  | P.%ocft |  |  |  | Rs: |  | 27,306 | /= |  |
| 4 | Cement concrete brick or stone ballast 1-1/2" 2" gague |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | (CSI.No:4 P.No: 17) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Ratio: 1:4:8 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Qty: | 2227.50 |  |  | cft |  |  | .@Rs: | 9416.28 |  | P.%cft |  |  |  | Rs: |  | 209,748 | /= |  |
| 5 | Cement concrete plain i/c placing comacting finishing and curring complete |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | i/c screening and washing of stone aggregate (CSI.No:5 P.No: 17) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Ratio: 1:2:4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Qty: | 1687.50 |  |  | cft |  |  | .@Rs: | 14429.25 |  | P.%cft |  |  |  | Rs: |  | 243,494 | /= |  |
| 6 | Errection & removal of centring for R.C.C or plain C.C of partal wool |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | (C.S.I.No:19 P.No: 18) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Qty: | 354.17 |  |  | cft |  |  | .@Rs: | 3127.41 |  | P.%sft |  |  |  | Rs: |  | 11,076 | /= |  |
| 7 | Providing R.C.C pipe with collers class-B and digging the trenches |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | to required depth & fixingin position i/c cutting fixing & jointing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | with max phalt composition & cement mortar 1:1 andtesting |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | with water pressure to a head of 4” ft above the top of the highest |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | pipe & refilling with excavated earth (WSSI No:2 P.No: 21) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Qty: | 120.00 |  |  | rft |  |  | .@Rs: | 115.00 |  | P.rft |  |  |  | Rs: |  | 13,800 | /= |  |
|  |  |  |  |  |  |  |  |  |  |  | Total |  |  |  | Rs: |  | 518,674 | /= |  |
|  |  |  | ABSTRACT OF COST |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | PART=I |  |  | SURFACE DRAINS |  |  |  | RS | 282,708 |  |  | /= |  |  |  |  |  |  |  |
|  | PART=II |  |  | C.C BLOCK |  |  |  | RS | 518,674 |  |  | /= |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | RS | 801,382 |  |  | /= |  |  |  |  |  |  |  |
| C O N D I T I O N S |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 01. Any error / omission in the description of items of work rate original schedule |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| will correct accordingly under executive engineer Public Health Engineering |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| division II khairpur @ Ranipur . |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 02. premium will be allowed as non , schedule items. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 03. The work will be carried out as per P.W.D. specification and approval details. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| working estimates . |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Contractor |  |  |  |  |  |  |  |  |  |  | Executive Engineer Public Health Engineering Division II Khairpur @ Ranipur |  |  |  |  |  |  |  |  |