Schedule “B”

Extension of modules along rice canal ip & nip side = 28 Nos. (p-04).

| QTY: | ITEm |  | Rate | Per | Amount |
| --- | --- | --- | --- | --- | --- |
| 21.00 cft. | 1 | Dismantling cement concrete Reinforced separating Reinforcement from concrete cleaning and strengthening the same. | 5445.00 | %cft. | 1143.45 |
| 678.00 cft. | 2 | Excavation in foundation of building bridges and other structure i/c dagbelling dressing refilling around the structure with excavated earth watering ramming lead up to one chain & lift up to 50 in ordinary soil. | 3176.25 | %0cft. | 2153.50 |
| 68.00 cft. | 3 | Cement Concrete Plain i/c placing compacting, finishing and curing complete (i/c screening and washing of stone aggregate w/o shuttering) Ratio 1:3:6. | 12595.00 | %cft. | 8564.60 |
| 417.00 cft. | 4 | Pacca Brick work other than building i/c striking of joints upto 20ft. height in cement sand mortar ratio 1:5. | 12574.38 | %cft. | 52435.16 |
| 24.00 cft. | 5 | R.C.C work in roof slab, beams columns rafts, lintels and other structural members laid in situ or pre-cast lain in position complete in all respects Ratio 1:2:4 (90 Lbs. Cement 2 cft. Sand 4 cft, Shingle 1/8” to ¼” gauge. | 337.00 | P. cft. | 8088.00 |
| 1.200 cwt. | 6 | Fabrication of mild steel reinforcement of cement concrete i/c cutting, bending laying in position, making joints and fastening i/c cost of binding wire (also i/c removal of rust from bars) (b) using to Bars. | 5001.70 | P. cwt. | 6002.04 |
| 11.00 sft. | 7 | Erection & removal of centering for RCC or plain cement concrete works of deodar wood 2nd class. | 7000.00 | %sft. | 770.00 |
| 29.00 sft. | 8 | Cement Concrete Plain i/c placing compacting, finishing and curing complete (i/c screening and washing of stone aggregate w/o shuttering) Ratio 1:2:4. | 14429.25 | %cft. | 4184.48 |
| 431.00 cft. | 9 | Cement Plaster 1:2 upto 12ft. height ½” thick. | 2496.72 | %sft. | 10760.86 |
| 544.00 sft. | 10 | Borrow Pit Excavation undressed lead up to 100ft in ordinary soil. | 2117.5 | %0cft. | 1151.92 |
| 544.00 cft. | 11 | Carriage of 100 cft / ton of all material like stone, aggregate, spawl, Coal, Lime, Surkhi etc B.G. Rail fastening points and crossing bridges, girders, pipes sheet, rails, M.S bars etc of 1000 Nos. Bricks 10”x5”x3” or 150 cft. of timber or 100 Maunds of fuel wood by trucks or other means by the contractors ( 1 Mile ). | 407.00 | %cft. | 2214.08 |
| Total |  |  |  |  | 97468.00 |
| Rate quoted by Contractor at % above as per Schedule “B” |  |  |  |  |  |
| G. Total |  |  |  |  |  |

Executive engineer

Rice Canal Division

Larkana

contractor