## Face sheet
FACE SHEET
Fund Head |  |  | Provincial
Major Head:- |  |  | SC-21020 SC-24020
Minor Head:- |  |  | Building & Structure
Service Head:- |  |  | Repair & maintenance
Deptt: Head:- |  |  | M&R TO HUMAYOON HOUSE GARDEN WEST KARACHI. Colouring, Painting, watersupply, sanitary fittings & Misc: works in different flats of (7th & 8th Floor)
Amount:- |  |  | Rs. 4,84,000/-
The estimate has been framed in the office of the Executive Engineer Provincial Buildings Division-III, Karachi for the probable expenditure that will be incurred in the current financial year.
SPECIFICATION
The work will be carried out as per P.W.D specification through Government approved contractors of Buildings Department government of Sindh.
GENERAL DESCRIPTION
The estimate has been prepared as per demand / requirement of occupants of Humayoon House Garden West Karachi and the same is submitted for technical sanction. Further it is submitted that the funds to teh tune of Rs:___________ million avalible and permission for N.I.T. recorded vide Superintending Engineer Provincial Buildings Circle Karachi letter No. PBC/GC-3042, Dated 11-10-2012.
| S.No | Financial Year |  | Release | Expenditure
| 1 | 2009-10 |  | 5000000/- | 5000000/-
| 2 | 2010-11 |  | 807015/- | 807015/-
| 3 | 2011-12 |  | 3150000/- | 3150000/-

## G.Abs
|  | NAME OF WORK => | M/R TO BAARCK NO.13 SINDH SECRETARIAT BLOCK 4-A AKARACHI OFFICE OF THE SOLICITOR DEPARTMENT
GENERAL ABSTRACT
| S. No | Name of Component |  |  |  | Cost of Constt:
Part "A" Civil Works
| (i) | Schedule Items |  |  |  | #REF! | /-
| (ii) | Non Schedule Items |  |  |  | 0 | /-
Part "B" W/S & S/F
| (i) | Schedule Items |  |  |  | 0 | /-
| (ii) | Non Schedule Item |  |  |  | 0 | /-
Part "C" Electric work
| (i) | Schedule Item |  |  |  | 44070 | /-
| (ii) | Non Schedule Items |  |  |  | 0 | /-
[5 empty] | G.Total Rs | #REF! | /-
[5 empty] | Say Rs. | #REF! | /-
|  | ASSISTANT ENGINEER |  |  | EXECUTIVE ENGINEER
Provincial Buildins Sub Division-VII |  |  |  |  | Provincial Buildins Division-II
|  | KARACHI. |  |  | KARACHI.

## (Abs)
NAME OF WORK => |  | M/R TO BAARCK NO.13 SINDH SECRETARIAT BLOCK 4-A AKARACHI OFFICE OF THE SOLICITOR DEPARTMENT GOVERNMENT OF SINDH
SCHEDULE " B "
S.NO. | ITEM OF WORK. |  | Quantity |  | Rate. |  |  | Unit. | Amount.
PART (A) Civil Work)
(i) Schedule Item
1 | Dismantling glazed or encaustic tiles.
| (S.I.No.55/P-13) |  | 199.5 | Sft | 786 | / | 50 | % Sft | 1569 | /-
Ruppes Seven Hundred Eighty Six and Fifty Paisa
2 | P/F G.I frames / choukhats of size
7" x 2" or 41/2" x 3" for door using 20
guage G.I sheet i/c welded hinges and
fixing at site with necessary hold fasts
filling with cement sand slurry of ratio 1:6
and repairing the jambs the cost also
i/c all carraige tools and plants used in
| making & fixing. (S.I.No.29/P-93) |  | 89.25 | Rft | 228 | / | 90 | P.Rft | 20429 | /-
Rupees Two Hundred Twenty Eight and Ninty Paisa
3 | Providing & fixing inposition doors
windows & ventilators of 1st class deodar
wood frames of 1 3/4" thick commercial
ply veener shutters of 1st class veneer
skeleton (H ollow) and commercial ply wood
(3 ply) on both sides making and fixing
frames for door & windows (b)deodar
| wood. (S.I.No.9/58 - 25-b/P-68) |  | 177.12 | Sft | 856 | / | 53 | P.Sft | 151709 | /-
Rupess Eight Hundred Fifty Six and Fifty Three Paisa
4 | P/L 1:3:6 cement concrete solid block
masonry wall above 6" in thickness set
in 1:6 cement mortar in G.Floor superstructure
including raking out joints & curing etc
| complete. (S.I.No.24/P-19) |  | 17.49 | Cft | 15771 | / | 1 | % Cft | 2758 | /-
Rupees Fiften Thousand Seven Hundred Seventy One and One
5 | Cement plaster 1:4 upto 12’ height (c) ¾” thick.
| (S.I.No.11(c)P-52) |  | 106 | Sft | 3015 | / | 76 | % Sft | 3197 | /-
Rupees Three Thousand Fiften and Seventy Six Only
6 | Distempering (c) Two Coats.(S.I.24(C)/54) |  | 442 | Sft | 1043 | / | 90 | % Sft | 4614 | /-
Rupees One Thousand Forty Three and Ninty Paisa Only
7 | Preparing the surface and painting with matt
finish paint of approved make to old finish
surface. 2nd and subsequent coat.
| (S.I.37(a+b)/55) |  | 1395 | Sft | 1772 | / | 38 | % Sft | 24725 | /-
Rupees Seventeen Hundred Seventy Two and Thirty Eight Only
8 | Providing & Fixing approved quality mortice
| Lock.(S.I.No.21/P-60) |  | 7 | No | 1786 | / | 13 | Each | 12503 | /-
Rupees Seventeen Hundred Eighty Six and Thirteen Paisa Only
[8 empty] | Part A(i)Total | 221504 | /-
Above Or Below
Part (A) Civil Work
(ii) Non Schedule Item
1 | Providing & Fixing Porcelain Tiles 24" x 24"
as approved sizes specified
approved quality make design and colour in/c
Jointing in White Cement in/c. Washing of
tiles and filling of joints with Slurry of white
white cement in desired shape with finishing
in/c. cutting of tiles to proper profile i/c
all respect labour and necessary required
material as directed by the Engineer In charge
| etc complete. |  | 577.75 | Sft |  |  |  | P.Sft
2 | P/L Bath room tiles glazed or matt glazed, make
having size 12”x18” Shabbir / Sonex / Karam or equivalent
jointed in white cement and laid over 1:2 grey cement sand
mortar ¾” thick in/c finishing & filling of joints with
slurry of white cement or tile grout in desired shape
| in/c cutting of tiles to proper profile (on floor or facing) |  | 378.81 | Sft |  |  |  | P.Sft
3 | French Polish of Door Windows & ventilators and
stair floor (Walls) work etc including repairing surface
and polishing by using latch dana, spirit, thinner,
pigment ICI lacquer,regmal, (Germany) malmal,
ICI Saller, Tarpauine Oil, Polishing as per satisfaction
| of competent authorityetc complete. |  | 117 | Sft |  |  |  | P.Sft
Part "A-ii" NSI)Total
Part (B) W/S & S/F
(i) Schedule Item
1 | Providing & fixing squating type white
glazed earthen ware w.c pan with i/c
the cost of flushing cistern with internal
fitting and flush pipe with bend & making
requisite number of holes in walls plinth
& floor for pipe connection & making
good in cement concrete 1:2:4,
(ii) with 4" dia white glazed earthen ware
| trap & plastic thumble. (S.I.No.1(ii)/P-1) |  | 2 | No | 5088 | / | 20 | Each | 10176 | /-
Rupees Five Thousand Eighty Eight and Twenty Only
2 | Providing & fixing 24" x 18" lavatory basin in
white glazed earthen ware complete with &
I/c the cost of W.I or C.I cantilever brackets
6 inches built into wall, painted white in two
coast after a primary coat of red lead paint, a
pair of 1/2" dia rubber plug & chrome plate
brass chain 1-1/4" dia malloable iron or c.P
brass traps malloable iron or brass unions and
making requisite number of holes in walls,
plinth & floor for pipe connection and making
good in cement concrete 1: 2: 4 (Standard pattern).
| (S.I.No.10 P-3) |  | 2 | No | 4928 | / | 0 | Each | 9856 | /-
Rupees Fourty Nine Hundred and Twenty Eight Only
3 | P/Fixing european white glazed earthen
ware wash down w.c pan complete
with & i/c the cost of white/black plastic
seat and lid with c.p brass hinges
| (S.I.No.5/P-2) |  | 1 | No | 11477 | / | 40 | Each | 11477 | /-
Rupees Eleven Thousand Four Hundred Seventy Seven and Forty Only
4 | Providing & fixing Steel sink stainless local
make complete with cast iron or wrought
iron brackets 6" built in wall, 1 1/2" c.p
rubber plug chrome plated brass chain
1 1/2" c.p brass waste with 1 1/2"
PVC waste pipe & making requisite
number of holes in wall plinth & floor
for pipe connection and making good
in cement concrete 1:2:4 (b)Steel sink
stainless size 36" x 18" local make standard
| pattern (S.I.No.19(b)/P-6) |  | 1 | No | 5162 | / | 30 | Each | 5162 | /-
Rupees Five Thousand One Hundred Sixty Two and Thirty Only
5 | Providing & fixing flat back lipped from urinal
basin (of not less than 17" in height) of white
glazed earthen ware complete with & I/c the cost
of 1 gallon C.I automatic flushing cistern with
fittings, a pot cock C.I or W.I brackets standard
flush Pipe with fitting standard waste Pipe
(Enamelled iron ) connection complete & making
requisite number of holes in walls, plinth & floor for
Pipe connection & making good in cement concrete
| 1: 2: 4 (Foreign or Equivalant).S.I.7/P-3 |  | 1 | No | 4440 | / | 70 | Each | 4441 | /-
Rupees Forty Four Hundred and Seventy Only
6 | Supplying & fixing C.P muslim shower
with crystal head etc complete.
| (S.I.No.19(b)/P-19) |  | 3 | No | 3432 | / | 0 | Each | 10296 | /-
Rupees Thirty Four Hundred and Thirty Two Only
7 | S/F concealed Tee stop cock
of superior quality with c.p head 1/2" dia
| S.I.No.12(a)/P-18 |  | 9 | No | 889 | / | 46 | Each | 8005 | /-
Rupees Eight Hundred Eighty Nine and Forty Six Only
8 | S/Fixing long bib- cock of superir quality
| with c.p head 1/2" dia. (S.I.No. 13-a P-19) |  | 2 | Nos | 1109 | / | 46 | Each | 2219 | /-
Rupees Eleven Hundred Nine and Forty ix Only
9 | Supplying & fixing Swan type piller cock of superior
| quality with crystal head ½” dia.(S.16(b)/19) |  | 2 | No | 877 | / | 80 | Each | 1756 | /-
Rupees Eight Hundred Seventy Seven and Eighty Only
10 | P/Fixing 6" x 2" or 6" x 3" C.I floor trap
of the approved selt cleaning design with
a C.I screwed down gratting with or
without a vent arm complete with
i/c making requsite number of holes in
walls plinth & floor for pipe connection
& making good cement concrete 1:2:4
| (S.I.No.20/P-6 |  | 3 | No | 2042 | / | 43 | Each | 6127
Rupees Two Thousand Forty Two and Forty Three Only
11 | Contructing small wheel valve chamber clear plastered
inside size 18" x 18" x 18" with walls of 9" thick of B.B in
cement mortar 1:3 over 4" tihck cement concrete 1:3:6 cement
1/2" thick 1:3 inside i/c supplying & fixing C.I light weight manhole
cover with frame and locking arrangement of 18" x 18" clear
| opening etc. complete. |  | 2 | No | 4103 | / | 0 | Each | 8206
Rupees Four Thousand One Hundred Three and Sixty Paisa Only
[5 empty] | Total W/S & S/F Sch.Item |  |  |  | 77721
Above or Below
Total W/S & S/F Sch.Item
/-
Part B-ii W/S & S/F Non-Schedule Item
1 | Providing & fixing Soil & Vent pipe
dia i/c cutting making jointing with
switch pest with special approved
quality i/c all cost of labour etc
complete.
| 1/2" dia |  | 30.5 | Sft |  |  |  | P.Rft
| 3/4" dia |  | 22 | Sft |  |  |  | P.Rft
| 1 1/2" dia |  | 18 | Sft |  |  |  | P.Rft
| 1 1/4" |  | 5 | Sft |  |  |  | P.Rft
| 3" dia |  | 31.5 | Sft |  |  |  | P.Rft
| 4" dia |  | 25 | Sft |  |  |  | P.Rft
2 | Providing & fixing UPVC fitting 4" dia
of pak arab of approved quality on
on wall upto 50 ft with plastic clamp paid
separately this also i/c cutting making
jointing with switch pest with special
approved quality i/c all cost of labour
etc complete.
| 4" dia Elbow |  | 6 | Sft |  |  |  | Each
| 3" dia Plain Elbow |  | 6 | Sft |  |  |  | Each
| 4" dia Y-Tee |  | 2 | Sft |  |  |  | Each
| P-Trap 4" dia |  | 2 | Sft |  |  |  | Each
| 3" dia P-Trap |  | 3 | Sft |  |  |  | Each
3 | Providing & Fixing Flush Tank Master or
| Golden Make best quality etc complete |  | 2 | Sft |  |  |  | Each
|  |  | Total W/S & S/F Non- S.Item | [5 empty] | 0
Part C Electric Work Schedule Item
1 | Wiring for light or fan point with 3/.029 PVC
insulated wire in 20mm (3/4”) PVC conduit
| wall or coloumns as required. (S.I.124/15) |  | 39 | No | 1130 | / | 0 | P.Point | 44070
Rupees Eleven Hundred Thirty Only
[8 empty] | Part A(i)Total | 44070
PART - C Electric Item
(ii) Non Schedule Item
1 | P/F False ceiling spot light fancy type
round shape or square shape with glass
and 2 holdre i/c steel box,jalli,and energy
saver or tube light 2'-0 long rod as
| approved by engineer incharge. |  | 34 | Nos |  |  |  | Each
2 | P/F Exhaust Fan 10” to 12” sweep metal body
| / plastic body i/c. necessary connection etc. |  | 1 | Nos |  |  |  | Each
3 | Providing & fixing fancy type 3-pin 5amps S.P plug
socket switch with shoe unit imported quality
with board as approved by the Engineer
In charge i/c necessary connection &
| recessed in the wall etc. |  | 8 | Nos |  |  |  | Each
Part "B-iii" NSI)Total
SUMMARY OF COST
| PART A | Cost of Civil Work Schedule Item |  |  |  |  | Rs.
| PART A-ii | Cost of Non Schedule Item Civil Work |  |  |  |  | Rs.
| Part B | Cost of W/S & S/F Schedule Item |  |  |  |  | Rs.
| Part B-ii | Cost of W/S & S/F Non Schedule Item |  |  |  |  | Rs.
| Part C | Electric Work Non Schedule Item |  |  |  |  | Rs.
| Part C-ii | Electric Work Non Schedule Item |  |  |  |  | Rs.
|  |  | Total |  |  |  | Rs.
TERMS & CONDITIONS:
1 | Any typographical errors in the schedule"B" are subject to correction with the reference to the schdule of rates General Item
Water Supply and sanitary item 2012 in force from 12-07-2012 as approved by the standing rates committee sindh Karachi.
2 | 100 % well graded crushed bajri shall be used in item of R.C.C 1:2:4.
3 | Water shall be arranged by the contractor at site of work without any extra payment.
4 | No Premium shall be paid on non-schedule Item
5 | No Cartage or any items of material either supplied by the Department or arranged by the contractor shall be paid
6 | C.C Shall be Machine made.
7 | All R.C.C/C.C cast in situ shall be mechanically viberated.
8 | Contractor has to bring samples of the material and handed to the Engineer Incharge free of cost.
9 | All Building debries & Surplus stuff not req: for use and construction shall be removed from the site the suitable disposal off by
10 | the contractor for which no extra cartages shall be paid.
11 | The Work Will be carried out as per PWD Specification.
CONTRACTOR
|  |  | ASSISTANT ENGINEER |  |  |  |  | EXECUTIVE ENGINEER
|  |  | Prov Building Sub-Division -VII |  | Provincial Building Division No.II
|  | Karachi. |  |  |  |  | Karachi.

## Mes
NAME OF WORK:- |  | M/R TO BAARCK NO.13 SINDH SECRETARIAT BLOCK 4-A AKARACHI OFFICE OF THE SOLICITOR DEPARTMENT
MEASUREMENT SHEET.
S.No. | Description of Item |  |  | NO. L. B. D. |  | Quantity
PART (A) Civil Work)
(i) Schedule Item
1 | Dismantling Glazed or encaustic tiles.
| Wall |  |  | 2x7.0x7.0 |  | 98 | Sft
| Wall |  |  | 1x6.0x7.0 |  | 42 | Sft
| Floor |  |  | 1x6.0x7.0 |  | 42 | Sft
| Side |  |  | 1x2.50x7.0 |  | 17.5 | Sft
[6 empty] | 199.5 | Sft
2 | P/F G.I Chowkhat
|  |  |  | 1x(7.0+3.25+7.0) |  | 17.25 | Rft
|  |  |  | 4x(7.0+4.0+7.0) |  | 72 | Rft
[6 empty] | 89.25 | Rft
3 | Providing & fixing inposition doors
windows & ventilators of 1st class deodar
| Office |  |  | 1x3.0x6.50 |  | 19.5 | Sft
| Office |  |  | 3x3.50x6.50 |  | 68.25 | Sft
| Kitchen |  |  | 1x3.0x6.50 |  | 19.5 | Sft
| Bath |  |  | 1x2.50x6.50 |  | 16.25 | Sft
| P.A |  |  | 1x3.25x6.50 |  | 21.12 | Sft
| Ver: |  |  | 2x2.50x6.50 |  | 32.5 | Sft
[6 empty] | 177.12 | Sft
4 | P/L 1:3:6 Cement Concrete Solid Block
Masonry wall above 6" thick.
|  |  |  | 7x7.0x0.33 |  | 16.17 | Cft
|  |  |  | 2x2.0x0.33 |  | 1.32 | Cft
[6 empty] | 17.49 | Cft
5 | Cement plaster 1:4 upto 12’ height (c) ¾” thick.
(S.I.No.11(c)P-52)
|  |  |  | 2x7.0x7.0 |  | 98 | Sft
| " " |  |  | 2x2.0x2.0 |  | 8 | Sft
[6 empty] | 106 | Sft
6 | Distempering (c) Two Coats.(S.I.24(C)/54)
|  |  |  | 1x20.0x20.0 |  | 400 | Sft
|  |  |  | 1x6.0x7.0 |  | 42 | Sft
[6 empty] | 442 | Sft
7 | Preparing the surface and painting with matt
finish paint of approved make to old finish
| Office |  |  | 2x(20.0+20.0)x11.50 |  | 920 | Sft
| Kitchen |  |  | 2x(10.0+7.0)x7.0 |  | 238 | Sft
|  |  |  | 1x6.0x11.0 |  | 66 | Sft
|  |  |  | 1x7.50x6.0 |  | 45 | Sft
|  |  |  | 2x7.0x9.0 |  | 126 | Sft
[6 empty] | 1395 | Sft
8 | P/F Mortice Lock
|  |  |  | 2 + 5 |  | 7 | Nos
Part (A) Civil Work
(ii) Non Schedule Item
1 | Providing & Fixing Porcelain Tiles 16”x16”
or 18”x18”x1/4 as approved sizes specified
| Main Office |  |  | 1x21.0x21.0 |  | 441 | Sft
| Kitchen |  |  | 1x11.0x8.0 |  | 88 | Sft
| Ver: Side Passage |  |  | 1x6.50x7.50 |  | 48.75 | Sft
[6 empty] | 577.75 | Sft
2 | P/L Bath Room Tiles 10"x20"
| Wall |  |  | 2x(7.0+7.25)x7.0 |  | 199.5 | Sft
| Floor |  |  | 1x7.0x7.25 |  | 50.75 | Sft
| Wall |  |  | 2x((7.25+3.25)x5.0 |  | 105 | Sft
| Floor |  |  | 1x7.25x3.25 |  | 23.56 | Sft
[6 empty] | 378.81 | Sft
3 | French Polishing
| Door |  |  | 2x2.50x6.50 |  | 32.5 | Sft
| Door |  |  | 2x3.0x6.50 |  | 39 | Sft
| Door |  |  | 2x3.50x6.50 |  | 45.5 | Sft
[6 empty] | 117 | Sft
Part (B) W/S & S/F
(i) Schedule Item
1 | Providing & fixing squating type white
| glazed earthen ware w.c pan with i/c |  |  | 2 x 1 |  | 2 | No
2 | Providing & fixing 24" x 18" lavatory basin in
| white glazed earthen ware complete with & |  |  | 2 x 1 |  | 2 | No | 70.00 “
3 | Providing & Fixing European W.C
|  |  |  | 1 x 1 |  | 1 | No
“
4 | P/F Stainless Steel Sink
|  |  |  | 1 x 1 |  | 1 | No
5 | P/F Urinal Basin
|  |  |  | 1 x 1 |  | 1 | No
6 | P/F Muslim Shower
|  |  |  | 1 x 3 |  | 3 | Nos
7 | P/F Conealed Tee Stop Cock
|  |  |  | 1 x 9 |  | 9 | Nos
8 | P/F Bib Cock
|  |  |  | 1 x 2 |  | 2 | Nos
9 | P/F Swan Type Piller Cock | [6 empty] | “
|  |  |  | 1 x 2 |  | 2 | Nos
10 | P/Fixing Floor Trap
|  |  |  | 1x 3 |  | 3 | No | “
12 | Providing & Fixing Chamber 18" x 18"
|  |  |  | 1 x 2 |  | 2 | Nos
Part (B) W/S & S/F
(i)Non Schedule Item
1 | Providing & fixing Soil & Vent pipe
dia i/c cutting making jointing with
| 1/2" dia |  |  | 5+3.5+5+2+1.5+2+3.5+3+5 |  | 30.5 | Rft
| 3/4" dia |  |  | 15+5+2 |  | 22 | Rft
| 1 1/2" dia |  |  | 3+6+4+3+2 |  | 18 | Rft
| 1 1/4" |  |  | 1 x 5 |  | 5 | Rft
| 3" dia |  |  | 6+3.5+5+5.5+3+2.5+6 |  | 31.5 | Rft
| 4" dia |  |  | 9+12+3+1 |  | 25 | Rft
2 | P/Fixing UPVC Fitting of AGM
| 4" dia Elbow |  |  | 6 x 1 |  | 6 | No
| 3" dia Plain Elbow |  |  | 1 x 6 |  | 6 | No
| 4" dia Y-Tee |  |  | 1 x 2 |  | 2 | No
| P-Trap 4" dia |  |  | 1 x 2 |  | 2 | No
| 3" dia P-Trap |  |  | 1 x 3 |  | 3 | No
3 | P/F Flush Tank
|  |  |  | 1 x 2 |  | 2 | Nos
Part C Electric Work Schedule Item
1 | Wiring for light or fan point with 3/.029 PVC
|  |  |  | 16+16+2+5 |  | 39 | Nos
Part C Electric Work Non Schedule Item
1 | P/F False Ceiling Fancy Light
|  |  |  | 1 x 34 |  | 34 | Nos
2 | P/F Exhuast Fan 10" to 12" sweep metal body
|  |  |  | 1 x 1 |  | 1 | Nos
3 | P/F Universal Switches
|  |  |  | 4 x 2 |  | 8 | Nos
| Sub-Engineer |  |  |  | ASSISTANT ENGINEER
Provincial Building Sub-Division No.VII
Karachi.