|  |  |
| --- | --- |
| **NAME OR WORK :-** | **M/R SINDH SECRETARIAT BUILDINGS NO.I (NEW BUILDING) KARACHI**  **(ALUMINUM WINDOW, COLOURING IN SECRETARY (GA) OFFICE & STAFF OF CHIEF SECRETARY, FLOOR TILES, ROLLER BLINDS COLOURING, PAINTING, IN OFFICE OF DEPUTY SECRETARY (SGA&CD), SECTION OFFICER (CABINET), ADDITIONAL SECRETARY SERVICES-II, LADIES WAITING ROOM OF BENEVOLENT FUND AND OTHER OFFICES ).** |

**“ SCHEDULE ‘B’ “**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **S.#** | **DESCRIPTION OF ITEMS** | **QTY:** | **RATE** | | **UNIT** | **AMOUNT** |
|  | **PART-“A” SCHEDULE ITEMS ( CIVIL WORK )** | |  | |  |  |
| **1** | Dismantling glazed or encaustic tiles etc ( SI.55 / P-13 ). | 874.00 Sft | 786/50 | | %Sft | 6874/- |
|  | Rupees. Seven hundred eighty six. And. Fifty. Paisa | | | | | |
| **2** | Scraping ( b) Ordinary distemper oil bound distemper or Paint on Walls. ( SI.54-(b) / P-13 ). | 4387.96 Sft | 226/88 | | %Sft | 9955/- |
|  | Rupees. Two hundred twenty six. And. Eighty eight. Paisa | | | | | |
| **3** | Preparing the surface and painting with matt finish paint of approved make to old matt finish ( b ). 2nd & subsequent coat. ( SI.37(A+B) / P-55 ). | 6268.52 Sft | 1772/38 | | %Sft | 111102/- |
|  | Rupees. One thousand seven hundred seventy two. And. Thirty eight. Paisa | | | | | |
| **4** | French polishing complete. (b) On old work.( SI. 7(b)/P-71 ). | 1146.00 Sft | 1952/50 | | %Sft | 22376/- |
|  | Rupees. One thousand nine klhundred fifty two. And. Fifty paisa | | | | | |
|  | **(A). Total Rs.** | | | | | **150307/-** |
|  |  | | | | |  |
|  | **PART-“B” NON SCHEDULE ITEMS.** |  | |  |  |  |
| **1** | Supplying and fixing in position Aluminum channels framing for sliding windows & ventilators of Lucky or equivalent made with 5mm thick tinted glass glazing (Belgium) and aluminum fly screen, handles, stoppers and locking arrangement etc complete. (b) Deluxe Model (Bronze of Champion color | 115.03 Sft | |  | P/Sft |  |
| **2** | Supplying and pasting (Frosted paper) color full plain / design pasted on glass window with glue / approved paste as directed by the Engineer Incharge. | 57.37 Sft | |  | P/Sft |  |
| **3** | P/L Porcelain tiles glazed or matt glazed Master or equivalent jointed in white cement and laid over 1:2 grey cement sand mortar ¾” thick in/c finishing & filling of joints with slurry of white cement or tile grout in desired shape in/c cutting of tiles to proper profile (on floor or facing) **size 16”x16”x1/4”** | 1823.23 Sft | |  | P/Sft |  |
| **4** | P/F wooden Almirah with transparent or frosted glass shutter & laminated lassani sheet (both sides) 3/4" thick (Al-Noor or equivalent ) and frame work of 1st class partal wood 2”x1” in/c necessary hinges, catchers, handles, sliding wheels in doors, nails, screws etc with approved design and shape. The cost also in/c necessary tools and plants to be used in making etc complete as directed by the Engineer Incharge. | 56.00 Sft | |  | P/Sft |  |
| **5** | P/F fine quality roller type blind with approved design false & in/c steel angle fixing with steel screws as per window as required @ site as directed by the Engineer Incharge. | 159.50 Sft | |  | P/Sft |  |
| **6** | Removing debries from Sindh Secretariat Buildings in/c collecting from different floors, throwing for stair to ground floor at proper place and then loading on truck and throwing out of city government premises, fuel & hire charges of truck, loading & unloading etc complete. | 02 Truck | |  | P/Truck |  |
|  |  | **(B). Total Rs.** | | | |  |
|  |  |  | | **(A). Total Rs.** | |  |
|  |  | **G. Total ( A + B ) Rs:** | | | |  |
|  |  | **Say Rs.** | | | |  |

**CONDITION.**

1). Typographical errors in the schedule-“B” are the subject to the correction with reference to the schedule of rate ( Gen: Vol: III, Part-II, inforced: 2012, as approved by the standing rates committee.

2). No Cartage will be paid on any items of works.

3). No premium shall be paid on Non-Schedule items.

4). Water shall be arranged by the Contractor.

**CONTRACTOR.**

|  |  |
| --- | --- |
| **ASSISTANT ENGINEER**  **PROVINCIAL BUILDINGS SUB-DIVISION-V,**  **KARACHI.** | **EXECUTIVE ENGINEER**  **PROVINCIAL BUILDINGS DIVISION-II,**  **KARACHI.** |