|  |  |
| --- | --- |
| **NAME OR WORK :-** | **M/R TO SINDH SECRETARTIAT NO-I, KARACHI**  **(PROVIDING AND FIXING UPVC PIPES AND G.I. TRAY FOR DRAIN OUT WATER OF AIR CONDITIONS).** |

**“ SCHEDULE ‘B ‘**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **S.#** | **DESCRIPTION OF ITEMS** | **QTY:** | **RATE** | **UNIT** | **AMOUNT** |
| 1 | P/F UPVC water supply pipe 1” dia of AGM or Pak Arab make schedule 40(E) ASTM standard D-1785 with fittings. This includes fixing on walls with clamps or Jubilee clips upto height of 80’-0 in vertical or horizontal position using Jhoola or long ladder or scaffolding and jointing pipe & fittings with approved cement solvent / JTG solution. The rate includes all cost of labour, material, and cartage, as directed by Engineer Incharge | 2447.00 -Rft |  | P/Rft |  |
| 2 | P/F UPVC water supply pipe 1-1/4" dia of AGM or Pak Arab make schedule 40(E) ASTM standard D-1785 with fittings This includes fixing on walls upto required height of 80’-0 in vertical or horizontal position using Jhoola or long ladder or scaffolding and jointing pipe & fittings with approved cement solvent / JTG solution. The rate includes all cost of labour, material, and cartage, as directed by Engineer Incharge . | 249.00  Rft |  | P.Rft |  |
| 3 | P/F A/C trays for A/C out door unit made up of 18 SWG GI sheets with nozzle at bottom and fixing beneath window AC or Split out door at height upto 60’-0 as directed by the Engineer Incharge. | 40 Nos |  | Each |  |
|  | **G: Total Rs.** | | | |  |
|  | **SAY Rs.** | | | |  |

**CONDITION.**

1). Typographical errors in the schedule-“B” are the subject to the correction with reference to the schedule of rate ( Gen: Vol: III, Part-II, inforced: 2012, as approved by the standing rates committee.

2). No Cartage will be paid on any items of works.

3). No premium shall be paid on Non-Schedule items.

4). Water shall be arranged by the Contractor.

**CONTRACTOR.`**

|  |  |
| --- | --- |
| **ASSISTANT ENGINEER**  **PROVINCIAL BUILDINGS SUB-DIVISION-V,**  **KARACHI.** | **EXECUTIVE ENGINEER**  **PROVINCIAL BUILDINGS DIVISION-II,**  **KARACHI.** |