|  |  |
| --- | --- |
| **NAME OR WORK :-** | **M/R SINDH SECRETARIAT BUILDINGS NO.III ( OLD KDA BUILDINGS ) KARACHI ( COLOURING, PAINTING, WALL PAPER, WINDOW BLINDS, BATH ACCESSORIES BRACKET FANS, CEILING FANS, (IN THE OFFICE OF SPECIAL ASSISTANT TO C.M. MR. YOUSUF IBRAHIM MASTOI**  **@ 3RD FLOOR ).** |

**“ SCHEDULE ‘B’ “**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **S.#** | **DESCRIPTION OF ITEMS** | **QTY:** | **RATE** | | **UNIT** | **AMOUNT** |
|  | **PART-“A” SCHEDULE ITEMS ( CIVIL WORK )** | |  | |  |  |
| **1** | Scraping ( b) Ordinary distemper oil bound distemper or Pain on Walls.( SI.54-(b) / P-13). | 2217.50-Sft | 226/88 | | %Sft | 5031/- |
|  | Rupees. Two hundred twenty six. And. Eighty eight. Paisa | | | | | |
| **2** | A).Preparing the surface & painting with matt finish paint of approved make to old matt finish surface. B). 2nd & subsequent coat. (SI.37(A+B+B) / P-55 ). | 1351.00  Sft | 1772/38 | | %Sft | 23945/- |
|  | Rupees. One thousand seven hundred seventt two. And. Thirty eight. Paisa | | | | | |
|  | 1. **Total Rs.** | | | | | **28976/-** |
|  |  | | | | |  |
|  |  | | | | |  |
|  | **PART-“B” NON-SCHEDULE ITEMS** |  | |  |  |  |
| **1** | Preparing the surface & fixing wall paper of required color and design in/c fixing border as required pasted to glue or solution as directed by the Engineer Incharge. | 866.50-Sft | |  | PSft |  |
| **2** | P/F fine quality roller type blind with approved design false & in/c steel angle fixing with steel screws as per window as required @ site as directed by the Engineer Incharge. | 262.50 Sft. | |  | P/Sft. |  |
| **3** | S/F bath room accessories set (Master make) (7 pieces) in/c soap dish, looking mirror shelf tray, tower rails, paper holder etc complete. | 01-No | |  | Each |  |
| **4** | P/F wall bracket fan 18” dia of approved make & quality (Royal/Pak, Millat or equivalent) in/c fixing on wall as directed by the Engineer Incharge | 03-Nos | |  | Each. |  |
| **5** | P/F ceiling fan 56” sweep Pak/Royal/GFC or equivalent Deluxe model in/c carriage from shop to site of work, fixing & necessary lead connection as directed by the Engineer Incharge. | 02-Nos | |  | Each |  |
| **6** | P/F call bell Remote type of approved quality & make as directed by the Engineer Incharge. | 03-Nos | |  | Each |  |
| **7** | P/F power plug 15-amps of approved quality as directed by the Engineer Incharge. | 03-Nos | |  | Each |  |
|  |  | **Part-“B” Total Rs.** | | | |  |
|  |  | **Part-“A” Total Rs.** | | | |  |
|  |  | **G: Total Part ( A+B ) Rs.** | | | |  |
|  |  | **Say Rs.** | | | |  |

**CONDITION.**

1). Typographical errors in the schedule-“B” are the subject to the correction with reference to the schedule of rate ( Gen: Vol: III, Part-II, inforced: 2012, as approved by the standing rates committee.

2). No Cartage will be paid on any items of works.

3). No premium shall be paid on Non-Schedule items.

4). Water shall be arranged by the Contractor.

**CONTRACTOR.**

|  |  |
| --- | --- |
| **ASSISTANT ENGINEER**  **PROVINCIAL BUILDINGS SUB-DIVISION-V,**  **KARACHI.** | **EXECUTIVE ENGINEER**  **PROVINCIAL BUILDINGS DIVISION-II,**  **KARACHI.** |