## Face sheet
FACE SHEET
Fund Head |  |  | Provincial
Major Head:- |  |  | SC-21020 SC-24020
Minor Head:- |  |  | Building & Structure
Service Head:- |  |  | Repair & maintenance
Deptt: Head:- |  |  | M&R TO HUMAYOON HOUSE GARDEN WEST KARACHI. Colouring, Painting, watersupply, sanitary fittings & Misc: works in different flats of (7th & 8th Floor)
Amount:- |  |  | Rs. 4,84,000/-
The estimate has been framed in the office of the Executive Engineer Provincial Buildings Division-III, Karachi for the probable expenditure that will be incurred in the current financial year.
SPECIFICATION
The work will be carried out as per P.W.D specification through Government approved contractors of Buildings Department government of Sindh.
GENERAL DESCRIPTION
The estimate has been prepared as per demand / requirement of occupants of Humayoon House Garden West Karachi and the same is submitted for technical sanction. Further it is submitted that the funds to teh tune of Rs:___________ million avalible and permission for N.I.T. recorded vide Superintending Engineer Provincial Buildings Circle Karachi letter No. PBC/GC-3042, Dated 11-10-2012.
| S.No | Financial Year |  | Release | Expenditure
| 1 | 2009-10 |  | 5000000/- | 5000000/-
| 2 | 2010-11 |  | 807015/- | 807015/-
| 3 | 2011-12 |  | 3150000/- | 3150000/-

## G.Abs
|  | NAME OF WORK => | M/R TO BAARCK NO.18 SINDH SECRETARIAT BLOCK 4-A AKARACHI OFFICE OF THE EXECUTIVE ENGINEER, PROVINCIAL BUILDING DIVISION-I KARACHI
GENERAL ABSTRACT
| S. No | Name of Component |  |  |  | Cost of Constt:
Part "A" Civil Works
| (i) | Schedule Items |  |  |  | #REF! | /-
| (ii) | Non Schedule Items |  |  |  | 0 | /-
Part "B" W/S & S/F
| (i) | Schedule Items |  |  |  | 0 | /-
| (ii) | Non Schedule Item |  |  |  | 0 | /-
Part "C" Electric work
| (i) | Schedule Item |  |  |  | 12980 | /-
| (ii) | Non Schedule Items |  |  |  | 0 | /-
[5 empty] | G.Total Rs | #REF! | /-
[5 empty] | Say Rs. | #REF! | /-
|  | ASSISTANT ENGINEER |  |  | EXECUTIVE ENGINEER
Provincial Buildins Sub Division-VII |  |  |  |  | Provincial Buildins Division-II
|  | KARACHI. |  |  | KARACHI.

## (Abs)
NAME OF WORK => |  | M/R TO BAARCK NO.18 SINDH SECRETARIAT BLOCK 4-A AKARACHI OFFICE OF THE EXECUTIVE ENGINEER, PROVINCIAL BUILDING DIVISION-I KARACHI
SCHEDULE " B"
S.NO. | ITEM OF WORK. |  | Quantity |  | Rate. |  |  | Unit. | Amount.
PART (A) Civil Work)
(i) Schedule Item
1 | Dismantling glazed or encaustic tiles.
| (S.I.No.55/P-13) |  | 685 | Sft | 786 | / | 50 | % Sft | 5388 | /-
Rupees Seven Hundred Eighty Six and Fifty Paisa Only
2 | P/L 1:3:6 cement concrete solid block
masonry wall above 6" in thickness set
in 1:6 cement mortar in G.Floor superstructure
including raking out joints & curing etc
| complete. (S.I.No.24/P-19) |  | 16.75 | Cft | 15771 | / | 1 | % Cft | 2642 | /-
Rupees Fifteen Thousand Seven Hundred Seventy One & One
3 | Cement plaster 1:4 upto 12’ height (c) ¾” thick.
| (S.I.No.11(c)P-52) |  | 67 | Sft | 3015 | / | 76 | % Sft | 2021 | /-
Rupees Three Thousand Fifteen & Seventy Six Only
4 | P/F G.I frames / choukhats of size
7" x 2" or 41/2" x 3" for door using 20
guage G.I sheet i/c welded hinges and
fixing at site with necessary hold fasts
filling with cement sand slurry of ratio 1:6
and repairing the jambs the cost also
i/c all carraige tools and plants used in
| making & fixing. (S.I.No.29/P-93) |  | 16.5 | Rft | 228 | / | 90 | P.Rft | 3777 | /-
Rupees Two Hundred Twenty Eight & Ninty Paisa Only
5 | Providing & fixing inposition doors
windows & ventilators of 1st class deodar
wood frames of 1 3/4" thick commercial
ply veener shutters of 1st class veneer
skeleton (H ollow) and commercial ply wood
(3 ply) on both sides making and fixing
frames for door & windows (b)deodar
| wood. (S.I.No.9/58 - 25-b/P-68) |  | 17.5 | Sft | 856 | / | 53 | P.Sft | 14989 | /-
Rupees Eight Hundred Fifty Six and Fifty Three Only
6 | Scraping ordinary distemper or paint on
| (S.I.No.54(b)P-13) |  | 733.5 | Sft | 226 | / | 88 | % Sft | 1664 | /-
Ruppes Two Hundred Twenty Six and Eighty Eight Only
7 | Preparing the surface and painting with matt
finish paint of approved make to old finish
surface. 2nd and subsequent coat.
| (S.I.37(a+b+b)/55) |  | 733.5 | Sft | 2717 | / | 0 | % Sft | 19929 | /-
Rupees Two Thousand Seven Hundred Seventeen Only
[8 empty] | Part A(i)Total | 50410 | /-
Above or Below
SI) Total
Part (A) Civil Work
(ii) Non Schedule Item
1 | Providing and Fixing False ceiling of
Gypsum Fibre board in/c. frame work of
aluminium double channel Section hanged
with Nails, Hooks, wire to ceiling etc. as
| directed by the Consultant. |  | 456 | Sft |  |  |  | P.Sft
2 | P/L Porcelain Master granite or Spanish tiles
glazed or matt glazed, jointed in white cement
and laid over 1:2 grey cement sand mortar
¾” thick in/c finishing & filling of joints with
slurry of white cement or tile grout in desired
shape in/c cutting of tiles to proper profile
| (on floor or facing) size 24”x24”x1/4” |  | 435.25 | Sft |  |  |  | P.Sft
3 | P/L Bath room tiles glazed or matt glazed, make
having size 12”x18” Shabbir / Sonex / Karam or equivalent
jointed in white cement and laid over 1:2 grey cement sand
mortar ¾” thick in/c finishing & filling of joints with
slurry of white cement or tile grout in desired shape
| in/c cutting of tiles to proper profile (on floor or facing) |  | 248.5 | Sft |  |  |  | P.Sft
4 | P/F Aluminum partition with fixed glass
(frosted) 5mm thick using 4” lucky section in
champion color as frame on floor or block
block masonry fixed with necessary fixtures
rubber packings etc the cost in/c tools &
plants used in making and carriage from
shop to site as directed by the Engineer
| Incharge. |  | 112 | Sft |  |  |  | P.Sft
5 | P/F Wall Panneling with lasani sheet 3/4" thick
& teak ply i/c frame of wood 2"x1" and than
fixing lasani sheet & fixed teak ply in approved
design with nails & screws & also p/f fancy
go;a 1"x1/2" vertical & horizontal etc rates in/c
| all cost & material & labour etc complete |  | 211.5 | Sft |  |  |  | P.Sft
6 | French Polish of Door Windows & ventilators and
stair floor (Walls) work etc including repairing surface
and polishing by using latch dana, spirit, thinner,
pigment ICI lacquer,regmal, (Germany) malmal,
ICI Saller, Tarpauine Oil, Polishing as per satisfaction
| of competent authorityetc complete. |  | 140 | Sft |  |  |  | P.Sft
7 | Providing and fixing Marble Top 1" thick 20" of
chaina verona i/c P/F sink bowl size 15"x18' stain
less steel i/c charging of cutting ,fixing and making
half round gola jointing with white cement/jally etc
| complete. |  | 8 | Sft |  |  |  | P.Sft
8 | Providing & Fixing Door Lock Alle Make
| as insteructed by E.I |  | 1 | No |  |  |  | P.Sft
Part "A-ii" NSI)Total
Part (B) W/S & S/F
(i) Schedule Item
1 | Supplying & fixing C.P muslim shower
with crystal head etc complete.
| (S.I.No.19(b)/P-19) |  | 2 | No | 3432 | / | 0 | Each | 6864 | /-
Rupees Thirty Four Hundred and Thirty Two Only
2 | S/Fixing long bib- cock of superir quality
| with c.p head 1/2" dia. (S.I.No. 13-a P-19) |  | 2 | Nos | 1109 | / | 46 | Each | 2219 | /-
Rupees Eleven Hundred Nine and Forty Six Only
3 | Supplying & fixing c.p bath tub mixture of
superior quality with head of approved quality.
| S.I.No.18-a/P-19) |  | 2 | No | 4048 | / | 0 | Each | 8096 | /-
Rupees Four Thousand Forty Eight Only
4 | Supplying & fixing sink mixture cock of
superior quality with c.p head etc complete.
| S.I.No.17/P-19) |  | 1 | No | 2745 | / | 60 | Each | 2746 | /-
Rupees Twenty Seven Hundred Forty Five and Sixty Only
5 | Providing and fixing handle valves (china)
| 1/2" dia |  | 2 | No | 200 | / | 42 | Each | 401 | /-
Rupees Two Hundred and Forty Two Paisa Only
6 | P/Fixing 6" x 2" or 6" x 3" C.I floor trap
of the approved selt cleaning design with
a C.I screwed down gratting with or
without a vent arm complete with
i/c making requsite number of holes in
walls plinth & floor for pipe connection
& making good cement concrete
| (S.I.No.20/P-6 |  | 2 | No | 2042 | / | 43 | Each | 4085 | /-
Rupees Two Thousand Forty Two and Forty Three Paisa
7 | S/F concealed Tee stop cock
of superior quality with c.p head 1/2" dia
| S.I.No.12(a)/P-18 |  | 2 | No | 889 | / | 46 | Each | 1779 | /-
Rupees Eight Hndred Eighty Nine and Forty Six Paisa Only
[5 empty] | Total W/S & S/F Sch.Item |  |  |  | 26190 | /-
Above / Below
Total S.Item
Part B-ii W/S & S/F Non-Schedule Item
1 | P/F white/colored glazed earthen ware squatting
/Indian type W.C pan of not less than 23” (Asia local
make or equivalent) with low level flush tank (Push button type)
having capacity of 3.0 gallon in/c necessary lead connection
with pipe & bend etc making requisite number of holes in wall,
plinth & floor for pipe connection and making good in c.c.
| 1:2:4 as per instruction of the Engineer Incharge. . |  | 1 | No |  |  |  | Each
2 | P/F white/colored glazed earthen ware wash basin
of 24”x18” size(Porta /USA Make) with pedestal in/c
necessary lead connection C.P. waste, waste pipe, in/c
making requisite number of holes in wall plinth or floor for pipe
connection & making good in c.c. 1:2:4. as per instruction
| of Engineer Incharge. |  | 1 | No |  |  |  | Each
3 | Providing & fixing earthen ware wash down W.C
pan commode(Porta USA) complete with and including the cost
of plastic seat and lid with C.P brass hinges and
buffers 1-gallon earthen ware low level flushing cistern
including making required no. of holes in wall complete
and floor for pipe connection and making good in C.C 1:2:4
| as per instruction by Engineer Incharge. |  | 1 | No |  |  |  | Each
4 | Providing & fixing Soil & Vent pipe
dia i/c cutting making jointing with
switch pest with special approved
quality i/c all cost of labour etc
complete.
| 1/2" dia |  | 40 | Sft |  |  |  | P.Rft
| 4" dia |  | 25 | Sft |  |  |  | P.Rft
5 | Providing & fixing UPVC fitting 4" dia
of pak arab of approved quality on
on wall upto 50 ft with plastic clamp paid
separately this also i/c cutting making
jointing with switch pest with special
approved quality i/c all cost of labour
etc complete.
| 4" dia Plug Tee |  | 2 | Sft |  |  |  | P.Rft
| 4" dia Plain Bend |  | 2 | Sft |  |  |  | P.Rft
| 4" dia Cowel |  | 2 | Sft |  |  |  | P.Rft
Total W/S & S/F Non- S.Item
Part C Electric Work Schedule Item
1 | Wiring for light or fan point with 3/.029 PVC
insulated wire in 20mm (3/4”) PVC conduit
| wall or coloumns as required. (S.I.124/15) |  | 8 | No | 1130 | / | 0 | P.Point | 9040 | /-
Rupees Eleven Hundred Thirty Only
2 | Wiring for plug Point with 3/.029 PVC insulated wire
in 20mm 3/4" PVC conduit recessed in wall or
| column as required.(S.I.No.125/P-15) |  | 4 | Nos | 985 | / | 0 | P.Point | 3940 | /-
Rupees Nine Hundred Eighty Five Only
[8 empty] | Part A(i)Total | 12980 | /-
Above Or Below
Total
PART - C Electric Item
(ii) Non Schedule Item
1 | P/F False ceiling spot light fancy type
round shape or square shape with glass
and 2 holdre i/c steel box,jalli,and energy
saver or tube light 2'-0 long rod as
| approved by engineer incharge. |  | 10 | Nos |  |  |  | Each
2 | P/F Exhaust Fan 10” to 12” sweep metal body
| / plastic body i/c. necessary connection etc. |  | 1 | Nos |  |  |  | Each
3 | Providing & fixing fancy type switch imported quality
with board approved by the Engineer Incharge
| I/c necessary connection & recessed in the wall etc. |  | 15 | Nos |  |  |  | Each
4 | Providing & fixing fancy type 3-pin 5amps S.P plug
socket switch with shoe unit imported quality
with board as approved by the Engineer
In charge i/c necessary connection &
| recessed in the wall etc. |  | 8 | Nos |  |  |  | Each
Part "B-iii" NSI)Total
SUMMARY OF COST
| PART A | Cost of Civil Work Schedule Item |  |  |  |  | Rs.
| PART A-ii | Cost of Non Schedule Item Civil Work |  |  |  |  | Rs.
| Part B | W/S & S/F Schedule Item |  |  |  |  | Rs.
| Part B-ii | W/S & S/F Non Schedule Item |  |  |  |  | Rs.
| Part C | Electric Work Non Schedule Item |  |  |  |  | Rs.
| Part C-ii | Electric Work Non Schedule Item |  |  |  |  | Rs.
|  |  | Total |  |  |  | Rs.
TERMS & CONDITIONS:
1 | Any typographical errors in the schedule"B" are subject to correction with the reference to the schdule of rates General Item
Water Supply and sanitary item 2012 in force from 12-07-2012 as approved by the standing rates committee sindh Karachi.
2 | 100 % well graded crushed bajri shall be used in item of R.C.C 1:2:4.
3 | Water shall be arranged by the contractor at site of work without any extra payment.
4 | No Premium shall be paid on non-schedule Item
5 | No Cartage or any items of material either supplied by the Department or arranged by the contractor shall be paid
6 | C.C Shall be Machine made.
7 | All R.C.C/C.C cast in situ shall be mechanically viberated.
8 | Contractor has to bring samples of the material and handed to the Engineer Incharge free of cost.
9 | All Building debries & Surplus stuff not req: for use and construction shall be removed from the site the suitable disposal off by
10 | the contractor for which no extra cartages shall be paid.
11 | The Work Will be carried out as per PWD Specification.
CONTRACTOR
|  |  | ASSISTANT ENGINEER |  |  |  |  | EXECUTIVE ENGINEER
|  |  | Prov Building Sub-Division -VII |  | Provincial Building Division No.II
|  | Karachi. |  |  |  |  | Karachi.

## Mes
NAME OF WORK:- |  | M/R TO BAARCK NO.18 SINDH SECRETARIAT BLOCK 4-A AKARACHI OFFICE OF THE EXECUTIVE ENGINEER, PROVINCIAL BUILDING DIVISION-I KARACHI
MEASUREMENT SHEET.
S.No. | Description of Item |  |  | NO. L. B. D. |  |  | Quantity
PART (A) Civil Work)
(i) Schedule Item
1 | Dismantling Glazed or encaustic tiles.
| Room |  |  | 1x20.0x20.0 |  |  | 400 | Sft
| Skirting |  |  | 1x2(20.0+20.0)x0.50 |  |  | 40 | Sft
| Bath Room |  |  | 1x7.0x8.0 |  |  | 56 | Sft
| Walls |  |  | 1x2(7.0+8.0)x7.0 |  |  | 210 | Sft
[7 empty] | 706 | Sft
Deduction:
| Door |  |  | 2x3.50x0.50 |  |  | 3.5 | Sft
|  |  |  | 1x2.50x7.0 |  |  | 17.5 | Sft
[7 empty] | 21 | Sft
[7 empty] | 685 | Sft
2 | P/L 1:3:6 Cement Concrete Solid Block
Masonry wall above 6" thick.
|  |  |  | 1x2.50x0.50x7.0 |  |  | 8.75 | Sft
| " " " |  |  | 1x4.0x0.50x4.0 |  |  | 8 | Sft
[7 empty] | 16.75 | Sft
3 | Cement plaster 1:4 upto 12’ height (c) ¾” thick.
(S.I.No.11(c)P-52)
|  |  |  | 1x2x2.50x7.0 |  |  | 35 | Sft
| " " " |  |  | 1x2x4.0x4.0 |  |  | 32 | Sft
[7 empty] | 67 | Sft
4 | P/F G.I Chowkhat
| Bath Door |  |  | 1x16.50 |  |  | 16.5 | Rft
[7 empty] | 16.5 | Rft
5 | Providing & fixing inposition doors
windows & ventilators of 1st class deodar
|  |  |  | 1x2.50x7.0 |  |  | 17.5 | Sft
[7 empty] | 17.5 | Sft
6 | Scraping ordinary distemper or paint on
(S.I.No.54(b)P-13)
| Room |  |  | 1x2(20.0+20.0)x10.0 |  |  | 800 | Sft
[7 empty] | 800 | Sft
Deduction:
| Door |  |  | 2x3.50x7.0 |  |  | 49 | Sft
|  |  |  | 1x2.50x7.0 |  |  | 17.5 | Sft
[7 empty] | 66.5 | Sft
[7 empty] | 733.5 | Sft
7 | Preparing the surface and painting with matt
finish paint of approved make to old finish
|  |  |  | Qty same as Item No. 06 |  |  | 733.5 | Sft
Part (A) Civil Work
(ii) Non Schedule Item
1 | Providing and Fixing False ceiling of
Gypsum Fibre board in/c. frame work of
| Room/Office |  |  | 1x20.0x20.0 |  |  | 400 | Sft
| Bath Room |  |  | 1x7.0x8.0 |  |  | 56 | Sft
[7 empty] | 456 | Sft
2 | Providing & Fixing Porcelain Tiles
or 24”x24”x1/4 as approved sizes specified
| Room |  |  | 1x20.0x20.0 |  |  | 400 | Sft
| Skirting |  |  | 1x2(20.0+20.0)x0.50 |  |  | 40 | Sft
[7 empty] | 440 | Sft
Deduction:
| Door |  |  | 2x3.50x0.50 |  |  | 3.5 | Sft
|  |  |  | 1x2.50x0.50 |  |  | 1.25 | Sft
[7 empty] | 4.75 | Sft
[7 empty] | 435.25 | Sft
3 | P/L Bath Room Tiles.
| Bath Room |  |  | 1x7.0x8.0 |  |  | 56 | Sft
| Bath Wall |  |  | 1x2(7.0+8.0)x7.0 |  |  | 210 | Sft
[7 empty] | 266 | Sft
Deducton:
| Door |  |  | 1x2.50x7.0 |  |  | 17.5 | Sft
[7 empty] | 248.5 | Sft
4 | P/F Aluminum Partition
| Partition |  |  | 1x(6+8)x8.0 |  |  | 112 | Sft
5 | Wall Panneling
|  |  |  | 1x2(20.0+20.0)x3.0 |  |  | 240 | Sft
Deduction:
| Door |  |  | 2x3.50x3.0 |  |  | 21 | Sft | 70.00 “
| Door |  |  | 21x2.50x3.0 |  |  | 7.5 | Sft
[7 empty] | 28.5 | Sft
[7 empty] | 211.5 | Sft | “
6 | French Polishing
|  |  |  | 2x2x3.50x7.0 |  |  | 98 | Sft
|  |  |  | 2x1x3.0x7.0 |  |  | 42 | Sft
[7 empty] | 140 | Sft
7 | P/Fixing Marble Top
|  |  |  | 1x4.0x2.0 |  |  | 8 | Sft
8 | P/F Door Closure
|  |  |  | 1 x 1 |  |  | 1 | No
Part (B) W/S & S/F
(i) Schedule Item
1 | P/F Muslim Shower
|  |  |  | 1 x 2 |  |  | 2 | Nos
2 | P/F Double Bob Cock
|  |  |  | 1 x 2 |  |  | 2 | Nos
3 | P/F C.P Bath Tub Mixture
|  |  |  | 1 x 2 |  |  | 2 | Nos
4 | P/F Sink Mixture |  |  | 1 x 1 |  |  | 1 | No
5 | P/F Handle Valve 1/2" dia |  |  | 1 x 2 |  |  | 2 | Nos
6 | P/F C.I Flor Trap
|  |  |  | 1 x 2 |  |  | 2 | Nos
7 | P/F Concealed Tee Stop Cock
|  |  |  | 1 x 2 |  |  | 2 | Nos
(i)Non Schedule Item
1 | Providing & fixing squating type white
| glazed earthen ware w.c pan with i/c |  |  | 1 x 1 |  |  | 1 | No
2 | Providing & fixing 24" x 18" lavatory basin in
| white glazed earthen ware complete with & |  |  | 1 x 1 |  |  | 1 | No
3 | P/F W.C Commode |  |  | 1 x 1 |  |  | 1 | No
4 | Providing & fixing Soil & Vent pipe
dia i/c cutting making jointing with
| 4" dia |  |  | 1x25.00 |  |  | 25 | Rft
| 1/2" dia |  |  | 1 x 40.00 |  |  | 40 | Rft
5 | P/Fixing UPVC Fitting of AGM
| 4" dia Plug Tee |  |  | 1 x 2 |  |  | 2 | No
| 4" dia Plain Bend |  |  | 1 x 2 |  |  | 2 | No
| 4" dia Cowel |  |  | 1 x 2 |  |  | 2 | No
6 | P/F Floor Trap Jali |  |  | 1 x 2 |  |  | 2 | Nos
Part C Electric Work Schedule Item
1 | Wiring for light or fan point with 3/.029 PVC
[5 empty] | 1 x 8 |  | 8 | Nos
2 | Wiring for Plug Point
[5 empty] | 1 x 4 |  | 4 | Nos
Part C Electric Work Non Schedule Item
1 | P/Fixing Fancy LED Lights
|  |  |  | 1 x 2 + 8 |  |  | 10 | Nos
2 | P/F Exhuast Fan
|  |  |  | 1 x 1 |  |  | 1 | No
3 | P/F Switch 5 Amps imported make i/c
plastic board imported make etc complete.
|  |  |  | 1 x 15 |  |  | 15 | Nos
4 | P/F Switch 2 Pin 5 Amps imported make i/c
plastic board imported make etc complete.
|  |  |  | 1 x 8 |  |  | 8 | Nos
| Sub-Engineer |  |  |  |  | ASSISTANT ENGINEER
Provincial Building Sub-Division No.VII
Karachi.