SCHEDULE “B”	PROVIDING INSTALLING & TESTING  ELECTRIC PUPING MACHINERY 20 BHP 3 SETS FOR URBAN DRAINAGE SCHEME SANGHAR PHASE – IV ( ZONE - E DISTRICT SANGHAR.

| S.# | Description | Qty | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

1	Providing and installing position i/c transportation to site @ Intak of canal water supply scheme, pumping set of 1450 RPM (Siemens) made 20 BHP electric motor 3 phase 50 cycles 400/420 volts with KSB pump kwpz 150X315  Size 6”x6” mounted on common steel frame on base plate (Capable of discharge 594 GPM against the required head of 60 ft i/c installed on cement concrete ratio 1:2:4 MS nuts and bolts of ¾” dia to be embedded in cement concrete foundation providing fixing MCU star delta starter buried the ground at depth of 3/7m (12 ft) as per pak PWD specifications and testing pumping set against the required head for 72 hours etc complete. (R.A Attached)

2.0 Set	@ 		Rs. 1125360/-		P. Set			Rs. 2250720/-

2.	Providing installing and testing Diesel oil engine 36 BHP at site of work Urban Drainage Scheme Sanghar Phase-IV (Zone-E) District sanghar oil engine pumping 36 BHP (fixed) 2200 RPM (Pak Made) driven with KSB centrifugal pump KWPZ (150-350) size (6”x6”) given discharge 690 gallons per minute against the total head of 60 gallons mounted on common steel frame or base plate i/c making of C.C foundation 1:2:4 and cc 1:8 with MS Nuts and bolts 5/8” dia embedded in cement concerete foundation i/c testing of the pumping set against.

1.0 Set	@ 		Rs. 879170/-		P. Set			Rs. 879170/-

3	M/I M.S pipe made out of MS Sheet 3/16” thick cutting folding to curvature and shape i/c welding etc complete. (                   )

6” dia

72.0 Rft		@ Rs. 749/34-		P. Rft			Rs. 53952/-

8” dia

20.0 Rft	@ Rs. 980/20               P. rft	           Rs. 19608/-

3	Manufacturing Installing M.S flanged made out M.S sheet 3/8” thick cutting drilling holes etc complete (RAA)

6” dia

12.0 No	@ Rs. 804/77                P. Each	           Rs.9657/-

8” dia

6.0 No	@ Rs. 1002/44                P. Each	           Rs. 6015/-

4	C.I Bend with flanged ends with holes i/c turning and facing of flanges for all size (SOMI No. 8 P-11)

2.98 Cwt	@ Rs. 6096/-                  P. Set	           Rs18166/-

5.	C.I Tee flanged and with hole i/cturning and facing  for all size.

(PHSI No.12    P-13)

1.55 Cwt	@ Rs. 6096/-                  Each	             Rs. 9449/-

6.	C.I Tapers flat bottomed or central tapered flanged ends with holes i/c turning and facing of flanges for all size (SOMI no. 9 P-11)

0.86 Cwt	@ Rs. 6096/-                    Each	              Rs. 5243/-

8	C.I Sluice valve heavy pattern (test pressure 300 lbs/ sq inch )(SOMI No. 2 P-9)

6” dia

3.0 Nos.	@ Rs. 9360/-                       Each	            Rs. 28080/-

9	C.I Foot valve heavy pattern with cone type gate (Imported) (SOMI No. 4 P-10)

6” dia

3.0 Nos.	@ Rs. 1381/25                       Each	                Rs.4144/-

10	C.I Reflex valve heavy pattern (Test( pressure 300 lbs /sq inch (SOMI NO. P- 10)

6” dia

3.0 Nos.	@ Rs. 4062/50                       Each	                Rs.12188/-

11	Jointing C.I / M.S flanged pipes and specials flange and inside a trench i/c supplying rubber packing of the required thickness nuts bolts with was hers etc and other tools required for jointing and testing and testing the joint to the specified pressure etc complete (PHSI no. 1 P-35)

6” dia

1x15 = 15 Joint	 @ Rs. 938/-                          P Joint	           Rs. 14070/-

8” dia

1x3 = 3 Joint 	@ Rs. 940/-                            P Joint                Rs. 2820/-

Total  Rs. 3313283/-

CONDITIONS.

- Any error omission in the specification quantity and unit will be governed by the relevant schedule items.

- The rates should be inclusive of all taxes i.e sales tax octori tax etc.

- No separate carriage will be paid to the contractor

- No premium will be allowed for no-schedule items.

- The decision of the Superintending Engineer, Public Health Engineering Circle Mirpurkhas will be final and binding the parties if in any dispute.

EXECUTIVE ENGINEER

PUBLIC HEALTH ENGG: DIVISION

SANGHAR