SCHEDULE B 	CONSTRUCTION OF STAFF QUARTER & PUMP HOUSE FOR WATER SUPPLY SCHEME PHASE-II JHOL CITY DISTRICT SANGHAR.

| S.# | Description | Qty | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

PART-I.	STAFF QUARTER (TYPE-III)

1.	Excavation in foundation of building and other structure i/c dag belling dressing refilling around the structure with excavated earth watering and ramming lead up to one chain and lift up to 5’ (In ordinary soil) (GSI No: 18(b) P/5).

1353.00 Cft.			Rs.3176/25		P%0Cft.		Rs. 4297/-

2.	Cement concrete brick or stone ballast 1 ½” to 2” gauge Ratio 1:4:8.(GSI No: 4(b) P/17).

220.74 Cft.			Rs.9416/28		P% Cft.			Rs.20786/-

3.      	Pucca brick work in foundation and plinth in cement sand mortar (1:6) (GSI No: 4(e) P/24).

1064.39 Cft.			Rs.11948/36		P% Cft.			Rs.127177/-

4.      	Damp proof course with cement sand and shingle concrete 1:2:4 i/c 2 coats of asphaltic mixture 2” thick (GSI No: 27 P/23).

327.00 Cft.			Rs.3912/85		P% Cft.			Rs.12795/-

5.      	Pucca brick work in ground floor Ratio 1:6 (GSI No: 	P/    ).

1330.00 Cft.			Rs.12674/36		P% Cft.			Rs.168569/-

6.	Filling watering and ramming earth in floor with surplus earth from foundation lead up to one chain and lift up to 5ft. (GSI No: 21 P/ 5   ).

1329.00 Cft.			Rs.1512/50		P% Cft.			Rs.2009/-

7.	Cement concrete brick or stone ballast 1 ½” to 2” gauge Ratio 1:4:8.(GSI No: 4(b) P/17).

443.00 Cft.			Rs.9416/28		P% Cft.			Rs.41714/-

8.	RCC work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding, which will be paid separately. This rate also includes all kinds of forms moulds lifting shuttering curing rendering and finishing the exposed surface (i/c screening and washing of shingle).(GSI No:  (i)   P- 19   )

306.00 Cft.			Rs.337/-		P/Cft.			Rs.103122/-

9.	Fabrication of mils steel reinforcement for cement concrete i/c cutting bending jointing bending laying in position making joints and fastening i/c cost of binding	wire also includes removal of rust from bars.(GSI No:7(b)P/18).

12.29 Cwt.			Rs.5001/70		P/Cwt.			Rs.61471/-

10.	First class deodar and wrought joinery in doors and windows etc. fixed on posting i/c Chow Kats hold fasts hangers iron tore bolts chocks deals handless and cords with chocks etc. deodar paneled or paneled and glazed or fully glazed 1 ¾” thick (GSI No:7  P/65).

212.64  Sft. 			Rs.1131/11		P/Sft.			Rs.240926/-

11.	Painting new surface.

Preparing surface & painting of doors & windows any type three coats (GSI No: 5 /77)

426.0 Sft.			Rs.2116/41		P%Sft.			Rs.9016/-

12.	Cement plaster (1:4) up to 20’ height 1/2”  thick.(GSI No:11(b)P/53).

3701.0 Sft.			Rs.2283/93		P% Sft.			Rs.84528/-

13.	Cement plaster 1:6 up to 12’ height 3/8” (GSI No:13(a)P-52).

3701.0 Sft.			Rs.2122/72		P% Sft.			Rs.78562/-

14.	Rough cost stucco cement plaster ¾” thick in proportion of 1:1 1 ½” in cement hill sand and Bajri in pattern.(GSI No:32,P-60).

92.0 Sft.			Rs.2306/70		P% Sft.			Rs 2122/-

15.	White washing (3 coats) (GSI No: 26©P-60).

430.29 Sft.			Rs.829/95		P% Sft.			Rs.3571/-

16.	Colour washing (GSI No:25(b)P-60).

885.0	Sft.			Rs.859/90		P%Sft.			Rs.7610/-

17.	Providing and fixing ornamental cement jail 2” thick (1:2:4) without steel. (GSI No: 10, P-20)

18.00 Sft.			Rs.226/02		P/Sft.			Rs. 4068/-

18.	Providing and laying 1” thick topping cement concrete (1:2:4) i/c surface finishing and dividing into panels(GSI No:16©P-47).2”thick.

1339.0	Sft.			Rs.3275/50		P% Sft.			Rs.43859/-

19.	Supplying and fixing in position iron/steel grill of ¾”x ¼” size flat iron of approved design i/c painting 3 coats etc complete weight not less than 3.7 lbs/sq foot  of finished grill (GSI No: 26,P-97).

55.30	Sft.			Rs.180/50		P/Sft.			Rs.9982/-

20.	Plain G.I sheet iron spouts fixed in place i/c painting.(GSI No:25,P-37).

1x5.0=	5 Nos:			Rs.275/11		Each.			Rs.1376/-

21.	Providing and fixing glass strips 4 mm for flooring up to 1” depth i/c fixing in flooring with cement in specified pattern design .(GSI No:75,P-50).

193.0	Sft.			Rs.11/16		P/Sft.			Rs. 2154/-

Total:-Rs.1029714/-

PART – II 	PUMP HOUSE (12’X14’)

- Excavation in foundation of building and other structure i/c dag bellying dressing

refilling around the structure with excavated earth watering and ramming lead upto

one chain and lift upto 5’ (In ordinary soil) (GSI No: 18(b)P/5).

305.0 Cft.			Rs.3176/25		P% 0 Cft.	Rs. 967/-

2.	Cement concrete brick or stone ballast 1 ½” to 2” gauge.(GSI No:4(b)P/17).

141.78 Cft.			Rs.9416/28		P% Cft.		Rs. 13350/-

3.	Erection and removal of centering for RCC or plain cement concrete work

(GSINO:18 P/21)

440.00 Cft.			Rs.3127/41		P%  Cft.	Rs. 13761/-

4.	Cement concrete plain i/c placing compacting finishing curing etc complete

Ratio 1:3:6. (GSI No: 5(i) P-16).

236.00 Cft.			Rs.12595/-		P% Cft.		Rs. 29724/-

5.	Pucca brick work in ground floor in cement sand mortar 1:6 (GSI No:5 P/22).

367.0 Cft.			Rs.12674/36		P%Cft.		Rs.46515/-

6	RCC work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms mould lifting shuttering curing rendering and finishing the exposed surface (i/c screening and washing of shingle)a RCC work in roofs slabs beams columns rafts lintels and other structural members laid in situ or pre cast laid in position complete the all respect (I) Ratio 1:2:4 90 lbs. cement 2cft sand 4 Cft shingle 1/8” to ¼”guage.(GSI No: 6 (a) P-17)

134.57  Cft.			Rs: 337/-		P/Cft.		Rs. 45350/-

7.	Fabrication of mild steel reinforcement cement concrete i/c cutting bending 	laying in position and fastening i/c cost of  binding wire etc.(GSI No:7(b)P-19)

5.40 Cwt.			Rs: 5001/70		P/Cwt.		Rs.27009/-

8.	Cement plaster (1:4) upto 12’ height ½ ” thick.(GSI No:11,(b)P/52).

527.0 Sft.			Rs.2283/90		P% Sft.		Rs.12036/-

9.	Cement pointing struck joint on wall Ratio 1:3 (GSI No:19(b)P/59).

587.75 Sft.			Rs.1213/58		P% Sft.		Rs.7133/-

10.	Filling water and ramming earth in floor with surplus new earth from foundation 4lead upto one chain and lift upto 5’ft(GSI No:21 P/4).

323.0 Sft.			Rs.1512/50		P% Sft.		Rs 4885/-

11.	Providing & Laying 2”thick topping cement concrete (1:2:4) i/c surface 	finishing and dividing into panels.(GSI No:16©P/42).

168.00  Sft.			Rs.3275/50		P% Sft.		Rs.5503/-

12.	Rough Cost stucco plaster cement ¾”thick proportion of

1:1”x1/2”in cement bill sand bajri in patterns (GSI No:16(c)P/30).

118.00 Sft.			Rs.2306/10		P% Sft.		Rs.2721/-

13. 	Supplying and fixing steel grated door with 1/16” thick sheeting i/c angle iron frame

2’x2”x1/8” and ¾” square bars 4” centre to centre with locking arrangement.

(GSI NO:24,P/92).

1x4.0x7.0	= 28 Sft

28.0 Sft.			Rs.726/72			P/Sft.	Rs.20348/-

15        Fabrication of heavy steel work with angles tees flat iron, round iron and sheet iron for making trusses, girders, tanks etc i/c cutting drilling riveting, handling assembling and fixing but excluding erection in position.(GSI No:2,P/96).

2.71 Cwt.			Rs.4928/49		P/Cwt.		Rs.13356/-

16	Erection and fitting in position of iron trusses staging of water tanks etc (GSI No.2 P/93

2.71 Cwt			Rs. 271/04		P/Cwt		Rs. 735

17	PAINTING NEW SURFACE.

Preparing surface and painting of door and window of any Type i/c edges

Three coats  (GSI No:5 P/76).

56.0 Sft.			Rs.2116/41		P% Sft.		Rs.1185/-

18.	White washing (three coats)(GSI No:26,P/54).

Room in side

800.0 Sft.			Rs.829/95	P% Sft.			Rs.6640/-

19.        Colour washing of (2 coats) (GSI No:25,P/54).

587.75 Sft,			Rs.859/90		P% Sft.		Rs. 5054/-

20         S/F in position iron/steel grill of 3/4’ x3/4’ size fiat iron of approved  designed i/c 	painting 3 coat etc complete weight to be than 3.7lbs sq:ft: of finished grill (GSI 	NO:26

P/93).

32.0 Sft,			Rs.180/50		P/ Sft.		Rs. 5776/-

Total	Rs.262050/-

ABSTRACT

PART-I	STAFF QUARTER		Rs. 1029714/-

PART-II	PUMP HOUSE		Rs. 262050/-

Total	Rs. 1291764/-

CONDITIONS.

- Any error omission in the specification quantity and unit will be governed by the relevant schedule items.

- The rates should be inclusive of all taxes i.e sales tax octori tax etc.

- No separate carriage will be paid to the contractor

- No premium will be allowed for no-schedule items.

- The decision of the Superintending Engineer, Public Health Engineering Circle Mirpurkhas will be final and binding the parties if in any dispute.

EXECUTIVE ENGINEER

PUBLIC HEALTH ENGG: DIVISION

SANGHAR