Schedule-A to Bid

SCHEDULE OF PRICES

| NAME OF WORK | CONSTRUCTION OF CC PAVER & SURFACE DRAINS KIRSHAN NAGAR COLONY DAHARKI. |
| --- | --- |

| A | CC PAVER |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | Earth work for embankment from borrow pits including in 6”layers clod breaking ramming dressing complete with one mile extra lead. |  |  |  |  |  |
|  | 12753.00CFT | RS: 6278/37 |  | P.%0CFT |  | RS: 80068/00 |
| 02 | Cement concrete Brick or Stone Ballast 1½” 2” Gauge (CSI No: 4 P No:17) |  |  |  |  |  |
|  | 8226.00CFT | RS: 9416/28 |  | P.%CFT |  | RS: 774583/00 |
| 03 | Supply and staking and Spreading i/c rolling over pit stand canal sand etc complete with one mile extra lead (S No: 29 P No: 26) |  |  |  |  |  |
|  | 6231.00CFT | RS: 1548/25 |  | P%CFT |  | RS: 77180/00 |
| 04 | Cement concrete plain i/c placing compacting finishing and complete i/c screening and washing of stone aggregate without shuttering ratio 1:2:4 (CSI No: 5 P No: 15) |  |  |  |  |  |
|  | 560.00CFT | RS: 14429/25 |  | P.%CFT |  | RS: 80804/00 |
| 05 | Providing fixing Cement Paving Blocks flooring having size of 197x97x60(M.M) of city Quddra / Cobble shape with natural colours having strength between 5000PSI to 8500 PSI i/c filling the joints with hill sand and laying in specified manner / pattern & design / etc complete (CSI No: 73 P No: 50) |  |  |  |  |  |
|  | 24926.00SFT | RS: 199/77 |  | P.SFT |  | RS: 4979467/00 |
|  |  |  |  |  |  | RS: 5992102/00 |
| B | SURFACE DRAINS |  |  |  |  |  |
| 01 | Excavation for foundation of building bridges and other structures i/c dag belling dressing refilling around structure with executed earth watering & ramming lift upto 5”ft (CSI No: 18 P No: 04) |  |  |  |  |  |
|  | 3750.00CFT |  | RS:3176/25 |  | P%0CFT | RS: 11911/00 |
| 02 | Cement concrete Brick or Stone Ballast 1½” 2” Gauge (CSI No: 4 P No:17) |  |  |  |  |  |
|  | 750.00CFT |  | RS: 9416/28 |  | P.%CFT | RS: 70622/00 |
| 03 | Pacca brick work in foundation and plinth in cement sand mortar 41:6 (CSI No: 04 P. No: 21). |  |  |  |  |  |
|  | 1350.00CFT |  | RS: 11948/36 |  | P.%CFT | RS: 161303/00 |
| 04 | Cement concrete plain i/c placing compacting finishing and curing i/c screening and washing of stone aggregate without shuttering Ratio 1:2:4 (CSI No: 05 P No: 16) |  |  |  |  |  |
|  | 150.00 CFT |  | RS: 14429/25 |  | P%CFT | RS: 21644/00 |
| 05 | Cement plaster (1:4) up to 20” height ½” (CSI No: 11 P No: 52) |  |  |  |  |  |
|  | 3000.00SFT |  | RS: 2283/93 |  | P.%SFT | RS: 68518/00 |
| 06 | Fabrication of Mild Steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastening i/c cost of binding wire also i/c removal of rust from bars. (CSI No7 P.20). |  |  |  |  |  |
|  | 1.40 CWT |  | RS: 5001/70 |  | P.CWT | RS: 7002/00 |
| 07 | RCC work in roof slabs beams columns rafts lintels and other structural members laid in situ or pre cost laid in position complete in all respect. (CSI No: 6 P No: 18) |  |  |  |  |  |
|  | 45.00 SFT |  | RS: 337/00 |  | P.%SFT | RS: 15165/00 |
|  |  |  |  |  | TOTAL | RS: 356165/00 |

ABSTRACT

| S# | NAME OF WORK | SCHEDULE | NON- SCHEDULE | TOTAL |
| --- | --- | --- | --- | --- |
| 1 | CC Paver | 5992102/00 | -- | 5992102/00 |
| 2 | Surface Drains | 356165/00 | -- | 356165/00 |
|  |  | 6348267/00 | -- | 6348267/00 |

| CONTRACTOR | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION GHOTKI @ MIRPUR MATHELO |
| --- | --- |

CONDITION

| 01 | The work shall have to be executed according to PWD/PHE specification |
| --- | --- |
| 02 | No premium on non schedule item shall be allowed to the contractor |
| 03 | Any error omission in the description of item of work and the rate shall be governed with the relevant schedule of rate and estimate |
| 04 | The contractor shall have to bring the material to be used from the quarries mentioned in the estimate |

| CONTRACTOR | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION GHOTKI @ MIRPUR MATHELO |
| --- | --- |