SCHEDULE B.

NAME OF WORK:- M/R to Additional Secretary  Flat No. 1, at GOR Bath Island Karachi (Coloring, tiles, Aluminum work).

| S.NO. | DESCRAPTION OF ITEMS | QUTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 1 | P/F in position Aluminum channels framing for hinged doors or acop made with 5mm thick tinted glass glazing (Belgium) and alpha (Japan) locks i/c handles stoppers etc, (b) Deluxe modle (Bronze) (s.i.No. 83-b/108) | 70.00 | 1507/66 | P. sft | 105536 |
|  | Total |  |  |  | 105536 |
|  | Less % Below |  |  |  |  |
|  | Total |  |  |  |  |
|  | Non Schedule Items: |  |  |  |  |
| 1 | P/F English Commode imported set couple set as approved quality make and design i/c with matching color with existing tiles color i/c three gallon flushing tank with P trap and waste pipe i/c finishing curing etc, complete. | 2-Nos |  | Each |  |
| 2 | P/F Wash Basin with Pedestal etc complete in all respect (Imported make) | 2-Nos |  | Each |  |
| 3 | P/F double bib cock ½” dia plastic/ powder coated master “A” class as directed by the E.I. | 2-Nos |  | Each |  |
| 4 | P/L fancy type floor tiles 3/8” thick imported Spanish /Italain porcelain tiles size 24”x24” i/c cutting fitting grouting with pigment to match the color of the tiles over ¾” thick CC bed 1:4, ratio / chemical bond curing & finishing etc, complete. | 188.00 |  | p. sft |  |
| 5 | Making and fixing wooden kitchen cabinet with shutters of lasani wood sheet ¾” thick frame work of first class deodar wood 2”x1” pasted with classic Formica and 18” deep including necessary hinges catcher handle sliding wheels in draws nails /screws etc with approved design and shape. The cost also includes necessary tools and plants to be used in making etc complete as directed by the engineer Incharge etc complete. | 72.00 |  | p. sft |  |
| 6 | P/F turbo in size vave tech or as approved quality fire burner with double door / shutter i/c all cost of labor material cartage and fixing charges in all respect. | 1-No. |  | Each |  |
| 7 | Providing and fixing oven 5 burner 34” in size vave tech or as approved quality fire burner with double door/Sutter including all cost of labour material cartage and fixing charges in all respect | 1-Nos |  | Each |  |
| 8 | S/F fancy door locks as approved quality imported etc, complete. | 10-Nos. |  | Each |  |
| 9 | S/F Muslim shower with double bib cock approved quality etc, complete.(imported make) | 2-Nos |  | Each |  |
| 10 | Providing and fixing marble top ¾” thick as approved colour make and design including making edges with round shape and chemical polishing including the cost of material labor Westgate and cartage etc complete. | 24.00 |  | P. sft |  |
| 11 | P/F upvc pipe 1” dia including cutting making and jointing with switch pest with special approved quality including all cost of labor as directed by the E.I. | 10.00 |  | P. Rft |  |

TERMS AND CONDITION

- Any typographical errors in the schedule B are subject to the correction with

Reference to the Schedule of rate General 2012 enforced from 12.07.2012 as

Approved by the S R C, Sindh Karachi

- Arbitration clause stands deleted from the agreement.

- No premium shall be paid on a Non schedule items.

- 100% WELL Graded crushed bajri shall be used in items of work without any

extra payment

- No Any items of exvceed then the Quantity Provided in the Schedule B without

Prior of the Executive Engineer.

6.  All sample of items should be got approved by the Executive Engineer.

CONTRACTOR       		                                     ASSISTANT ENGINEER

PROVINCIAL BUILDINGS SUB DIVISION-I

KARACHI.