**SCHEDULE B.**

Name of work: **M/R to D.S. Flat No. 45, At GOR-1, Bath Island Karachi.**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| S.NO. | DESCRAPTION OF ITEMS | QUTY | RATE | UNIT | AMOUNT |
| 1 | Scraping ordinary distemper oil bound distemper on walls(S.I.NO.54-A/13) | 5097.29  Sft | 226/88 | % Sft | 11565 |
| 2 | Distempering two coats (S.I.NO.24-b/P-54) | 1634.0  sft | 1043/90 | % Sft | 17057 |
| 3 | First class deodar wood wrought joinery in doors and window etc, fixed in position i/c chowkats hold fasts hinges iron tower bolts, chocks cleats, handles and cords with hooks, etc, (b) 1 ¾” thick. (s.i.No.7-b/58) | 31.50 | 1273/76 | p. sft | 40123 |
|  | **Total** |  |  |  | **68745** |
|  | **Non S.I.** |  |  |  |  |
| 1 | Preparing surface & painting with matt finish 9 lead free 2spot less i/c scraping & preparing the surface with rag m3all & oiling chiseling & filling the crack with plaster of par4is chalk matt paint ICI surface maske putty & pain5toing 2-coats of lead free matt paint ICI make etc, comp6lete as per directed by the E.E. | 3463.29  sft |  | P. sft |  |
| 2 | P/F English Commode i/c all kinds of flush tank making requisite No of bolts repairing cement mortar etc complete (Imported make) | 1-Nos |  | Each |  |
| 3 | P/F Wash Basin with Pedestal etc complete in all respect (Imported make)(pota make) | 1-Nos |  | Each |  |
| 4 | S/F Long Bib Cock of superior quality with CP head ½”dia. | 2-Nos |  | Each |  |
| 5 | S/F shower mixture set with SS rain shower necessary fitting coated complete in all respect (Imported make). | 1-Nos |  | Each |  |
| 6 | S/F Wash Basin mixture of superior quality with CP head ¾”dia (Imported make) | 2-Nos |  | Each |  |
| 7 | S/F Muslim shower with double bib cock approved quality etc complete (Imported make) | 2-Nos |  | Each |  |
| 8 | P/F Stain less steel floor trap jali Imported make etc complete. | 2--Nos |  | Each |  |
| 9 | Supplying and fixing ceiling fan 56” sweep best quality of pak fan Wahid or royal fan as approved including Hanging rod canopy etc with necessary electric wiring and connection etc complete(N.S.I) | 3-nos |  | Each |  |
| 10 | P/F Fancy door locks approved quality imported make etc complete. | 2-nos. |  | Each |  |
|  | **Total** |  |  |  |  |
|  | **‘G’ Total Rs,** |  |  |  |  |

**TERMS AND CONDTION**

1. Any typographical errors in the schedule B are subject to the correction with

Reference to the Schedule of rate General 2012 enforced from 12.07.2012 as

Approved by the S R C, Sindh Karachi

1. Arbitration clause stands deleted from the agreement.
2. No premium shall be paid on a Non schedule items.
3. 100% WELL Graded crushed bajri shall be used in items of work without any

extra payment

1. No Any items of exvceed then the Quantity Provided in the Schedule B without

Prior of the Executive Engineer.

6. All sample of items should be got approved by the Executive Engineer.

CONTRACTOR SUB ENGINEER ASSISTANT ENGINEER

PROVINCIAL BUILDINGS SUB DIVISION-I

KARACHI.