..Secton:-AB/TC/

SCHEDULE “B”

Name of Work: -	Construction of Pump House, Tubewell, Pumping Machinery, Providing Laying jointing and testing PE Pipe of Distribution System, PE Pipe Delivery main/Trunk main For Rural Water Supply Scheme Sobho Khan Chang and Kamal Khan Chang..

| ###### S.No | Description of Item | Qty | # Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

PART-I.		PUMP HOUSE ( 2 Nos).

1.	Excavation in foundation of building Bridges and other structure

Include Dug bailing dressing refilling around the structure with

Excavated earth watering and ramming etc.complete.Lead up to

1 chain lift up to 5’ft (CSI No.18 b P.No.4).

Qty: 145.62  Cft Rs.3176.25 			P.%0 Cft			Rs.463/=

2.	Cement concrete brick or stone ballast 11/2" to 2" gauge							(CSI No.4 (b) Page No.15) Ratio 1:4;8.

Qty: 74.81 cft @ RS.9416/28   		P% Cft.			Rs.7044/=

3.	Pacca Brick Work in foundation upto Plinth in cement 							sand mortar.( Ratio 1:6) (CSI No:      P.No:       ).

Qty:157.50 cft  @  Rs.17723/=		P.% cft    			Rs.27914/=

4.	Damp proof course with cement sand and shingle concrete (1:2:4).						Including 2 coats of asphaltic mixure (CSI No.28 Page No.19).

Qty: 43.74 sft  @  Rs.4982/18		P.% sft        			Rs.2179/=

5.	Cement Pointing raised on stone work © on stone work raised 						(ii) in cement mortar 1:3: (CSI No. 20 Page c ii Page No.53).

Qty: 59.25 sft  @  Rs.1758/08		P.% sft        			Rs.1042/=

6.	Pacca Brick Work in foundation upto Plinth in cement 							sand mortar.( Ratio 1:6) (CSI No:  4 (I) (e) P.No.21.)       ).

Qty: 18.74 cft  @  Rs.11948/36		P.% cft    			Rs.2239/=

7.	Pacca Brick Work in foundation upto Plinth in cement 							sand mortar.( Ratio 1:6) (CSI No: 5 (I) (e) P.No.21.)

Qty: 218.63 cft  @  Rs.12674/36		P.% cft    			Rs.27711/=

8.	RCC work in all labour and material except the cost of steel reinforcement and its				labour for B/B which will be paid separetely. The rate also i/.c all kinds of forms				moulds lifting, shutting, curing rendering and finsihsing the exposed surface i/c  				S/W of shingle) (a) RCC work in Roof slab beams columns rafts lintels and other 		structure member lad in situe or pre-cost laid in position Complete in all respects

(CSI  No.6 A Page No.17).(Ratio 1:2:4).

Qty: 72.487 Cft at Rs.337/=  		P.cft 		          			Rs.24426/=

9.	Fabrication of Mild Steel reinforcement concrete for CC i/c

Cutting, Bending Laying in position making joints and fastening

i/c Cost of binding wire also including removal of rust from bars

(CSI No.7 (a)P.No.18) (using tar bars).

Qty: 2.51 Cwt. at Rs.5001/70    	P/Cwt.	       				Rs.14555/=

10.	First Class deodar wood wrought joinery in doors and windows 						etc fixed in position  i/c chowkats hoks fasts hinges towers bolts 					cleats handles and cords with hooks etc deodar paneled or un paneled					and glazed or fully glazed 1-3/4” thick (CSI No. 7 Page No.58).

Qty: 52.00 sft. at Rs.1273/76    	P.sft	       				Rs.66236/=

11.	Providing fixing GI frame chowkats of size 7”x2” or 4-1?2 x 3’ for						door using of 20 guage GI sheet i/c welded hinges and fixing at site 					with necessary hold fasts. Gilling with cement sand slurry of ratio 						1:6 and repairing the joints.  The cost also i/c all carriage tools and 						Planats used in making and fixing (CsI No. 29 Page No.93).

Qty: 18.00 Rft. at Rs.228/90    	P.Rft	       				Rs.4120/=

12.	Providing fixing GI frame chowkats of size 7”x2” or 4-1/2 x 3’ for						window using of 20 guage GI sheet i/c welded hinges and fixing at site 					with necessary hold fasts. Gilling with cement sand slurry of ratio 						1:6 and repairing the joints.  The cost also i/c all carriage tools and 						Planats used in making and fixing (CsI No. 28 Page No.93).

Qty: 28.00 Rft. at Rs.240/50    	P.Rft	       				Rs.6734/=

13.	Supplying and fixing in position iron steel girl of ¾” x ¼” size 						flat iron of approved desing i/c painting 3 coats oetc weight not 						less thank 3.70 lbs /sft of finished grill. (CSi No.26 Paeg No.93).

Qty: 36.00 sft. at Rs.180/50    	P.sft	       				Rs.6498/=

14.	Filling watering and ramming earth in floor with surplus earth 						execavted from foundation lead upto one chain and lift upto 5 ft 					(CSI No.7 No.21 Page No.4).

Qty: 63.00 cft at Rs.1512/50  		P.% cft 		         		Rs.95/=

15.	Supplying and filling sand under floor and plugging in wells. 						(CSI No. 29 Page NO.26).

Qty: 28.12 cft at Rs.1141/25  		P.% cft 		         		Rs.321/=

16.	Painting new surfaces, preparing surface and painting of doors and 						windows and type i/c edge (CSI No. 4 c Page NO.68).

Qty: 128.00 sft. at Rs.1662/21    	P%sft	       				Rs.2128/=

17.	Cement pointing struck joints on walls (b) Ratio 1:3								(CSI No. 19 b Page No.53).

Qty:380.00 sft. at Rs.58/50    		P%sft	       				Rs.3902/=

18.	Cement plaster (1:4) upto 12’ height b ½” thick (CSI No.11 P.52).

Qty: 352.50 sft @  Rs.2283/93  	P.% sft.         			 	Rs.8051/=

19.	Cement plaster (1:4) upto 12’ height b 3/8” thick (CSI No.11 P.52).

Qty: 352.50 sft @  Rs.2197/52  	P.% sft.         			 	Rs.7746/=

20.	White washing one coat (CSI No. 26 (a) P.No.54).

Qty: 320.00  sft @  Rs.416/63  	P.% sft.         			 	Rs.1333/=

20.	White washing three coat (CSI No. 26 (a) P.No.54).

Qty:140.50  sft @  Rs.829/95  	P.% sft.         			 	Rs.1166/=

21.	Colour Washing two coats (CSI no.25 (b) Page No.54).

Qty:641.50  sft @  Rs.859/90  	P.% sft.         			 	Rs.5516/=

22.	Khapril of cement concrete 12” x 8” x1” of approved design /						shape laid flate 1:2 grey cement mortor over a bed of ¾” thick 						grey cement mortor (1:2) (CSI No. 39 Page No.38).

Qty:       sft @  Rs.859/90  	P.% sft.         			 		Rs.0

23.	Providing 1” thick topping cement concrete (1:2:4)i/c surface finishing 					and dividing in to panels (CSI No. 16 d Page No.42).

Qty:56.25  sft @  Rs.4411/82  	P.% sft.         			 	Rs.2482/=

Total	Rs.223901/=

PART-II.	TUBE WELL BORING (3 NOS).

1.	Boring for Tube well in all water bearing soils from ground level						upto 100 ft or 30.5 meter depth i/c sinking with drawing causing 						pipe (PHSI NO.1 Page No.41).

0-100 depth

Qty: 100.00  rft @  Rs.743/0  		P.Rt.         			 	Rs.74300/=

100-200’ depth.

Qty: 20.00  rft @  Rs.849/0  		P.Rt.         			 	Rs.16980/=

2.	Providing stong subnstantially built wooden locked box with 						comportments for preserving 2 lbs (1kg) samples of starta 							(PhSI No. 1 Page No.41).

Qty: 1 No. @  Rs.3530/0  		Each.         			 	Rs.3530/=

3.	Taking and preserving in box 2 lbs (1 Kg) samples of starta 						from bore holes (PHSI NO.6 Page No.36).

Qty: 4 Nos. @  Rs.101/0  		Each.         			 	Rs.404/=

4.	Taking samples of water from bore hole and placing in two separate 					bottles (PHSI NO.7 Page No.37).

Qty: 4 Nos. @  Rs.131/0  		Each.         			 	Rs.524/=

5.	Suplying and Installing PVC strainer B class of approved design quality					and make i/c necessary sockets etc compete (PHSI NO.12 Page No.44).

8”dia

Qty: 30.00 Rft @  Rs.554/05  	P.Rft         			 	Rs.16622/=

6.	Supplying and Installing PVC blind pipe B Class best and approved 					quality and make i/c necessary sockets etc compelte (PHSI No. 12 Page No.44).

Qty: 90.00 Rft @  Rs.516/80  	P.Rft         			 	Rs.46512/=

7	Strouding with graded bajri (3/8” to 1/8”) or (9 to 3 mm) in between bor					and blind pipe (PHSI NO. 13 Page No.38).

Qty: 120.00 Rft @  Rs.105/00  	P.Rft         			 	Rs.12600/=

8.	Supplying M/S Bail plugged of approved quality 5” long 							(PHSI (M) No.38 Page No.26).

Qty: 1.00 No. @  Rs.2607/00  	Each         			 	Rs.2607/=

9.	Provision for resistively survey test report (NSI ).

Qty: 1.00 Job. @  Rs.25000/00  	Each         			 	Rs.25000/=

10.	PVC End Plug (PH (M) No. P.28).

Qty: 1.00 No. @  Rs.1000/00  	Each         			 	Rs.1000/=

10.	Development charges of Tube well (PHSI No.8 Page No.43).

Qty: 120.00 Rft @  Rs.200/00  	Each         			 	Rs.24000/=

Total	Rs.224079/=

PART-III.	PUMPING MACHINERY.

1.	Providing installing in position i/c transportation at site of work for 					Rural Water Supply Scheme Sobho khan chang and Kamal khan						chang Golden Saer Sub mersible pump NoR 151 B/25 Type 6” (23”) 150					with 15 BHP 3 Phase Electric Motor origin SAER italy for discharge 150 GPM				at 155 ft heaed with local made accessories for 45 ft setting as under: 					Electric drop cable 16 mm 2—3 core x 70 ft water proof joint GI Pipe 					3” II M Grade x 5 ft MS foundation plate with T- Bolts MS holding clamp 				3’x1” sockets  3”x4’ MS bore cover plate x 1 wire rope with clamps x 1000 feet i/c			providing and fixing automatic MCU (Motor control Unit) consist oil starter 				(MEECO Pakistan) MCCB Breaker 10-A to 50-A (Shihlin Taiwan) Cutout 60-A 				China Amp: meter 60-A (SELCO China) Volt meter 5000 (SELCO China)					phase indication light (China include Transformer Oil (2 litre) panel  Board 				18” x 26” and internal wiring etc complete and providing fixing earthing arrangement			and testing of the Pumping set against 72 hours (Quatation attached).

Qty: 1 set   @ Rs.611000/=		P.Set					Rs.611000/=

2.	Providing laying and fixing in trenches i/c fitting jointing and testing 					etc complete in all respect the high denisyt polyethylene PE Pipe 						(HDPE-100) for W/S confirming ISO confirming ISO 4427/ DIN 						8074/8075 BS 3580 and PSI 3051 (GSI No. 1 Page No.25 Page No.10.

Qty: 20.00 Rft  @ Rs.530/=		P.Rft					Rs.10600/=

3.	Providing and installing MS flange made out of MS sheet 3/8” thick 					i/c cutting drilling holes etc complete.

6”dia.

Qty: 6 Nos   @ Rs.749/34		P.Each					Rs.4496/=

4.	Reflex valve heavy pattern test pressure 21 kg /sq em or 300 lbs sq/inch					(PHS (M) 1 No.4 Page No.12

6”dia.

Qty: 1.00 No.  @ Rs.4062/56		Each 					Rs.4063/=

5.	CI Bend with flanged ends socket at other end for all size							(PHSI No. (M) 1 No.4 Page No.12).

6”dia.

Qty: 0.26 cwt  @ Rs.6096/-		P.Cwt					Rs.1585/=

6..	Supply of CI Sluice Valve heavy patter test pressure 							(PHSI of material 1 No.2 Page No.97).

8"dia

Qty: 01 Nos  @ Rs.9360/=		Each					Rs.9360/=

7.	But fusion joint.

3”dia.

Qty: 6 Nos  @ Rs.1000/=		Each					Rs.6000/=

8.	Supplying flange adopter (NSI) .

6"Dia.

Qty: 6 Nos  @ Rs.2025/=		Each					Rs.21150/=

9.	Jointing CI/MS flanged pipes and specials and flanged and in side trenches				i/c supplying rubber paking of the required thickness nuts bolts w.washers					etc complete and other tools required for jointing and testing the joints to the				specified pressure etc complete (PHSI NO.1 Page No.35 ).

3"Dia.

Qty: 6.0 joints    @ Rs.936/=		P.Joint					Rs.5628/=

Total	Rs.664882/=

PART-III.	P.E PIPE OF DISTRIBUTION SYSTEM 6”,4” AND 3” DIA.

1.	Excavation for pipe lines in trenches pits in soft soil i/c trimming dressing sides to

true alignment and shape leveling of beds of trenches to correct                                                       level and grade cutting joint holes and disposal of Surplus Earth                                                   within one chain as directed by Engineer Incharge fence guards,                                                       lights, flags and temporary crossing for non vehicular traffic wherever		                required lift up to 5’ft and lead upto one chain ( P.H.S.I No.1 P.No.60).

0-5’ Depth .

Qty:189063.00 cft @ Rs.3600/=		P%0 cft		 	Rs.680627/=

2.	Excavation for pipe lines in trenches pits in Wet soil clay or mud

Trimming dressing sides to true alignment and shape leveling of beds of

trenches to correct level and grade cutting joint holes and disposal of

Surplus Earth within one chain as directed by Engineer Incharge fence guards,                                                       lights, flags and temporary crossing for non vehicular traffic wherever		                required lift up to 5’ft and lead upto one chain ( P.H.S.I No.14 P.No.48).

0-5” depth.

Qty:63125.00 cft @ Rs.5400/=		P%0 cft		 	Rs.340875/=

3.	Providing Laying and fixing in trenches i/c fitting jointing and testing 					etc complete in all respect the high density polyethylene PE pipe (HDPE-100)				for W/ S confirming ISO 4427 DIN 8074/8075 BS 3580 and PSI 3051 (PHSI 				NO. F(i) Pag No.25.

i.  6” dia (160 mm) .

Qty: 22500.00  Rft @ Rs.440/=		P. Rft			 	Rs.9900000/=

ii.  4” dia (110 mm) .

Qty: 2500.00  Rft @ Rs.224/=		P. Rft			 	Rs.560000/=

iii. 3’ dia. (90 mm).

Qty: 10000.00  Rft @ Rs.148/=		P. Rft			 	Rs.1480000/=

4.	Supplying of high density polythenene fitting (PE 100) equivalent 						make (SMI No. ix Page No.104).

Tee Equal 6” dia.

Qty: 6.00 Nos  @ Rs.4175/=			P.No.			 	Rs.25050/=

Tee Equal 4” dia.

Qty: 10.00 Nos  @ Rs.1986/=			P.No.			 	Rs.19860/=

Tee Equal 3” dia.

Qty: 10.00 Nos  @ Rs.1341/=			Each.			 		Rs.13410/=

5.	Supplying Air Valve double acting 3”-1”.

Qty: 04.00 Nos  @ Rs.4000/=		Each.			 		Rs.12000/=

(iv) Tee un Equal (NSI).

(160 x 90 x 160).

Qty: 04.00 Nos  @ Rs.4000/=		Each.			 		Rs.12000/=

(v) Elbow 90o.

6” dia (160 mm).

Qty: 10.00 Nos  @ Rs.2784/=		Each.			 		Rs.27840/=

(vi) Elbow 90o.

4” dia (110 mm).

Qty: 05 .00 Nos  @ Rs.1655/=	Each.			 		Rs.8275/=

(vii) Elbow 90o.

3” dia (90 mm).

Qty: 15 .00 Nos  @ Rs.1118/=	Each.			 		Rs.16770/=

(viii) Elbow 45o.

6” dia (160 mm).

Qty: 10 .00 Nos  @ Rs.2784/=	Each.			 		Rs.27840/=

(ix) Elbow 45o.

4” dia (110 mm).

Qty: 08 .00 Nos  @ Rs.1324/=	Each.			 		Rs.10592/=

(x) Elbow 45o.

3” dia (90 mm).

Qty: 05 .00 Nos  @ Rs.894/=		Each.			 		Rs.4470/=

(xi) S/End Piece..

3” dia (160 mm).

Qty: 05 .00 Nos  @ Rs.3386/=	Each.			 		Rs.16930/=

(xii) S/End Piece..

4” dia (110 mm).

Qty: 05 .00 Nos  @ Rs.1616/=	Each.			 		Rs.8080/=

(xiii) Butt Fusion Joint.

4” 6” dia (110-160 mm).

Qty: 25 .00 Nos  @ Rs.1000/=	Each.			 		Rs.25000/=

(xiv) Butt Fusion Joint.

1 ½-3’ (50-90 mm).

Qty: 10 .00 Nos  @ Rs.600/=		Each.			 		Rs.6000/=

.

4” 6” dia (110-160 mm).

Qty: 25 .00 Nos  @ Rs.1000/=	Each.			 		Rs.25000/=

6.	Supply of CI Sluice Valve heavy patter test pressure 							(PHSI of material 1 No.2 Page No.97).

6"Dia    Qty: 1 No @ Rs.9360/=	Each				 	Rs.9360/=

4"Dia    Qty: 1 No @ Rs.5460/=	Each				 	Rs.5460/=

3"Dia    Qty: 1 No @ Rs.4290/=	Each				 	Rs.4290/=

7.	Refilling excavated stuff in trenches as 6" thick layers i/c watering						ramming to full compacting etc complete (PHSI No.24 Page No.77).

Qty: 226969.00 cft @ Rs.2760/=   /=	P%0 cft.				Rs.626434/=

8.	P/F N.S flange made out of MS Sheet 3/8” thick.

6"Dia    Qty: 2 Nos @ Rs.804/77	Each				 	Rs.1610/=

4"Dia    Qty: 2 Nos @ Rs.596/75	Each				 	Rs.1194/=

3"Dia    Qty: 2 Nos @ Rs.500/89	Each				 	Rs.1002/=

9.	Flange Adopter ( NSI).

6"Dia    Qty: 2 Nos @ Rs.2025/= 	Each				 	Rs.4030/=

4"Dia    Qty: 2 Nos @ Rs.1215/=	Each				 	Rs.2430/=

3"Dia    Qty: 2 Nos @ Rs.678/=	Each				 	Rs.1350/=

10.	Jointing CI /N.S.Flange (PHSI NO.1 Page No.39).

6"Dia    Qty: 2 Nos @ Rs.938/= 	Each				 	Rs.1876/=

4"Dia    Qty: 2 Nos @ Rs.513/=	Each				 	Rs.1026/=

3"Dia    Qty: 2 Nos @ Rs.499/=	Each				 	Rs.998/=

Total	     Rs.13877199/=

ABSTRACT OF SCHEDULE B”.

| S.NO. | NAME OF WORK | SCHEDULE ITEMS | NON SCHEDULE ITEMS | TOTAL |
| --- | --- | --- | --- | --- |
| 1 | Pump House (2 Nos). | Rs.223901/= | - | Rs.223901/= |
| 2 | Tubewell ( 2 Nos) | Rs.224079/= | - | Rs.224079/= |
| 3 | Pumping Machinery. | Rs.664882/= | - | Rs.664882/= |
| 4 | P.E Pipe delivery main trunk / Distribution system | Rs.13877199/= | - | Rs.13877199/= |
|  | Total | Rs. 14990061/= | - | Rs. 14990061/= |

CERTIFICATE.

- Any error or omission in the description of items or rates the original estimate schedule of rates will be referred to correct accordingly.

- No premium will be allowed on non-schedule items.

- The work will be carried out according to the drawing design and specifications

shown in the estimate.

EXECUTIVE ENGINEER

PUBLIC HEALTH ENGG; DIVISION

NAUSHAHRO FEROZE