# General Abstract of cost

| S.No | name of Work | Sch; Amount | Non Sch: Amount | Total |
| --- | --- | --- | --- | --- |
| Part – I | water tanks (LSR) | Rs.175294/- | RS.3005/- | Rs.178299/- |
| Part – II | P.E DISTRIBUTION SYSTEM | Rs.1751420/- | Rs.1890/- | Rs.1753310/- |
|  | Total: | Rs.1926714/- | Rs.4895/- | Rs.1931609/- |

CertificateS

- Any error or omission in the description of items of works rates original schedule will be correct. Accordingly in the instruction of the Executive Engineer, Public Health Engineering Division-I Khairpur.

- No premium will be allowed on non-schedule items.

- The work to be carried out as per PWD/PHE specifications approval rates working estimates.

CONTRACTOR.				              EXECUTIVE ENGINEER

PUBLIC HEALTH ENGINEERING

DIVISION-I KHAIRPUR

SCHEDULE-B

Name of work:-	SWEET WATER SUPPLY TANKS AT VILLAGES OF UNION COUNCIL SHADI SHAHEED TALUKA & DISTRICT  KHAIRPUR

PART - I			 Water Tanks (L.S.R)

1.	Excavation in foundation building bridges and other structure i/c dag  bailing dressing refilling around the structure with excavated earth watering and ramming lead up to once chain and lift up to 	5’ ft. (in ordinary soil) (CSI No.18 P.No.5)

Qty: 140.00 Cft		@Rs. 3176/25		P%0 Cft		Rs. 	445/-

2	Cement concrete brick or stone ballast ½ to 2 gauge Ratio 1:4:8 (CSI No.6 P.No.16).

Qty: 35.00 Cft			@Rs. 9416/28		P%0 Cft		Rs. 	3296/-

3	Pacca Brick work in foundation and plinth in cement send mortar 1:4 (CSI No.4 P.No.20)

Qty: 137.79 Cft		@Rs. 11948/36		P% Cft		Rs. 	16464/-

4.	RCC work in roof slab, beams columns rafts, lintels, and other structure members laid in situ of pre cost laid in position complete in all respect (PHSI No.6 P.NO.16)

Qty: 176.21 Cft		@Rs. 337/-			P% Cft		Rs. 	59383/-

5.	Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and festering i/c cost of binding wire also i/c removal of rust from bars (CSI No.7 (a) P.NO.16)

Qty: 7.86 Cwt			@Rs. 5001/70			P- Cwt		Rs. 	89313/-

6.	Cement Plaster (1:6) up to 12 ft: Height ½ “thick. (CSI No 1.P.No. 58)

Qty: 490.00 Sft		@Rs. 2206/60			P% Sft		Rs. 	10812/-

7.	Cement Plaster (1:4) up to 20 ft: Height ½ “thick. (CSI No 1.P.No. 58)

Qty: 790.00 Sft		@Rs. 2197/52			P% Sft		Rs. 	10768/-

8	Providing and fixing C-I man hole cover frames of material etc complete (PHSI No.1 P-23

Qty: 1.00   Cwt		@Rs. 6985/			P-Cwt		Rs. 	6985/-

9	Supply Puddlo/Dampo (M.S.L 4 P-No 16)

Qty: 55.00  kg 		@Rs.3850/-			P-25Kg	Rs. 	8470/-

10	Pointing G.I Pipe & special etc i/c fixing cutting and fitting complete with i/c the cost of cutting trenches 200 ft and handling (SMI No. 1 P- No. 12)

½ “Dia Pipe

Qty: 6.00  Rft			@Rs: 47/72			P-Rft		Rs: 	286/-

12.	Special G I Socket (SMI No 2 P- 07)

Qty: 3.00 Nos			@Rs. 18/-			Each		Rs.	54/-

13.	Special and fixing in position C P Bip cock (SSMI No 9 P-No.13)

Qty: 3.00 Nos			@Rs. 125/-			Each		Rs.	375/-

14.	Manufacturing & installing with welding MS flange 3” Dia made out of MS sheet 3/16” thick cutting welding drilling etc complete (based on schedule rate)

Qty: 25.00  Rft		@Rs: 385/89			P-Rft		Rs: 	9647/-

15.	CI Bend with flange (CSII No.   P.   ).

3” Dia

Qty: 0.26 Cwt			@Rs. 6096/-			P-Cwt		Rs. 	1585/-

16	P/F CI ventilator (weight not less than 80 lbs each) in tank roof of approved design with water tight joint i/c painted etc complete.(SCI No. 4 page 43)

Qty: 1.00 No			@Rs: 4870/-			Each		Rs: 	4870/-

18.	Supplying and Filling sand under floor and plugging in walls (CSI No. 29 P-No.26)

Qty: 87.32  Cft		@Rs.1141/25			P% Cft		Rs.	997/-

4	Supplying reflex valve heavy pattern test pressure 21.0 kg or CM or 300 lbs sq inch. (SMI No.6 PNo10)

3” Dia

Qty. 1 Nos.			@Rs. 1543/75		Each			Rs. 	1544/-

Total:	Rs. 	175294/-

NON SCHEDULE ITEM

15.	Manufacturing & installing with welding MS flange 3” Dia made out of MS sheet 3/8” thick cutting welding drilling etc complete (RA)

Qty: 6.00  Nos			@Rs: 500/89			Each		Rs: 	3005/-

Total:	Rs. 	3005/-

PART – II	P.E  DISTRIBUTION SYSTEM

1.	Dismantling and removing road mettaling (CSI No. 51 P-No.14)

4” Dia Pipe (110mm)

Qty: 3000.00 Cft		@Rs.605/-		P% Cft			Rs.	18150/-

2	Excavation for pipe lines in trenches and pits in soft soil i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joints holes and disposal work of surplus earth within one chain as directed by Engineer in charge providing fence guards, lights, flanges and temporary crossing for non vehicular traffic wherever required lift up to 5’ ft. (1.50m) and lead up to one chain (30.50m) (PHSI No.1 P.No.60).

Qty: 47900.00 Cft		@Rs.3600/-		P%0 Cft		Rs.   172440/-

4	Providing Laying P.E Pressure pipes of class B Equivalent & Fxing in trenches i/c cutting fitting and testing etc complete (PHSI No-1 P- No 25)

4” Dia 110mm

Qty: 3000.00	rft		@Rs:224/-		P. rft			Rs:	672000/-

3” Dia 90mm

Qty: 4600.00	rft		@Rs:148/-		P. rft			Rs:	680800/-

5.	Jointing CI/MS flanged pipe to special flanged and inside threaded i/c supplying rubber packing the required thickness nuts and bolts with wisher and other required for jointing and testing the joint to the specified pressure etc complete (PHSI No.1 P.35).

4” Dia for Delivery

Qty: 2.00	Joints		@Rs: 513/		P. Joint		Rs:	126/-

3” dia

Qty: 2.00	Joints		@Rs: 499/		P. Joint		Rs:	998/-

6.	Tee Equal (4” x 4” x 4”) Dia (SMI No. 6 P-No. 14)

(110x110x110mm)

Qty:2.00	Nos		@Rs:1986/-		Each			Rs:	3972/-

7.	Tee Equal (3” x 3” x 3”) Dia (SMI No. 6 P-No. 14)

(90x90x90mm)

Qty:2.00	Nos		@Rs:1341/-		Each			Rs:	2682/-

8.	P.E Elbow 90 degree 4” Dia (SMI NO  P No  13)

110 mm

Qty: 3.00	Nos		@Rs: 1655/-		Each			Rs:	4965/-

9.	P.E Elbow 45 degree 4” Dia (SMI NO  P No  13)

4”dia 110mm

Qty: 2.00	Nos		@Rs: 1324/-		Each			Rs:	2648/-

3”dia 90mm

Qty: 2.00	Nos		@Rs: 894/-		Each			Rs:	1788/-

10.	Short Piece (SMI No. 9 P- No 15)

4” Dia

Qty: 2.00	Nos		@Rs: 487/50		Each			Rs:	975/-

3” Dia

Qty: 2.00	Nos		@Rs: 375/-		Each			Rs:	750/-

11.	Sluice valve heavy pattern (Test pressure 21.0 kg/sq c. 300 lbs/sginth) imported (SMI No.2 P.11)

4” Dia

Qty: 1.00	No		@Rs: 5460/-		Each			Rs:	5460/-

3” Dia

Qty: 1.00	No		@Rs: 4290/-		Each			Rs:	4290/-

12	Providing chamber 2 ½ x 2 ½ (750x750 mm) inside dimension 4 ½ (1372 mm) deep as per approved design for sluice valve 3” to 12” dia with 18” (457 mm) dia inside cast iron cover and frame cwt=  (cwt 3 qe) fixed in RCC 1:2:4 (102 mm) thick brick masonry walls set in 1:6 cement mortar 6” (1152 mm) thick cement plaster 1:3 to all inside wall surfaces and to top i/c providing and fixing MS foot rest at every one foot beyond 2 ½ ft depth curing excavation back filling and disposal of surplus earth etc complete (PHSI No.1  P.  49).

Qty.2.00 Nos			@RS: 18820/20		Each		Rs:	37640/-

18.	Butt fusion joints for special for PE pipe (SMI No. 11 P.No- 20)

4” Dia

Qty: 9.00	Nos		@Rs: 1000/-		Each			Rs:	9000/-

3” Dia

Qty: 9.00	Nos		@Rs: 600/-		Each			Rs:	5400/-

19.	Refilling the excavated stuff in trenches in cement in 6” thick layers i/c watering trimming on full compaction etc complete (PHSI No.24 P.No.77).

Qty: 45810. cft		@Rs: 2760/-		P. %o cft		Rs:	126436

Total:	Rs.	1751420/-

NON SCHEDULE ITEM

1.	Flange Adopter.

3” Dia

Qty: 1.00	No		@Rs: 675/-		Each			Rs:	675/-

4” Dia

Qty: 1.00	Nos		@Rs: 1215/-		Each			Rs:	1215/-

Total:	Rs.	1810/-