# abstract of cost

| S.No | name of Work | Sch; Amount | Non Sch: Amount | Total |
| --- | --- | --- | --- | --- |
| Part – I | TUBWELL 2 Nos | Rs.176634/- | --- | Rs.176634/- |
| Part – II | Pump House 8’x8’ 2 Nos | Rs.344600/- | --- | Rs.344600/- |
| Part – III | P.e Rising main | Rs.1298274 | Rs.3620 | Rs.1301894/- |
| Part – III | PUMPING MACHINERY 2 Nos | --- | Rs.488000/- | Rs.488000/- |
| Part-- iv | INTER CONNECTION 2 Nos | Rs.43692/- | Rs.8100/- | Rs.51792/- |
| Part – VII | LSR | Rs.534897/- | --- | Rs.534897/- |
| Part – VII | Staff quorter | Rs.274395/- | --- | Rs.274395/- |
|  | Total: | Rs.2672492/- | Rs.999720/- | Rs.3672212/- |

CertificateS

- Any error or omission in the description of items of works rates original schedule will be correct. Accordingly in the instruction of the Executive Engineer, Public Health Engineering Division-I Khairpur.

- No premium will be allowed on non-schedule items.

- The work to be carried out as per PWD/PHE specifications approval rates working estimates.

CONTRACTOR.				              EXECUTIVE ENGINEER

PUBLIC HEALTH ENGINEERING

DIVISION-I KHAIRPUR

SCHEDULE-B

NAME OF WORK:-		 SWEET WATER SUPPLY SCHEME FOR VILLAGE SOOFAN

NOONARI U/C BUGOR TALUKA & DISTRICT KHAIRPUR.

PART – I		TUBE WELL

- Boring for tube well in all water bearing soil from ground level up ro 100” ft 30.50

meter depth i/c sinking and will drawing of crossing pipe 12 dia boring (PHSI No.1

P-36)

12” Dia

Qty: 50.00 Rft. 		@Rs.743/-		P-Rft		Rs.	37150/-

2.	Supplying and installing PVC strainer “B”  class of approved design quality and make necessary sockets etc complete for 8” Dia PVC  strainer (PHSI.NO:1 P-43)

8” Dia

Qty: 26.00Rft. 		@Rs.554/05		P-Rft		Rs.	14405/-

3.	Supplying and installing PVC Blind Pipe “B”  class of approved design quality and make necessary sockets etc complete for 8” Dia PVC  strainer (PHSI.NO:1 P-37)

8” dia

Qty: 26.00 Rft. 		@Rs516/80		P-Rft		Rs.	13437/-

4.	Surrounding with grated Bajri size 3/8 40 1/8 Ca to 3 mm in between bare and bind pipe for the  following dia meter of strainer (PHSI No:13 P-35)

12” dia

Qty: 50.00 Rft. 		@Rs105/-		P-Rft		Rs.	5250/-

5.	Supplying MS bail plug (PHSI No: 8 P-43)

Qty: 1.00 No.	 		@Rs.2607/-		Each		Rs.	2607/-

7.	PVC end plug (PHSI No.1 P-29)

Qty: 1.00 No			@Rs.1000/-		Each		Rs.	1000/-

8.	Development of Tub Well (PHSI No.8  (a) P-43)

Qty: 50.00 rft			@Rs.200/-		P-rf		Rs.	10000/-

9.	Taking and preserving 21 lbs (Kg) samples of Estrte from bore hole (PHSI No.6 P.43)

Qty: 4.00 Sample		@Rs.101/-		P-Sample	Rs.	404/-

10.	Taking Samples of water from bore hole and placing into two separate bottles

(PHSI No: 7 P-43)

Qty: 4.00 Sample 		@Rs. 131/-		P.Sample	Rs.	534/-

11      Providing strong substation traly build wooden blocked box with compartment for

preserving 2 lbs (1 KG) sample stator (PHSI No5 P-43

Qty: 1.00 No	 		@Rs. 3530/-		Each		Rs.	3530/-

Total:-	Rs.	88317/-

88317	x 2=	Rs.	176634/-

Part – iI 		pump house 8’ x 8’)

1.	Excavation in foundation building bridges and other structure i/c dag  bailing dressing refilling around the structure with excavated earth watering and ramming lead up to once chain and lift up to 5’ ft. (in ordinary soil) (CSI No.18 P.No.4)

Qty: 147.50	cft		@Rs: 3176/25		P%0 cft		Rs:	468/-

2.	Cement concrete brick or stone ballast ½ to 2 gauges Ratio 1:4:8 (CSI No.6 P.No.16).

Ratio: 1:4:8

Qty: 59.61	cft		@Rs: 9416/28		P% cft			Rs:	5571/-

3. 	Pacca brick work in foundation plinth in cement sand mortar 1:6 (CSI No – 4 Page  21 )

Qty: 265.95	cft		@Rs: 11948/36	P% cft			Rs:	31777/-

4.	Damp proof course of cement sand and shingle concrete 1:2:4 i/c two coats of asphalted mixture (CSI No.28 P.No.18) 3” thick

Qty: 39.75	sft		@Rs: 4982/18		P% sft			Rs:	1980/-

8.	Pacca brick work in ground floor i/c stricken of jointing cement sand mortar 1:6 (CSI No: 5

P-24)

Qty: 218.63	cft		@Rs: 12674/36		P% cft		Rs:	27709/-

9.	RCC work in roof slab, beams columns rafts, lintels, and other structure members laid in situ of pre cost laid in position complete in all respect (PHSI No.6 P.NO.17)

Qty: 70.50	cft		@Rs: 337/-		P. cft			Rs:	23759/-

10.	Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and festering i/c cost of binding wire also i/c removal of rust from bars (CSI No.7 (a) P.NO.19

Qty: 2.831 	cwt		@Rs: 5001/70		P. cwt			Rs:	14168/-

11.	Filling water and ramming earth in floor with surplus earth from foundation and lead upto one chain and lift upto 5’ ft (CSI No 21 page 5)

Qty: 218.31 cft		@Rs: 1512/30		P%0 cft		Rs:	330/-

12.	Providing and laying 1” thick topping cement concrete (1:2:4) i/c surface fixing and deriding in to panels. (CSI No 16 P No 42)

Qty: 58.22	sft		@Rs: 4411/82		P% sft			Rs:	2568/-

13.	Fabrication of heavy steel work with angles tees flat iron and sheet iron making trusses girders tanks etc i/c cutting reveting handing assembliing and fixing but eluding eriction in position (CSI No.2 (a) P.NO.90)

Qty: 4.41	cwt		@Rs: 4928/49		P. cwt			Rs:	21735/-

14.	Errection & fitting  in position iron trusses fixing in position (C,S,I No.6 P-No.91)

Qty: 4.41	cwt		@Rs: 271/04		P. cwt			Rs:	1195/-

15.	Supplying fixing in position iron steel gril using sold square bars of size ¾” x ¼” etc complete (CSI NO 20 – Page 93)

Qty: 24.00	sft		@Rs: 180/50		P. sft			Rs:	4332/-

17.	Aster Plaster (1:6) up to 12 ft: Height 1/2“thick. (CSI No 11.P.No. 59)

Qty: 425.92	sft		@Rs: 2206/60		P% sft			Rs:	9398/-

18.	Cement Plaster (1:4) up to 12 ft: Height 3/8. (CSI No 11.P.No. 58)

Qty: 456.58	sft		@Rs: 2197/52		P% sft			Rs:	10033/-

19.	Cement pointing struck joint on walls 1:3 (CSI No – 19 Page 58) (Ratio 1.3)

Qty: 328	sft		@Rs: 1213/58		P% sft			Rs:	3981/-

20.	White washing (one Coat) (CSI No – 26 Page 60)

Qty: 784.58	sft		@Rs: 416/63		P% sft			Rs:	3269/-

21.	White washing (Three coats) CSI No – 26 Page 59)

Qty: 130.00	sft		@Rs: 829/95		P% sft			Rs:	1079/-

22.	Colour Washing Two Coats (CSI No – 25 Page 60)

Qty: 784.58 	sft		@Rs: 859/90		P% sft			Rs:	6747/-

23.	Preparing surface painting doors & windows any type i/c edge (CSI No – 5 page 76)

Qty: 104.00	sft		@Rs: 2116/41		P% sft			Rs:	2201/-

Total	Rs:	172300/-

172300x 2=	Rs.	344600/-

Part –III 		P.E PIPE Rising main 4” DIa

1.	Dismantling and removing road mettaling (CSI No. 5 P-No.14)

Qty:2000.00 Cft		@Rs.605/-		P% Cft			Rs.	12100/-

2.	Excavation for pipe line in trenches and pits soft soil i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joints holes and disposal of surplus earth within one chain as directed by Engineer inharge providing fence guards, lights flages and temporary crossing for non vehicular traffic where ever required lift up to 5 ft and lead upto one chain. (PH SCHI No 1 Page 60)

Qty: 31000.00 cft		@Rs:3600/00		P%o c ft		Rs:	111600/-

3.	Providing Laying & fixing in trenches i/c cutting fitting and jointing out testing in all respect the high testing polyethylene P.E pipe (PHSI No-1 P- No 25)

(110 mm)

4” Dia

Qty: 3300.00	rft		@Rs:224/-		P. rft			Rs:	739200/-

3” Dia

Qty: 2200.00	rft		@Rs:148/-		P. rft			Rs:	325600/-

5.	P.E Bend 90 degree (SMI NO 1 P No 13 )

4” Dia

Qty: 2.00	Nos		@Rs:1665/-		Each			Rs:	3330/-

3” Dia

Qty: 3.00	Nos		@Rs:1118/-		Each			Rs:	3354/-

6.	Bend 45 degree (110 mm)

4” Dia

Qty: 2.00	Nos		@Rs:1324/-		Each			Rs:	2648/-

3” Dia

Qty: 2.00	Nos		@Rs:894/-		Each			Rs:	1788/-

7.	P.E Tee 3” Dia

3” Dia

Qty: 2.00	Nos		@Rs:1341/-		Each			Rs:	2682/-

8.	Butt fusion joint (SMI No.H P.20).

4’ Dia

Qty: 8.00	Joints		@Rs: 1000/-		Each			Rs:	8000/-

3’ Dia

Qty: 10.00	Joints		@Rs: 600/-		Each			Rs:	6000/-

9.	Refilling the excavated stuff in trenches in cement in 6” thick layers i/c watering trimming on full compaction etc complete (PHSI No.24 P.No.77).

Qty: 29700.00 cft		@Rs: 2760/-		P. %o cft		Rs:	81972/-

Total Rs.	1298274/-

NON SCHEDULE ITEM

1	P.E Reducer 4” x 3” (NIS)

Qty: 2.00	Nos		@Rs:1810		Each			Rs:	3620/-

Total Rs.	3620/-

NON SCHEDULE ITEM

PART – IV			PUMPING MACHINERY

1	supplying installing in position i/c transportation  at site of work for rural water supply scheme for village soofan noonari UC Bugro change golden saer submersible pump NR-95/E-24 type 4(2) 7.50 BHP 3 phase   electric motor original sear – Italy for discharge 50 GPM at 130 ft head with local made accessories for 35 ft setting as under electric drop cable 10mm 2-3 core into 60ft water proof joint GI pipe 2-1/2 11L M grade into 5ft MS Foundation plate with T-Bolts MS holding clamp 2-2x1 socket 2-2x35 MS bore cover plate into 1 wire rope with clamp x80 feet i/c providing and fixing automatic MCU (Motor control unit consist oil stater (MEECO Pakistan) MCCB breaker 10-A to 50-A (Shihin Taiwan) cutout 60-A china Amp: meter 60-A (SELCO china) volt meter 500-V (SELCO China) phase indication light (China) include Transformer oil (2litter ) Panel Board 18”x26” and internal wiring ETC complete and providing fixing earthing arrangements and testing of the pumping set against 72 hours (R.A)

Qty: 1.00	 Sets		@Rs.494000/-			P. set		Rs.	494000/-

part – III 		NTER CONNECTION

1.	Providing laying and fixing tranches i/c fitting jointing and testing etc complete in all respect the high density polyethylene PF pipe (HDPE-100) for W/S confirming ISO conforming ISO 4427/DIN 8074/8075 B.S 3580 & PSI 3051 (GSI -1 P-25)

PN-10 (3” dia 90 mm)

Qty: 20.00	rft		@Rs: 178/-			P. Rft		Rs:	3560/-

2.	providing  installing MS Flanged made out of MS Sheet 3/8” thick i/c cutting drilling holes etc complete

Qty: 6.00 Nos.			@Rs: 500/89			Each		Rs:	3002/-

3	Supplying reflex valve heavy pattern test pressure 21.0 kg or CM or 300 lbs sq inch. (SMI NO 4 P No  12   )

3” dia

Qty. 1.00 Nos			@Rs. 1543/75			Each		Rs. 	1544/-

4.	CI Bend with flanged end with Socket at other and for all size (PHSI (M) 1 No4 P-12) 3” dia

Qty. 0.26 cwt			@Rs. 6096/-			P. cwt		Rs. 	1585

5.	Supplying CI sluice valve heavy pattern test pressure 21.0 kg sq cm 300 lbs sq inch.

(MSI No.2 P.9)

4” Dia

Qty. 1.00 Nos			@Rs.5460/-			Each		Rs.	5460/-

7.	But Fusion joint (SMI No.H.P-20)

3” Dia

Qty. 7.00 Nos			@Rs.600/-			Each		Rs.	4200/-

8.	Jointing CI/MS flanged pipe to special flanged and inside threaded i/c supplying rubber packing the required thickness nuts and bolts with wisher and other required for jointing and testing the joint to the specified pressure etc complete (PHSI No.1 P.35).

3” dia

Qty: 5.00	Joints		@Rs: 499/-			P. Joint	Rs:	2495/-

Total: -		Rs.	21846/-

21846x 2=	Rs.	43692/-

NON SCHEDULE ITEM

1.	flange adopter” dia (N.S.I)

3” Dia

Qty. 6.00 Nos			@Rs.675/-			Each		Rs.	4050/-

Total: -		Rs.	4050/-

4050x 2=	Rs.	8100/-

PART - VI			 L.S.R

1.	Excavation in foundation building bridges and other structure i/c dag  bailing dressing refilling around the structure with excavated earth watering and ramming lead up to once chain and lift up to 	5’ ft. (in ordinary soil) (CSI No.18 P.No.5)

Qty: 140.00 Cft		@Rs. 3176/25		P%0 Cft		Rs. 	445/-

2	Cement concrete brick or stone ballast ½ to 2 gauge Ratio 1:4:8 (CSI No.6 P.No.16).

Qty: 35.00 Cft			@Rs. 9416/28		P%0 Cft		Rs. 	3296/-

3	Pacca Brick work in foundation and plinth in cement send mortar 1:4 (CSI No.4 P.No.20)

Qty: 137.79 Cft		@Rs. 11948/36		P% Cft		Rs. 	16464/-

4.	RCC work in roof slab, beams columns rafts, lintels, and other structure members laid in situ of pre cost laid in position complete in all respect (PHSI No.6 P.NO.16)

Qty: 176.21Cft		@Rs. 337/-			P% Cft		Rs. 	59383/-

5.	Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and festering i/c cost of binding wire also i/c removal of rust from bars (CSI No.7 (a) P.NO.16)

Qty: 7.86 Cwt			@Rs. 5001/70			P- Cwt		Rs. 	39313/-

6.	Cement Plaster (1:6) up to 12 ft: Height 1/2 “thick. (CSI No 1.P.No. 58)

Qty: 490.00 Sft		@Rs. 2206/60			P% Sft		Rs. 	10812/-

7.	Cement Plaster (1:4) up to 12 ft: Height 3/8 “thick. (CSI No 1.P.No. 58)

Qty: 490.00 Sft		@Rs. 2197/52			P% Sft		Rs. 	10768/-

8	Providing and fixing C-I man hole cover frames of material etc complete (PHSI No.1 P-23

Qty: 1.0   Cwt			@Rs. 6985/			P-Cwt		Rs. 	6985/-

9	Supply Puddlo/Dampo (M.S.L 4 P-No 16)

Qty: 55  kg 			@Rs.3850/-			P-lbs		Rs. 	8470/-

10.	Pointing G.I Pipe & special etc i/c fixing cutting and fitting complete with i/c the cost of cutting trenches 200 ft and handling (SMI No. 1 P- No. 12)

Qty: 6.00  Rft			@Rs: 47/72			P-Rft		Rs: 	286/-

11.	Special G I Socket (SMI No 2 P- 07)

Qty: 3.00 Nos			@Rs. 18/-			Each		Rs.	54/-

13.	Special and fixing in position C P Bip cock (SSMI No 9 P-No.13)

Qty: 3.00 Nos			@Rs. 125/-			Each		Rs.	375/-

14.	Manufacturing & installing with welding MS flange 3” Dia made out of MS sheet 3/16” thick cutting welding drilling etc complete (Based on schedule item)

Qty: 25.00  Rft		@Rs: 385/89			P-Rft		Rs: 	9647/-

15.	Manufacturing & installing with welding MS flange 3” Dia made out of MS sheet 3/8” thick cutting welding drilling etc complete (Based on schedule item)

Qty: 6.00  Nos			@Rs: 500/89			Each		Rs: 	3005/-

16.	CI Bend with flange (CSII No.   P.   ).

3” Dia

Qty: 0.26 Cwt			@Rs. 6096/-			P-Cwt		Rs. 	1585/-

17.	P/F CI ventilator (weight not less than 80 lbs each) in tank roof of approved design with water tight joint i/c painted etc complete.(SCI No. 4 page 43)

Qty: 1.00 No			@Rs: 4870/-			Each		Rs: 	4870/-

18	Supplying and Filling sand under floor and plugging in walls (CSI No. 29 P-No.26)

Qty: 87.32  Cft		@Rs.1141/25			P% Cft		Rs.	997/-

19	Sluice valve heavy pattern (Test pressure 21.0 kg/sq c. 300 lbs/sginth) imported (SMI No.2 P.11).

3” Dia

Qty: 1.00	No		@Rs: 1543/75			Each		Rs:	1544/-

Total:	Rs. 	178299/-

178299x3=		Rs.	534897/-

Part – ViI 		STAFF QUARTER

1.	Excavation in foundation building bridges and other structure i/c dag  bailing dressing refilling around the structure with excavated earth watering and ramming lead up to once chain and lift up to 5’ ft. (in ordinary soil) (CSI No.18 P.No.4)

Qty: 290.62	cft		@Rs: 3176/25		P% cft			Rs:	923/-

2.	Cement concrete brick or stone ballast ½ to 2 gauges Ratio 1:4:8 (CSI No.6 P.No.16).

Ratio: 1:4:8

Qty: 143.30	cft		@Rs: 9416/28		P% cft			Rs:	13494/-

3. 	Pacca brick work in foundation plinth in cement sand mortar 1:6 (CSI No – 5 Page  24)

Qty: 455.30	cft		@Rs: 11948/36	P% cft			Rs:	54401/-

4.	Damp proof course of cement sand and shingle concrete 1:2:4 i/c two coats of asphalted mixture (CSI No.27 P.No.23)

Qty: 81.10	cft		@Rs: 4982/18		P% cft			Rs:	4041/-

5.	Pacca brick work in ground floor i/c stricking of jointing cement sand mortar 1:6 (CSI No: 5

P-25)

Qty: 365.30	cft		@Rs: 12674/36		P% cft		Rs:	46616/-

6.	RCC work in roof slab, beams columns rafts, lintels, and other structure members laid in situ of pre cost laid in position complete in all respect (PHSI No.6 P.NO.17)

Qty: 137.89	cft		@Rs: 337/-		P. cft			Rs:	46468/-

10.	Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and festering i/c cost of binding wire also i/c removal of rust from bars (CSI No.7 (a) P.NO.19

Qty: 5.54 	cwt		@Rs: 5001/70		P. cwt			Rs:	27709/-

11.	Fabrication of heavy steel work with angles tees flat iron and sheet iron making trusses girders tanks etc i/c cutting revering handing assembling and fixing but eluding eriction in position (CSI No.2 (a) P.NO.90)

Qty:4.41	cwt		@Rs: 4928/49		P. cwt			Rs:	21735/-

12.	Errection & fitting  in position iron trusses fixing in position (C,S,I No.6 P-No.91)

Qty: 4.41	cwt		@Rs: 271/04		P. cwt			Rs:	1195/-

13.	Supplying fixing in position iron steel gril using sold square bars of size ¾” x ¼” etc complete (CSI NO 26 – Page 97)

Qty: 24.00	sft		@Rs:180/50		P. sft			Rs:	4332/-

14.	Filling water and ramming earth in floor with surplus earth from foundation and lead upto one chain and lift upto 5’ ft (CSI No 7 page 21)

Qty: 531.84 cft		@Rs.1512/50		P%0 cft		Rs:	804/-

15.	Cement Plaster (1:6) up to 12 ft: Height 1/2” thick (CSI No 11.P.No. 58)

Aster in side walls

Qty: 581.24	sft		@Rs.2206/60		P% sft			Rs:	12826/-

16.	Cement Plaster (1:4) up to 12 ft: Height 3/8 thick (CSI No 11.P.No. 58)

Qty: 581.24	sft		@Rs.2197/52		P% sft			Rs:	12773/-

17.	Cement painting struck joint on walls 1:3 (CSI No – 19 Page 59) (Ratio 1.3)

Qty: 377.50	sft		@Rs.1213/58		P% sft			Rs:	4581/-

18	Providing and laying 1” thick topping cement concrete (1:2:4) i/c surface fixing and deriding in to panels. (CSI No 16 P No 47)

Qty: 177.08	sft		@Rs.4411/82		P% sft			Rs:	  7812/-

19	Preparing surface painting doors & windows any type i/c edge (CSI No – 5 page 76)

Qty: 104.00	sft		@Rs.2116/41		P% sft			Rs:	2201/-

20.	White washing (Three coats) CSI No – 26 Page 55)

Qty: 219.00	sft		@Rs.829/95		P% sft			Rs:	1818/-

21.	White washing (one Coat) (CSI No – 26 Page 55)

Qty: 581.24 sft		@Rs.416/63		P% sft			Rs:	2422/-

22.	Color Washing Two Coats (CSI No – 25 Page 55)

Qty: 958.74 	sft		@Rs.859/90		P% sft			Rs:	8244/-

Total	Rs:	274395/-