## SB
SCHEDULE “B”
NAME OF WORK: | [5 empty] | CONSTRUCTION OF DISPOSAL WORK, OXIDATION POND AND
RISING MAIN FOR DRAINAGE SCHEME AT VILLAGE RIND HAJANA,
TALUKA KOTDIJI, DISTRICT KHAIRPUR
S No. |  | Qty: |  | Item of Work |  |  |  |  | Rate |  |  | Unit |  |  |  | Amount
PART-I RCC COLLECTING TANK 10' FT DIA
1 | Excavation of well in dry soil up to 20" ft. below ground level
and disposal of soil within one chain (CSI No.1 P.-86)
(a) | in ordanary soil or sand)
Qty: | 663.32 |  | Cft. |  |  | .@Rs: | 2247.58 |  |  | ‰ Cft. |  |  |  |  | Rs: | 1490.8648 | /=
2 | RCC work in roof slab beam cloumns rafts lintels and other
structure member laid in citu or pre cost laid in position making
complete in all respect Ratio 1:2:4 lbs. of cement Cft. Of sand
4 Cft. of shingle 1/2 to 1/4 guage (CSI No.6 P-17)
Qty: | 589.98 |  | Cft. |  |  | .@Rs: | 337 |  |  | P.Cft. |  |  |  |  | Rs: | 198823.26 | /=
3 | Fabrication of mild steel reinforcement for cement concrete i/c
cutting hendign laying in position making joints and fastening
i/c cost of binding wire (also includes removal of rust from bars
| (CSI No.8 (b) P-17) |  |  |  | Qt: of curb = 259.50 (-)52 =207.4
Qty: | 24.67 |  | cwt |  |  | .@Rs: | 5001.7 |  |  | P.cwt |  |  |  |  | Rs: | 123391.939 | /=
4 | Wet sinking of wells for depth below spring level by means driving
i/c all charges for shorting loading and removing excavated material
one chain (CSI No.3 P-87)
a)0-5' depth
Qty: | 613.28 |  | Cft. |  |  | .@Rs: | 11763.8 |  |  | ‰ Cft. |  |  |  |  | Rs: | 7213.5033 | /=
b)5'-10' depth
Qty: | 490.62 |  | Cft. |  |  | .@Rs: | 24200 |  |  | ‰ Cft. |  |  |  |  | Rs: | 11873.004 | /=
5 | Providing construction joints in concrete work of 9" (225mm)wide
corrugated PVC water stop (with bulbs) i/c soldering cost of
materials and labour (PHSI No.1 P-56)
Qty: | 69.08 |  | rft |  |  | .@Rs: | 86 |  |  | P.rft |  |  |  |  | Rs: | 5940.88 | /=
6 | Cement concrete or brick stone ballast 1/2 to 2 guage ratio 1:4:8
(CSI No.4 P-15)
Qty: | 169.47 |  | Cft. |  |  | .@Rs: | 9416.28 |  |  | %Cft. |  |  |  |  | Rs: | 15957.7697 | /=
7 | Cement concrete plain compacting finishing and curing complete
i/c screening and washing of stone aggregate without
shuttering (CSI No.5 P-16)
a) Ratio 1:4:8
Qty: | 78.5 |  | Cft. |  |  | .@Rs: | 11288.75 |  |  | %Cft. |  |  |  |  | Rs: | 8861.6688 | /=
a) Ratio 1:3:6
Qty: | 78.5 |  | Cft. |  |  | .@Rs: | 12595 |  |  | %Cft. |  |  |  |  | Rs: | 9887.075 | /=
b) Ratio 1:2:4
Qty: | 78.5 |  | Cft. |  |  | .@Rs: | 14429.25 |  |  | %Cft. |  |  |  |  | Rs: | 11326.9613 | /=
9 | Bailing or pumping out sub soil water during excavation concreting
cost in sity concrete or masonary work in foundation etc (1) onely
three operations to be allowed trench volume under water to be
measured first time for concreting and second tome for cost in citu
or masonary work in foundation etc. (CSI No.18 P-75)
Qty: | 1256 |  | Cft. |  |  | .@Rs: | 543 |  |  | %Cft. |  |  |  |  | Rs: | 6820.08 | /=
[14 empty] | Total | Rs: | 401588.0057 | /=
PART-II SCREENING CHEMBER (8'x5')
1 | Excavation in foundation of building bridges & other structure i/c dag belling dressing
refilling around the structure with excavated earth watering ramming lead, up to one
chain & lift upto 5”ft ( CSI-No:18, P-No:4) In Ordinary soil.
Qty: | 570.93 |  | Cft. |  |  | .@Rs: | 3176.25 |  |  | ‰ Cft. |  |  |  |  | Rs: | 1813.4164 | /=
2 | Extra for wet earth work. (CSI No. P )
Qty: | 177.18 |  | Cft. |  |  | .@Rs: | 1058.75 |  |  | ‰ Cft. |  |  |  |  | Rs: | 187.5893 | /=
3 | Cement concrete or brick stone ballast 1/2 to 2 guage ratio 1:4:8
(CSI No.4 P-16)
Qty: | 59.06 |  | Cft. |  |  | .@Rs: | 9416.28 |  |  | %Cft. |  |  |  |  | Rs: | 5561.255 | /=
4 | RCC work in roof slab beam cloumns rafts lintels and other
structure member laid in citu or pre cost laid in position making
complete in all respect Ratio 1:2:4 lbs. of cement Cft. Of sand
4 Cft. of shingle 1/2 to 1/4 guage (CSI No.6 P-17)
Qty: | 231.57 |  | Cft. |  |  | .@Rs: | 337 |  |  | P.Cft. |  |  |  |  | Rs: | 78039.09 | /=
5 | Fabrication of mild steel reinforcement for cement concrete i/c
cutting hendign laying in position making joints and fastening
i/c cost of binding wire (also includes removal of rust from bars
| (CSI No.8 (b) P-17) |  |  |  | Qt: of curb = 84.78 (-)14.70 =70.06
Qty: | 9.3 |  | cwt |  |  | .@Rs: | 5001.7 |  |  | P.cwt |  |  |  |  | Rs: | 46536.81 | /=
6 | Providing construction joints in concrete work of 9" (225mm)wide
corrugated PVC water stop (with bulbs) i/c soldering cost of
materials and labour (PHSI No.1 P-56)
Qty: | 29 |  | rft |  |  | .@Rs: | 86 |  |  | P.rft |  |  |  |  | Rs: | 2494 | /=
7 | Small iron work such as guessed in best plate knees bends strops sings
etc i/c cutting drilling riveting handling assembling and fixing exculded
erection and in positon (covers of catch pits ) (CSI No.1 P. 96)
Qty: | 1.72 |  | cwt |  |  | .@Rs: | 6420.61 |  |  | P.cwt |  |  |  |  | Rs: | 11043.4492 | /=
8 | Erection and fitting in position of iron trusses staging of water
tank etc (CSI No..3 P-91)
Qty: | 1.72 |  | cwt |  |  | .@Rs: | 271.04 |  |  | P.cwt |  |  |  |  | Rs: | 466.1888 | /=
9 | Pacca brick work in foundation and plinth in cement sand mortar
(CSI No.4 (e) P-21)
Qty: | 18.05 |  | Cft. |  |  | .@Rs: | 11948.36 |  |  | %Cft. |  |  |  |  | Rs: | 2156.679 | /=
10 | Cement plaster (1:4) upto 12' ft height 1/2 thick
(CSI No.11 P-52)
Qty: | 56.02 |  | Sft. |  |  | .@Rs: | 2283.93 |  |  | P%Sft.. |  |  |  |  | Rs: | 1279.4576 | /=
[14 empty] | Total | Rs: | 149576.9353 | /=
PART-III INTER CONNECTION
1 | Excavation for pipe lines trenches and pits soft soil i/c trimming
and dressing to true alignment and shape liveling of beds of trenches
to level and grade cutting and disposal of surplus earth with in one
chain as directed by engineer Incharge, providing fence guards lights
flags and temporary crossing for non vehicular traffic where ever
required lift up to 5’ ft and lead up one chain (PHSI-No:2, P-No:60 )
Qty: | 140 |  | Cft. |  |  | .@Rs: | 3600 |  |  | ‰ Cft. |  |  |  |  | Rs: | 504 | /=
2 | Excavation for pipe lines in trenches. And pits in wet soil clay or
mud i/c trimming and dressing sides to true alignment and
shape levelling of heds of trenches ot correct level and grade.
cutting joint holes and disposal of surplus earth within a one chain as
directed y engineering incharge. Providing lence guards. Lights. Flages
and temporary crossing for non vehicular traffic where ever
required lift upto 5 ft and lead upto one chain (PHSI-No:14, P-No:66)
Qty: | 28 |  | Cft. |  |  | .@Rs: | 5400 |  |  | ‰ Cft. |  |  |  |  | Rs: | 151.2 | /=
4 | Add: for additional lift of every 3ft. or part thereof
in item No1 to 15 (A&B) for excavation for pipelines
and storage tanks trenches and pits. (CSI-No.16, P-No:74)
Qty: | 28 |  | Cft. |  |  | .@Rs: | 550 |  |  | ‰ Cft. |  |  |  |  | Rs: | 15.4 | /=
3 | Providing RC.C pipe of A.S.T.M -76-62-T/C -76-70 Calss II wall B and
fixing in trnnch i/c cutting fitting and jointing with rubber rings i/c testing with
water to specified pressure (PHSI-No:1 (b) P-No:17)
15" Dia
Qty: | 8 |  | rft |  |  | .@Rs: | 515 |  |  | Prft |  |  |  |  | Rs: | 4120 | /=
4 | Refilling the excavated stuff in trenches 6" thick layer i/c
watering ramming to full compaction etc complete
(PHSI-No:24, P-No:77)
Qty: | 151 |  | rft |  |  | .@Rs: | 2760 |  |  | P‰.rft |  |  |  |  | Rs: | 416.76 | /=
[14 empty] | Total | Rs: | 5207.36 | /=
PART- IV PUMP HOUSE 10'X12'
1 | Excavation in foundation of building bridges
and other structure i/c dag belling bressing refilling
around the structure with excavated earth watering
and ramming lead upto one chain and lift upto 5’ ft
(in ordinary soil) (CSI No: 18 P.No: 05)
Qty: | 188 |  | cft |  |  | .@Rs: | 3176.25 |  |  |  | P.‰ Cft. |  |  |  | Rs: | 597.135 | /-
2 | Cement concrete brick or stone ballast 1 ½” to 2” guage
Ratio 1:4:8 (CSI No: 4 P-No: 16)
Qty: | 88.99 |  | cft |  |  | .@Rs: | 9416.28 |  |  |  | % Cft. |  |  |  | Rs: | 8379.5476 | /-
3 | Pacca brick work in foundation plinth in cement
sand mortar (1:6)(CSI.No: 4 P.No: 23)
Qty: | 333.97 |  | cft |  |  | .@Rs: | 11948.36 |  |  |  | % Cft. |  |  |  | Rs: | 39903.9379 | /-
4 | D.P.C (cement sand & shingle (1:2:4) i/c two coats of miax phlat mixture
(CSI No 16(d) P-42)
Qty: | 52.77 |  | Sft. |  |  | .@Rs: | 4982.18 |  |  |  | % Sft. |  |  |  | Rs: | 2629.0964 | /-
5 | Pacca Brick work in ground floor including
stricking of joints cement sand motor motor 1:6
(CSI No: 5 P-No; 24)
Qty: | 308.63 |  | Cft. |  |  | .@Rs: | 12674.36 |  |  |  | % Cft. |  |  |  | Rs: | 39116.8773 | /-
6 | RCC work in roof slabs, beams, columns, rafts,
lintels and other structure members laid in situ
or precost laid in position making complete in all
respect Ratio: 1:2:4 90 Lbs of cement Cft. of sand
4 Cft. of shingle ½ to ¾ gauge (CSI No: 6 P-No: 17)
Qty: | 105.35 |  | cft |  |  | .@Rs: | 337 |  |  |  | P.Cft. |  |  |  | Rs: | 35502.95 | /-
7 | Fabrication of mild steel reinforcement for cement
concrete i/c cutting bending laying in position making
joints and fastering i/c cost of binding wire and also
i/c cost of steel bars (Also include removal of rust
from bars (CSI No: 7 P-No: 19)
Qty: | 4.23 |  | cwt |  |  | .@Rs: | 5001.7 |  |  |  | P.cwt |  |  |  | Rs: | 21157.191 | /-
8 | Supplying & fixing in position iron / steel grill using solid square bars
of size 3/4" x 1/4" size etc complete. (C.S.I.No: 20P.No: 93 )
Qty: | 24 |  | sft |  |  | .@Rs: | 180.5 |  |  |  | P.Sft. |  |  |  | Rs: | 4332 | /=
9 | Filling watering and ramming earth in floors with
surplus earth from foundation and lead upto one
chain and lift upto 5’ ft (CSI No: 21 P-No: 5)
Qty: | 382.37 |  | cft |  |  | .@Rs: | 1512.3 |  |  |  | P‰Cft. |  |  |  | Rs: | 578.2582 | /-
10 | Fabrication of havey steel work with angle tees flate iron round
iron sheet iron for making girder tanks etc i/c cutting drilling
revilling reviling handling assembling and fixing but eccluding
erection in position (CSI NO.02 P-91)
Qty: | 4.41 |  | cwt |  |  | .@Rs: | 4928.49 |  |  |  | P.cwt |  |  |  | Rs: | 21734.6409 | /=
11 | Errection & fitting in position of iron trusses
fixing in position (C.S.I.No:6 P.No: 91)
Qty: | 4.41 |  | cwt |  |  | .@Rs: | 271.04 |  |  |  | P.cwt |  |  |  | Rs: | 1195.2864 | /=
12 | Preparing surface painting of doors and windows
any type i/c edge (CSI No: 5 P-No: 76) Three coats
Qty: | 104 |  | sft |  |  | .@Rs: | 2116.41 |  |  |  | %Sft.. |  |  |  | Rs: | 2201.0664 | /-
13 | Cement Pointing struck joints on walls (1:3)
(CSI No: 19 P-No: 58)
Qty: | 441.5 |  | sft |  |  | .@Rs: | 1213.58 |  |  |  | %Sft.. |  |  |  | Rs: | 5357.9557 | /-
14 | Cement for plaster (1:6) upto 12 height 1/2 thick
(CSI No: 11(a) P-59)
Qty: | 642 |  | sft |  |  | .@Rs: | 2206.6 |  |  |  | %Sft.. |  |  |  | Rs: | 14166.372 | /-
15 | Cement plaster (1;4) upto 12 ft height (3/8" thick)
(CSI No: 11 P-58)
Qty: | 642 |  | sft |  |  | .@Rs: | 2197.52 |  |  |  | %Sft.. |  |  |  | Rs: | 14108.0784 | /-
16 | White washing one coats (CSI No: 26 P-60)
Qty: | 388 |  | sft |  |  | .@Rs: | 413.63 |  |  |  | %Sft.. |  |  |  | Rs: | 1616.8844 | /-
17 | White washing three coats (CSI No: 26 P-54)
Qty: | 204 |  | sft |  |  | .@Rs: | 829.95 |  |  |  | %Sft.. |  |  |  | Rs: | 1693.098 | /-
18 | Colour washing two coads (CSI No: 25(b) P-54)
Qty: | 836 |  | sft |  |  | .@Rs: | 859.9 |  |  |  | %Sft.. |  |  |  | Rs: | 7188.764 | /-
19 | Providing and laying 1" thick CC topping surface
finishing and dividing to pancls (SCI No: 16 P- 46)
3" THICK
Qty: | 109.25 |  | sft |  |  | .@Rs: | 4411.82 |  |  |  | P% Sft. |  |  |  | Rs: | 4819.9133 | /-
[14 empty] | Total | Rs: | 226279 | /-
PART-V STAFF QUARTER
1 | Excavation in foundation of building bridges
and other structure i/c dag belling bressing refilling
around the structure with excavated earth watering
and ramming lead upto one chain and lift upto 5’ ft
(in ordinary soil) (CSI-No:18 P-No:04)
Qty: | 285 |  | cft |  |  | .@Rs: | 3176.25 |  |  |  | P.‰ Cft. |  |  |  | Rs: | 905.2313 | /-
2 | Cement concrete brick or stone ballast 1 ½” to 2” guage
Ratio 1:4:8 (CSI No:4, P-No:16)
Qty: | 137.79 |  | cft |  |  | .@Rs: | 9416.28 |  |  |  | % Cft. |  |  |  | Rs: | 12974.6922 | /-
3 | Pacca brick work in foundation plinth in cement
sand mortar (1:6)(CSI-No:4-e, P-No:20)
Qty: | 461.29 |  | cft |  |  | .@Rs: | 11948.36 |  |  |  | %cft |  |  |  | Rs: | 55116.5898 | /-
5 | D.P.C (cement sand & shingle (1:2:4) i/c three coats of miax phlat mixture
(CSI No 16(d) P-42)
Qty: | 80.8 |  | Sft. |  |  | .@Rs: | 4982.18 |  |  |  | % Sft. |  |  |  | Rs: | 4025.6014 | /-
8 | Pacca Brick work in ground floor including
stricking of joints cement sand motor motor 1:6
(CSI-No:5-e, P-No:21)
Qty: | 333.09 |  | Cft. |  |  | .@Rs: | 12674.36 |  |  |  | % Cft. |  |  |  | Rs: | 42218.0257 | /-
9 | RCC work in roof slabs, beams, columns, rafts,
lintels and other structure members laid in situ
or precost laid in position making complete in all
respect Ratio: 1:2:4 90 Lbs of cement Cft. of sand
4 Cft. of shingle ½ to ¾ gauge (CSI-No:6-a-I, P-No:16)
Qty: | 166.3 |  | cft |  |  | .@Rs: | 337 |  |  |  | P.Cft. |  |  |  | Rs: | 56043.1 | /-
10 | Fabrication of mild steel reinforcement for cement
concrete i/c cutting bending laying in position making
joints and fastering i/c cost of binding wire and also
i/c cost of steel bars (Also include removal of rust
from bars (CSI-No:8-b, P-No:17)
Qty: | 6.68 |  | cwt |  |  | .@Rs: | 5001.7 |  |  |  | P.cwt |  |  |  | Rs: | 33411.356 | /-
12 | Fabrication of havey steel work with angle tees flate iron round
iron sheet iron for making girder tanks etc i/c cutting drilling
revilling reviling handling assembling and fixing but eccluding
erection in position (CSI NO.02 P-91)
Qty: | 4.41 |  | cwt |  |  | .@Rs: | 4928.49 |  |  |  | P.cwt |  |  |  | Rs: | 21734.6409 | /=
13 | Errection & fitting in position of iron trusses
fixing in position (C.S.I.No:6 P.No: 91)
Qty: | 4.41 |  | cwt |  |  | .@Rs: | 271.04 |  |  |  | P.cwt |  |  |  | Rs: | 1195.2864 | /=
14 | Supplying & fixing in position iron / steel grill using solid square bars
of size 3/4" x 1/4" size etc complete. (C.S.I.No: 20P.No: 93 )
Qty: | 24 |  | sft |  |  | .@Rs: | 180.5 |  |  |  | P.Sft. |  |  |  | Rs: | 4332 | /=
11 | Filling watering and ramming earth in floors with
surplus earth from foundation and lead upto one
chain and lift upto 5’ ft (CSI-No:21, P-No:4)
Qty: | 532.42 |  | cft |  |  | .@Rs: | 1512.3 |  |  |  | P‰Cft. |  |  |  | Rs: | 805.1788 | /-
16 | Cement for plaster (1:6) upto 12 height 1/2" thick
(CSI-No:13(b), P-No:52)
Qty: | 712 |  | sft |  |  | .@Rs: | 2206.6 |  |  |  | %Sft.. |  |  |  | Rs: | 15710.992 | /-
17 | Cement plaster (1:4) upto 12 ft height (3/8" thick)
(CSI-No:11-a, P-No:52)
Qty: | 712 |  | sft |  |  | .@Rs: | 2197.52 |  |  |  | %Sft.. |  |  |  | Rs: | 15646.3424 | /-
18 | Cement Pointing struck joints on walls (1:3)
(CSI No: 19 P-No: 58)
Qty: | 448 |  | sft |  |  | .@Rs: | 1213.58 |  |  |  | %Sft.. |  |  |  | Rs: | 5436.8384 | /-
19 | Providing and laying 1" thick CC topping surface
finishing and dividing to pancls (CSI-No:16, P-No:46)
3" Thick
Qty: | 172.5 |  | Sft. |  |  | .@Rs: | 4411.82 |  |  |  | P%Sft.. |  |  |  | Rs: | 7610.3895 | /-
23 | Painting New surface preparing surfce painting Doors& Windows
any type i/c edge (CSI-No:4-c, P-No:68) Three coats
Qty: | 104 |  | sft |  |  | .@Rs: | 2116.41 |  |  |  | %Sft.. |  |  |  | Rs: | 2201.0664 | /-
20 | White washing three coats (CSI-No:26-c, P-No:54)
Qty: | 248 |  | sft |  |  | .@Rs: | 829.95 |  |  |  | %Sft.. |  |  |  | Rs: | 2058.276 | /-
21 | White washing one coats (CSI-No:26-a, P-No:54)
Qty: | 932.5 |  | sft |  |  | .@Rs: | 416.63 |  |  |  | %Sft.. |  |  |  | Rs: | 3885.0748
22 | Colour washing two coats (CSI-No:25(b), P-No:54)
Qty: | 932.5 |  | sft |  |  | .@Rs: | 859.9 |  |  |  | %Sft.. |  |  |  | Rs: | 8018.5675 | /-
[14 empty] | Total | Rs: | 293329.2495 | /-
PART- VI COMPOUND WALL
1 | Excavation in foundation of building bridges
and other structure i/c dag belling bressing refilling
around the structure with excavated earth watering
and ramming lead upto one chain and lift upto 5’ ft
(in ordinary soil) (CSI-No:18 P-No:04)
Qty: | 1382 |  | cft |  |  | .@Rs: | 3176.25 |  |  |  | P.‰ Cft. |  |  |  | Rs: | 4389.5775 | /-
2 | Cement concrete brick or stone ballast 1 ½” to 2” guage
Ratio 1:4:8 (CSI No:4, P-No:16)
Qty: | 343 |  | cft |  |  | .@Rs: | 9416.28 |  |  |  | % Cft. |  |  |  | Rs: | 32297.8404 | /-
3 | Pacca brick work in foundation plinth in cement
sand mortar (1:6)(CSI-No:4-e, P-No:20)
Qty: | 1789.4 |  | cft |  |  | .@Rs: | 11948.36 |  |  |  | %cft |  |  |  | Rs: | 213804.9538 | /-
5 | D.P.C with (cement sand and shingle concrete (1:2:4)
i/c two coats of max phalt mixture .
| (CSI-No:28-c, P-No:19) 3" thick. | [5 empty] | 3” Thick
Qty: | 377.42 |  | Sft. |  |  | .@Rs: | 4982.18 |  |  |  | %Sft.. |  |  |  | Rs: | 18802.7438 | /-
7 | Pacca Brick work other then building i/c stricly
of joint 20' heght in cement sand motor motor 1:6
(CSI-No:7-i-e, P-No:22)
Qty: | 575.25 |  | Cft. |  |  | .@Rs: | 12346.65 |  |  |  | %Cft. |  |  |  | Rs: | 71024.1041 | /-
8 | RCC work in roof slabs, beams, columns, rafts,
lintels and other structure members laid in situ
or precost laid in position making complete in all
respect Ratio: 1:2:4 90 Lbs of cement Cft. of sand
4 Cft. of shingle ½ to ¾ gauge (CSI-No:6-a-I, P-No:16)
Qty: | 51.5 |  | cft |  |  | .@Rs: | 337 |  |  |  | P.Cft. |  |  |  | Rs: | 17355.5 | /-
9 | Fabrication of mild steel reinforcement for cement
concrete i/c cutting bending laying in position making
joints and fastering i/c cost of binding wire and also
i/c cost of steel bars (Also include removal of rust
from bars (CSI-No:8-b, P-No:17)
Qty: | 2.07 |  | cwt |  |  | .@Rs: | 5001.7 |  |  |  | P.cwt |  |  |  | Rs: | 10348.519 | /-
10 | Cement pointing struck joint on walls .
(CSI-No:19-b, P-No:53)
Qty: | 1180 |  | sft |  |  | .@Rs: | 1213.58 |  |  |  | %Sft.. |  |  |  | Rs: | 14320.244 | /=
11 | Cement Plaster (1:6) upto 12 height 1/2" thick
(CSI-No:13(b), P-No:52)
Qty: | 3860.28 |  | sft |  |  | .@Rs: | 2206.6 |  |  |  | %Sft.. |  |  |  | Rs: | 85180.9385 | /-
12 | Cement plaster (1;4) upto 12 ft height (3/8 thick)
(CSI-No:11-a, P-No:52)
Qty: | 3860.28 |  | Sft. |  |  | .@Rs: | 2197.52 |  |  |  | %Sft.. |  |  |  | Rs: | 84830.4251 | /-
13 | Making & fixing steel grated doors complete with locking arrangement
i/c angle iron frame 2"x2" 3/4" square bars 4" center to center
locking arrangment (CSI-No:24, P-No:92)
Qty: | 60 |  | sft |  |  | .@Rs: | 726.72 |  |  |  | P.Sft. |  |  |  | Rs: | 43603.2 | /=
14 | White washing one coats (CSI-No:26-a, P-No:54)
Qty: | 5040.28 |  | sft |  |  | .@Rs: | 416.63 |  |  |  | %Sft.. |  |  |  | Rs: | 20999.3186 | /-
15 | Colour washing two coats (CSI-No:25(b), P-No:54)
Qty: | 5040.28 |  | sft |  |  | .@Rs: | 859.9 |  |  |  | %Sft.. |  |  |  | Rs: | 43341.3677 | /-
16 | Preparing surface painting of doors and windows
any type i/c edge (CSI-No:4-c, P-No:68) Three coats
Qty: | 120 |  | sft |  |  | .@Rs: | 2116.41 |  |  |  | %Sft.. |  |  |  | Rs: | 2539.692 | /-
[14 empty] | Total | Rs: | 662839.4244 | /-
| PART-VII: P.E RISING MAIN | [7 empty] | SCHEDULE ITEMS
1 | Dismantling and removing road metaling. (CSI-No:51, P-No:13)
Qty: | 3000 |  | cft |  |  | .@Rs: | 605 |  |  | P%cft |  |  |  |  | Rs: | 18150 | /-
2 | Excavation for pipe lines trenches and in soft soil i/c trimming
and dressing to true alignment and shape liveling of beds of trenches
to level and grade cutting and disposal of surplus earth with in one
chain as directed by engineer Incharge, providing fence guards lights
flags and temporary crossing for non vehicular traffic where ever
required lift up to 5’ ft and lead up one chain (PHSI-No:2, P-No:60 )
Qty: | 27500 |  | cft |  |  | .@Rs: | 3600 |  |  | P.%ocft |  |  |  |  | Rs: | 99000 | /-
3 | Excavation for pipe lines in trenches. And pits in wet soil/ clay
or mud i/c trimming and dressing sides to true alignment and
shape levelling of heds of trenches ot correct level and grade.
cutting joint holes and disposal of surplus earth within a one chain as
directed y engineering incharge. Providing lence guards. Lights. Flages
and temporary crossing for non vehicular traffic where ever
required lift upto 5 ft and lead upto one chain (PHSI-No:14, P-No:66)
Qty: | 11000 |  | cft |  |  | .@Rs: | 5400 |  |  | P.%ocft |  |  |  |  | Rs: | 59400 | /-
4 | Manufacturing and supplying and fixing M.S. Pipe
| made out of MS Sheet confirming/ wellding etc complete |  |  | (PHSMI No; 1(a) P-13) |  |  |  |  | 18)
4.8mm thick 6" dia.
Qty: | 20 |  | Rft |  |  | .@Rs: | 749.34 |  |  | P.Rft |  |  |  |  | Rs: | 14986.8 | /-
/-
5 | Rubbering ring B calss 6" dai (SMI -7 P-4)
Qty: | 8 |  | No |  |  | .@Rs: | 129 |  |  | Each |  |  |  |  | Rs: | 1032 | /-
6 | C-I Bend 45* 6" dai (SMI -14 (2) P-12)
Qty: | 2 |  | No |  |  | .@Rs: | 1787.5 |  |  | Each |  |  |  |  | Rs: | 3575 | /-
7 | C-I Bend 90* 6" dai (SMI -14 (1) P-17)
Qty: | 2 |  | No |  |  | .@Rs: | 2212.5 |  |  | Each |  |  |  |  | Rs: | 4425 | /-
8 | Fire Hydriant tee 6" Dia |  |  |  |  | (PHSMI No.15 (10-b) P-17)
Qty: | 1 |  | No |  |  | .@Rs: | 1375 |  |  | Each |  |  |  |  | Rs: | 1375 | /-
9 | M/S flange made out MS sheet 3/8" cutting drilling & holes 6" dia
(Based on schedule rate)
Qty: | 2 |  | No |  |  | .@Rs: | 804.77 |  |  | Each |  |  |  |  | Rs: | 1609.54 | /-
10 | FC coller B class (PHSI No.4 P-4)
Qty: | 4 |  | No |  |  | .@Rs: | 194 |  |  | Each |  |  |  |  | Rs: | 776 | /-
11 | Air value double acting (Local) (PHSMI -18 P-11)
Qty: | 1 |  | No |  |  | .@Rs: | 4000 |  |  | Each |  |  |  |  | Rs: | 4000 | /-
12 | Making joints CI specials fitting i/c laying of the required along
with the asbestos cement pressure pipe line to the specified pressure
and making good to all leaky joints etc complete(PHSI-No:E-1 (b) P-No:80)
6" Dia
Qty: | 4 |  | Joint |  |  | .@Rs: | 72 |  |  | P.Joint |  |  |  |  | Rs: | 288 | /-
13 | Jointing CI/MS flanged pipe to special flange and inside threaded i/c
supplying rubber packing the required thickness nuts and bolts with
wisher wand other required for jointing and testing the joint of the
specified pressure etc complete (PHSI-No:M-1 (b), P-No:40)
3" Dia Joints
Qty: | 1 |  | Nos. |  |  | .@Rs: | 499 |  |  | P.Joint |  |  |  |  | Rs: | 499 | /-
14 | Providing chamber 3'x2’ (915x615mm) inside
dimension 4 ½’ (1372 mm) deep as per approval design
for sluice valve 3” to dia 18” (457 mm) dia inside cost
iron cover and fram (wt= 1 cwt , 3 qr) fixed in RCC 1:2:4
(102 mm) thick with 5 lbs walls set in 1:6 cement
sand mortor 6” thick (152mm) thick cement concrete
1:3:6 in foundation 1” (25mm) thick cement concrete
1:2:4 flooring ½ (12.50mm) thick cement plaster 1:3
total inside wall surface end to top i/c providing and
fixing M.S foot rest at every one foot beyond 2 ½ ft
deth curing excavation back filling and disposal of
surplus earth etc complete . (PHESI-No:Q 1, P-No:49)
Qty: | 1 |  | Nos |  |  | .@Rs: | 18820 |  |  | Each |  |  |  |  | Rs: | 18820 | /-
15 | Refilling the excavated stuff in trenches in 6” thick layers i/c watering
ramming or full etc complete. (PHSI-No:24, P-No:77)
Qty: | 37350 |  | cft |  |  | .@Rs: | 2760 |  |  | P.%ocft |  |  |  |  | Rs: | 103086 | /-
[14 empty] | Total = | Rs: | 331023.34 | /- | 2929938.34
| PART-VII: RISING MAIN | [7 empty] | NON - SCHEDULE ITEMS
1 | Providing layiing and jointing testing F.C. Press pipe
Qty: | 5500 |  | Rft |  |  | .@Rs: | 472.53 |  |  | P.Rft |  |  |  |  | Rs: | 2598915 | /-
[14 empty] | Total = | Rs: | 2598915 | /-
| PART-VIII PUMPING MACHINERY 7.5 BHP | [10 empty] | NON - SCHEDULE ITEMS
1 | Supplying and installing in position at site of work Drainage Scheme Electric Motor set 7.5 (semans made) 4 Pole 1500 RPM 3- phase 400 VAC 50- cycles coupled with KSBNon Clogging Sluge pump (Type KWPZ65-315) size 3" x 2-1/2 i/c steel frame and coupling with sleeve etc capable of discharging 160 gallons per minuit against the Head of 45 ft. i/c installing of pumping set on cement concrete foundation Ratio 1:2:4 with MS Nuts and built to be embedded in CC foundation i/c providing and fixing automatic motor control unit (MCU) consist of oil starter (MEECO Pakistan) MCCB breaker 10-A to 50A (shihlin Taiwan) cutoout 60-A (China) empair meter (60-A) (SELCO China) volt meter (500-V) (SELCO China) phase indiction light (China) i/c transformer oil (2 litter) (Panel Board 18":x 26"x9" and iner wiring etc complete) and providing internal electric wiring main or sub main or sub main PVC insulated with size 3-7/0.44” (6mm2) i/c providing and fixing earthing set 0.6 mx 6.3 mm 2x2 x2 ½” CI plete buried in the ground at depth 3.7 mm (12") or less per PAK PWD specification and testing of the pumping set against set required head 72
hours etc complete.
Qty: | 2 |  | sets |  |  | .@Rs: | 686000 |  |  |  | P.set |  |  |  | Rs: | 1372000 | /-
2 | Supplying and installing Diesel oil engine 16 BHP (Golden made) model
GD-110B 2200 RPM coupled with Golden non clogging Horizontal semi
semi open impelller type GSWG-103 size 4"x3" capable of discharge 160
GPM against a head of 47 ft i/c frame, pully for Engine & Pump with belt
and installing of pump set in CC foundaiton with nuts and bolts and testing
of the pumping set against the requreed head ta 48 Hours
Qty: | 1 |  | Set |  |  | .@Rs: | 205000 |  |  |  | Each |  |  |  | Rs: | 205000 | /-
3 | Supplying flange addopter
3" Dia
Qty: | 8 |  | Joint |  |  | .@Rs: | 675 |  |  | P.Joint |  |  |  |  | Rs: | 5400 | /-
4" Dia
Qty: | 12 |  | Joint |  |  | .@Rs: | 1215 |  |  | P.Joint |  |  |  |  | Rs: | 14580 | /-
[13 empty] | Total = |  | Rs: | 1596980 | /- | 1710826.88
| INTER CONNECTION | [5 empty] | SCHEDULE ITEMS
1 | PE Pipe HOPE-100 P.N
a) | Suction 3" dia.
Qty: | 24 |  | Rft |  |  | .@Rs: | 178 |  |  | P.Rft |  |  |  |  | Rs: | 4272 | /-
PN-10 (110 mm)
b) | Delevery 4" dia.
Qty: | 30 |  | Rft |  |  | .@Rs: | 268 |  |  | P.Rft |  |  |  |  | Rs: | 8040 | /-
2 | P/F M.S flange made out of M.S Sheet 3/8" thick
3" Dia
Qty: | 6 |  | Joint |  |  | .@Rs: | 500.89 |  |  | P.Joint |  |  |  |  | Rs: | 3005.34 | /-
4" Dia
Qty: | 12 |  | Joint |  |  | .@Rs: | 596.75 |  |  | P.Joint |  |  |  |  | Rs: | 7161 | /-
3 | Reflex valve heavy pattern (Test pressure 21 Kg/sq: cm or
300 Lbs/sq: inch imported) (PHSRMI-No.6, (a) P-No:11)
3" Dia suction
Qty: | 2 |  | Nos. |  |  | .@Rs: | 1543.75 |  |  |  | Each |  |  |  | Rs: | 3087.5 | /-
4" Dia Delevery
Qty: | 4 |  | Nos. |  |  | .@Rs: | 1706.25 |  |  |  | Each |  |  |  | Rs: | 6825 | /-
4 | C.I sluice value heavy pattern (Test pressure) 21.0 Kg/Sq: cm
or 300 Lbs/sq: inch imported) (PHSRMI-No:2, (b) P-No:11)
4" Delevery
Qty: | 3 |  | Nos. |  |  | .@Rs: | 5460 |  |  |  | Each |  |  |  | Rs: | 16380 | /-
5 | C.I Bends with flanged ends with holes including turning and
and facing of flanges for all size. (SRMI-No:8, P-No:12)
Qty: | 106 |  | Kg |  |  | .@Rs: | 120 |  |  |  | P.Kg. |  |  |  | Rs: | 12720 | /-
6 | C.I Tapper flat bottomed or central Tapered flanged
ends with holes i/c turning, facing of flanges for all size.
(SRMI-No:9, P-No:12)
Qty: | 60 |  | Kg |  |  | .@Rs: | 120 |  |  |  | P.Kg. |  |  |  | Rs: | 7200 | /-
7 | Foot valve heavy pattern with cone type gate (imported)
(PHSRMI-No:4 (a), P-No:11)
3" dia
Qty: | 2 |  | Nos. |  |  | .@Rs: | 731.25 |  |  |  | Each |  |  |  | Rs: | 1462.5 | /-
8 | C I Tees flanged ends with holes i/c turning and facing of
flanges for all size (SRMI-No.12, P-No:12)
C.I.Tee 4"x4"x4"
Qty: | 44 |  | Kg |  |  | .@Rs: | 120 |  |  |  | P.Kg. |  |  |  | Rs: | 5280 | /-
9 | CI short piece 6" Dia |  |  |  |  | (PHSRMI No.9 (b) P-15)
Qty: | 2 |  | Nos. |  |  | .@Rs: | 618.75 |  |  | Each |  |  |  |  | Rs: | 1237.5 | /-
10 | P/F M.S pipe made out of M.S Sheet 3/16"
3" dia
Qty: | 16 |  | Nos. |  |  | .@Rs: | 385.89 |  |  |  | Each |  |  |  | Rs: | 6174.24 | /-
4" dia
Qty: | 8 |  | Nos. |  |  | .@Rs: | 506.6 |  |  |  | Each |  |  |  | Rs: | 4052.8 | /-
11 | Jointing CI/MS flanged pipe to special flange and inside threaded i/c
supplying rubber packing the required thickness nuts and bolts with
wisher wand other required for jointing and testing the joint of the
specified pressure etc complete (PHSI-No:M-1-h, P-No:40)
3" Dia Suction
Qty: | 8 |  | Nos. |  |  | .@Rs: | 499 |  |  | P.Joint |  |  |  |  | Rs: | 3992 | /-
4" Dia Delevery
Qty: | 12 |  | Nos. |  |  | .@Rs: | 513 |  |  | P.Joint |  |  |  |  | Rs: | 6156 | /-
12 | Butt fusion joints (SMINo. H P-10)
3" Dia
Qty: | 8 |  | Joint |  |  | .@Rs: | 600 |  |  | P.Joint |  |  |  |  | Rs: | 4800 | /-
4" Dia
Qty: | 12 |  | Joint |  |  | .@Rs: | 1000 |  |  | P.Joint |  |  |  |  | Rs: | 12000 | /-
[14 empty] | Total = | Rs: | 113846.88 | /- | 1710826.88
PART-IX OXIDATION POND
1 | Excavation for tank & reserviour in all kind of soil i/c trimming
and dressing to true alignment/ design section and profile shape liveling
to level and grade i/c laying of earth 6" layer for construction of banks and
dressing and disposal surplus excavated eath within chain and as
directed by engineer incharge i/c providign fans guards, light, flage
required lift up to 5’ ft and lead up one chain (PHSI No: 5 P.No: 69 )
Qty: | 19411.12 |  |  | cft |  | .@Rs: | 3000 |  |  | P.%ocft |  |  |  |  | Rs: | 58233.36 | /=
2 | Excavation for tank & reserviour in wet soil /clay / Mud i/c trimming
and dressing to true alignment/ design section and profile shape liveling
to level and grade i/c laying of earth 6" layer for construction of banks and
dressing and disposal surplus excavated eath within chain and as
directed by engineer incharge i/c providign fans guards, light, flage
required lift up to 5’ ft and lead up one chain (PHSI No: 14 P.No: 74 )
Qty: | 1938 |  |  | cft |  | .@Rs: | 4800 |  |  | P.%ocft |  |  |  |  | Rs: | 9302.4 | /=
3 | Earth work compation laying earth in 6" layer leveling dressing
& watering for compation etc complete (CSI No.13 (b) P-03)
| Qty: | 24225 |  |  | cft |  |  | .@Rs: | 354 |  |  | P.%ocft |  |  | Rs: | 8575.65 | /=
[15 empty] | Rs: | 76111.41 | /-
PART- X RCC SUMP WELL
1 | Excavation in foundation of building bridges & other structure i/c dag belling dressing
refilling around the structure with excavated earth watering ramming lead, up to one
chain & lift upto 5”ft ( CSI-No:18, P-No:4) In Ordinary soil.
| Qty: |  | 301.44 |  | cft |  | .@Rs: |  | 3176.25 |  | P.%ocft |  |  |  | Rs: | 957.4488 | /=
3 | Cement concrete brick or stone ballast 1 ½” to 2” guage
Ratio 1:4:8 (CSI No: 4 P-No: 16)
| Qty: |  | 50.24 |  | cft |  | .@Rs: |  | 9416.28 |  | P.% cft |  |  |  | Rs: | 4730.7391 | /-
4 | RCC work in roof slabs, beams, columns, rafts,
lintels and other structure members laid in situ
or precost laid in position making complete in all
respect Ratio: 1:2:4 90 Lbs of cement cft of sand
4 cft of shingle ½ to ¾ gauge (CSI No: 6 P-No: 17)
| Qty: |  | 298.5 |  | cft |  | .@Rs: |  | 337 |  | P.cft |  |  |  | Rs: | 100594.5 | /-
5 | Fabrication of mild steel reinforcement for cement
concrete i/c cutting bending laying in position making
joints and fastering i/c cost of binding wire and also
i/c cost of steel bars (Also include removal of rust
from bars (CSI No: 7 P-No: 19)
| Qty: |  | 11.993 |  | cwt |  | .@Rs: |  | 5001.7 |  | P.cwt |  |  |  | Rs: | 59985.3881 | /-
[15 empty] | Rs: | 166268.076 | /-
PART-XI INTER CONNECTION
1 | Excavation for pipe lines trenches and soft soil i/c trimming
and dressing to true alignment and shape liveling of beds of trenches
to level and grade cutting and disposal of surplus earth with in one
chain as directed by engineer Incharge, providing fence guards lights
flags and temporary crossing for non vehicular traffic where ever
required lift up to 5’ ft and lead up one chain (PHSI-No:2, P-No:60 )
Qty: | 864 |  | Cft. |  |  | .@Rs: | 3600 |  |  | ‰ Cft. |  |  |  |  | Rs: | 3110.4 | /=
3 | Providing RC.C pipe of A.S.T.M -76-62-T/C -76-70 Calss II wall B and
fixing in trnnch i/c cutting fitting and jointing with rubber rings i/c testing with
water to specified pressure (PHSI-No:1 (b) P-No:17)
15" Dia
Qty: | 72 |  | rft |  |  | .@Rs: | 515 |  |  | Prft |  |  |  |  | Rs: | 37080 | /=
4 | Refilling the excavated stuff in trenches 6" thick layer i/c
watering ramming to full compaction etc complete
(PHSI-No:24, P-No:77)
Qty: | 777.6 |  | rft |  |  | .@Rs: | 2760 |  |  | P‰.rft |  |  |  |  | Rs: | 2146.176 | /=
[14 empty] | Total | Rs: | 42335.576 | /=
[12 empty] | Oxidation Pond |  |  | Rs: | 76111.41 | /=
[12 empty] | Sump Well |  |  | Rs: | 166268.076 | /=
[12 empty] | Inter Connection |  |  | Rs: | 42335.576 | /=
[14 empty] | Total | Rs: | 284715.062 | /=
GENERAL ABSTRACT
S.No. | Name of Work | [7 empty] | Schedule Item |  |  | Non Schedule Item |  | G. Total
1 | RCC Coleckting Tank 12' ft dia | [6 empty] | Rs: | 401588.0057 |  |  | Rs: | --- |  | Rs: | 401588.0057
2 | RCC Screening Chember (8'x5') | [6 empty] | Rs: | 149576.9353 |  |  | Rs: | --- |  | Rs: | 149576.9353
3 | Inter Connection | [6 empty] | Rs: | 5207.36 |  |  | Rs: | --- |  | Rs: | 5207.36
4 | Pump House (10x12) | [6 empty] | Rs: | 226279 |  |  | Rs: | --- |  | Rs: | 226279
5 | Staff Quarter | [6 empty] | Rs: | 293329.2495 |  |  | Rs: | --- |  | Rs: | 293329.2495
6 | Compound Wall | [6 empty] | Rs: | 662839.4244 |  |  | Rs: | --- |  | Rs: | 662839.4244
7 | Pipe Rising Main | [6 empty] | Rs: | 331023.34 |  |  | Rs: | 2598915 |  | Rs: | 2929938.34
8 | Pumping Machinery i/c Inter connction | [6 empty] | Rs: | 113846.88 |  |  | Rs: | 1596980 |  | Rs: | 1710827.88
9 | Oxidation Pond, Sump well & I/C | [6 empty] | Rs: | 284716.062 |  |  | Rs: | --- |  | Rs: | 284716.062
[7 empty] | G.Total | Rs: | 2468405.2569 |  |  | Rs: | 4195895 |  | Rs: | 6664300.2569
1 | Any error commission in the description of itme of work rates original schedule B
correct accordingly in the instruciton of the Executive Engineer PHE Division No.1Khairpur
2 | No Premium will be allowed on Non Schedule item.
3 | The Work will be carred out as per PWD / PHE specificaiton approval rates working
CONTRACTOR
6664300.2569
EXECUTIVE ENGINEER
PUBLIC HEALTH ENGINEERING DIVISION No.1
KHAIRPUR
EXECUTIVE ENGINEER
PUBLIC HEALTH ENGINEERING DIVISION-I
KHAIRPUR